## Slide 1: FCalPulse Local Mtg
J.Rutherfoord
18 March 2021
v1

## Slide 2: Outline
Strontium-90 beta source
Updates – Rob Walker
Adding pulses to improve s/n – Graham Woolley
Correlations in the calorimeter signals from 350 GeV incident electrons – Justin Hink and Evan LaForge
If anyone has something to report please do so

## Slide 3: Hot beta source - Background
Source foil
Shell
10 mm
Strontium-90 beta source
  We want it deposited on a foil
  Activity of 100 mCi
  Beta emitter – betas ionize the liquid argon
  We collect the ionization electrons

## Slide 4: Strontium-90 Decay Chain

## Slide 5: Activity vs time
When purchasing, the specified activity of the source applies to the Strontium-90 only.
The actual activity is twice the specified activity within a month after production.

## Slide 6: Beta Decay Spectrum
Endpoint KE
Sr-90: 0.55 MeV
Y-90: 2.28 MeV
The dip as KE  0 is an artifact of the measurement.

## Slide 7: Energy deposited in the LAr gap by a single beta
First arrow: Energy deposit by a beta of KE=1 MeV moving normal to the electrodes.
Second arrow: Average deposited energy by a beta.
Red: Any beta entering the LAr gap.
Green: Subset which do not cross the gap
One ionization electron from every 23.6 eV of deposited energy at E-field of 2.2 kV/mm

## Slide 8: Strontium-90 Production
From U-235 and Pu-239 fission
  Extracted from spent fuel rods
  5.8% of all U-235 fissions produces Sr-90
Chemically combined with Chlorine
  SrCl2 is a hygroscopic salt
  Analogous to CaCl2
  SrCl26H2O
  =1.93 g/cm3