## Slide 1: FCalPulse Local Mtg
J.Rutherfoord
15 April 2021
v1

## Slide 2: Outline
Beam time
Rob Walker report
  Producing the Strontium foil
Sasha Savin – Triggering on events
Evan LaForge – Simulated beam spot y vs x

## Slide 3: Data taking at CERN
Each electron passing through our scintillators is an “event”.
For each event we record
  Signals from the digitizers (24 channels)
    Digitize the voltage every 2 ns for 10 s
    Signals come from LAr gaps and scintillators
  Signals from the beam chambers
    Time of pulse from magnetostrictive readout
    Pulse amplitudes

## Slide 4: Data taking at CERN –
Expect 10 to 1000 events per “spill”
Spill lasts for ~ 4 seconds
Spills come every ~ 24 seconds
A “run” will be ~ 20 minutes long
Each run may have different settings

## Slide 5: Data taking at CERN - Settings
Vary rod/tube electrode HV
  Take a series of runs with a range of HV settings on the rod/tube electrodes
  Range: 50 V < HV < 250 V
  Both HV polarities
Switch between upper to lower assemblies
If time allows, we may add some O2 to the LAr

## Slide 6: HV Settings
Ideally we would vary the ionization rate-density “Di” from the Sr-90 beta source. But we can’t.
By varying the HV we are varying the critical ionization rate-density “Dc”
We expect the space-charge effects to depend on the ratio “r” of the actual ionization rate to the critical value.
r  Di /Dc

## Slide 7: Varying the HV
In the Forward Calorimeters in ATLAS the HV will unavoidable vary (sag).
This sagging is mostly what drives the FCal electrodes into the space-charge regime.
Why does the HV sag?

## Slide 8: Ans: The protection resistors
Igap
250 V
Vgap