## Slide 1: Progress with beam counters
Alexandre Savine Special thanks to Billie Lubis and Robert Walker April 22, 2021

## Slide 2: Progress on plans from 2021-04-15
Problem with “no-trigger” events solved;
S2 was rebuilt to the “tube” standard;
Work on scintillator counters preparation continues;
Individual resolution of counters was estimated without the trigger timing;

## Slide 3: Counter assembly – old tube

## Slide 4: Counter assembly – new tube

## Slide 5: Counter assembly – new tube

## Slide 6: Counter assembly – new tube

## Slide 7: Counter assembly – new tube

## Slide 8: Counter assembly – new tube

## Slide 9: More data analysis
New histograms filled:
T2-T1 -> σ12=
T3-T1 -> σ13=
T3-T2 -> σ23=
Allow to find individual resolutions;
Assuming that times measuments are not correlated!

## Slide 10: Plans
Optimize HV on counters;
Using Constant Fraction discriminator(s) for better trigger timing is needed;
Check if the S1/S2/S3 pattern (slide 6) may be used to distinguish the events from each other and so may be used to “synchronize” data from two DAQ systems (if there will be two);
Try the “optimal filtering” algorithm for timing measurements, when all pulse samples are used to do time estimation:
T=/
“t” and “A” are time and Amplitude of sample 0…N, “w” is an optimized weight.
Continue preparation of beam counters (including leakage counters!)