{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":912,"n_cols":9,"rows_kept":912,"cut":false,"hidden":false,"merged":[]}
["Time Stamp","T1","T2","Pr",null,null,"Date","T1","T2"]
["2012.01.03.00.00.31",295.7,295.60000000000002,0.5,null,null,{"$f":"[1]Sheet1!G2+1","v":"2012-01-03"},{"$f":"AVERAGE(B2:B101)","v":295.67200000000042},{"$f":"AVERAGE(C2:C101)","v":295.53899999999965}]
["2012.01.03.00.01.07",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G3+1","v":"2012-01-03T01:00:00"},{"$f":"AVERAGE(B102:B201)","v":295.69300000000032},{"$f":"AVERAGE(C102:C201)","v":295.54899999999986}]
["2012.01.03.00.01.43",295.7,295.60000000000002,0.49,null,null,{"$f":"[1]Sheet1!G4+1","v":"2012-01-03T02:00:00"},{"$f":"AVERAGE(B202:B300)","v":295.6696969696971},{"$f":"AVERAGE(C202:C300)","v":295.5285714285713}]
["2012.01.03.00.02.19",295.7,295.5,0.5,null,null,{"$f":"[1]Sheet1!G5+1","v":"2012-01-03T03:00:00"},{"$f":"AVERAGE(B301:B400)","v":295.68100000000027},{"$f":"AVERAGE(C301:C400)","v":295.53399999999982}]
["2012.01.03.00.02.55",295.7,295.5,0.49,null,null,{"$f":"[1]Sheet1!G6+1","v":"2012-01-03T04:00:00"},{"$f":"AVERAGE(B401:B500)","v":295.67700000000019},{"$f":"AVERAGE(C401:C500)","v":295.52299999999991}]
["2012.01.03.00.03.31",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G7+1","v":"2012-01-03T05:00:00"},{"$f":"AVERAGE(B501:B600)","v":295.67900000000003},{"$f":"AVERAGE(C501:C600)","v":295.51800000000003}]
["2012.01.03.00.04.07",295.60000000000002,295.39999999999998,0.5,null,null,{"$f":"[1]Sheet1!G8+1","v":"2012-01-03T06:00:00"},{"$f":"AVERAGE(B601:B700)","v":295.63799999999981},{"$f":"AVERAGE(C601:C700)","v":295.49700000000007}]
["2012.01.03.00.04.43",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G9+1","v":"2012-01-03T07:00:00"},{"$f":"AVERAGE(B701:B800)","v":295.64900000000011},{"$f":"AVERAGE(C701:C800)","v":295.53899999999982}]
["2012.01.03.00.05.19",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G10+1","v":"2012-01-03T08:00:00"},{"$f":"AVERAGE(B801:B900)","v":295.83700000000022},{"$f":"AVERAGE(C801:C900)","v":295.7230000000003}]
["2012.01.03.00.05.55",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G11+1","v":"2012-01-03T09:00:00"},{"$f":"AVERAGE(B901:B1000)","v":295.93333333333334},{"$f":"AVERAGE(C901:C1000)","v":295.86666666666673}]
["2012.01.03.00.06.31",295.7,295.60000000000002,0.49,null,null,{"$f":"[1]Sheet1!G12+1","v":"2012-01-03T10:00:00"},"n/a","n/a"]
["2012.01.03.00.07.07",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G13+1","v":"2012-01-03T11:00:00"},"n/a","n/a"]
["2012.01.03.00.07.43",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G14+1","v":"2012-01-03T12:00:00"},"n/a","n/a"]
["2012.01.03.00.08.19",295.7,295.5,0.5,null,null,{"$f":"[1]Sheet1!G15+1","v":"2012-01-03T13:00:00"},"n/a","n/a"]
["2012.01.03.00.08.55",295.7,295.5,0.49,null,null,{"$f":"[1]Sheet1!G16+1","v":"2012-01-03T14:00:00"},"n/a","n/a"]
["2012.01.03.00.09.31",295.7,295.5,0.5,null,null,{"$f":"[1]Sheet1!G17+1","v":"2012-01-03T15:00:00"},"n/a","n/a"]
["2012.01.03.00.10.07",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G18+1","v":"2012-01-03T16:00:00"},"n/a","n/a"]
["2012.01.03.00.10.43",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G19+1","v":"2012-01-03T17:00:00"},"n/a","n/a"]
["2012.01.03.00.11.19",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G20+1","v":"2012-01-03T18:00:00"},"n/a","n/a"]
["2012.01.03.00.11.56",295.7,295.39999999999998,0.49,null,null,{"$f":"[1]Sheet1!G21+1","v":"2012-01-03T19:00:00"},"n/a","n/a"]
["2012.01.03.00.12.32",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G22+1","v":"2012-01-03T20:00:00"},"n/a","n/a"]
["2012.01.03.00.13.08",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G23+1","v":"2012-01-03T21:00:00"},"n/a","n/a"]
["2012.01.03.00.13.44",295.60000000000002,295.5,0.5,null,null,{"$f":"[1]Sheet1!G24+1","v":"2012-01-03T22:00:00"},"n/a","n/a"]
["2012.01.03.00.14.20",295.60000000000002,295.5,0.49,null,null,{"$f":"[1]Sheet1!G25+1","v":"2012-01-03T23:00:00"},"n/a","n/a"]
["2012.01.03.00.14.56",295.60000000000002,295.5,0.5]
["2012.01.03.00.15.32",295.7,295.5,0.5]
["2012.01.03.00.16.08",295.60000000000002,295.5,0.49]
["2012.01.03.00.16.44",295.60000000000002,295.5,0.5]
["2012.01.03.00.17.20",295.7,295.5,0.49]
["2012.01.03.00.17.56",295.7,295.60000000000002,0.5]
["2012.01.03.00.18.32",295.7,295.60000000000002,0.5]
["2012.01.03.00.19.08",295.60000000000002,295.5,0.5]
["2012.01.03.00.19.44",295.7,295.5,0.49]
["2012.01.03.00.20.20",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.00.20.56",295.60000000000002,295.5,0.5]
["2012.01.03.00.21.32",295.60000000000002,295.5,0.49]
["2012.01.03.00.22.08",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.00.22.44",295.7,295.60000000000002,0.5]
["2012.01.03.00.23.20",295.7,295.60000000000002,0.5]
["2012.01.03.00.23.56",295.7,295.5,0.49]
["2012.01.03.00.24.32",295.60000000000002,295.5,0.49]
["2012.01.03.00.25.08",295.60000000000002,295.5,0.5]
["2012.01.03.00.25.44",295.60000000000002,295.5,0.49]
["2012.01.03.00.26.20",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.00.26.56",295.7,295.60000000000002,0.5]
["2012.01.03.00.27.32",295.7,295.5,0.5]
["2012.01.03.00.28.08",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.00.28.44",295.7,295.5,0.5]
["2012.01.03.00.29.20",295.7,295.5,0.5]
["2012.01.03.00.29.56",295.7,295.5,0.5]
["2012.01.03.00.30.32",295.60000000000002,295.5,0.49]
["2012.01.03.00.31.08",295.7,295.5,0.49]
["2012.01.03.00.31.44",295.7,295.5,0.5]
["2012.01.03.00.32.20",295.7,295.60000000000002,0.5]
["2012.01.03.00.32.56",295.7,295.5,0.5]
["2012.01.03.00.33.32",295.7,295.60000000000002,0.5]
["2012.01.03.00.34.08",295.7,295.5,0.5]
["2012.01.03.00.34.44",295.7,295.5,0.5]
["2012.01.03.00.35.20",295.7,295.5,0.5]
["2012.01.03.00.35.56",295.7,295.60000000000002,0.5]
["2012.01.03.00.36.32",295.7,295.5,0.5]
["2012.01.03.00.37.08",295.7,295.60000000000002,0.5]
["2012.01.03.00.37.44",295.7,295.5,0.5]
["2012.01.03.00.38.20",295.7,295.60000000000002,0.49]
["2012.01.03.00.38.56",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.00.39.32",295.60000000000002,295.5,0.49]
["2012.01.03.00.40.08",295.7,295.60000000000002,0.49]
["2012.01.03.00.40.44",295.7,295.60000000000002,0.5]
["2012.01.03.00.41.20",295.7,295.60000000000002,0.5]
["2012.01.03.00.41.56",295.7,295.60000000000002,0.5]
["2012.01.03.00.42.32",295.8,295.5,0.5]
["2012.01.03.00.43.08",295.7,295.60000000000002,0.5]
["2012.01.03.00.43.44",295.7,295.5,0.49]
["2012.01.03.00.44.20",295.7,295.7,0.5]
["2012.01.03.00.44.56",295.7,295.5,0.49]
["2012.01.03.00.45.32",295.7,295.60000000000002,0.5]
["2012.01.03.00.46.08",295.7,295.60000000000002,0.5]
["2012.01.03.00.46.44",295.7,295.60000000000002,0.49]
["2012.01.03.00.47.20",295.7,295.5,0.49]
["2012.01.03.00.47.56",295.7,295.60000000000002,0.49]
["2012.01.03.00.48.32",295.7,295.60000000000002,0.49]
["2012.01.03.00.49.08",295.7,295.5,0.5]
["2012.01.03.00.49.44",295.7,295.5,0.5]
["2012.01.03.00.50.20",295.8,295.5,0.5]
["2012.01.03.00.50.56",295.7,295.60000000000002,0.5]
["2012.01.03.00.51.32",295.7,295.60000000000002,0.49]
["2012.01.03.00.52.08",295.7,295.60000000000002,0.5]
["2012.01.03.00.52.44",295.7,295.60000000000002,0.5]
["2012.01.03.00.53.20",295.7,295.60000000000002,0.5]
["2012.01.03.00.53.56",295.7,295.5,0.5]
["2012.01.03.00.54.32",295.7,295.60000000000002,0.5]
["2012.01.03.00.55.08",295.7,295.60000000000002,0.5]
["2012.01.03.00.55.44",295.7,295.5,0.5]
["2012.01.03.00.56.20",295.7,295.5,0.49]
["2012.01.03.00.56.56",295.7,295.60000000000002,0.49]
["2012.01.03.00.57.32",295.7,295.60000000000002,0.5]
["2012.01.03.00.58.08",295.8,295.5,0.49]
["2012.01.03.00.58.44",295.7,295.60000000000002,0.5]
["2012.01.03.00.59.20",295.7,295.60000000000002,0.5]
["2012.01.03.00.59.56",295.7,295.5,0.49]
["2012.01.03.01.00.32",295.60000000000002,295.5,0.49]
["2012.01.03.01.01.09",295.7,295.5,0.49]
["2012.01.03.01.01.45",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.01.02.21",295.7,295.60000000000002,0.49]
["2012.01.03.01.02.57",295.7,295.60000000000002,0.49]
["2012.01.03.01.03.33",295.7,295.5,0.49]
["2012.01.03.01.04.09",295.7,295.5,0.5]
["2012.01.03.01.04.45",295.60000000000002,295.5,0.5]
["2012.01.03.01.05.21",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.01.05.57",295.7,295.60000000000002,0.49]
["2012.01.03.01.06.33",295.7,295.5,0.49]
["2012.01.03.01.07.09",295.7,295.60000000000002,0.49]
["2012.01.03.01.07.45",295.7,295.60000000000002,0.49]
["2012.01.03.01.08.21",295.7,295.7,0.5]
["2012.01.03.01.08.57",295.7,295.5,0.49]
["2012.01.03.01.09.33",295.7,295.60000000000002,0.49]
["2012.01.03.01.10.09",295.8,295.60000000000002,0.5]
["2012.01.03.01.10.45",295.7,295.60000000000002,0.49]
["2012.01.03.01.11.21",295.7,295.39999999999998,0.49]
["2012.01.03.01.11.57",295.7,295.5,0.49]
["2012.01.03.01.12.33",295.7,295.5,0.49]
["2012.01.03.01.13.09",295.7,295.60000000000002,0.5]
["2012.01.03.01.13.45",295.7,295.5,0.5]
["2012.01.03.01.14.21",295.7,295.5,0.5]
["2012.01.03.01.14.57",295.7,295.5,0.5]
["2012.01.03.01.15.33",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.01.16.09",295.7,295.60000000000002,0.5]
["2012.01.03.01.16.45",295.7,295.60000000000002,0.49]
["2012.01.03.01.17.21",295.7,295.60000000000002,0.5]
["2012.01.03.01.17.57",295.8,295.60000000000002,0.49]
["2012.01.03.01.18.33",295.7,295.5,0.5]
["2012.01.03.01.19.09",295.7,295.5,0.5]
["2012.01.03.01.19.45",295.7,295.60000000000002,0.5]
["2012.01.03.01.20.21",295.7,295.5,0.5]
["2012.01.03.01.20.57",295.7,295.60000000000002,0.5]
["2012.01.03.01.21.33",295.7,295.60000000000002,0.5]
["2012.01.03.01.22.09",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.01.22.45",295.7,295.60000000000002,0.5]
["2012.01.03.01.23.21",295.7,295.60000000000002,0.5]
["2012.01.03.01.23.57",295.7,295.5,0.49]
["2012.01.03.01.24.33",295.7,295.5,0.5]
["2012.01.03.01.25.09",295.7,295.7,0.5]
["2012.01.03.01.25.45",295.7,295.60000000000002,0.5]
["2012.01.03.01.26.21",295.7,295.60000000000002,0.5]
["2012.01.03.01.26.57",295.7,295.39999999999998,0.5]
["2012.01.03.01.27.33",295.7,295.60000000000002,0.5]
["2012.01.03.01.28.09",295.7,295.5,0.5]
["2012.01.03.01.28.45",295.7,295.60000000000002,0.5]
["2012.01.03.01.29.21",295.7,295.60000000000002,0.5]
["2012.01.03.01.29.57",295.7,295.5,0.5]
["2012.01.03.01.30.33",295.7,295.60000000000002,0.5]
["2012.01.03.01.31.09",295.7,295.5,0.5]
["2012.01.03.01.31.45",295.7,295.5,0.49]
["2012.01.03.01.32.21",295.7,295.60000000000002,0.49]
["2012.01.03.01.32.57",295.7,295.5,0.5]
["2012.01.03.01.33.33",295.7,295.5,0.5]
["2012.01.03.01.34.09",295.7,295.60000000000002,0.5]
["2012.01.03.01.34.45",295.7,295.7,0.5]
["2012.01.03.01.35.21",295.7,295.60000000000002,0.5]
["2012.01.03.01.35.57",295.7,295.60000000000002,0.5]
["2012.01.03.01.36.33",295.7,295.60000000000002,0.5]
["2012.01.03.01.37.09",295.89999999999998,295.60000000000002,0.49]
["2012.01.03.01.37.45",295.7,295.60000000000002,0.49]
["2012.01.03.01.38.21",295.7,295.5,0.5]
["2012.01.03.01.38.57",295.7,295.5,0.5]
["2012.01.03.01.39.33",295.7,295.5,0.5]
["2012.01.03.01.40.09",295.8,295.5,0.5]
["2012.01.03.01.40.45",295.7,295.60000000000002,0.49]
["2012.01.03.01.41.21",295.7,295.60000000000002,0.5]
["2012.01.03.01.41.58",295.7,295.60000000000002,0.5]
["2012.01.03.01.42.34",295.7,295.5,0.5]
["2012.01.03.01.43.10",295.7,295.5,0.5]
["2012.01.03.01.43.46",295.7,295.5,0.5]
["2012.01.03.01.44.22",295.7,295.60000000000002,0.5]
["2012.01.03.01.44.58",295.7,295.5,0.5]
["2012.01.03.01.45.34",295.7,295.5,0.5]
["2012.01.03.01.46.10",295.7,295.39999999999998,0.5]
["2012.01.03.01.46.46",295.7,295.5,0.5]
["2012.01.03.01.47.22",295.7,295.5,0.5]
["2012.01.03.01.47.58",295.7,295.5,0.5]
["2012.01.03.01.48.34",295.60000000000002,295.5,0.5]
["2012.01.03.01.49.10",295.7,295.5,0.5]
["2012.01.03.01.49.46",295.7,295.5,0.5]
["2012.01.03.01.50.22",295.60000000000002,295.5,0.5]
["2012.01.03.01.50.58",295.7,295.60000000000002,0.5]
["2012.01.03.01.51.34",295.60000000000002,295.5,0.5]
["2012.01.03.01.52.10",295.7,295.60000000000002,0.5]
["2012.01.03.01.52.46",295.7,295.60000000000002,0.5]
["2012.01.03.01.53.22",295.60000000000002,295.5,0.49]
["2012.01.03.01.53.58",295.7,295.5,0.5]
["2012.01.03.01.54.34",295.7,295.7,0.5]
["2012.01.03.01.55.10",295.7,295.5,0.49]
["2012.01.03.01.55.46",295.7,295.60000000000002,0.5]
["2012.01.03.01.56.22",295.7,295.60000000000002,0.49]
["2012.01.03.01.56.58",295.7,295.5,0.49]
["2012.01.03.01.57.34",295.7,295.5,0.5]
["2012.01.03.01.58.10",295.60000000000002,295.5,0.5]
["2012.01.03.01.58.46",295.60000000000002,295.5,0.49]
["2012.01.03.01.59.22",295.7,295.5,0.49]
["2012.01.03.01.59.58",295.7,295.5,0.49]
["2012.01.03.02.00.34",295.8,295.60000000000002,0.5]
["2012.01.03.02.01.10",295.7,295.5,0.49]
["2012.01.03.02.01.46",295.7,295.5,0.49]
["2012.01.03.02.02.22",295.7,295.60000000000002,0.49]
["2012.01.03.02.02.58",295.7,295.60000000000002,0.49]
["2012.01.03.02.03.34",295.7,295.5,0.49]
["2012.01.03.02.04.10",295.7,295.5,0.49]
["2012.01.03.02.04.46",295.7,295.5,0.49]
["2012.01.03.02.05.22",295.7,295.5,0.5]
["2012.01.03.02.05.58",295.60000000000002,295.5,0.5]
["2012.01.03.02.06.34",295.7,295.60000000000002,0.49]
["2012.01.03.02.07.10",295.60000000000002,295.5,0.49]
["2012.01.03.02.07.46",295.60000000000002,295.5,0.5]
["2012.01.03.02.08.22",295.8,295.60000000000002,0.5]
["2012.01.03.02.08.58",295.7,295.5,0.49]
["2012.01.03.02.09.34",295.7,295.5,0.49]
["2012.01.03.02.10.10",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.02.10.46",295.7,295.5,0.49]
["2012.01.03.02.11.22",295.7,295.5,0.5]
["2012.01.03.02.11.58",295.7,295.5,0.5]
["2012.01.03.02.12.34",295.7,295.5,0.5]
["2012.01.03.02.13.10",295.60000000000002,295.5,0.49]
["2012.01.03.02.13.46",295.60000000000002,295.5,0.49]
["2012.01.03.02.14.22",295.7,295.5,0.5]
["2012.01.03.02.14.58",295.7,295.60000000000002,0.5]
["2012.01.03.02.15.34",295.7,295.5,0.49]
["2012.01.03.02.16.10",295.7,295.5,0.5]
["2012.01.03.02.16.46",295.60000000000002,295.5,0.5]
["2012.01.03.02.17.22",295.7,295.39999999999998,0.49]
["2012.01.03.02.17.58",295.60000000000002,295.5,0.5]
["2012.01.03.02.18.34",295.7,295.60000000000002,0.49]
["2012.01.03.02.19.10",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.02.19.46",295.7,295.60000000000002,0.49]
["2012.01.03.02.20.22",295.60000000000002,295.5,0.49]
["2012.01.03.02.20.58",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.02.21.34",295.60000000000002,295.5,0.49]
["2012.01.03.02.22.10",295.60000000000002,295.5,0.5]
["2012.01.03.02.22.46",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.02.23.22",295.60000000000002,295.5,0.5]
["2012.01.03.02.23.58",295.7,295.5,0.49]
["2012.01.03.02.24.34",295.60000000000002,295.5,0.5]
["2012.01.03.02.25.10",295.7,295.5,0.5]
["2012.01.03.02.25.46",295.60000000000002,295.5,0.5]
["2012.01.03.02.26.22",295.60000000000002,295.5,0.49]
["2012.01.03.02.26.58",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.02.27.34",295.7,295.5,0.5]
["2012.01.03.02.28.10",295.8,295.60000000000002,0.5]
["2012.01.03.02.28.47",295.60000000000002,295.5,0.5]
["2012.01.03.02.29.23",295.7,295.60000000000002,0.5]
["2012.01.03.02.29.59",295.7,295.5,0.5]
["2012.01.03.02.30.35",295.7,295.60000000000002,0.5]
["2012.01.03.02.31.11",295.7,295.60000000000002,0.5]
["2012.01.03.02.31.47",295.60000000000002,295.5,0.49]
["2012.01.03.02.32.23",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.02.32.59",295.7,295.5,0.49]
["2012.01.03.02.33.35",295.7,295.5,0.49]
["2012.01.03.02.34.11",295.7,295.5,0.5]
["2012.01.03.02.34.47",295.7,295.5,0.5]
["2012.01.03.02.35.23",295.60000000000002,295.5,0.5]
["2012.01.03.02.35.59",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.02.36.35",295.7,295.5,0.49]
["2012.01.03.02.37.11",295.60000000000002,295.5,0.49]
["2012.01.03.02.37.47",295.7,295.60000000000002,0.5]
["2012.01.03.02.38.23",295.60000000000002,295.5,0.5]
["2012.01.03.02.38.59",295.7,295.5,0.5]
["2012.01.03.02.39.35",295.7,295.5,0.5]
["2012.01.03.02.40.11",295.60000000000002,295.5,0.49]
["2012.01.03.02.40.47",295.7,295.60000000000002,0.5]
["2012.01.03.02.41.23",295.7,295.5,0.49]
["2012.01.03.02.41.59",295.60000000000002,295.5,0.49]
["2012.01.03.02.42.35",295.8,295.5,0.49]
["2012.01.03.02.43.11",295.60000000000002,295.5,0.5]
["2012.01.03.02.43.47",295.7,295.5,0.5]
["2012.01.03.02.44.23",295.60000000000002,295.5,0.49]
["2012.01.03.02.44.59",295.7,295.5,0.49]
["2012.01.03.02.45.35",295.7,295.5,0.49]
["2012.01.03.02.46.11",295.7,295.60000000000002,0.5]
["2012.01.03.02.46.47",295.8,295.60000000000002,0.49]
["2012.01.03.02.47.23",295.7,295.5,0.49]
["2012.01.03.02.47.59",295.7,"-----",0.49]
["2012.01.03.02.48.35",295.60000000000002,295.5,0.49]
["2012.01.03.02.49.11",295.7,295.5,0.5]
["2012.01.03.02.49.47",295.7,295.60000000000002,0.5]
["2012.01.03.02.50.23",295.7,295.5,0.5]
["2012.01.03.02.50.59",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.02.51.35",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.02.52.11",295.7,295.60000000000002,0.5]
["2012.01.03.02.52.47",295.7,295.5,0.5]
["2012.01.03.02.53.23",295.7,295.5,0.5]
["2012.01.03.02.53.59",295.7,295.60000000000002,0.5]
["2012.01.03.02.54.35",295.7,295.5,0.5]
["2012.01.03.02.55.11",295.7,295.5,0.5]
["2012.01.03.02.55.47",295.7,295.5,0.49]
["2012.01.03.02.56.23",295.7,295.60000000000002,0.5]
["2012.01.03.02.56.59",295.7,295.5,0.5]
["2012.01.03.02.57.35",295.60000000000002,295.5,0.5]
["2012.01.03.02.58.11",295.7,295.60000000000002,0.5]
["2012.01.03.02.58.47",295.7,295.5,0.5]
["2012.01.03.02.59.23",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.02.59.59",295.7,295.5,0.5]
["2012.01.03.03.00.35",295.7,295.5,0.5]
["2012.01.03.03.01.11",295.7,295.60000000000002,0.5]
["2012.01.03.03.01.47",295.7,295.60000000000002,0.5]
["2012.01.03.03.02.23",295.8,295.60000000000002,0.5]
["2012.01.03.03.03.00",295.7,295.5,0.5]
["2012.01.03.03.03.36",295.7,295.60000000000002,0.5]
["2012.01.03.03.04.12",295.7,295.5,0.5]
["2012.01.03.03.04.48",295.7,295.5,0.49]
["2012.01.03.03.05.24",295.7,295.5,0.49]
["2012.01.03.03.06.00",295.7,295.5,0.49]
["2012.01.03.03.06.36",295.7,295.60000000000002,0.5]
["2012.01.03.03.07.12",295.7,295.60000000000002,0.5]
["2012.01.03.03.07.48",295.7,295.5,0.5]
["2012.01.03.03.08.24",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.09.00",295.7,295.5,0.5]
["2012.01.03.03.09.36",295.7,295.60000000000002,0.5]
["2012.01.03.03.10.12",295.7,295.60000000000002,0.49]
["2012.01.03.03.10.48",295.7,295.7,0.5]
["2012.01.03.03.11.24",295.7,295.60000000000002,0.5]
["2012.01.03.03.12.00",295.60000000000002,295.5,0.5]
["2012.01.03.03.12.36",295.7,295.5,0.5]
["2012.01.03.03.13.12",295.60000000000002,295.5,0.5]
["2012.01.03.03.13.48",295.7,295.60000000000002,0.5]
["2012.01.03.03.14.24",295.7,295.5,0.5]
["2012.01.03.03.15.00",295.60000000000002,295.5,0.5]
["2012.01.03.03.15.36",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.03.16.12",295.7,295.5,0.5]
["2012.01.03.03.16.48",295.7,295.60000000000002,0.5]
["2012.01.03.03.17.24",295.7,295.60000000000002,0.5]
["2012.01.03.03.18.00",295.60000000000002,295.5,0.5]
["2012.01.03.03.18.36",295.7,295.5,0.5]
["2012.01.03.03.19.12",295.7,295.5,0.5]
["2012.01.03.03.19.48",295.7,295.5,0.5]
["2012.01.03.03.20.24",295.7,295.5,0.5]
["2012.01.03.03.21.00",295.7,295.60000000000002,0.5]
["2012.01.03.03.21.36",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.22.12",295.7,295.5,0.5]
["2012.01.03.03.22.48",295.7,295.5,0.5]
["2012.01.03.03.23.24",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.03.24.00",295.7,295.5,0.5]
["2012.01.03.03.24.36",295.7,295.5,0.5]
["2012.01.03.03.25.12",295.60000000000002,295.5,0.5]
["2012.01.03.03.25.48",295.7,295.5,0.5]
["2012.01.03.03.26.24",295.7,295.5,0.5]
["2012.01.03.03.27.00",295.7,295.60000000000002,0.5]
["2012.01.03.03.27.36",295.7,295.5,0.5]
["2012.01.03.03.28.12",295.60000000000002,295.5,0.5]
["2012.01.03.03.28.48",295.60000000000002,295.5,0.5]
["2012.01.03.03.29.24",295.60000000000002,295.5,0.5]
["2012.01.03.03.30.00",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.30.36",295.7,295.5,0.5]
["2012.01.03.03.31.12",295.7,295.39999999999998,0.5]
["2012.01.03.03.31.48",295.7,295.60000000000002,0.5]
["2012.01.03.03.32.24",295.7,295.5,0.5]
["2012.01.03.03.33.00",295.7,295.60000000000002,0.5]
["2012.01.03.03.33.36",295.7,295.5,0.5]
["2012.01.03.03.34.12",295.7,295.5,0.5]
["2012.01.03.03.34.48",295.7,295.39999999999998,0.5]
["2012.01.03.03.35.24",295.7,295.5,0.5]
["2012.01.03.03.36.00",295.7,295.60000000000002,0.5]
["2012.01.03.03.36.36",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.37.12",295.7,295.5,0.5]
["2012.01.03.03.37.48",295.7,295.5,0.5]
["2012.01.03.03.38.24",295.7,295.60000000000002,0.5]
["2012.01.03.03.39.00",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.39.36",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.40.12",295.7,295.5,0.5]
["2012.01.03.03.40.48",295.7,295.60000000000002,0.5]
["2012.01.03.03.41.24",295.8,295.5,0.5]
["2012.01.03.03.42.00",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.42.36",295.7,295.5,0.5]
["2012.01.03.03.43.12",295.7,295.5,0.5]
["2012.01.03.03.43.48",295.7,295.5,0.5]
["2012.01.03.03.44.24",295.7,295.5,0.49]
["2012.01.03.03.45.00",295.7,295.60000000000002,0.5]
["2012.01.03.03.45.36",295.7,295.60000000000002,0.5]
["2012.01.03.03.46.13",295.7,295.60000000000002,0.5]
["2012.01.03.03.46.49",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.47.25",295.7,295.5,0.5]
["2012.01.03.03.48.01",295.7,295.60000000000002,0.5]
["2012.01.03.03.48.37",295.7,295.5,0.5]
["2012.01.03.03.49.13",295.8,295.60000000000002,0.5]
["2012.01.03.03.49.49",295.7,295.5,0.49]
["2012.01.03.03.50.25",295.60000000000002,295.5,0.49]
["2012.01.03.03.51.01",295.7,295.5,0.49]
["2012.01.03.03.51.37",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.03.52.13",295.7,295.5,0.5]
["2012.01.03.03.52.49",295.7,295.60000000000002,0.5]
["2012.01.03.03.53.25",295.7,295.5,0.5]
["2012.01.03.03.54.01",295.7,295.60000000000002,0.5]
["2012.01.03.03.54.37",295.7,295.5,0.49]
["2012.01.03.03.55.13",295.60000000000002,295.5,0.5]
["2012.01.03.03.55.49",295.60000000000002,295.5,0.49]
["2012.01.03.03.56.25",295.7,295.60000000000002,0.5]
["2012.01.03.03.57.01",295.7,295.60000000000002,0.5]
["2012.01.03.03.57.37",295.7,295.5,0.5]
["2012.01.03.03.58.13",295.7,295.39999999999998,0.5]
["2012.01.03.03.58.49",295.7,295.5,0.5]
["2012.01.03.03.59.25",295.7,295.5,0.5]
["2012.01.03.04.00.01",295.7,295.5,0.49]
["2012.01.03.04.00.37",295.60000000000002,295.5,0.5]
["2012.01.03.04.01.13",295.7,295.5,0.5]
["2012.01.03.04.01.49",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.04.02.25",295.60000000000002,295.5,0.5]
["2012.01.03.04.03.01",295.7,295.60000000000002,0.5]
["2012.01.03.04.03.37",295.7,295.5,0.5]
["2012.01.03.04.04.13",295.7,295.5,0.5]
["2012.01.03.04.04.49",295.7,295.60000000000002,0.5]
["2012.01.03.04.05.25",295.7,295.5,0.49]
["2012.01.03.04.06.01",295.7,295.39999999999998,0.49]
["2012.01.03.04.06.37",295.7,295.5,0.5]
["2012.01.03.04.07.13",295.60000000000002,295.5,0.5]
["2012.01.03.04.07.49",295.7,295.5,0.49]
["2012.01.03.04.08.25",295.7,295.60000000000002,0.5]
["2012.01.03.04.09.01",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.04.09.37",295.7,295.5,0.49]
["2012.01.03.04.10.13",295.7,295.5,0.49]
["2012.01.03.04.10.49",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.04.11.25",295.7,295.5,0.49]
["2012.01.03.04.12.01",295.7,295.60000000000002,0.49]
["2012.01.03.04.12.37",295.8,295.5,0.5]
["2012.01.03.04.13.13",295.7,295.5,0.49]
["2012.01.03.04.13.49",295.7,295.5,0.49]
["2012.01.03.04.14.25",295.7,295.5,0.49]
["2012.01.03.04.15.01",295.7,295.5,0.49]
["2012.01.03.04.15.37",295.7,295.5,0.5]
["2012.01.03.04.16.13",295.7,295.60000000000002,0.5]
["2012.01.03.04.16.49",295.7,295.5,0.5]
["2012.01.03.04.17.25",295.60000000000002,295.5,0.49]
["2012.01.03.04.18.01",295.60000000000002,295.5,0.49]
["2012.01.03.04.18.37",295.7,295.60000000000002,0.49]
["2012.01.03.04.19.13",295.60000000000002,295.5,0.49]
["2012.01.03.04.19.49",295.7,295.60000000000002,0.49]
["2012.01.03.04.20.25",295.60000000000002,295.5,0.5]
["2012.01.03.04.21.01",295.7,295.5,0.5]
["2012.01.03.04.21.37",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.04.22.13",295.7,295.60000000000002,0.5]
["2012.01.03.04.22.49",295.7,295.60000000000002,0.49]
["2012.01.03.04.23.25",295.7,295.5,0.5]
["2012.01.03.04.24.01",295.60000000000002,295.39999999999998,0.49]
["2012.01.03.04.24.37",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.04.25.13",295.7,295.60000000000002,0.49]
["2012.01.03.04.25.49",295.7,295.5,0.5]
["2012.01.03.04.26.25",295.7,295.5,0.5]
["2012.01.03.04.27.01",295.7,295.5,0.5]
["2012.01.03.04.27.37",295.7,295.7,0.49]
["2012.01.03.04.28.13",295.8,295.5,0.49]
["2012.01.03.04.28.49",295.7,295.5,0.49]
["2012.01.03.04.29.25",295.60000000000002,295.5,0.49]
["2012.01.03.04.30.01",295.7,295.5,0.5]
["2012.01.03.04.30.37",295.7,295.60000000000002,0.49]
["2012.01.03.04.31.13",295.7,295.5,0.49]
["2012.01.03.04.31.49",295.7,295.5,0.49]
["2012.01.03.04.32.26",295.7,295.5,0.49]
["2012.01.03.04.33.02",295.60000000000002,295.5,0.49]
["2012.01.03.04.33.38",295.7,295.5,0.5]
["2012.01.03.04.34.14",295.7,295.60000000000002,0.5]
["2012.01.03.04.34.50",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.04.35.26",295.8,295.5,0.5]
["2012.01.03.04.36.02",295.7,295.5,0.49]
["2012.01.03.04.36.38",295.7,295.5,0.49]
["2012.01.03.04.37.14",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.04.37.50",295.7,295.7,0.49]
["2012.01.03.04.38.26",295.7,295.60000000000002,0.49]
["2012.01.03.04.39.02",295.7,295.5,0.5]
["2012.01.03.04.39.38",295.60000000000002,295.5,0.49]
["2012.01.03.04.40.14",295.7,295.5,0.49]
["2012.01.03.04.40.50",295.60000000000002,295.5,0.49]
["2012.01.03.04.41.26",295.7,295.5,0.49]
["2012.01.03.04.42.02",295.7,295.5,0.49]
["2012.01.03.04.42.38",295.7,295.5,0.5]
["2012.01.03.04.43.14",295.7,295.5,0.5]
["2012.01.03.04.43.50",295.7,295.5,0.49]
["2012.01.03.04.44.26",295.60000000000002,295.5,0.49]
["2012.01.03.04.45.02",295.60000000000002,295.5,0.49]
["2012.01.03.04.45.38",295.7,295.5,0.49]
["2012.01.03.04.46.14",295.7,295.60000000000002,0.49]
["2012.01.03.04.46.50",295.7,295.5,0.49]
["2012.01.03.04.47.26",295.7,295.5,0.5]
["2012.01.03.04.48.02",295.7,295.5,0.49]
["2012.01.03.04.48.38",295.60000000000002,295.5,0.49]
["2012.01.03.04.49.14",295.7,295.5,0.49]
["2012.01.03.04.49.50",295.7,295.5,0.49]
["2012.01.03.04.50.26",295.60000000000002,295.5,0.49]
["2012.01.03.04.51.02",295.60000000000002,295.5,0.49]
["2012.01.03.04.51.38",295.7,295.60000000000002,0.49]
["2012.01.03.04.52.14",295.7,295.39999999999998,0.49]
["2012.01.03.04.52.50",295.7,295.5,0.49]
["2012.01.03.04.53.26",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.04.54.02",295.7,295.5,0.49]
["2012.01.03.04.54.38",295.60000000000002,295.5,0.49]
["2012.01.03.04.55.14",295.7,295.60000000000002,0.5]
["2012.01.03.04.55.50",295.7,295.5,0.49]
["2012.01.03.04.56.26",295.7,295.5,0.49]
["2012.01.03.04.57.02",295.7,295.5,0.49]
["2012.01.03.04.57.38",295.7,295.5,0.49]
["2012.01.03.04.58.14",295.7,295.5,0.5]
["2012.01.03.04.58.50",295.7,295.5,0.5]
["2012.01.03.04.59.26",295.7,295.5,0.49]
["2012.01.03.05.00.02",295.7,295.39999999999998,0.49]
["2012.01.03.05.00.38",295.7,295.5,0.49]
["2012.01.03.05.01.14",295.7,295.5,0.49]
["2012.01.03.05.01.50",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.05.02.26",295.7,295.5,0.49]
["2012.01.03.05.03.02",295.60000000000002,295.5,0.49]
["2012.01.03.05.03.38",295.7,295.60000000000002,0.5]
["2012.01.03.05.04.14",295.60000000000002,295.5,0.49]
["2012.01.03.05.04.50",295.7,295.5,0.5]
["2012.01.03.05.05.26",295.60000000000002,295.5,0.5]
["2012.01.03.05.06.02",295.7,295.5,0.5]
["2012.01.03.05.06.38",295.8,295.5,0.49]
["2012.01.03.05.07.14",295.7,295.5,0.5]
["2012.01.03.05.07.50",295.8,295.39999999999998,0.49]
["2012.01.03.05.08.26",295.60000000000002,295.5,0.49]
["2012.01.03.05.09.02",295.7,295.60000000000002,0.49]
["2012.01.03.05.09.38",295.7,295.60000000000002,0.49]
["2012.01.03.05.10.14",295.7,295.60000000000002,0.5]
["2012.01.03.05.10.50",295.7,295.5,0.5]
["2012.01.03.05.11.26",295.7,295.5,0.49]
["2012.01.03.05.12.02",295.7,295.60000000000002,0.49]
["2012.01.03.05.12.38",295.60000000000002,295.5,0.49]
["2012.01.03.05.13.14",295.60000000000002,295.5,0.5]
["2012.01.03.05.13.50",295.7,295.60000000000002,0.5]
["2012.01.03.05.14.26",295.8,295.60000000000002,0.49]
["2012.01.03.05.15.02",295.7,295.60000000000002,0.5]
["2012.01.03.05.15.39",295.7,295.5,0.5]
["2012.01.03.05.16.15",295.7,295.5,0.5]
["2012.01.03.05.16.51",295.7,295.60000000000002,0.5]
["2012.01.03.05.17.27",295.7,295.5,0.5]
["2012.01.03.05.18.03",295.7,295.5,0.49]
["2012.01.03.05.18.39",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.05.19.15",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.05.19.51",295.7,295.5,0.5]
["2012.01.03.05.20.27",295.7,295.60000000000002,0.5]
["2012.01.03.05.21.03",295.8,295.5,0.5]
["2012.01.03.05.21.39",295.7,295.5,0.5]
["2012.01.03.05.22.15",295.8,295.5,0.5]
["2012.01.03.05.22.51",295.7,295.5,0.5]
["2012.01.03.05.23.27",295.7,295.5,0.5]
["2012.01.03.05.24.03",295.7,295.60000000000002,0.5]
["2012.01.03.05.24.39",295.7,295.60000000000002,0.49]
["2012.01.03.05.25.15",295.7,295.5,0.5]
["2012.01.03.05.25.51",295.60000000000002,295.5,0.5]
["2012.01.03.05.26.27",295.7,295.5,0.5]
["2012.01.03.05.27.03",295.7,295.5,0.5]
["2012.01.03.05.27.39",295.60000000000002,295.5,0.5]
["2012.01.03.05.28.15",295.7,295.60000000000002,0.49]
["2012.01.03.05.28.51",295.7,295.60000000000002,0.5]
["2012.01.03.05.29.27",295.7,295.5,0.5]
["2012.01.03.05.30.03",295.8,295.5,0.5]
["2012.01.03.05.30.39",295.7,295.5,0.49]
["2012.01.03.05.31.15",295.7,295.5,0.5]
["2012.01.03.05.31.51",295.60000000000002,295.5,0.5]
["2012.01.03.05.32.27",295.7,295.5,0.5]
["2012.01.03.05.33.03",295.60000000000002,295.60000000000002,0.49]
["2012.01.03.05.33.39",295.8,295.5,0.5]
["2012.01.03.05.34.15",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.05.34.51",295.60000000000002,295.5,0.49]
["2012.01.03.05.35.27",295.60000000000002,295.5,0.5]
["2012.01.03.05.36.03",295.7,295.5,0.5]
["2012.01.03.05.36.39",295.7,295.5,0.5]
["2012.01.03.05.37.15",295.7,295.5,0.49]
["2012.01.03.05.37.51",295.7,295.5,0.5]
["2012.01.03.05.38.27",295.60000000000002,295.5,0.5]
["2012.01.03.05.39.03",295.7,295.5,0.5]
["2012.01.03.05.39.39",295.7,295.60000000000002,0.5]
["2012.01.03.05.40.15",295.60000000000002,295.5,0.5]
["2012.01.03.05.40.51",295.7,295.5,0.5]
["2012.01.03.05.41.27",295.60000000000002,295.5,0.5]
["2012.01.03.05.42.03",295.60000000000002,295.5,0.5]
["2012.01.03.05.42.39",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.05.43.15",295.60000000000002,295.5,0.5]
["2012.01.03.05.43.51",295.7,295.5,0.5]
["2012.01.03.05.44.27",295.7,295.60000000000002,0.5]
["2012.01.03.05.45.03",295.7,295.5,0.49]
["2012.01.03.05.45.39",295.7,295.5,0.5]
["2012.01.03.05.46.15",295.60000000000002,295.5,0.5]
["2012.01.03.05.46.51",295.7,295.5,0.5]
["2012.01.03.05.47.27",295.7,295.60000000000002,0.5]
["2012.01.03.05.48.03",295.7,295.5,0.5]
["2012.01.03.05.48.39",295.7,295.5,0.5]
["2012.01.03.05.49.15",295.8,295.5,0.5]
["2012.01.03.05.49.51",295.7,295.5,0.5]
["2012.01.03.05.50.27",295.7,295.5,0.5]
["2012.01.03.05.51.03",295.60000000000002,295.5,0.5]
["2012.01.03.05.51.39",295.7,295.5,0.5]
["2012.01.03.05.52.15",295.7,295.5,0.5]
["2012.01.03.05.52.51",295.60000000000002,295.5,0.5]
["2012.01.03.05.53.27",295.60000000000002,295.5,0.5]
["2012.01.03.05.54.03",295.7,295.39999999999998,0.5]
["2012.01.03.05.54.39",295.60000000000002,295.5,0.5]
["2012.01.03.05.55.15",295.7,295.5,0.49]
["2012.01.03.05.55.51",295.7,295.5,0.49]
["2012.01.03.05.56.27",295.7,295.5,0.49]
["2012.01.03.05.57.03",295.7,295.5,0.5]
["2012.01.03.05.57.39",295.60000000000002,295.5,0.5]
["2012.01.03.05.58.15",295.60000000000002,295.5,0.5]
["2012.01.03.05.58.51",295.7,295.5,0.5]
["2012.01.03.05.59.27",295.7,295.5,0.5]
["2012.01.03.06.00.03",295.7,295.5,0.5]
["2012.01.03.06.00.39",295.7,295.5,0.5]
["2012.01.03.06.01.15",295.7,295.60000000000002,0.5]
["2012.01.03.06.01.51",295.7,295.5,0.49]
["2012.01.03.06.02.28",295.60000000000002,295.5,0.5]
["2012.01.03.06.03.04",295.7,295.60000000000002,0.5]
["2012.01.03.06.03.40",295.7,295.5,0.5]
["2012.01.03.06.04.16",295.7,295.39999999999998,0.5]
["2012.01.03.06.04.52",295.7,295.60000000000002,0.5]
["2012.01.03.06.05.28",295.7,295.60000000000002,0.5]
["2012.01.03.06.06.04",295.7,295.5,0.5]
["2012.01.03.06.06.40",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.06.07.16",295.7,295.60000000000002,0.5]
["2012.01.03.06.07.52",295.7,295.5,0.49]
["2012.01.03.06.08.28",295.7,295.5,0.5]
["2012.01.03.06.09.04",295.60000000000002,295.5,0.5]
["2012.01.03.06.09.40",295.60000000000002,295.5,0.49]
["2012.01.03.06.10.16",295.7,295.5,0.5]
["2012.01.03.06.10.52",295.60000000000002,295.5,0.5]
["2012.01.03.06.11.28",295.7,295.60000000000002,0.5]
["2012.01.03.06.12.04",295.7,295.5,0.5]
["2012.01.03.06.12.40",295.7,295.60000000000002,0.5]
["2012.01.03.06.13.16",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.13.52",295.60000000000002,295.5,0.5]
["2012.01.03.06.14.28",295.7,295.60000000000002,0.5]
["2012.01.03.06.15.04",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.06.15.40",295.7,295.5,0.5]
["2012.01.03.06.16.16",295.60000000000002,295.5,0.5]
["2012.01.03.06.16.52",295.60000000000002,295.5,0.5]
["2012.01.03.06.17.28",295.60000000000002,295.5,0.5]
["2012.01.03.06.18.04",295.7,295.5,0.5]
["2012.01.03.06.18.40",295.60000000000002,295.5,0.5]
["2012.01.03.06.19.16",295.60000000000002,295.5,0.5]
["2012.01.03.06.19.52",295.7,295.5,0.5]
["2012.01.03.06.20.28",295.7,295.5,0.5]
["2012.01.03.06.21.04",295.60000000000002,295.5,0.5]
["2012.01.03.06.21.40",295.7,295.5,0.5]
["2012.01.03.06.22.16",295.60000000000002,295.5,0.5]
["2012.01.03.06.22.52",295.60000000000002,295.5,0.5]
["2012.01.03.06.23.28",295.7,295.60000000000002,0.5]
["2012.01.03.06.24.04",295.7,295.5,0.5]
["2012.01.03.06.24.40",295.7,295.39999999999998,0.5]
["2012.01.03.06.25.16",295.60000000000002,295.5,0.5]
["2012.01.03.06.25.52",295.60000000000002,295.5,0.5]
["2012.01.03.06.26.28",295.60000000000002,295.5,0.5]
["2012.01.03.06.27.04",295.60000000000002,295.5,0.5]
["2012.01.03.06.27.40",295.60000000000002,295.5,0.5]
["2012.01.03.06.28.16",295.7,295.5,0.5]
["2012.01.03.06.28.52",295.7,295.5,0.5]
["2012.01.03.06.29.28",295.60000000000002,295.5,0.5]
["2012.01.03.06.30.04",295.7,295.7,0.5]
["2012.01.03.06.30.40",295.7,295.5,0.5]
["2012.01.03.06.31.16",295.7,295.5,0.5]
["2012.01.03.06.31.52",295.7,295.5,0.5]
["2012.01.03.06.32.29",295.7,295.5,0.5]
["2012.01.03.06.33.05",295.7,295.5,0.5]
["2012.01.03.06.33.41",295.60000000000002,295.5,0.5]
["2012.01.03.06.34.17",295.60000000000002,295.5,0.5]
["2012.01.03.06.34.53",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.06.35.29",295.60000000000002,295.5,0.5]
["2012.01.03.06.36.05",295.7,295.5,0.5]
["2012.01.03.06.36.41",295.7,295.5,0.5]
["2012.01.03.06.37.17",295.7,295.5,0.5]
["2012.01.03.06.37.53",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.38.29",295.7,295.5,0.51]
["2012.01.03.06.39.05",295.60000000000002,295.5,0.51]
["2012.01.03.06.39.41",295.60000000000002,295.5,0.5]
["2012.01.03.06.40.17",295.60000000000002,295.39999999999998,0.51]
["2012.01.03.06.40.53",295.60000000000002,295.5,0.5]
["2012.01.03.06.41.29",295.60000000000002,295.39999999999998,0.51]
["2012.01.03.06.42.05",295.60000000000002,295.5,0.5]
["2012.01.03.06.42.41",295.7,295.5,0.5]
["2012.01.03.06.43.17",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.06.43.53",295.7,295.5,0.5]
["2012.01.03.06.44.29",295.60000000000002,295.5,0.5]
["2012.01.03.06.45.05",295.7,295.5,0.5]
["2012.01.03.06.45.41",295.7,295.60000000000002,0.5]
["2012.01.03.06.46.17",295.60000000000002,295.5,0.5]
["2012.01.03.06.46.53",295.7,295.60000000000002,0.5]
["2012.01.03.06.47.29",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.48.05",295.39999999999998,295.3,0.5]
["2012.01.03.06.48.41",295.5,295.3,0.5]
["2012.01.03.06.49.17",295.5,295.3,0.5]
["2012.01.03.06.49.53",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.50.29",295.5,295.5,0.5]
["2012.01.03.06.51.05",295.60000000000002,295.5,0.51]
["2012.01.03.06.51.41",295.60000000000002,295.5,0.5]
["2012.01.03.06.52.17",295.60000000000002,295.5,0.5]
["2012.01.03.06.52.53",295.5,295.3,0.5]
["2012.01.03.06.53.29",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.54.05",295.60000000000002,295.5,0.5]
["2012.01.03.06.54.41",295.60000000000002,295.5,0.5]
["2012.01.03.06.55.17",295.60000000000002,295.5,0.5]
["2012.01.03.06.55.53",295.60000000000002,295.5,0.5]
["2012.01.03.06.56.29",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.57.05",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.06.57.41",295.60000000000002,295.5,0.5]
["2012.01.03.06.58.17",295.60000000000002,295.5,0.51]
["2012.01.03.06.58.53",295.60000000000002,295.5,0.5]
["2012.01.03.06.59.29",295.7,295.39999999999998,0.51]
["2012.01.03.07.00.05",295.60000000000002,295.5,0.51]
["2012.01.03.07.00.41",295.60000000000002,295.5,0.5]
["2012.01.03.07.01.17",295.60000000000002,295.5,0.5]
["2012.01.03.07.01.53",295.5,295.5,0.5]
["2012.01.03.07.02.29",295.60000000000002,295.5,0.5]
["2012.01.03.07.03.05",295.60000000000002,295.5,0.5]
["2012.01.03.07.03.41",295.60000000000002,295.5,0.5]
["2012.01.03.07.04.17",295.60000000000002,295.5,0.51]
["2012.01.03.07.04.53",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.07.05.29",295.60000000000002,295.5,0.5]
["2012.01.03.07.06.05",295.60000000000002,295.5,0.5]
["2012.01.03.07.06.41",295.60000000000002,295.5,0.5]
["2012.01.03.07.07.17",295.7,295.5,0.51]
["2012.01.03.07.07.53",295.60000000000002,295.5,0.5]
["2012.01.03.07.08.29",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.07.09.05",295.60000000000002,295.5,0.5]
["2012.01.03.07.09.41",295.60000000000002,295.39999999999998,0.51]
["2012.01.03.07.10.17",295.60000000000002,295.5,0.51]
["2012.01.03.07.10.53",295.60000000000002,295.5,0.5]
["2012.01.03.07.11.29",295.60000000000002,295.5,0.5]
["2012.01.03.07.12.05",295.60000000000002,295.3,0.5]
["2012.01.03.07.12.42",295.5,295.5,0.5]
["2012.01.03.07.13.18",295.60000000000002,295.5,0.5]
["2012.01.03.07.13.54",295.60000000000002,295.5,0.51]
["2012.01.03.07.14.30",295.60000000000002,295.5,0.5]
["2012.01.03.07.15.06",295.7,295.5,0.51]
["2012.01.03.07.15.42",295.60000000000002,295.5,0.51]
["2012.01.03.07.16.18",295.60000000000002,295.39999999999998,0.51]
["2012.01.03.07.16.54",295.5,295.5,0.51]
["2012.01.03.07.17.30",295.5,295.39999999999998,0.5]
["2012.01.03.07.18.06",295.39999999999998,295.5,0.5]
["2012.01.03.07.18.42",295.60000000000002,295.5,0.5]
["2012.01.03.07.19.18",295.3,295.3,0.5]
["2012.01.03.07.19.54",295.3,295.39999999999998,0.5]
["2012.01.03.07.20.30",295.39999999999998,295.5,0.5]
["2012.01.03.07.21.06",295.39999999999998,295.5,0.5]
["2012.01.03.07.21.42",295.5,295.60000000000002,0.5]
["2012.01.03.07.22.18",295.5,295.5,0.5]
["2012.01.03.07.22.54",295.5,295.2,0.5]
["2012.01.03.07.23.30",295.3,295.10000000000002,0.5]
["2012.01.03.07.24.06",295.39999999999998,295.39999999999998,0.5]
["2012.01.03.07.24.42",295.5,295.3,0.5]
["2012.01.03.07.25.18",295.5,295.5,0.5]
["2012.01.03.07.25.54",295.60000000000002,295.5,0.5]
["2012.01.03.07.26.30",295.60000000000002,295.39999999999998,0.5]
["2012.01.03.07.27.06",295.60000000000002,295.5,0.5]
["2012.01.03.07.27.42",295.60000000000002,295.5,0.5]
["2012.01.03.07.28.18",295.7,295.60000000000002,0.5]
["2012.01.03.07.28.54",295.7,295.60000000000002,0.51]
["2012.01.03.07.29.30",295.7,295.5,0.5]
["2012.01.03.07.30.06",295.7,295.60000000000002,0.5]
["2012.01.03.07.30.42",295.60000000000002,295.60000000000002,0.5]
["2012.01.03.07.31.18",295.60000000000002,295.5,0.5]
["2012.01.03.07.31.54",295.60000000000002,295.5,0.5]
["2012.01.03.07.32.30",295.7,295.5,0.5]
["2012.01.03.07.33.06",295.7,295.7,0.5]
["2012.01.03.07.33.42",295.8,295.60000000000002,0.5]
["2012.01.03.07.34.18",295.7,295.5,0.5]
["2012.01.03.07.34.54",295.60000000000002,295.5,0.5]
["2012.01.03.07.35.30",295.7,295.60000000000002,0.51]
["2012.01.03.07.36.06",295.7,295.60000000000002,0.5]
["2012.01.03.07.36.42",295.7,295.60000000000002,0.51]
["2012.01.03.07.37.18",295.7,295.5,0.51]
["2012.01.03.07.37.54",295.7,295.7,0.51]
["2012.01.03.07.38.30",295.8,295.5,0.51]
["2012.01.03.07.39.06",295.7,295.60000000000002,0.51]
["2012.01.03.07.39.42",295.7,295.60000000000002,0.5]
["2012.01.03.07.40.18",295.7,295.60000000000002,0.5]
["2012.01.03.07.40.54",295.7,295.60000000000002,0.5]
["2012.01.03.07.41.30",295.8,295.7,0.51]
["2012.01.03.07.42.06",295.7,295.60000000000002,0.5]
["2012.01.03.07.42.42",295.7,295.60000000000002,0.51]
["2012.01.03.07.43.18",295.7,295.7,0.51]
["2012.01.03.07.43.54",295.8,295.7,0.51]
["2012.01.03.07.44.30",295.8,295.60000000000002,0.51]
["2012.01.03.07.45.06",295.89999999999998,295.60000000000002,0.51]
["2012.01.03.07.45.42",295.7,295.7,0.51]
["2012.01.03.07.46.18",295.8,295.5,0.51]
["2012.01.03.07.46.54",295.8,295.7,0.51]
["2012.01.03.07.47.30",295.8,295.7,0.51]
["2012.01.03.07.48.06",295.8,295.7,0.51]
["2012.01.03.07.48.42",295.8,295.7,0.51]
["2012.01.03.07.49.18",295.8,295.7,0.51]
["2012.01.03.07.49.54",295.7,295.60000000000002,0.51]
["2012.01.03.07.50.30",295.8,295.7,0.51]
["2012.01.03.07.51.06",295.8,295.60000000000002,0.51]
["2012.01.03.07.51.42",295.7,295.60000000000002,0.51]
["2012.01.03.07.52.18",295.8,295.60000000000002,0.51]
["2012.01.03.07.52.54",295.89999999999998,295.60000000000002,0.51]
["2012.01.03.07.53.30",295.8,295.60000000000002,0.51]
["2012.01.03.07.54.06",295.8,295.5,0.51]
["2012.01.03.07.54.42",295.8,295.60000000000002,0.51]
["2012.01.03.07.55.18",295.8,295.7,0.51]
["2012.01.03.07.55.54",295.8,295.5,0.51]
["2012.01.03.07.56.30",295.7,295.7,0.51]
["2012.01.03.07.57.06",295.7,295.60000000000002,0.51]
["2012.01.03.07.57.42",295.7,295.7,0.51]
["2012.01.03.07.58.18",295.7,295.7,0.51]
["2012.01.03.07.58.54",295.8,295.7,0.51]
["2012.01.03.07.59.30",295.7,295.60000000000002,0.51]
["2012.01.03.08.00.06",295.7,295.7,0.51]
["2012.01.03.08.00.42",295.89999999999998,295.7,0.51]
["2012.01.03.08.01.19",295.8,295.7,0.51]
["2012.01.03.08.01.55",295.7,295.5,0.51]
["2012.01.03.08.02.31",295.8,295.7,0.51]
["2012.01.03.08.03.07",295.7,295.60000000000002,0.51]
["2012.01.03.08.03.43",295.7,295.7,0.51]
["2012.01.03.08.04.19",295.89999999999998,295.60000000000002,0.51]
["2012.01.03.08.04.55",295.7,295.60000000000002,0.51]
["2012.01.03.08.05.31",295.7,295.5,0.51]
["2012.01.03.08.06.07",295.7,295.60000000000002,0.51]
["2012.01.03.08.06.43",295.7,295.7,0.51]
["2012.01.03.08.07.19",295.8,295.60000000000002,0.51]
["2012.01.03.08.07.55",295.7,295.7,0.51]
["2012.01.03.08.08.31",295.7,295.7,0.51]
["2012.01.03.08.09.07",295.7,295.60000000000002,0.51]
["2012.01.03.08.09.43",295.8,295.60000000000002,0.51]
["2012.01.03.08.10.19",295.7,295.7,0.51]
["2012.01.03.08.10.55",295.7,295.60000000000002,0.51]
["2012.01.03.08.11.31",295.7,295.7,0.51]
["2012.01.03.08.12.07",295.89999999999998,295.60000000000002,0.51]
["2012.01.03.08.12.43",295.7,295.60000000000002,0.51]
["2012.01.03.08.13.19",295.8,295.5,0.51]
["2012.01.03.08.13.55",295.7,295.7,0.51]
["2012.01.03.08.14.31",295.7,295.7,0.51]
["2012.01.03.08.15.07",295.8,295.7,0.51]
["2012.01.03.08.15.43",295.8,295.7,0.51]
["2012.01.03.08.16.19",295.7,295.60000000000002,0.51]
["2012.01.03.08.16.55",295.8,295.60000000000002,0.51]
["2012.01.03.08.17.31",295.8,295.7,0.51]
["2012.01.03.08.18.07",295.8,295.7,0.51]
["2012.01.03.08.18.43",295.7,295.7,0.51]
["2012.01.03.08.19.19",295.89999999999998,295.8,0.51]
["2012.01.03.08.19.55",296,295.8,0.51]
["2012.01.03.08.20.31",295.8,295.7,0.51]
["2012.01.03.08.21.07",295.89999999999998,295.60000000000002,0.51]
["2012.01.03.08.21.43",295.8,295.7,0.51]
["2012.01.03.08.22.19",295.8,295.7,0.52]
["2012.01.03.08.22.55",295.8,295.7,0.51]
["2012.01.03.08.23.31",295.8,295.8,0.51]
["2012.01.03.08.24.07",296,295.7,0.51]
["2012.01.03.08.24.43",295.8,295.7,0.51]
["2012.01.03.08.25.19",295.8,295.7,0.51]
["2012.01.03.08.25.55",295.8,295.7,0.51]
["2012.01.03.08.26.31",295.89999999999998,295.7,0.51]
["2012.01.03.08.27.07",295.8,295.7,0.51]
["2012.01.03.08.27.43",295.89999999999998,295.7,0.51]
["2012.01.03.08.28.19",295.89999999999998,295.7,0.51]
["2012.01.03.08.28.55",295.8,295.7,0.51]
["2012.01.03.08.29.31",295.8,295.7,0.51]
["2012.01.03.08.30.07",295.8,295.7,0.51]
["2012.01.03.08.30.43",295.8,295.8,0.51]
["2012.01.03.08.31.19",295.8,295.7,0.51]
["2012.01.03.08.31.55",296,295.8,0.51]
["2012.01.03.08.32.31",295.8,295.7,0.51]
["2012.01.03.08.33.07",295.8,295.60000000000002,0.51]
["2012.01.03.08.33.43",295.8,295.7,0.51]
["2012.01.03.08.34.19",295.8,295.7,0.52]
["2012.01.03.08.34.55",295.8,295.7,0.51]
["2012.01.03.08.35.31",295.8,295.7,0.52]
["2012.01.03.08.36.07",295.8,295.7,0.51]
["2012.01.03.08.36.43",295.8,295.7,0.51]
["2012.01.03.08.37.19",295.8,295.89999999999998,0.51]
["2012.01.03.08.37.55",295.89999999999998,295.8,0.51]
["2012.01.03.08.38.31",295.89999999999998,295.7,0.52]
["2012.01.03.08.39.07",295.8,295.7,0.51]
["2012.01.03.08.39.43",296,295.89999999999998,0.52]
["2012.01.03.08.40.19",295.89999999999998,295.7,0.52]
["2012.01.03.08.40.55",295.89999999999998,295.8,0.51]
["2012.01.03.08.41.31",295.89999999999998,295.8,0.52]
["2012.01.03.08.42.07",295.89999999999998,295.7,0.52]
["2012.01.03.08.42.43",295.89999999999998,295.8,0.52]
["2012.01.03.08.43.19",295.89999999999998,295.8,0.51]
["2012.01.03.08.43.55",296,295.8,0.51]
["2012.01.03.08.44.31",295.89999999999998,295.8,0.51]
["2012.01.03.08.45.07",295.89999999999998,295.7,0.52]
["2012.01.03.08.45.43",295.89999999999998,295.7,0.51]
["2012.01.03.08.46.19",295.89999999999998,295.8,0.52]
["2012.01.03.08.46.55",295.89999999999998,295.7,0.51]
["2012.01.03.08.47.31",295.89999999999998,295.7,0.51]
["2012.01.03.08.48.08",295.89999999999998,295.8,0.51]
["2012.01.03.08.48.44",295.89999999999998,295.89999999999998,0.51]
["2012.01.03.08.49.20",295.89999999999998,295.8,0.52]
["2012.01.03.08.49.56",295.89999999999998,295.8,0.51]
["2012.01.03.08.50.32",295.89999999999998,295.8,0.52]
["2012.01.03.08.51.08",295.89999999999998,295.7,0.52]
["2012.01.03.08.51.44",296,295.89999999999998,0.52]
["2012.01.03.08.52.20",295.89999999999998,295.89999999999998,0.51]
["2012.01.03.08.52.56",295.89999999999998,295.7,0.51]
["2012.01.03.08.53.32",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.08.54.08",295.89999999999998,295.8,0.52]
["2012.01.03.08.54.44",295.89999999999998,295.8,0.52]
["2012.01.03.08.55.20",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.08.55.56",296,295.89999999999998,0.52]
["2012.01.03.08.56.32",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.08.57.08",295.89999999999998,295.7,0.51]
["2012.01.03.08.57.44",296,295.8,0.52]
["2012.01.03.08.58.20",295.89999999999998,295.89999999999998,0.51]
["2012.01.03.08.58.56",296,295.8,0.52]
["2012.01.03.08.59.32",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.09.00.08",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.09.00.44",296,295.89999999999998,0.51]
["2012.01.03.09.01.20",295.89999999999998,295.89999999999998,0.51]
["2012.01.03.09.01.56",296,295.89999999999998,0.52]
["2012.01.03.09.02.32",295.89999999999998,295.8,0.52]
["2012.01.03.09.03.08",295.89999999999998,295.8,0.52]
["2012.01.03.09.03.44",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.09.04.20",296,295.8,0.52]
["2012.01.03.09.04.56",296,295.89999999999998,0.52]
["2012.01.03.09.05.32",295.89999999999998,295.89999999999998,0.52]
["2012.01.03.09.06.08",295.89999999999998,295.8,0.52]
["2012.01.03.09.06.44",295.89999999999998,295.89999999999998,0.52]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}