{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":846,"n_cols":9,"rows_kept":846,"cut":false,"hidden":false,"merged":[]}
["Time Stamp","T1","T2","Pr",null,null,"Time","T1","T2"]
["2011.12.13.15.33.13",295.39999999999998,295.10000000000002,0.33,{"$f":"VALUE(MID(A2,6,2)&\"/\"&MID(A2,9,2)&\"/\"&LEFT(A2,4)&\" \"&MID(A2,12,2)&\":\"&MID(A2,15,2)&\":\"&RIGHT(A2,2))","v":"2011-12-13T15:33:13"},null,"2011-12-13T15:00:00",{"$f":"AVERAGE(B2:B46)","v":295.35999999999967},{"$f":"AVERAGE(C2:C46)","v":295.21777777777794}]
["2011.12.13.15.33.49",295.5,295.3,0.33,{"$f":"VALUE(MID(A3,6,2)&\"/\"&MID(A3,9,2)&\"/\"&LEFT(A3,4)&\" \"&MID(A3,12,2)&\":\"&MID(A3,15,2)&\":\"&RIGHT(A3,2))","v":"2011-12-13T15:33:49"},null,"2011-12-13T16:00:00",{"$f":"AVERAGE(B47:B146)","v":295.20499999999976},{"$f":"AVERAGE(C47:C146)","v":295.05300000000022}]
["2011.12.13.15.34.25",295.39999999999998,295.3,0.33,"2011-12-13T15:34:25",null,"2011-12-13T17:00:00",{"$f":"AVERAGE(B147:B246)","v":295.04141414141418},{"$f":"AVERAGE(C147:C246)","v":294.85999999999979}]
["2011.12.13.15.35.01",295.5,295.2,0.33,"2011-12-13T15:35:01",null,"2011-12-13T18:00:00",{"$f":"AVERAGE(B247:B346)","v":295.01414141414176},{"$f":"AVERAGE(C247:C346)","v":294.86399999999975}]
["2011.12.13.15.35.37",295.39999999999998,295.2,0.33,"2011-12-13T15:35:37",null,"2011-12-13T19:00:00",{"$f":"AVERAGE(B347:B446)","v":294.81599999999963},{"$f":"AVERAGE(C347:C446)","v":294.65299999999985}]
["2011.12.13.15.36.13",295.39999999999998,295.2,0.33,"2011-12-13T15:36:13",null,"2011-12-13T20:00:00",{"$f":"AVERAGE(B447:B546)","v":294.80799999999965},{"$f":"AVERAGE(C447:C546)","v":294.63232323232296}]
["2011.12.13.15.36.49",295.3,295.3,0.33,"2011-12-13T15:36:49",null,"2011-12-13T21:00:00",{"$f":"AVERAGE(B547:B646)","v":294.71100000000001},{"$f":"AVERAGE(C547:C646)","v":294.55454545454546}]
["2011.12.13.15.37.25",295.5,295.5,0.33,"2011-12-13T15:37:25",null,"2011-12-13T22:00:00",{"$f":"AVERAGE(B647:B746)","v":294.73699999999997},{"$f":"AVERAGE(C647:C746)","v":294.56499999999966}]
["2011.12.13.15.38.01",295.5,295.3,0.33,"2011-12-13T15:38:01",null,"2011-12-13T23:00:00",{"$f":"AVERAGE(B747:B846)","v":294.73000000000025},{"$f":"AVERAGE(C747:C846)","v":294.56999999999977}]
["2011.12.13.15.38.37",295.5,295.5,0.33,"2011-12-13T15:38:37"]
["2011.12.13.15.39.13",295.5,295.3,0.33,"2011-12-13T15:39:13"]
["2011.12.13.15.39.49",295.5,295.2,0.33,"2011-12-13T15:39:49"]
["2011.12.13.15.40.25",295.39999999999998,295.2,0.33,"2011-12-13T15:40:25"]
["2011.12.13.15.41.01",295.3,295.10000000000002,0.33,"2011-12-13T15:41:01"]
["2011.12.13.15.41.37",295.39999999999998,295.3,0.33,"2011-12-13T15:41:37"]
["2011.12.13.15.42.13",295.39999999999998,295.3,0.33,"2011-12-13T15:42:13"]
["2011.12.13.15.42.49",295.39999999999998,295.3,0.33,"2011-12-13T15:42:49"]
["2011.12.13.15.43.25",295.5,295.3,0.33,"2011-12-13T15:43:25"]
["2011.12.13.15.44.01",295.39999999999998,295.3,0.33,"2011-12-13T15:44:01"]
["2011.12.13.15.44.37",295.39999999999998,295.2,0.33,"2011-12-13T15:44:37"]
["2011.12.13.15.45.13",295.3,295.2,0.34,"2011-12-13T15:45:13"]
["2011.12.13.15.45.49",295.3,295.2,0.33,"2011-12-13T15:45:49"]
["2011.12.13.15.46.25",295.3,295.2,0.33,"2011-12-13T15:46:25"]
["2011.12.13.15.47.01",295.3,295.2,0.33,"2011-12-13T15:47:01"]
["2011.12.13.15.47.37",295.39999999999998,295.2,0.33,"2011-12-13T15:47:37"]
["2011.12.13.15.48.13",295.3,295.2,0.33,"2011-12-13T15:48:13"]
["2011.12.13.15.48.49",295.3,295.2,0.33,"2011-12-13T15:48:49"]
["2011.12.13.15.49.25",295.3,295.10000000000002,0.34,"2011-12-13T15:49:25"]
["2011.12.13.15.50.01",295.3,295.10000000000002,0.34,"2011-12-13T15:50:01"]
["2011.12.13.15.50.37",295.3,295.2,0.34,"2011-12-13T15:50:37"]
["2011.12.13.15.51.13",295.3,295.2,0.34,"2011-12-13T15:51:13"]
["2011.12.13.15.51.49",295.3,295.2,0.33,"2011-12-13T15:51:49"]
["2011.12.13.15.52.25",295.3,295.10000000000002,0.33,"2011-12-13T15:52:25"]
["2011.12.13.15.53.01",295.3,295.2,0.33,"2011-12-13T15:53:01"]
["2011.12.13.15.53.37",295.3,295.3,0.33,"2011-12-13T15:53:37"]
["2011.12.13.15.54.13",295.3,295.2,0.33,"2011-12-13T15:54:13"]
["2011.12.13.15.54.49",295.3,295.2,0.33,"2011-12-13T15:54:49"]
["2011.12.13.15.55.26",295.3,295.2,0.33,"2011-12-13T15:55:26"]
["2011.12.13.15.56.02",295.3,295.2,0.33,"2011-12-13T15:56:02"]
["2011.12.13.15.56.38",295.3,295.10000000000002,0.34,"2011-12-13T15:56:38"]
["2011.12.13.15.57.14",295.3,295.2,0.33,"2011-12-13T15:57:14"]
["2011.12.13.15.57.50",295.3,295.2,0.33,"2011-12-13T15:57:50"]
["2011.12.13.15.58.26",295.3,295.10000000000002,0.33,"2011-12-13T15:58:26"]
["2011.12.13.15.59.02",295.3,295.10000000000002,0.33,"2011-12-13T15:59:02"]
["2011.12.13.15.59.38",295.3,295.10000000000002,0.33,"2011-12-13T15:59:38"]
["2011.12.13.16.00.14",295.3,295.10000000000002,0.33,"2011-12-13T16:00:14"]
["2011.12.13.16.00.50",295.3,295.10000000000002,0.33,"2011-12-13T16:00:50"]
["2011.12.13.16.01.26",295.3,295.2,0.33,"2011-12-13T16:01:26"]
["2011.12.13.16.02.02",295.3,295.10000000000002,0.33,"2011-12-13T16:02:02"]
["2011.12.13.16.02.38",295.3,295.2,0.33,"2011-12-13T16:02:38"]
["2011.12.13.16.03.14",295.39999999999998,295.3,0.33,"2011-12-13T16:03:14"]
["2011.12.13.16.03.50",295.3,295.2,0.34,"2011-12-13T16:03:50"]
["2011.12.13.16.04.26",295.39999999999998,295.2,0.33,"2011-12-13T16:04:26"]
["2011.12.13.16.05.02",295.2,295.2,0.33,"2011-12-13T16:05:02"]
["2011.12.13.16.05.38",295.3,295.3,0.34,"2011-12-13T16:05:38"]
["2011.12.13.16.06.14",295.3,295.10000000000002,0.33,"2011-12-13T16:06:14"]
["2011.12.13.16.06.50",295.3,295.2,0.33,"2011-12-13T16:06:50"]
["2011.12.13.16.07.26",295.3,295.2,0.34,"2011-12-13T16:07:26"]
["2011.12.13.16.08.02",295.3,295.2,0.34,"2011-12-13T16:08:02"]
["2011.12.13.16.08.38",295.3,295,0.34,"2011-12-13T16:08:38"]
["2011.12.13.16.09.14",295.3,295.2,0.33,"2011-12-13T16:09:14"]
["2011.12.13.16.09.50",295.3,295.2,0.33,"2011-12-13T16:09:50"]
["2011.12.13.16.10.26",295.3,295.2,0.33,"2011-12-13T16:10:26"]
["2011.12.13.16.11.02",295.3,295.2,0.34,"2011-12-13T16:11:02"]
["2011.12.13.16.11.38",295.39999999999998,295.2,0.34,"2011-12-13T16:11:38"]
["2011.12.13.16.12.14",295.3,295.2,0.33,{"$f":"VALUE(MID(A67,6,2)&\"/\"&MID(A67,9,2)&\"/\"&LEFT(A67,4)&\" \"&MID(A67,12,2)&\":\"&MID(A67,15,2)&\":\"&RIGHT(A67,2))","v":"2011-12-13T16:12:14"}]
["2011.12.13.16.12.50",295.3,295.10000000000002,0.33,"2011-12-13T16:12:50"]
["2011.12.13.16.13.26",295.3,295.2,0.33,"2011-12-13T16:13:26"]
["2011.12.13.16.14.02",295.3,295.2,0.34,"2011-12-13T16:14:02"]
["2011.12.13.16.14.38",295.3,295.2,0.34,"2011-12-13T16:14:38"]
["2011.12.13.16.15.14",295.39999999999998,295.2,0.34,"2011-12-13T16:15:14"]
["2011.12.13.16.15.50",295.39999999999998,295.2,0.34,"2011-12-13T16:15:50"]
["2011.12.13.16.16.26",295.3,295.2,0.34,"2011-12-13T16:16:26"]
["2011.12.13.16.17.02",295.3,295.2,0.34,"2011-12-13T16:17:02"]
["2011.12.13.16.17.38",295.3,295.2,0.34,"2011-12-13T16:17:38"]
["2011.12.13.16.18.14",295.3,295.10000000000002,0.34,"2011-12-13T16:18:14"]
["2011.12.13.16.18.50",295.3,295.2,0.33,"2011-12-13T16:18:50"]
["2011.12.13.16.19.26",295.3,295.2,0.33,"2011-12-13T16:19:26"]
["2011.12.13.16.20.02",295.3,295.2,0.33,"2011-12-13T16:20:02"]
["2011.12.13.16.20.38",295.3,295.2,0.33,"2011-12-13T16:20:38"]
["2011.12.13.16.21.14",295.39999999999998,295.2,0.34,"2011-12-13T16:21:14"]
["2011.12.13.16.21.50",295.39999999999998,295.3,0.33,"2011-12-13T16:21:50"]
["2011.12.13.16.22.26",295.5,295.3,0.33,"2011-12-13T16:22:26"]
["2011.12.13.16.23.02",295.39999999999998,295.10000000000002,0.34,"2011-12-13T16:23:02"]
["2011.12.13.16.23.38",295.2,295.10000000000002,0.34,"2011-12-13T16:23:38"]
["2011.12.13.16.24.14",295.3,295.2,0.33,"2011-12-13T16:24:14"]
["2011.12.13.16.24.50",295.3,295.10000000000002,0.33,"2011-12-13T16:24:50"]
["2011.12.13.16.25.26",295.2,295.10000000000002,0.34,"2011-12-13T16:25:26"]
["2011.12.13.16.26.02",295.2,295.10000000000002,0.33,"2011-12-13T16:26:02"]
["2011.12.13.16.26.38",295.2,295.10000000000002,0.33,"2011-12-13T16:26:38"]
["2011.12.13.16.27.14",295.3,295.2,0.33,"2011-12-13T16:27:14"]
["2011.12.13.16.27.50",295.2,295,0.33,"2011-12-13T16:27:50"]
["2011.12.13.16.28.26",295.2,295,0.33,"2011-12-13T16:28:26"]
["2011.12.13.16.29.02",295.2,295.10000000000002,0.33,"2011-12-13T16:29:02"]
["2011.12.13.16.29.38",295.2,295,0.33,"2011-12-13T16:29:38"]
["2011.12.13.16.30.14",295.2,295.10000000000002,0.33,"2011-12-13T16:30:14"]
["2011.12.13.16.30.50",295.2,295,0.33,"2011-12-13T16:30:50"]
["2011.12.13.16.31.26",295.3,295.10000000000002,0.33,"2011-12-13T16:31:26"]
["2011.12.13.16.32.02",295.2,295.10000000000002,0.33,"2011-12-13T16:32:02"]
["2011.12.13.16.32.38",295.2,295,0.33,"2011-12-13T16:32:38"]
["2011.12.13.16.33.14",295.2,295,0.33,"2011-12-13T16:33:14"]
["2011.12.13.16.33.50",295.2,295,0.33,"2011-12-13T16:33:50"]
["2011.12.13.16.34.26",295.10000000000002,295,0.33,"2011-12-13T16:34:26"]
["2011.12.13.16.35.02",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:35:02"]
["2011.12.13.16.35.38",295.10000000000002,295,0.33,"2011-12-13T16:35:38"]
["2011.12.13.16.36.14",295.10000000000002,295,0.33,"2011-12-13T16:36:14"]
["2011.12.13.16.36.50",295.2,295,0.33,"2011-12-13T16:36:50"]
["2011.12.13.16.37.26",295.10000000000002,295,0.33,"2011-12-13T16:37:26"]
["2011.12.13.16.38.02",295.2,295,0.33,"2011-12-13T16:38:02"]
["2011.12.13.16.38.38",295.2,295,0.33,"2011-12-13T16:38:38"]
["2011.12.13.16.39.14",295.2,295,0.33,"2011-12-13T16:39:14"]
["2011.12.13.16.39.50",295.10000000000002,295,0.32,"2011-12-13T16:39:50"]
["2011.12.13.16.40.26",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:40:26"]
["2011.12.13.16.41.02",295.10000000000002,295,0.33,"2011-12-13T16:41:02"]
["2011.12.13.16.41.38",295.2,295,0.33,"2011-12-13T16:41:38"]
["2011.12.13.16.42.14",295.10000000000002,295,0.33,"2011-12-13T16:42:14"]
["2011.12.13.16.42.50",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:42:50"]
["2011.12.13.16.43.26",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:43:26"]
["2011.12.13.16.44.02",295,295,0.33,"2011-12-13T16:44:02"]
["2011.12.13.16.44.38",295.10000000000002,295,0.33,"2011-12-13T16:44:38"]
["2011.12.13.16.45.15",295.2,294.89999999999998,0.33,"2011-12-13T16:45:15"]
["2011.12.13.16.45.51",295,295,0.33,"2011-12-13T16:45:51"]
["2011.12.13.16.46.27",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:46:27"]
["2011.12.13.16.47.03",295.2,294.8,0.33,"2011-12-13T16:47:03"]
["2011.12.13.16.47.39",295,294.89999999999998,0.33,"2011-12-13T16:47:39"]
["2011.12.13.16.48.15",295,294.8,0.32,"2011-12-13T16:48:15"]
["2011.12.13.16.48.51",295,295,0.33,"2011-12-13T16:48:51"]
["2011.12.13.16.49.27",295.10000000000002,295,0.33,"2011-12-13T16:49:27"]
["2011.12.13.16.50.03",295.10000000000002,294.89999999999998,0.32,"2011-12-13T16:50:03"]
["2011.12.13.16.50.39",295,294.8,0.32,{"$f":"VALUE(MID(A131,6,2)&\"/\"&MID(A131,9,2)&\"/\"&LEFT(A131,4)&\" \"&MID(A131,12,2)&\":\"&MID(A131,15,2)&\":\"&RIGHT(A131,2))","v":"2011-12-13T16:50:39"}]
["2011.12.13.16.51.15",295,294.8,0.32,"2011-12-13T16:51:15"]
["2011.12.13.16.51.51",295,294.89999999999998,0.33,"2011-12-13T16:51:51"]
["2011.12.13.16.52.27",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:52:27"]
["2011.12.13.16.53.03",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:53:03"]
["2011.12.13.16.53.39",295.10000000000002,294.8,0.33,"2011-12-13T16:53:39"]
["2011.12.13.16.54.15",295,294.89999999999998,0.33,"2011-12-13T16:54:15"]
["2011.12.13.16.54.51",295.2,294.89999999999998,0.33,"2011-12-13T16:54:51"]
["2011.12.13.16.55.27",295.10000000000002,295,0.33,"2011-12-13T16:55:27"]
["2011.12.13.16.56.03",295.10000000000002,294.8,0.33,"2011-12-13T16:56:03"]
["2011.12.13.16.56.39",295.10000000000002,294.89999999999998,0.33,"2011-12-13T16:56:39"]
["2011.12.13.16.57.15",295,294.8,0.33,"2011-12-13T16:57:15"]
["2011.12.13.16.57.51",295,294.89999999999998,0.33,"2011-12-13T16:57:51"]
["2011.12.13.16.58.27",295.2,294.89999999999998,0.33,"2011-12-13T16:58:27"]
["2011.12.13.16.59.03",295,294.89999999999998,0.33,"2011-12-13T16:59:03"]
["2011.12.13.16.59.39",295,294.8,0.33,"2011-12-13T16:59:39"]
["2011.12.13.17.00.15",295,294.8,0.33,"2011-12-13T17:00:15"]
["2011.12.13.17.00.51",295,294.89999999999998,0.33,"2011-12-13T17:00:51"]
["2011.12.13.17.01.27",295,294.89999999999998,0.33,"2011-12-13T17:01:27"]
["2011.12.13.17.02.03",295,295,0.32,"2011-12-13T17:02:03"]
["2011.12.13.17.02.39",295,294.89999999999998,0.33,"2011-12-13T17:02:39"]
["2011.12.13.17.03.15",295,294.89999999999998,0.33,"2011-12-13T17:03:15"]
["2011.12.13.17.03.51",295,294.8,0.33,"2011-12-13T17:03:51"]
["2011.12.13.17.04.27",295.10000000000002,294.8,0.32,"2011-12-13T17:04:27"]
["2011.12.13.17.05.03",295,294.8,0.32,"2011-12-13T17:05:03"]
["2011.12.13.17.05.39",295,294.89999999999998,0.33,"2011-12-13T17:05:39"]
["2011.12.13.17.06.15",295,294.89999999999998,0.33,"2011-12-13T17:06:15"]
["2011.12.13.17.06.51",295,294.8,0.33,"2011-12-13T17:06:51"]
["2011.12.13.17.07.27",295,294.7,0.33,"2011-12-13T17:07:27"]
["2011.12.13.17.08.03",295,294.8,0.32,"2011-12-13T17:08:03"]
["2011.12.13.17.08.39",295,294.89999999999998,0.33,"2011-12-13T17:08:39"]
["2011.12.13.17.09.15",295,294.8,0.33,"2011-12-13T17:09:15"]
["2011.12.13.17.09.51",295.10000000000002,294.89999999999998,0.33,"2011-12-13T17:09:51"]
["2011.12.13.17.10.27",295,294.89999999999998,0.33,"2011-12-13T17:10:27"]
["2011.12.13.17.11.03",295,294.7,0.33,"2011-12-13T17:11:03"]
["2011.12.13.17.11.39",295,294.8,0.33,"2011-12-13T17:11:39"]
["2011.12.13.17.12.15",295,294.8,0.33,"2011-12-13T17:12:15"]
["2011.12.13.17.12.51",295,294.8,0.33,"2011-12-13T17:12:51"]
["2011.12.13.17.13.27",294.89999999999998,294.89999999999998,0.33,"2011-12-13T17:13:27"]
["2011.12.13.17.14.03",295,294.8,0.33,"2011-12-13T17:14:03"]
["2011.12.13.17.14.39",295,294.89999999999998,0.33,"2011-12-13T17:14:39"]
["2011.12.13.17.15.15",295,294.8,0.33,"2011-12-13T17:15:15"]
["2011.12.13.17.15.51",295,294.89999999999998,0.33,"2011-12-13T17:15:51"]
["2011.12.13.17.16.27",295,294.8,0.33,"2011-12-13T17:16:27"]
["2011.12.13.17.17.03",295,294.8,0.32,"2011-12-13T17:17:03"]
["2011.12.13.17.17.39",295,294.8,0.32,"2011-12-13T17:17:39"]
["2011.12.13.17.18.15",295,294.89999999999998,0.32,"2011-12-13T17:18:15"]
["2011.12.13.17.18.51",295,294.8,0.32,"2011-12-13T17:18:51"]
["2011.12.13.17.19.27",295,294.7,0.32,"2011-12-13T17:19:27"]
["2011.12.13.17.20.03",295,294.8,0.32,"2011-12-13T17:20:03"]
["2011.12.13.17.20.39",295,294.8,0.32,"2011-12-13T17:20:39"]
["2011.12.13.17.21.15",295.10000000000002,294.8,0.32,"2011-12-13T17:21:15"]
["2011.12.13.17.21.51",295,294.8,0.32,"2011-12-13T17:21:51"]
["2011.12.13.17.22.27",295,294.7,0.32,"2011-12-13T17:22:27"]
["2011.12.13.17.23.03",294.89999999999998,294.8,0.32,"2011-12-13T17:23:03"]
["2011.12.13.17.23.39",295,294.8,0.32,"2011-12-13T17:23:39"]
["2011.12.13.17.24.15",295,294.8,0.32,"2011-12-13T17:24:15"]
["2011.12.13.17.24.51",295,294.8,0.32,"2011-12-13T17:24:51"]
["2011.12.13.17.25.27",295,294.8,0.32,"2011-12-13T17:25:27"]
["2011.12.13.17.26.03",295,294.7,0.32,"2011-12-13T17:26:03"]
["2011.12.13.17.26.39",295,294.8,0.32,"2011-12-13T17:26:39"]
["2011.12.13.17.27.15",295,294.8,0.32,"2011-12-13T17:27:15"]
["2011.12.13.17.27.51",295,294.8,0.32,"2011-12-13T17:27:51"]
["2011.12.13.17.28.27",295,294.8,0.32,"2011-12-13T17:28:27"]
["2011.12.13.17.29.03",295,294.8,0.32,{"$f":"VALUE(MID(A195,6,2)&\"/\"&MID(A195,9,2)&\"/\"&LEFT(A195,4)&\" \"&MID(A195,12,2)&\":\"&MID(A195,15,2)&\":\"&RIGHT(A195,2))","v":"2011-12-13T17:29:03"}]
["2011.12.13.17.29.39",295,294.8,0.32,"2011-12-13T17:29:39"]
["2011.12.13.17.30.15",295,294.8,0.32,"2011-12-13T17:30:15"]
["2011.12.13.17.30.51",295,294.8,0.32,"2011-12-13T17:30:51"]
["2011.12.13.17.31.27",294.89999999999998,294.8,0.32,"2011-12-13T17:31:27"]
["2011.12.13.17.32.03",294.89999999999998,294.8,0.32,"2011-12-13T17:32:03"]
["2011.12.13.17.32.39",294.89999999999998,294.8,0.32,"2011-12-13T17:32:39"]
["2011.12.13.17.33.16",295,294.7,0.32,"2011-12-13T17:33:16"]
["2011.12.13.17.33.52",294.89999999999998,294.8,0.32,"2011-12-13T17:33:52"]
["2011.12.13.17.34.28",295,294.8,0.32,"2011-12-13T17:34:28"]
["2011.12.13.17.35.04",295,294.8,0.32,"2011-12-13T17:35:04"]
["2011.12.13.17.35.40",294.89999999999998,294.8,0.32,"2011-12-13T17:35:40"]
["2011.12.13.17.36.16",295,294.8,0.32,"2011-12-13T17:36:16"]
["2011.12.13.17.36.52",294.89999999999998,294.8,0.33,"2011-12-13T17:36:52"]
["2011.12.13.17.37.28",295,294.8,0.32,"2011-12-13T17:37:28"]
["2011.12.13.17.38.04",295,294.8,0.32,"2011-12-13T17:38:04"]
["2011.12.13.17.38.40",295,294.8,0.33,"2011-12-13T17:38:40"]
["2011.12.13.17.39.16",295,294.8,0.32,"2011-12-13T17:39:16"]
["2011.12.13.17.39.52",295,294.7,0.32,"2011-12-13T17:39:52"]
["2011.12.13.17.40.28",294.89999999999998,294.8,0.32,"2011-12-13T17:40:28"]
["2011.12.13.17.41.04",295,294.7,0.33,"2011-12-13T17:41:04"]
["2011.12.13.17.41.40",295,294.8,0.32,"2011-12-13T17:41:40"]
["2011.12.13.17.42.16",295,294.8,0.33,"2011-12-13T17:42:16"]
["2011.12.13.17.42.52",295,294.8,0.33,"2011-12-13T17:42:52"]
["2011.12.13.17.43.28",295,294.8,0.33,"2011-12-13T17:43:28"]
["2011.12.13.17.44.04",295,294.89999999999998,0.33,"2011-12-13T17:44:04"]
["2011.12.13.17.44.40",295.10000000000002,294.89999999999998,0.33,"2011-12-13T17:44:40"]
["2011.12.13.17.45.16",295.3,295.2,0.32,"2011-12-13T17:45:16"]
["2011.12.13.17.45.52",295.39999999999998,294.89999999999998,0.33,"2011-12-13T17:45:52"]
["2011.12.13.17.46.28",295.10000000000002,294.8,0.32,"2011-12-13T17:46:28"]
["2011.12.13.17.47.04","-----",294.89999999999998,0.32,"2011-12-13T17:47:04"]
["2011.12.13.17.47.40",295,294.89999999999998,0.33,"2011-12-13T17:47:40"]
["2011.12.13.17.48.16",295,294.89999999999998,0.33,"2011-12-13T17:48:16"]
["2011.12.13.17.48.52",295.3,294.89999999999998,0.33,"2011-12-13T17:48:52"]
["2011.12.13.17.49.28",295.3,295,0.33,"2011-12-13T17:49:28"]
["2011.12.13.17.50.04",295.2,295,0.33,"2011-12-13T17:50:04"]
["2011.12.13.17.50.40",295.2,295,0.33,"2011-12-13T17:50:40"]
["2011.12.13.17.51.16",295.10000000000002,295.10000000000002,0.33,"2011-12-13T17:51:16"]
["2011.12.13.17.51.52",295.2,295,0.33,"2011-12-13T17:51:52"]
["2011.12.13.17.52.28",295.2,295.10000000000002,0.33,"2011-12-13T17:52:28"]
["2011.12.13.17.53.04",295.2,295.10000000000002,0.33,"2011-12-13T17:53:04"]
["2011.12.13.17.53.40",295.2,295,0.33,"2011-12-13T17:53:40"]
["2011.12.13.17.54.16",295.3,295,0.33,"2011-12-13T17:54:16"]
["2011.12.13.17.54.52",295.2,295,0.34,"2011-12-13T17:54:52"]
["2011.12.13.17.55.28",295.10000000000002,294.89999999999998,0.33,"2011-12-13T17:55:28"]
["2011.12.13.17.56.04",295.2,295,0.34,"2011-12-13T17:56:04"]
["2011.12.13.17.56.40",295.10000000000002,295.10000000000002,0.33,"2011-12-13T17:56:40"]
["2011.12.13.17.57.16",295.10000000000002,295.10000000000002,0.34,"2011-12-13T17:57:16"]
["2011.12.13.17.57.52",295.3,295.2,0.34,"2011-12-13T17:57:52"]
["2011.12.13.17.58.28",295.2,295,0.33,"2011-12-13T17:58:28"]
["2011.12.13.17.59.04",295.2,294.89999999999998,0.34,"2011-12-13T17:59:04"]
["2011.12.13.17.59.40",295.2,295.10000000000002,0.34,"2011-12-13T17:59:40"]
["2011.12.13.18.00.16",295.2,295.10000000000002,0.34,"2011-12-13T18:00:16"]
["2011.12.13.18.00.52",295.2,295.2,0.34,"2011-12-13T18:00:52"]
["2011.12.13.18.01.28",295.2,295.10000000000002,0.34,"2011-12-13T18:01:28"]
["2011.12.13.18.02.04",295.2,295.10000000000002,0.34,"2011-12-13T18:02:04"]
["2011.12.13.18.02.40",295.2,295.10000000000002,0.33,"2011-12-13T18:02:40"]
["2011.12.13.18.03.16",295.2,295,0.33,"2011-12-13T18:03:16"]
["2011.12.13.18.03.52",295.2,295.10000000000002,0.33,"2011-12-13T18:03:52"]
["2011.12.13.18.04.28",295.2,295.10000000000002,0.34,"2011-12-13T18:04:28"]
["2011.12.13.18.05.04",295.2,295,0.34,"2011-12-13T18:05:04"]
["2011.12.13.18.05.40",295.2,295.10000000000002,0.34,"2011-12-13T18:05:40"]
["2011.12.13.18.06.16",295.2,295,0.34,"2011-12-13T18:06:16"]
["2011.12.13.18.06.52",295.2,295.2,0.34,"2011-12-13T18:06:52"]
["2011.12.13.18.07.28",295.3,295.3,0.34,{"$f":"VALUE(MID(A259,6,2)&\"/\"&MID(A259,9,2)&\"/\"&LEFT(A259,4)&\" \"&MID(A259,12,2)&\":\"&MID(A259,15,2)&\":\"&RIGHT(A259,2))","v":"2011-12-13T18:07:28"}]
["2011.12.13.18.08.04",295.39999999999998,295.2,0.34,"2011-12-13T18:08:04"]
["2011.12.13.18.08.40",295.2,295.10000000000002,0.34,"2011-12-13T18:08:40"]
["2011.12.13.18.09.16",295.3,295.2,0.34,"2011-12-13T18:09:16"]
["2011.12.13.18.09.52",295.39999999999998,295.3,0.34,"2011-12-13T18:09:52"]
["2011.12.13.18.10.28",295.3,295.2,0.34,"2011-12-13T18:10:28"]
["2011.12.13.18.11.04",295.2,295.10000000000002,0.34,"2011-12-13T18:11:04"]
["2011.12.13.18.11.40",295.2,295,0.34,"2011-12-13T18:11:40"]
["2011.12.13.18.12.16",295,294.89999999999998,0.34,"2011-12-13T18:12:16"]
["2011.12.13.18.12.52",295.10000000000002,295.10000000000002,0.34,"2011-12-13T18:12:52"]
["2011.12.13.18.13.28",295.10000000000002,295,0.34,"2011-12-13T18:13:28"]
["2011.12.13.18.14.04",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:14:04"]
["2011.12.13.18.14.40",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:14:40"]
["2011.12.13.18.15.16",295.10000000000002,295,0.34,"2011-12-13T18:15:16"]
["2011.12.13.18.15.52",295,294.89999999999998,0.34,"2011-12-13T18:15:52"]
["2011.12.13.18.16.28",295,294.89999999999998,0.34,"2011-12-13T18:16:28"]
["2011.12.13.18.17.04",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:17:04"]
["2011.12.13.18.17.40",295,294.89999999999998,0.33,"2011-12-13T18:17:40"]
["2011.12.13.18.18.16",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:18:16"]
["2011.12.13.18.18.52",295,294.89999999999998,0.34,"2011-12-13T18:18:52"]
["2011.12.13.18.19.28",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:19:28"]
["2011.12.13.18.20.04",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:20:04"]
["2011.12.13.18.20.40",295,294.89999999999998,0.34,"2011-12-13T18:20:40"]
["2011.12.13.18.21.16",295,294.8,0.34,"2011-12-13T18:21:16"]
["2011.12.13.18.21.52",295,294.8,0.34,"2011-12-13T18:21:52"]
["2011.12.13.18.22.29",295,294.8,0.34,"2011-12-13T18:22:29"]
["2011.12.13.18.23.05",295,294.8,0.34,"2011-12-13T18:23:05"]
["2011.12.13.18.23.41",295,294.8,0.34,"2011-12-13T18:23:41"]
["2011.12.13.18.24.17",295,294.8,0.34,"2011-12-13T18:24:17"]
["2011.12.13.18.24.53",295,294.89999999999998,0.34,"2011-12-13T18:24:53"]
["2011.12.13.18.25.29",295,294.89999999999998,0.34,"2011-12-13T18:25:29"]
["2011.12.13.18.26.05",295,294.8,0.34,"2011-12-13T18:26:05"]
["2011.12.13.18.26.41",295,294.8,0.34,"2011-12-13T18:26:41"]
["2011.12.13.18.27.17",294.89999999999998,294.8,0.34,"2011-12-13T18:27:17"]
["2011.12.13.18.27.53",294.89999999999998,294.8,0.34,"2011-12-13T18:27:53"]
["2011.12.13.18.28.29",294.89999999999998,294.8,0.34,"2011-12-13T18:28:29"]
["2011.12.13.18.29.05",295,294.8,0.35,"2011-12-13T18:29:05"]
["2011.12.13.18.29.41",295,294.8,0.34,"2011-12-13T18:29:41"]
["2011.12.13.18.30.17",295,294.7,0.34,"2011-12-13T18:30:17"]
["2011.12.13.18.30.53",295,294.8,0.34,"2011-12-13T18:30:53"]
["2011.12.13.18.31.29",295.10000000000002,294.89999999999998,0.34,"2011-12-13T18:31:29"]
["2011.12.13.18.32.05",295,294.8,0.34,"2011-12-13T18:32:05"]
["2011.12.13.18.32.41",294.89999999999998,294.7,0.34,"2011-12-13T18:32:41"]
["2011.12.13.18.33.17",294.89999999999998,294.8,0.34,"2011-12-13T18:33:17"]
["2011.12.13.18.33.53",294.89999999999998,294.8,0.34,"2011-12-13T18:33:53"]
["2011.12.13.18.34.29",294.89999999999998,294.8,0.34,"2011-12-13T18:34:29"]
["2011.12.13.18.35.05",295.10000000000002,294.7,0.33,"2011-12-13T18:35:05"]
["2011.12.13.18.35.41",295,294.8,0.34,"2011-12-13T18:35:41"]
["2011.12.13.18.36.17",295,294.7,0.34,"2011-12-13T18:36:17"]
["2011.12.13.18.36.53",295,294.8,0.34,"2011-12-13T18:36:53"]
["2011.12.13.18.37.29",295,294.7,0.34,"2011-12-13T18:37:29"]
["2011.12.13.18.38.05",294.89999999999998,294.8,0.34,"2011-12-13T18:38:05"]
["2011.12.13.18.38.41",294.89999999999998,294.8,0.34,"2011-12-13T18:38:41"]
["2011.12.13.18.39.17",295,294.8,0.34,"2011-12-13T18:39:17"]
["2011.12.13.18.39.53",294.89999999999998,294.8,0.34,"2011-12-13T18:39:53"]
["2011.12.13.18.40.29",295,294.8,0.34,"2011-12-13T18:40:29"]
["2011.12.13.18.41.05",294.89999999999998,294.8,0.34,"2011-12-13T18:41:05"]
["2011.12.13.18.41.41",294.89999999999998,294.7,0.34,"2011-12-13T18:41:41"]
["2011.12.13.18.42.17",294.89999999999998,294.8,0.34,"2011-12-13T18:42:17"]
["2011.12.13.18.42.53",294.89999999999998,294.8,0.34,"2011-12-13T18:42:53"]
["2011.12.13.18.43.29",294.89999999999998,294.7,0.34,"2011-12-13T18:43:29"]
["2011.12.13.18.44.05",294.89999999999998,294.8,0.34,"2011-12-13T18:44:05"]
["2011.12.13.18.44.41",294.89999999999998,294.8,0.34,"2011-12-13T18:44:41"]
["2011.12.13.18.45.17",294.89999999999998,294.7,0.34,"2011-12-13T18:45:17"]
["2011.12.13.18.45.53",294.89999999999998,294.8,0.34,{"$f":"VALUE(MID(A323,6,2)&\"/\"&MID(A323,9,2)&\"/\"&LEFT(A323,4)&\" \"&MID(A323,12,2)&\":\"&MID(A323,15,2)&\":\"&RIGHT(A323,2))","v":"2011-12-13T18:45:53"}]
["2011.12.13.18.46.29",294.89999999999998,294.8,0.34,"2011-12-13T18:46:29"]
["2011.12.13.18.47.05",294.89999999999998,294.8,0.34,"2011-12-13T18:47:05"]
["2011.12.13.18.47.41",294.89999999999998,294.8,0.34,"2011-12-13T18:47:41"]
["2011.12.13.18.48.17",294.89999999999998,294.8,0.34,"2011-12-13T18:48:17"]
["2011.12.13.18.48.53",294.89999999999998,294.7,0.34,"2011-12-13T18:48:53"]
["2011.12.13.18.49.29",294.89999999999998,294.8,0.34,"2011-12-13T18:49:29"]
["2011.12.13.18.50.05","-----",294.7,0.34,"2011-12-13T18:50:05"]
["2011.12.13.18.50.41",294.89999999999998,294.8,0.34,"2011-12-13T18:50:41"]
["2011.12.13.18.51.17",294.8,294.7,0.35,"2011-12-13T18:51:17"]
["2011.12.13.18.51.53",294.89999999999998,294.7,0.34,"2011-12-13T18:51:53"]
["2011.12.13.18.52.29",294.8,294.7,0.35,"2011-12-13T18:52:29"]
["2011.12.13.18.53.05",294.89999999999998,294.8,0.35,"2011-12-13T18:53:05"]
["2011.12.13.18.53.41",295,294.8,0.35,"2011-12-13T18:53:41"]
["2011.12.13.18.54.17",295,294.8,0.35,"2011-12-13T18:54:17"]
["2011.12.13.18.54.53",294.89999999999998,294.7,0.35,"2011-12-13T18:54:53"]
["2011.12.13.18.55.29",294.89999999999998,294.60000000000002,0.35,"2011-12-13T18:55:29"]
["2011.12.13.18.56.05",294.8,294.7,0.35,"2011-12-13T18:56:05"]
["2011.12.13.18.56.41",294.8,294.7,0.35,"2011-12-13T18:56:41"]
["2011.12.13.18.57.17",295,294.8,0.35,"2011-12-13T18:57:17"]
["2011.12.13.18.57.53",294.8,294.8,0.35,"2011-12-13T18:57:53"]
["2011.12.13.18.58.29",294.89999999999998,294.60000000000002,0.35,"2011-12-13T18:58:29"]
["2011.12.13.18.59.05",294.89999999999998,294.7,0.35,"2011-12-13T18:59:05"]
["2011.12.13.18.59.41",294.8,294.60000000000002,0.35,"2011-12-13T18:59:41"]
["2011.12.13.19.00.17",294.8,294.7,0.35,"2011-12-13T19:00:17"]
["2011.12.13.19.00.53",295,294.8,0.35,"2011-12-13T19:00:53"]
["2011.12.13.19.01.29",294.89999999999998,294.8,0.36,"2011-12-13T19:01:29"]
["2011.12.13.19.02.05",294.8,294.60000000000002,0.36,"2011-12-13T19:02:05"]
["2011.12.13.19.02.41",294.89999999999998,294.8,0.35,"2011-12-13T19:02:41"]
["2011.12.13.19.03.17",294.8,294.8,0.36,"2011-12-13T19:03:17"]
["2011.12.13.19.03.53",294.89999999999998,294.8,0.36,"2011-12-13T19:03:53"]
["2011.12.13.19.04.29",294.8,294.60000000000002,0.36,"2011-12-13T19:04:29"]
["2011.12.13.19.05.05",294.89999999999998,294.7,0.35,"2011-12-13T19:05:05"]
["2011.12.13.19.05.41",294.8,294.60000000000002,0.36,"2011-12-13T19:05:41"]
["2011.12.13.19.06.17",294.7,294.60000000000002,0.36,"2011-12-13T19:06:17"]
["2011.12.13.19.06.53",294.8,294.7,0.35,"2011-12-13T19:06:53"]
["2011.12.13.19.07.29",294.89999999999998,294.7,0.35,"2011-12-13T19:07:29"]
["2011.12.13.19.08.05",294.89999999999998,294.8,0.35,"2011-12-13T19:08:05"]
["2011.12.13.19.08.41",294.8,294.60000000000002,0.36,"2011-12-13T19:08:41"]
["2011.12.13.19.09.17",294.8,294.7,0.36,"2011-12-13T19:09:17"]
["2011.12.13.19.09.53",294.89999999999998,294.8,0.36,"2011-12-13T19:09:53"]
["2011.12.13.19.10.30",294.8,294.7,0.36,"2011-12-13T19:10:30"]
["2011.12.13.19.11.06",294.89999999999998,294.7,0.35,"2011-12-13T19:11:06"]
["2011.12.13.19.11.42",294.89999999999998,294.7,0.35,"2011-12-13T19:11:42"]
["2011.12.13.19.12.18",294.8,294.60000000000002,0.35,"2011-12-13T19:12:18"]
["2011.12.13.19.12.54",294.8,294.7,0.35,"2011-12-13T19:12:54"]
["2011.12.13.19.13.30",294.8,294.8,0.35,"2011-12-13T19:13:30"]
["2011.12.13.19.14.06",294.89999999999998,294.60000000000002,0.35,"2011-12-13T19:14:06"]
["2011.12.13.19.14.42",294.8,294.7,0.36,"2011-12-13T19:14:42"]
["2011.12.13.19.15.18",294.8,294.60000000000002,0.36,"2011-12-13T19:15:18"]
["2011.12.13.19.15.54",294.89999999999998,294.7,0.36,"2011-12-13T19:15:54"]
["2011.12.13.19.16.30",294.89999999999998,294.7,0.36,"2011-12-13T19:16:30"]
["2011.12.13.19.17.06",294.8,294.60000000000002,0.35,"2011-12-13T19:17:06"]
["2011.12.13.19.17.42",294.8,294.7,0.35,"2011-12-13T19:17:42"]
["2011.12.13.19.18.18",294.8,294.7,0.35,"2011-12-13T19:18:18"]
["2011.12.13.19.18.54",294.8,294.7,0.35,"2011-12-13T19:18:54"]
["2011.12.13.19.19.30",294.8,294.60000000000002,0.35,"2011-12-13T19:19:30"]
["2011.12.13.19.20.06",294.8,294.60000000000002,0.35,"2011-12-13T19:20:06"]
["2011.12.13.19.20.42",294.8,294.60000000000002,0.35,"2011-12-13T19:20:42"]
["2011.12.13.19.21.18",294.8,294.7,0.35,"2011-12-13T19:21:18"]
["2011.12.13.19.21.54",294.8,294.7,0.35,"2011-12-13T19:21:54"]
["2011.12.13.19.22.30",294.8,294.60000000000002,0.35,"2011-12-13T19:22:30"]
["2011.12.13.19.23.06",294.8,294.7,0.35,"2011-12-13T19:23:06"]
["2011.12.13.19.23.42",294.8,294.7,0.35,"2011-12-13T19:23:42"]
["2011.12.13.19.24.18",294.8,294.7,0.35,{"$f":"VALUE(MID(A387,6,2)&\"/\"&MID(A387,9,2)&\"/\"&LEFT(A387,4)&\" \"&MID(A387,12,2)&\":\"&MID(A387,15,2)&\":\"&RIGHT(A387,2))","v":"2011-12-13T19:24:18"}]
["2011.12.13.19.24.54",294.8,294.7,0.35,"2011-12-13T19:24:54"]
["2011.12.13.19.25.30",294.8,294.7,0.35,"2011-12-13T19:25:30"]
["2011.12.13.19.26.06",294.8,294.7,0.35,"2011-12-13T19:26:06"]
["2011.12.13.19.26.42",294.8,294.60000000000002,0.35,"2011-12-13T19:26:42"]
["2011.12.13.19.27.18",294.8,294.5,0.35,"2011-12-13T19:27:18"]
["2011.12.13.19.27.54",294.8,294.7,0.35,"2011-12-13T19:27:54"]
["2011.12.13.19.28.30",294.8,294.60000000000002,0.35,"2011-12-13T19:28:30"]
["2011.12.13.19.29.06",294.8,294.60000000000002,0.36,"2011-12-13T19:29:06"]
["2011.12.13.19.29.42",294.8,294.60000000000002,0.35,"2011-12-13T19:29:42"]
["2011.12.13.19.30.18",294.8,294.60000000000002,0.35,"2011-12-13T19:30:18"]
["2011.12.13.19.30.54",294.8,294.60000000000002,0.35,"2011-12-13T19:30:54"]
["2011.12.13.19.31.30",294.8,294.60000000000002,0.36,"2011-12-13T19:31:30"]
["2011.12.13.19.32.06",294.8,294.60000000000002,0.35,"2011-12-13T19:32:06"]
["2011.12.13.19.32.42",294.7,294.60000000000002,0.35,"2011-12-13T19:32:42"]
["2011.12.13.19.33.18",294.7,294.7,0.36,"2011-12-13T19:33:18"]
["2011.12.13.19.33.54",294.8,294.7,0.36,"2011-12-13T19:33:54"]
["2011.12.13.19.34.30",294.8,294.60000000000002,0.36,"2011-12-13T19:34:30"]
["2011.12.13.19.35.06",294.8,294.7,0.36,"2011-12-13T19:35:06"]
["2011.12.13.19.35.42",294.8,294.60000000000002,0.36,"2011-12-13T19:35:42"]
["2011.12.13.19.36.18",294.8,294.60000000000002,0.35,"2011-12-13T19:36:18"]
["2011.12.13.19.36.54",294.89999999999998,294.60000000000002,0.35,"2011-12-13T19:36:54"]
["2011.12.13.19.37.30",294.8,294.60000000000002,0.36,"2011-12-13T19:37:30"]
["2011.12.13.19.38.06",294.8,294.5,0.36,"2011-12-13T19:38:06"]
["2011.12.13.19.38.42",294.8,294.60000000000002,0.35,"2011-12-13T19:38:42"]
["2011.12.13.19.39.18",294.8,294.7,0.35,"2011-12-13T19:39:18"]
["2011.12.13.19.39.54",294.8,294.60000000000002,0.36,"2011-12-13T19:39:54"]
["2011.12.13.19.40.30",294.89999999999998,294.7,0.35,"2011-12-13T19:40:30"]
["2011.12.13.19.41.06",294.8,294.60000000000002,0.36,"2011-12-13T19:41:06"]
["2011.12.13.19.41.42",294.7,294.5,0.36,"2011-12-13T19:41:42"]
["2011.12.13.19.42.18",294.8,294.60000000000002,0.35,"2011-12-13T19:42:18"]
["2011.12.13.19.42.54",294.8,294.60000000000002,0.35,"2011-12-13T19:42:54"]
["2011.12.13.19.43.30",294.8,294.7,0.36,"2011-12-13T19:43:30"]
["2011.12.13.19.44.06",294.89999999999998,294.60000000000002,0.36,"2011-12-13T19:44:06"]
["2011.12.13.19.44.42",294.8,294.7,0.36,"2011-12-13T19:44:42"]
["2011.12.13.19.45.18",294.8,294.60000000000002,0.36,"2011-12-13T19:45:18"]
["2011.12.13.19.45.54",294.8,294.7,0.36,"2011-12-13T19:45:54"]
["2011.12.13.19.46.30",294.8,294.60000000000002,0.36,"2011-12-13T19:46:30"]
["2011.12.13.19.47.06",294.8,294.60000000000002,0.36,"2011-12-13T19:47:06"]
["2011.12.13.19.47.42",294.89999999999998,294.7,0.36,"2011-12-13T19:47:42"]
["2011.12.13.19.48.18",294.8,294.7,0.36,"2011-12-13T19:48:18"]
["2011.12.13.19.48.54",294.8,294.7,0.36,"2011-12-13T19:48:54"]
["2011.12.13.19.49.30",294.8,294.60000000000002,0.36,"2011-12-13T19:49:30"]
["2011.12.13.19.50.06",294.8,294.60000000000002,0.36,"2011-12-13T19:50:06"]
["2011.12.13.19.50.42",294.8,294.60000000000002,0.36,"2011-12-13T19:50:42"]
["2011.12.13.19.51.18",294.89999999999998,294.60000000000002,0.36,"2011-12-13T19:51:18"]
["2011.12.13.19.51.54",294.8,294.7,0.36,"2011-12-13T19:51:54"]
["2011.12.13.19.52.30",294.8,294.60000000000002,0.36,"2011-12-13T19:52:30"]
["2011.12.13.19.53.06",294.8,294.60000000000002,0.36,"2011-12-13T19:53:06"]
["2011.12.13.19.53.42",294.8,294.60000000000002,0.36,"2011-12-13T19:53:42"]
["2011.12.13.19.54.18",294.8,294.60000000000002,0.36,"2011-12-13T19:54:18"]
["2011.12.13.19.54.54",294.89999999999998,294.60000000000002,0.36,"2011-12-13T19:54:54"]
["2011.12.13.19.55.30",294.8,294.60000000000002,0.36,"2011-12-13T19:55:30"]
["2011.12.13.19.56.06",294.8,294.7,0.35,"2011-12-13T19:56:06"]
["2011.12.13.19.56.42",294.8,294.7,0.36,"2011-12-13T19:56:42"]
["2011.12.13.19.57.18",294.8,294.7,0.36,"2011-12-13T19:57:18"]
["2011.12.13.19.57.54",294.8,294.60000000000002,0.36,"2011-12-13T19:57:54"]
["2011.12.13.19.58.30",294.8,294.7,0.36,"2011-12-13T19:58:30"]
["2011.12.13.19.59.06",294.8,294.60000000000002,0.36,"2011-12-13T19:59:06"]
["2011.12.13.19.59.43",294.8,294.60000000000002,0.36,"2011-12-13T19:59:43"]
["2011.12.13.20.00.19",294.89999999999998,294.7,0.36,"2011-12-13T20:00:19"]
["2011.12.13.20.00.55",294.8,294.7,0.36,"2011-12-13T20:00:55"]
["2011.12.13.20.01.31",294.89999999999998,294.60000000000002,0.36,"2011-12-13T20:01:31"]
["2011.12.13.20.02.07",294.8,294.60000000000002,0.35,"2011-12-13T20:02:07"]
["2011.12.13.20.02.43",294.8,294.8,0.36,{"$f":"VALUE(MID(A451,6,2)&\"/\"&MID(A451,9,2)&\"/\"&LEFT(A451,4)&\" \"&MID(A451,12,2)&\":\"&MID(A451,15,2)&\":\"&RIGHT(A451,2))","v":"2011-12-13T20:02:43"}]
["2011.12.13.20.03.19",294.8,294.7,0.36,"2011-12-13T20:03:19"]
["2011.12.13.20.03.55",294.8,294.7,0.36,"2011-12-13T20:03:55"]
["2011.12.13.20.04.31",294.89999999999998,294.7,0.36,"2011-12-13T20:04:31"]
["2011.12.13.20.05.07",294.8,294.60000000000002,0.36,"2011-12-13T20:05:07"]
["2011.12.13.20.05.43",294.8,294.7,0.36,"2011-12-13T20:05:43"]
["2011.12.13.20.06.19",294.8,294.5,0.36,"2011-12-13T20:06:19"]
["2011.12.13.20.06.55",294.8,294.7,0.36,"2011-12-13T20:06:55"]
["2011.12.13.20.07.31",294.8,294.7,0.36,"2011-12-13T20:07:31"]
["2011.12.13.20.08.07",294.89999999999998,294.7,0.36,"2011-12-13T20:08:07"]
["2011.12.13.20.08.43",294.89999999999998,294.60000000000002,0.36,"2011-12-13T20:08:43"]
["2011.12.13.20.09.19",294.8,294.60000000000002,0.36,"2011-12-13T20:09:19"]
["2011.12.13.20.09.55",294.8,294.60000000000002,0.36,"2011-12-13T20:09:55"]
["2011.12.13.20.10.31",294.8,294.60000000000002,0.36,"2011-12-13T20:10:31"]
["2011.12.13.20.11.07",294.8,294.7,0.36,"2011-12-13T20:11:07"]
["2011.12.13.20.11.43",294.89999999999998,294.8,0.36,"2011-12-13T20:11:43"]
["2011.12.13.20.12.19",294.89999999999998,294.7,0.36,"2011-12-13T20:12:19"]
["2011.12.13.20.12.55",294.8,294.60000000000002,0.36,"2011-12-13T20:12:55"]
["2011.12.13.20.13.31",294.8,294.60000000000002,0.36,"2011-12-13T20:13:31"]
["2011.12.13.20.14.07",294.8,294.60000000000002,0.36,"2011-12-13T20:14:07"]
["2011.12.13.20.14.43",294.8,294.60000000000002,0.36,"2011-12-13T20:14:43"]
["2011.12.13.20.15.19",294.8,294.7,0.36,"2011-12-13T20:15:19"]
["2011.12.13.20.15.55",295,294.8,0.36,"2011-12-13T20:15:55"]
["2011.12.13.20.16.31",294.8,294.60000000000002,0.36,"2011-12-13T20:16:31"]
["2011.12.13.20.17.07",294.8,294.7,0.36,"2011-12-13T20:17:07"]
["2011.12.13.20.17.43",294.8,294.60000000000002,0.36,"2011-12-13T20:17:43"]
["2011.12.13.20.18.19",294.8,294.7,0.36,"2011-12-13T20:18:19"]
["2011.12.13.20.18.55",294.89999999999998,294.7,0.36,"2011-12-13T20:18:55"]
["2011.12.13.20.19.31",294.89999999999998,294.60000000000002,0.36,"2011-12-13T20:19:31"]
["2011.12.13.20.20.07",294.8,294.7,0.36,"2011-12-13T20:20:07"]
["2011.12.13.20.20.43",294.8,294.7,0.36,"2011-12-13T20:20:43"]
["2011.12.13.20.21.19",294.8,294.60000000000002,0.37,"2011-12-13T20:21:19"]
["2011.12.13.20.21.55",294.8,294.60000000000002,0.36,"2011-12-13T20:21:55"]
["2011.12.13.20.22.31",294.8,294.60000000000002,0.36,"2011-12-13T20:22:31"]
["2011.12.13.20.23.07",294.8,294.60000000000002,0.36,"2011-12-13T20:23:07"]
["2011.12.13.20.23.43",294.8,294.7,0.36,"2011-12-13T20:23:43"]
["2011.12.13.20.24.19",294.8,294.7,0.37,"2011-12-13T20:24:19"]
["2011.12.13.20.24.55",294.8,294.60000000000002,0.36,"2011-12-13T20:24:55"]
["2011.12.13.20.25.31",294.8,294.60000000000002,0.36,"2011-12-13T20:25:31"]
["2011.12.13.20.26.07",294.7,294.60000000000002,0.36,"2011-12-13T20:26:07"]
["2011.12.13.20.26.43",294.8,294.7,0.36,"2011-12-13T20:26:43"]
["2011.12.13.20.27.19",294.8,294.60000000000002,0.37,"2011-12-13T20:27:19"]
["2011.12.13.20.27.55",294.8,294.60000000000002,0.37,"2011-12-13T20:27:55"]
["2011.12.13.20.28.31",294.8,294.60000000000002,0.36,"2011-12-13T20:28:31"]
["2011.12.13.20.29.07",294.8,294.60000000000002,0.36,"2011-12-13T20:29:07"]
["2011.12.13.20.29.43",294.7,294.60000000000002,0.36,"2011-12-13T20:29:43"]
["2011.12.13.20.30.19",294.8,294.60000000000002,0.37,"2011-12-13T20:30:19"]
["2011.12.13.20.30.55",294.8,294.5,0.36,"2011-12-13T20:30:55"]
["2011.12.13.20.31.31",294.8,294.60000000000002,0.36,"2011-12-13T20:31:31"]
["2011.12.13.20.32.07",294.8,294.60000000000002,0.36,"2011-12-13T20:32:07"]
["2011.12.13.20.32.43",294.7,294.60000000000002,0.36,"2011-12-13T20:32:43"]
["2011.12.13.20.33.19",294.89999999999998,294.7,0.36,"2011-12-13T20:33:19"]
["2011.12.13.20.33.55",294.8,294.60000000000002,0.36,"2011-12-13T20:33:55"]
["2011.12.13.20.34.31",294.8,294.60000000000002,0.36,"2011-12-13T20:34:31"]
["2011.12.13.20.35.07",294.8,294.60000000000002,0.36,"2011-12-13T20:35:07"]
["2011.12.13.20.35.43",294.8,294.60000000000002,0.37,"2011-12-13T20:35:43"]
["2011.12.13.20.36.19",294.8,294.60000000000002,0.37,"2011-12-13T20:36:19"]
["2011.12.13.20.36.55",294.89999999999998,294.7,0.36,"2011-12-13T20:36:55"]
["2011.12.13.20.37.31",294.8,294.60000000000002,0.37,"2011-12-13T20:37:31"]
["2011.12.13.20.38.07",294.8,294.7,0.37,"2011-12-13T20:38:07"]
["2011.12.13.20.38.43",294.8,294.60000000000002,0.36,"2011-12-13T20:38:43"]
["2011.12.13.20.39.19",294.8,294.60000000000002,0.36,"2011-12-13T20:39:19"]
["2011.12.13.20.39.55",294.8,294.60000000000002,0.37,"2011-12-13T20:39:55"]
["2011.12.13.20.40.31",294.8,294.60000000000002,0.36,"2011-12-13T20:40:31"]
["2011.12.13.20.41.07",294.8,294.7,0.36,{"$f":"VALUE(MID(A515,6,2)&\"/\"&MID(A515,9,2)&\"/\"&LEFT(A515,4)&\" \"&MID(A515,12,2)&\":\"&MID(A515,15,2)&\":\"&RIGHT(A515,2))","v":"2011-12-13T20:41:07"}]
["2011.12.13.20.41.43",294.8,294.7,0.37,"2011-12-13T20:41:43"]
["2011.12.13.20.42.19",294.8,294.60000000000002,0.37,"2011-12-13T20:42:19"]
["2011.12.13.20.42.55",294.8,294.60000000000002,0.37,"2011-12-13T20:42:55"]
["2011.12.13.20.43.31",294.8,294.60000000000002,0.37,"2011-12-13T20:43:31"]
["2011.12.13.20.44.07",294.8,294.60000000000002,0.37,"2011-12-13T20:44:07"]
["2011.12.13.20.44.43",294.8,294.5,0.37,"2011-12-13T20:44:43"]
["2011.12.13.20.45.19",294.8,294.7,0.37,"2011-12-13T20:45:19"]
["2011.12.13.20.45.55",294.8,294.7,0.37,"2011-12-13T20:45:55"]
["2011.12.13.20.46.31",294.8,294.7,0.37,"2011-12-13T20:46:31"]
["2011.12.13.20.47.07",294.8,294.60000000000002,0.37,"2011-12-13T20:47:07"]
["2011.12.13.20.47.44",294.8,294.60000000000002,0.37,"2011-12-13T20:47:44"]
["2011.12.13.20.48.20",294.8,294.5,0.37,"2011-12-13T20:48:20"]
["2011.12.13.20.48.56",294.7,294.7,0.37,"2011-12-13T20:48:56"]
["2011.12.13.20.49.32",294.8,294.60000000000002,0.37,"2011-12-13T20:49:32"]
["2011.12.13.20.50.08",294.8,294.60000000000002,0.38,"2011-12-13T20:50:08"]
["2011.12.13.20.50.44",294.8,294.60000000000002,0.38,"2011-12-13T20:50:44"]
["2011.12.13.20.51.20",294.8,294.60000000000002,0.37,"2011-12-13T20:51:20"]
["2011.12.13.20.51.56",294.8,"-----",0.37,"2011-12-13T20:51:56"]
["2011.12.13.20.52.32",294.7,294.60000000000002,0.38,"2011-12-13T20:52:32"]
["2011.12.13.20.53.08",294.8,294.60000000000002,0.37,"2011-12-13T20:53:08"]
["2011.12.13.20.53.44",294.8,294.60000000000002,0.37,"2011-12-13T20:53:44"]
["2011.12.13.20.54.20",294.89999999999998,294.60000000000002,0.37,"2011-12-13T20:54:20"]
["2011.12.13.20.54.56",294.8,294.60000000000002,0.37,"2011-12-13T20:54:56"]
["2011.12.13.20.55.32",294.8,294.60000000000002,0.37,"2011-12-13T20:55:32"]
["2011.12.13.20.56.08",294.8,294.60000000000002,0.37,"2011-12-13T20:56:08"]
["2011.12.13.20.56.44",294.8,294.60000000000002,0.37,"2011-12-13T20:56:44"]
["2011.12.13.20.57.20",294.8,294.60000000000002,0.37,"2011-12-13T20:57:20"]
["2011.12.13.20.57.56",294.8,294.60000000000002,0.37,"2011-12-13T20:57:56"]
["2011.12.13.20.58.32",294.7,294.60000000000002,0.37,"2011-12-13T20:58:32"]
["2011.12.13.20.59.08",294.8,294.7,0.37,"2011-12-13T20:59:08"]
["2011.12.13.20.59.44",294.8,294.60000000000002,0.37,"2011-12-13T20:59:44"]
["2011.12.13.21.00.20",294.7,294.60000000000002,0.37,"2011-12-13T21:00:20"]
["2011.12.13.21.00.56",294.8,294.60000000000002,0.37,"2011-12-13T21:00:56"]
["2011.12.13.21.01.32",294.8,294.60000000000002,0.37,"2011-12-13T21:01:32"]
["2011.12.13.21.02.08",294.8,294.60000000000002,0.37,"2011-12-13T21:02:08"]
["2011.12.13.21.02.44",294.7,294.60000000000002,0.37,"2011-12-13T21:02:44"]
["2011.12.13.21.03.20",294.8,294.7,0.37,"2011-12-13T21:03:20"]
["2011.12.13.21.03.56",294.8,294.60000000000002,0.37,"2011-12-13T21:03:56"]
["2011.12.13.21.04.32",294.8,294.60000000000002,0.37,"2011-12-13T21:04:32"]
["2011.12.13.21.05.08",294.8,294.60000000000002,0.37,"2011-12-13T21:05:08"]
["2011.12.13.21.05.44",294.8,294.60000000000002,0.37,"2011-12-13T21:05:44"]
["2011.12.13.21.06.20",294.8,294.60000000000002,0.36,"2011-12-13T21:06:20"]
["2011.12.13.21.06.56",294.8,294.7,0.37,"2011-12-13T21:06:56"]
["2011.12.13.21.07.32",294.8,294.60000000000002,0.37,"2011-12-13T21:07:32"]
["2011.12.13.21.08.08",294.7,294.60000000000002,0.37,"2011-12-13T21:08:08"]
["2011.12.13.21.08.44",294.7,294.7,0.36,"2011-12-13T21:08:44"]
["2011.12.13.21.09.20",294.8,294.60000000000002,0.37,"2011-12-13T21:09:20"]
["2011.12.13.21.09.56",294.8,294.60000000000002,0.37,"2011-12-13T21:09:56"]
["2011.12.13.21.10.32",294.8,294.60000000000002,0.37,"2011-12-13T21:10:32"]
["2011.12.13.21.11.08",294.8,294.7,0.36,"2011-12-13T21:11:08"]
["2011.12.13.21.11.44",294.8,294.60000000000002,0.37,"2011-12-13T21:11:44"]
["2011.12.13.21.12.20",294.89999999999998,294.60000000000002,0.36,"2011-12-13T21:12:20"]
["2011.12.13.21.12.56",294.8,294.7,0.37,"2011-12-13T21:12:56"]
["2011.12.13.21.13.32",294.8,294.7,0.37,"2011-12-13T21:13:32"]
["2011.12.13.21.14.08",294.8,294.60000000000002,0.37,"2011-12-13T21:14:08"]
["2011.12.13.21.14.44",294.7,294.60000000000002,0.37,"2011-12-13T21:14:44"]
["2011.12.13.21.15.20",294.8,294.60000000000002,0.36,"2011-12-13T21:15:20"]
["2011.12.13.21.15.56",294.8,294.5,0.37,"2011-12-13T21:15:56"]
["2011.12.13.21.16.32",294.8,294.60000000000002,0.37,"2011-12-13T21:16:32"]
["2011.12.13.21.17.08",294.8,294.60000000000002,0.37,"2011-12-13T21:17:08"]
["2011.12.13.21.17.44",294.8,294.60000000000002,0.37,"2011-12-13T21:17:44"]
["2011.12.13.21.18.20",294.8,294.60000000000002,0.37,"2011-12-13T21:18:20"]
["2011.12.13.21.18.56",294.8,294.60000000000002,0.37,"2011-12-13T21:18:56"]
["2011.12.13.21.19.32",294.8,294.60000000000002,0.37,{"$f":"VALUE(MID(A579,6,2)&\"/\"&MID(A579,9,2)&\"/\"&LEFT(A579,4)&\" \"&MID(A579,12,2)&\":\"&MID(A579,15,2)&\":\"&RIGHT(A579,2))","v":"2011-12-13T21:19:32"}]
["2011.12.13.21.20.08",294.8,294.60000000000002,0.37,"2011-12-13T21:20:08"]
["2011.12.13.21.20.44",294.7,294.60000000000002,0.37,"2011-12-13T21:20:44"]
["2011.12.13.21.21.20",294.7,294.60000000000002,0.37,"2011-12-13T21:21:20"]
["2011.12.13.21.21.56",294.7,294.60000000000002,0.37,"2011-12-13T21:21:56"]
["2011.12.13.21.22.32",294.7,294.5,0.37,"2011-12-13T21:22:32"]
["2011.12.13.21.23.08",294.60000000000002,294.60000000000002,0.37,"2011-12-13T21:23:08"]
["2011.12.13.21.23.44",294.60000000000002,294.5,0.37,"2011-12-13T21:23:44"]
["2011.12.13.21.24.20",294.7,294.5,0.37,"2011-12-13T21:24:20"]
["2011.12.13.21.24.56",294.7,294.60000000000002,0.37,"2011-12-13T21:24:56"]
["2011.12.13.21.25.32",294.7,294.60000000000002,0.37,"2011-12-13T21:25:32"]
["2011.12.13.21.26.08",294.7,294.5,0.37,"2011-12-13T21:26:08"]
["2011.12.13.21.26.44",294.7,294.60000000000002,0.37,"2011-12-13T21:26:44"]
["2011.12.13.21.27.20",294.7,294.5,0.37,"2011-12-13T21:27:20"]
["2011.12.13.21.27.56",294.7,294.60000000000002,0.37,"2011-12-13T21:27:56"]
["2011.12.13.21.28.32",294.7,294.5,0.37,"2011-12-13T21:28:32"]
["2011.12.13.21.29.08",294.7,294.60000000000002,0.37,"2011-12-13T21:29:08"]
["2011.12.13.21.29.44",294.7,"-----",0.37,"2011-12-13T21:29:44"]
["2011.12.13.21.30.20",294.8,294.60000000000002,0.37,"2011-12-13T21:30:20"]
["2011.12.13.21.30.56",294.7,294.5,0.37,"2011-12-13T21:30:56"]
["2011.12.13.21.31.32",294.7,294.5,0.37,"2011-12-13T21:31:32"]
["2011.12.13.21.32.08",294.60000000000002,294.5,0.37,"2011-12-13T21:32:08"]
["2011.12.13.21.32.44",294.7,294.5,0.37,"2011-12-13T21:32:44"]
["2011.12.13.21.33.20",294.7,294.5,0.37,"2011-12-13T21:33:20"]
["2011.12.13.21.33.56",294.7,294.5,0.37,"2011-12-13T21:33:56"]
["2011.12.13.21.34.32",294.7,294.60000000000002,0.37,"2011-12-13T21:34:32"]
["2011.12.13.21.35.08",294.7,294.60000000000002,0.37,"2011-12-13T21:35:08"]
["2011.12.13.21.35.44",294.7,294.5,0.37,"2011-12-13T21:35:44"]
["2011.12.13.21.36.20",294.7,294.5,0.37,"2011-12-13T21:36:20"]
["2011.12.13.21.36.57",294.60000000000002,294.5,0.37,"2011-12-13T21:36:57"]
["2011.12.13.21.37.33",294.60000000000002,294.60000000000002,0.37,"2011-12-13T21:37:33"]
["2011.12.13.21.38.09",294.7,294.5,0.37,"2011-12-13T21:38:09"]
["2011.12.13.21.38.45",294.8,294.5,0.37,"2011-12-13T21:38:45"]
["2011.12.13.21.39.21",294.7,294.5,0.37,"2011-12-13T21:39:21"]
["2011.12.13.21.39.57",294.7,294.39999999999998,0.37,"2011-12-13T21:39:57"]
["2011.12.13.21.40.33",294.7,294.5,0.37,"2011-12-13T21:40:33"]
["2011.12.13.21.41.09",294.7,294.5,0.37,"2011-12-13T21:41:09"]
["2011.12.13.21.41.45",294.7,294.60000000000002,0.37,"2011-12-13T21:41:45"]
["2011.12.13.21.42.21",294.60000000000002,294.5,0.37,"2011-12-13T21:42:21"]
["2011.12.13.21.42.57",294.60000000000002,294.5,0.37,"2011-12-13T21:42:57"]
["2011.12.13.21.43.33",294.60000000000002,294.5,0.37,"2011-12-13T21:43:33"]
["2011.12.13.21.44.09",294.60000000000002,294.5,0.37,"2011-12-13T21:44:09"]
["2011.12.13.21.44.45",294.7,294.60000000000002,0.38,"2011-12-13T21:44:45"]
["2011.12.13.21.45.21",294.7,294.5,0.37,"2011-12-13T21:45:21"]
["2011.12.13.21.45.57",294.60000000000002,294.5,0.37,"2011-12-13T21:45:57"]
["2011.12.13.21.46.33",294.60000000000002,294.5,0.37,"2011-12-13T21:46:33"]
["2011.12.13.21.47.09",294.60000000000002,294.5,0.37,"2011-12-13T21:47:09"]
["2011.12.13.21.47.45",294.7,294.5,0.37,"2011-12-13T21:47:45"]
["2011.12.13.21.48.21",294.60000000000002,294.60000000000002,0.37,"2011-12-13T21:48:21"]
["2011.12.13.21.48.57",294.7,294.5,0.37,"2011-12-13T21:48:57"]
["2011.12.13.21.49.33",294.7,294.5,0.37,"2011-12-13T21:49:33"]
["2011.12.13.21.50.09",294.60000000000002,294.39999999999998,0.37,"2011-12-13T21:50:09"]
["2011.12.13.21.50.45",294.7,294.5,0.38,"2011-12-13T21:50:45"]
["2011.12.13.21.51.21",294.60000000000002,294.5,0.37,"2011-12-13T21:51:21"]
["2011.12.13.21.51.57",294.7,294.5,0.38,"2011-12-13T21:51:57"]
["2011.12.13.21.52.33",294.7,294.5,0.38,"2011-12-13T21:52:33"]
["2011.12.13.21.53.09",294.60000000000002,294.5,0.38,"2011-12-13T21:53:09"]
["2011.12.13.21.53.45",294.60000000000002,294.39999999999998,0.37,"2011-12-13T21:53:45"]
["2011.12.13.21.54.21",294.7,294.5,0.37,"2011-12-13T21:54:21"]
["2011.12.13.21.54.57",294.60000000000002,294.60000000000002,0.38,"2011-12-13T21:54:57"]
["2011.12.13.21.55.33",294.60000000000002,294.5,0.38,"2011-12-13T21:55:33"]
["2011.12.13.21.56.09",294.8,294.5,0.38,"2011-12-13T21:56:09"]
["2011.12.13.21.56.45",294.60000000000002,294.5,0.38,"2011-12-13T21:56:45"]
["2011.12.13.21.57.21",294.60000000000002,294.5,0.38,"2011-12-13T21:57:21"]
["2011.12.13.21.57.57",294.60000000000002,294.60000000000002,0.38,{"$f":"VALUE(MID(A643,6,2)&\"/\"&MID(A643,9,2)&\"/\"&LEFT(A643,4)&\" \"&MID(A643,12,2)&\":\"&MID(A643,15,2)&\":\"&RIGHT(A643,2))","v":"2011-12-13T21:57:57"}]
["2011.12.13.21.58.33",294.7,294.5,0.38,"2011-12-13T21:58:33"]
["2011.12.13.21.59.09",294.7,294.5,0.37,"2011-12-13T21:59:09"]
["2011.12.13.21.59.45",294.7,294.5,0.37,"2011-12-13T21:59:45"]
["2011.12.13.22.00.21",294.7,294.39999999999998,0.37,"2011-12-13T22:00:21"]
["2011.12.13.22.00.57",294.60000000000002,294.60000000000002,0.37,"2011-12-13T22:00:57"]
["2011.12.13.22.01.33",294.60000000000002,294.60000000000002,0.38,"2011-12-13T22:01:33"]
["2011.12.13.22.02.09",294.60000000000002,294.5,0.38,"2011-12-13T22:02:09"]
["2011.12.13.22.02.45",294.7,294.60000000000002,0.38,"2011-12-13T22:02:45"]
["2011.12.13.22.03.21",294.7,294.60000000000002,0.38,"2011-12-13T22:03:21"]
["2011.12.13.22.03.57",294.7,294.60000000000002,0.38,"2011-12-13T22:03:57"]
["2011.12.13.22.04.33",294.7,294.5,0.38,"2011-12-13T22:04:33"]
["2011.12.13.22.05.09",294.7,294.39999999999998,0.38,"2011-12-13T22:05:09"]
["2011.12.13.22.05.45",294.60000000000002,294.5,0.38,"2011-12-13T22:05:45"]
["2011.12.13.22.06.21",294.7,294.60000000000002,0.38,"2011-12-13T22:06:21"]
["2011.12.13.22.06.57",294.7,294.5,0.38,"2011-12-13T22:06:57"]
["2011.12.13.22.07.33",294.8,294.5,0.38,"2011-12-13T22:07:33"]
["2011.12.13.22.08.09",294.7,294.60000000000002,0.38,"2011-12-13T22:08:09"]
["2011.12.13.22.08.45",294.7,294.5,0.38,"2011-12-13T22:08:45"]
["2011.12.13.22.09.21",294.7,294.60000000000002,0.38,"2011-12-13T22:09:21"]
["2011.12.13.22.09.57",294.7,294.5,0.38,"2011-12-13T22:09:57"]
["2011.12.13.22.10.33",294.60000000000002,294.39999999999998,0.38,"2011-12-13T22:10:33"]
["2011.12.13.22.11.09",294.7,294.5,0.38,"2011-12-13T22:11:09"]
["2011.12.13.22.11.45",294.7,294.5,0.38,"2011-12-13T22:11:45"]
["2011.12.13.22.12.21",294.7,294.60000000000002,0.38,"2011-12-13T22:12:21"]
["2011.12.13.22.12.57",294.8,294.5,0.38,"2011-12-13T22:12:57"]
["2011.12.13.22.13.33",294.60000000000002,294.5,0.38,"2011-12-13T22:13:33"]
["2011.12.13.22.14.09",294.7,294.60000000000002,0.38,"2011-12-13T22:14:09"]
["2011.12.13.22.14.45",294.7,294.5,0.38,"2011-12-13T22:14:45"]
["2011.12.13.22.15.21",294.7,294.60000000000002,0.38,"2011-12-13T22:15:21"]
["2011.12.13.22.15.57",294.60000000000002,294.60000000000002,0.38,"2011-12-13T22:15:57"]
["2011.12.13.22.16.33",294.7,294.5,0.38,"2011-12-13T22:16:33"]
["2011.12.13.22.17.09",294.8,294.5,0.38,"2011-12-13T22:17:09"]
["2011.12.13.22.17.45",294.7,294.5,0.38,"2011-12-13T22:17:45"]
["2011.12.13.22.18.21",294.7,294.60000000000002,0.38,"2011-12-13T22:18:21"]
["2011.12.13.22.18.57",294.7,294.60000000000002,0.38,"2011-12-13T22:18:57"]
["2011.12.13.22.19.33",294.89999999999998,294.60000000000002,0.38,"2011-12-13T22:19:33"]
["2011.12.13.22.20.09",294.7,294.5,0.38,"2011-12-13T22:20:09"]
["2011.12.13.22.20.45",294.8,294.60000000000002,0.38,"2011-12-13T22:20:45"]
["2011.12.13.22.21.21",294.7,294.5,0.38,"2011-12-13T22:21:21"]
["2011.12.13.22.21.57",294.7,294.5,0.38,"2011-12-13T22:21:57"]
["2011.12.13.22.22.33",294.7,294.60000000000002,0.38,"2011-12-13T22:22:33"]
["2011.12.13.22.23.09",294.8,294.60000000000002,0.38,"2011-12-13T22:23:09"]
["2011.12.13.22.23.46",294.7,294.60000000000002,0.38,"2011-12-13T22:23:46"]
["2011.12.13.22.24.22",294.7,294.60000000000002,0.38,"2011-12-13T22:24:22"]
["2011.12.13.22.24.58",294.8,294.60000000000002,0.38,"2011-12-13T22:24:58"]
["2011.12.13.22.25.34",294.8,294.60000000000002,0.38,"2011-12-13T22:25:34"]
["2011.12.13.22.26.10",294.8,294.60000000000002,0.39,"2011-12-13T22:26:10"]
["2011.12.13.22.26.46",294.7,294.60000000000002,0.38,"2011-12-13T22:26:46"]
["2011.12.13.22.27.22",294.7,294.5,0.38,"2011-12-13T22:27:22"]
["2011.12.13.22.27.58",294.7,294.60000000000002,0.38,"2011-12-13T22:27:58"]
["2011.12.13.22.28.34",294.7,294.60000000000002,0.38,"2011-12-13T22:28:34"]
["2011.12.13.22.29.10",294.7,294.5,0.38,"2011-12-13T22:29:10"]
["2011.12.13.22.29.46",294.8,294.60000000000002,0.38,"2011-12-13T22:29:46"]
["2011.12.13.22.30.22",294.8,294.60000000000002,0.38,"2011-12-13T22:30:22"]
["2011.12.13.22.30.58",294.8,294.60000000000002,0.38,"2011-12-13T22:30:58"]
["2011.12.13.22.31.34",294.7,294.60000000000002,0.38,"2011-12-13T22:31:34"]
["2011.12.13.22.32.10",294.8,294.5,0.38,"2011-12-13T22:32:10"]
["2011.12.13.22.32.46",294.7,294.60000000000002,0.38,"2011-12-13T22:32:46"]
["2011.12.13.22.33.24",294.7,294.5,0.38,"2011-12-13T22:33:24"]
["2011.12.13.22.34.00",294.8,294.5,0.38,"2011-12-13T22:34:00"]
["2011.12.13.22.34.36",294.8,294.7,0.38,"2011-12-13T22:34:36"]
["2011.12.13.22.35.12",294.8,294.60000000000002,0.38,"2011-12-13T22:35:12"]
["2011.12.13.22.35.48",294.8,294.60000000000002,0.38,"2011-12-13T22:35:48"]
["2011.12.13.22.36.24",294.8,294.60000000000002,0.38,{"$f":"VALUE(MID(A707,6,2)&\"/\"&MID(A707,9,2)&\"/\"&LEFT(A707,4)&\" \"&MID(A707,12,2)&\":\"&MID(A707,15,2)&\":\"&RIGHT(A707,2))","v":"2011-12-13T22:36:24"}]
["2011.12.13.22.37.00",294.7,294.5,0.38,"2011-12-13T22:37:00"]
["2011.12.13.22.37.36",294.8,294.60000000000002,0.38,"2011-12-13T22:37:36"]
["2011.12.13.22.38.12",294.8,294.7,0.38,"2011-12-13T22:38:12"]
["2011.12.13.22.38.48",294.8,294.7,0.38,"2011-12-13T22:38:48"]
["2011.12.13.22.39.24",294.8,294.5,0.39,"2011-12-13T22:39:24"]
["2011.12.13.22.40.00",294.8,294.60000000000002,0.38,"2011-12-13T22:40:00"]
["2011.12.13.22.40.36",294.7,294.5,0.39,"2011-12-13T22:40:36"]
["2011.12.13.22.41.12",294.89999999999998,294.60000000000002,0.38,"2011-12-13T22:41:12"]
["2011.12.13.22.41.48",294.8,294.60000000000002,0.38,"2011-12-13T22:41:48"]
["2011.12.13.22.42.24",294.8,294.5,0.38,"2011-12-13T22:42:24"]
["2011.12.13.22.43.00",294.8,294.60000000000002,0.39,"2011-12-13T22:43:00"]
["2011.12.13.22.43.36",294.8,294.5,0.38,"2011-12-13T22:43:36"]
["2011.12.13.22.44.12",294.7,294.5,0.39,"2011-12-13T22:44:12"]
["2011.12.13.22.44.49",294.7,294.60000000000002,0.38,"2011-12-13T22:44:49"]
["2011.12.13.22.45.25",294.7,294.60000000000002,0.39,"2011-12-13T22:45:25"]
["2011.12.13.22.46.01",294.7,294.60000000000002,0.39,"2011-12-13T22:46:01"]
["2011.12.13.22.46.37",294.8,294.60000000000002,0.39,"2011-12-13T22:46:37"]
["2011.12.13.22.47.13",294.7,294.5,0.38,"2011-12-13T22:47:13"]
["2011.12.13.22.47.49",294.7,294.60000000000002,0.39,"2011-12-13T22:47:49"]
["2011.12.13.22.48.25",294.8,294.60000000000002,0.38,"2011-12-13T22:48:25"]
["2011.12.13.22.49.01",294.8,294.5,0.38,"2011-12-13T22:49:01"]
["2011.12.13.22.49.37",294.8,294.60000000000002,0.39,"2011-12-13T22:49:37"]
["2011.12.13.22.50.13",294.8,294.60000000000002,0.39,"2011-12-13T22:50:13"]
["2011.12.13.22.50.49",294.8,294.60000000000002,0.39,"2011-12-13T22:50:49"]
["2011.12.13.22.51.25",294.89999999999998,294.60000000000002,0.39,"2011-12-13T22:51:25"]
["2011.12.13.22.52.01",294.8,294.60000000000002,0.39,"2011-12-13T22:52:01"]
["2011.12.13.22.52.37",294.8,294.60000000000002,0.39,"2011-12-13T22:52:37"]
["2011.12.13.22.53.13",294.7,294.60000000000002,0.39,"2011-12-13T22:53:13"]
["2011.12.13.22.53.49",294.8,294.60000000000002,0.39,"2011-12-13T22:53:49"]
["2011.12.13.22.54.25",294.7,294.60000000000002,0.39,"2011-12-13T22:54:25"]
["2011.12.13.22.55.01",294.7,294.60000000000002,0.39,"2011-12-13T22:55:01"]
["2011.12.13.22.55.37",294.7,294.5,0.39,"2011-12-13T22:55:37"]
["2011.12.13.22.56.13",294.7,294.60000000000002,0.39,"2011-12-13T22:56:13"]
["2011.12.13.22.56.49",294.8,294.60000000000002,0.39,"2011-12-13T22:56:49"]
["2011.12.13.22.57.25",294.7,294.60000000000002,0.39,"2011-12-13T22:57:25"]
["2011.12.13.22.58.01",294.8,294.60000000000002,0.39,"2011-12-13T22:58:01"]
["2011.12.13.22.58.37",294.7,294.60000000000002,0.38,"2011-12-13T22:58:37"]
["2011.12.13.22.59.13",294.8,294.60000000000002,0.39,"2011-12-13T22:59:13"]
["2011.12.13.22.59.49",294.7,294.60000000000002,0.39,"2011-12-13T22:59:49"]
["2011.12.13.23.00.25",294.7,294.60000000000002,0.39,"2011-12-13T23:00:25"]
["2011.12.13.23.01.01",294.8,294.60000000000002,0.39,"2011-12-13T23:01:01"]
["2011.12.13.23.01.37",294.7,294.60000000000002,0.39,"2011-12-13T23:01:37"]
["2011.12.13.23.02.13",294.8,294.7,0.39,"2011-12-13T23:02:13"]
["2011.12.13.23.02.49",294.8,294.7,0.39,"2011-12-13T23:02:49"]
["2011.12.13.23.03.25",294.8,294.60000000000002,0.39,"2011-12-13T23:03:25"]
["2011.12.13.23.04.01",294.7,294.60000000000002,0.39,"2011-12-13T23:04:01"]
["2011.12.13.23.04.37",294.89999999999998,294.60000000000002,0.39,"2011-12-13T23:04:37"]
["2011.12.13.23.05.13",294.7,294.60000000000002,0.39,"2011-12-13T23:05:13"]
["2011.12.13.23.05.49",294.7,294.5,0.39,"2011-12-13T23:05:49"]
["2011.12.13.23.06.25",294.8,294.60000000000002,0.39,"2011-12-13T23:06:25"]
["2011.12.13.23.07.01",294.7,294.60000000000002,0.39,"2011-12-13T23:07:01"]
["2011.12.13.23.07.37",294.8,294.60000000000002,0.39,"2011-12-13T23:07:37"]
["2011.12.13.23.08.13",294.7,294.60000000000002,0.39,"2011-12-13T23:08:13"]
["2011.12.13.23.08.49",294.8,294.7,0.39,"2011-12-13T23:08:49"]
["2011.12.13.23.09.25",294.8,294.60000000000002,0.39,"2011-12-13T23:09:25"]
["2011.12.13.23.10.01",294.7,294.5,0.39,"2011-12-13T23:10:01"]
["2011.12.13.23.10.37",294.8,294.7,0.39,"2011-12-13T23:10:37"]
["2011.12.13.23.11.13",294.8,294.60000000000002,0.39,"2011-12-13T23:11:13"]
["2011.12.13.23.11.49",294.7,294.60000000000002,0.39,"2011-12-13T23:11:49"]
["2011.12.13.23.12.25",294.7,294.5,0.39,"2011-12-13T23:12:25"]
["2011.12.13.23.13.01",294.7,294.5,0.39,"2011-12-13T23:13:01"]
["2011.12.13.23.13.37",294.8,294.5,0.39,"2011-12-13T23:13:37"]
["2011.12.13.23.14.13",294.7,294.60000000000002,0.39,"2011-12-13T23:14:13"]
["2011.12.13.23.14.49",294.8,294.60000000000002,0.39,{"$f":"VALUE(MID(A771,6,2)&\"/\"&MID(A771,9,2)&\"/\"&LEFT(A771,4)&\" \"&MID(A771,12,2)&\":\"&MID(A771,15,2)&\":\"&RIGHT(A771,2))","v":"2011-12-13T23:14:49"}]
["2011.12.13.23.15.25",294.7,294.60000000000002,0.39,"2011-12-13T23:15:25"]
["2011.12.13.23.16.01",294.7,294.60000000000002,0.39,"2011-12-13T23:16:01"]
["2011.12.13.23.16.37",294.7,294.60000000000002,0.39,"2011-12-13T23:16:37"]
["2011.12.13.23.17.13",294.7,294.60000000000002,0.4,"2011-12-13T23:17:13"]
["2011.12.13.23.17.49",294.7,294.60000000000002,0.39,"2011-12-13T23:17:49"]
["2011.12.13.23.18.25",294.8,294.60000000000002,0.39,"2011-12-13T23:18:25"]
["2011.12.13.23.19.01",294.7,294.5,0.39,"2011-12-13T23:19:01"]
["2011.12.13.23.19.37",294.7,294.60000000000002,0.39,"2011-12-13T23:19:37"]
["2011.12.13.23.20.13",294.7,294.60000000000002,0.39,"2011-12-13T23:20:13"]
["2011.12.13.23.20.49",294.7,294.60000000000002,0.39,"2011-12-13T23:20:49"]
["2011.12.13.23.21.25",294.8,294.5,0.39,"2011-12-13T23:21:25"]
["2011.12.13.23.22.01",294.7,294.60000000000002,0.39,"2011-12-13T23:22:01"]
["2011.12.13.23.22.37",294.7,294.60000000000002,0.39,"2011-12-13T23:22:37"]
["2011.12.13.23.23.13",294.7,294.60000000000002,0.39,"2011-12-13T23:23:13"]
["2011.12.13.23.23.49",294.7,294.60000000000002,0.39,"2011-12-13T23:23:49"]
["2011.12.13.23.24.25",294.7,294.60000000000002,0.39,"2011-12-13T23:24:25"]
["2011.12.13.23.25.01",294.7,294.5,0.39,"2011-12-13T23:25:01"]
["2011.12.13.23.25.37",294.7,294.60000000000002,0.39,"2011-12-13T23:25:37"]
["2011.12.13.23.26.13",294.7,294.5,0.39,"2011-12-13T23:26:13"]
["2011.12.13.23.26.49",294.7,294.60000000000002,0.39,"2011-12-13T23:26:49"]
["2011.12.13.23.27.25",294.7,294.60000000000002,0.39,"2011-12-13T23:27:25"]
["2011.12.13.23.28.01",294.8,294.60000000000002,0.39,"2011-12-13T23:28:01"]
["2011.12.13.23.28.37",294.8,294.5,0.39,"2011-12-13T23:28:37"]
["2011.12.13.23.29.13",294.7,294.5,0.39,"2011-12-13T23:29:13"]
["2011.12.13.23.29.49",294.7,294.5,0.39,"2011-12-13T23:29:49"]
["2011.12.13.23.30.25",294.7,294.60000000000002,0.39,"2011-12-13T23:30:25"]
["2011.12.13.23.31.01",294.7,294.60000000000002,0.39,"2011-12-13T23:31:01"]
["2011.12.13.23.31.37",294.7,294.60000000000002,0.39,"2011-12-13T23:31:37"]
["2011.12.13.23.32.13",294.7,294.60000000000002,0.39,"2011-12-13T23:32:13"]
["2011.12.13.23.32.49",294.7,294.60000000000002,0.39,"2011-12-13T23:32:49"]
["2011.12.13.23.33.26",294.8,294.5,0.39,"2011-12-13T23:33:26"]
["2011.12.13.23.34.02",294.8,294.5,0.39,"2011-12-13T23:34:02"]
["2011.12.13.23.34.38",294.8,294.5,0.39,"2011-12-13T23:34:38"]
["2011.12.13.23.35.14",294.7,294.60000000000002,0.39,"2011-12-13T23:35:14"]
["2011.12.13.23.35.50",294.8,294.5,0.39,"2011-12-13T23:35:50"]
["2011.12.13.23.36.26",294.7,294.60000000000002,0.39,"2011-12-13T23:36:26"]
["2011.12.13.23.37.02",294.7,294.5,0.39,"2011-12-13T23:37:02"]
["2011.12.13.23.37.38",294.7,294.5,0.39,"2011-12-13T23:37:38"]
["2011.12.13.23.38.14",294.7,294.60000000000002,0.39,"2011-12-13T23:38:14"]
["2011.12.13.23.38.50",294.8,294.60000000000002,0.39,"2011-12-13T23:38:50"]
["2011.12.13.23.39.26",294.7,294.5,0.39,"2011-12-13T23:39:26"]
["2011.12.13.23.40.02",294.8,294.60000000000002,0.39,"2011-12-13T23:40:02"]
["2011.12.13.23.40.38",294.8,294.5,0.39,"2011-12-13T23:40:38"]
["2011.12.13.23.41.14",294.8,294.60000000000002,0.39,"2011-12-13T23:41:14"]
["2011.12.13.23.41.50",294.8,294.60000000000002,0.39,"2011-12-13T23:41:50"]
["2011.12.13.23.42.26",294.7,294.60000000000002,0.39,"2011-12-13T23:42:26"]
["2011.12.13.23.43.02",294.8,294.60000000000002,0.4,"2011-12-13T23:43:02"]
["2011.12.13.23.43.38",294.8,294.5,0.4,"2011-12-13T23:43:38"]
["2011.12.13.23.44.14",294.7,294.60000000000002,0.39,"2011-12-13T23:44:14"]
["2011.12.13.23.44.50",294.7,294.5,0.39,"2011-12-13T23:44:50"]
["2011.12.13.23.45.26",294.7,294.60000000000002,0.39,"2011-12-13T23:45:26"]
["2011.12.13.23.46.02",294.7,294.60000000000002,0.39,"2011-12-13T23:46:02"]
["2011.12.13.23.46.38",294.7,294.60000000000002,0.39,"2011-12-13T23:46:38"]
["2011.12.13.23.47.14",294.7,294.60000000000002,0.39,"2011-12-13T23:47:14"]
["2011.12.13.23.47.50",294.8,294.5,0.39,"2011-12-13T23:47:50"]
["2011.12.13.23.48.26",294.60000000000002,294.60000000000002,0.39,"2011-12-13T23:48:26"]
["2011.12.13.23.49.02",294.8,294.5,0.39,"2011-12-13T23:49:02"]
["2011.12.13.23.49.38",294.7,294.5,0.39,"2011-12-13T23:49:38"]
["2011.12.13.23.50.14",294.7,294.5,0.39,"2011-12-13T23:50:14"]
["2011.12.13.23.50.50",294.60000000000002,294.5,0.39,"2011-12-13T23:50:50"]
["2011.12.13.23.51.26",294.7,294.60000000000002,0.39,"2011-12-13T23:51:26"]
["2011.12.13.23.52.02",294.7,294.5,0.39,"2011-12-13T23:52:02"]
["2011.12.13.23.52.38",294.7,294.5,0.39,"2011-12-13T23:52:38"]
["2011.12.13.23.53.14",294.7,294.5,0.39,{"$f":"VALUE(MID(A835,6,2)&\"/\"&MID(A835,9,2)&\"/\"&LEFT(A835,4)&\" \"&MID(A835,12,2)&\":\"&MID(A835,15,2)&\":\"&RIGHT(A835,2))","v":"2011-12-13T23:53:14"}]
["2011.12.13.23.53.50",294.7,294.5,0.4,"2011-12-13T23:53:50"]
["2011.12.13.23.54.26",294.8,294.60000000000002,0.4,"2011-12-13T23:54:26"]
["2011.12.13.23.55.02",294.7,294.60000000000002,0.39,"2011-12-13T23:55:02"]
["2011.12.13.23.55.38",294.7,294.60000000000002,0.39,"2011-12-13T23:55:38"]
["2011.12.13.23.56.14",294.7,294.60000000000002,0.39,"2011-12-13T23:56:14"]
["2011.12.13.23.56.50",294.7,294.5,0.39,"2011-12-13T23:56:50"]
["2011.12.13.23.57.26",294.7,294.60000000000002,0.39,"2011-12-13T23:57:26"]
["2011.12.13.23.58.02",294.7,294.60000000000002,0.4,"2011-12-13T23:58:02"]
["2011.12.13.23.58.38",294.7,294.5,0.39,"2011-12-13T23:58:38"]
["2011.12.13.23.59.14",294.7,294.5,0.39,"2011-12-13T23:59:14"]
["2011.12.13.23.59.50",294.7,294.60000000000002,0.4,"2011-12-13T23:59:50"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}