{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":778,"n_cols":9,"rows_kept":778,"cut":false,"hidden":false,"merged":[]}
["Time Stamp ","T1","T2","Pr",null,null,"Date","T1","T2"]
["2011.12.19.00.00.31",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G2+1","v":"2011-12-19"},{"$f":"AVERAGE(B2:B101)","v":294.80399999999952},{"$f":"AVERAGE(C2:C101)","v":294.64299999999986}]
["2011.12.19.00.01.07",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G3+1","v":"2011-12-19T01:00:00"},{"$f":"AVERAGE(B102:B201)","v":294.77399999999994},{"$f":"AVERAGE(C102:C201)","v":294.60303030302993}]
["2011.12.19.00.01.43",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G4+1","v":"2011-12-19T02:00:00"},{"$f":"AVERAGE(B202:B300)","v":294.71717171717188},{"$f":"AVERAGE(C202:C300)","v":294.55656565656545}]
["2011.12.19.00.02.19",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G5+1","v":"2011-12-19T03:00:00"},{"$f":"AVERAGE(B301:B400)","v":294.66500000000002},{"$f":"AVERAGE(C301:C400)","v":294.52499999999998}]
["2011.12.19.00.02.55",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G6+1","v":"2011-12-19T04:00:00"},{"$f":"AVERAGE(B401:B500)","v":294.63737373737337},{"$f":"AVERAGE(C401:C500)","v":294.49000000000007}]
["2011.12.19.00.03.31",294.89999999999998,294.7,0.36,null,null,{"$f":"[1]Sheet1!G7+1","v":"2011-12-19T05:00:00"},{"$f":"AVERAGE(B501:B600)","v":294.58899999999971},{"$f":"AVERAGE(C501:C600)","v":294.45050505050517}]
["2011.12.19.00.04.07",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G8+1","v":"2011-12-19T06:00:00"},{"$f":"AVERAGE(B601:B700)","v":294.54545454545445},{"$f":"AVERAGE(C601:C700)","v":294.3969696969699}]
["2011.12.19.00.04.43",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G9+1","v":"2011-12-19T07:00:00"},{"$f":"AVERAGE(B701:B778)","v":294.51410256410264},{"$f":"AVERAGE(C701:C778)","v":294.33974358974336}]
["2011.12.19.00.05.19",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G10+1","v":"2011-12-19T08:00:00"},"n/a","n/a"]
["2011.12.19.00.05.55",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G11+1","v":"2011-12-19T09:00:00"},"n/a","n/a"]
["2011.12.19.00.06.31",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G12+1","v":"2011-12-19T10:00:00"},"n/a","n/a"]
["2011.12.19.00.07.07",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G13+1","v":"2011-12-19T11:00:00"},"n/a","n/a"]
["2011.12.19.00.07.43",294.89999999999998,294.7,0.36,null,null,{"$f":"[1]Sheet1!G14+1","v":"2011-12-19T12:00:00"},"n/a","n/a"]
["2011.12.19.00.08.19",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G15+1","v":"2011-12-19T13:00:00"},"n/a","n/a"]
["2011.12.19.00.08.55",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G16+1","v":"2011-12-19T14:00:00"},"n/a","n/a"]
["2011.12.19.00.09.31",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G17+1","v":"2011-12-19T15:00:00"},"n/a","n/a"]
["2011.12.19.00.10.07",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G18+1","v":"2011-12-19T16:00:00"},"n/a","n/a"]
["2011.12.19.00.10.43",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G19+1","v":"2011-12-19T17:00:00"},"n/a","n/a"]
["2011.12.19.00.11.19",294.89999999999998,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G20+1","v":"2011-12-19T18:00:00"},"n/a","n/a"]
["2011.12.19.00.11.55",294.8,294.7,0.36,null,null,{"$f":"[1]Sheet1!G21+1","v":"2011-12-19T19:00:00"},"n/a","n/a"]
["2011.12.19.00.12.31",294.8,294.60000000000002,0.37,null,null,{"$f":"[1]Sheet1!G22+1","v":"2011-12-19T20:00:00"},"n/a","n/a"]
["2011.12.19.00.13.07",294.8,294.7,0.37,null,null,{"$f":"[1]Sheet1!G23+1","v":"2011-12-19T21:00:00"},"n/a","n/a"]
["2011.12.19.00.13.43",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G24+1","v":"2011-12-19T22:00:00"},"n/a","n/a"]
["2011.12.19.00.14.19",294.8,294.60000000000002,0.36,null,null,{"$f":"[1]Sheet1!G25+1","v":"2011-12-19T23:00:00"},"n/a","n/a"]
["2011.12.19.00.14.55",294.8,294.7,0.36]
["2011.12.19.00.15.31",294.8,294.60000000000002,0.36]
["2011.12.19.00.16.07",294.8,294.5,0.36]
["2011.12.19.00.16.43",294.8,294.7,0.36]
["2011.12.19.00.17.19",294.8,294.60000000000002,0.36]
["2011.12.19.00.17.55",294.8,294.7,0.36]
["2011.12.19.00.18.31",294.8,294.7,0.36]
["2011.12.19.00.19.07",294.8,294.7,0.36]
["2011.12.19.00.19.43",294.8,294.7,0.36]
["2011.12.19.00.20.19",294.8,294.7,0.36]
["2011.12.19.00.20.55",294.8,294.60000000000002,0.36]
["2011.12.19.00.21.31",294.8,294.60000000000002,0.36]
["2011.12.19.00.22.07",294.8,294.60000000000002,0.36]
["2011.12.19.00.22.43",294.8,294.7,0.36]
["2011.12.19.00.23.19",294.8,294.7,0.36]
["2011.12.19.00.23.55",294.8,294.60000000000002,0.36]
["2011.12.19.00.24.31",294.8,294.7,0.36]
["2011.12.19.00.25.07",294.8,294.7,0.36]
["2011.12.19.00.25.43",294.7,294.60000000000002,0.36]
["2011.12.19.00.26.19",294.89999999999998,294.7,0.36]
["2011.12.19.00.26.55",294.8,294.60000000000002,0.36]
["2011.12.19.00.27.31",294.8,294.7,0.36]
["2011.12.19.00.28.07",294.8,294.60000000000002,0.36]
["2011.12.19.00.28.43",294.8,294.7,0.36]
["2011.12.19.00.29.19",294.8,294.7,0.36]
["2011.12.19.00.29.55",294.89999999999998,294.60000000000002,0.36]
["2011.12.19.00.30.31",294.8,294.60000000000002,0.36]
["2011.12.19.00.31.07",294.8,294.60000000000002,0.36]
["2011.12.19.00.31.43",294.8,294.60000000000002,0.36]
["2011.12.19.00.32.19",294.8,294.7,0.36]
["2011.12.19.00.32.55",294.8,294.60000000000002,0.36]
["2011.12.19.00.33.31",294.89999999999998,294.7,0.36]
["2011.12.19.00.34.07",294.8,294.60000000000002,0.36]
["2011.12.19.00.34.43",294.8,294.5,0.36]
["2011.12.19.00.35.19",294.8,294.60000000000002,0.36]
["2011.12.19.00.35.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.36.32",294.8,294.7,0.36]
["2011.12.19.00.37.08",294.8,294.7,0.36]
["2011.12.19.00.37.44",294.8,294.7,0.36]
["2011.12.19.00.38.20",294.8,294.5,0.36]
["2011.12.19.00.38.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.39.32",294.8,294.7,0.36]
["2011.12.19.00.40.08",294.7,294.7,0.36]
["2011.12.19.00.40.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.41.20",294.8,294.60000000000002,0.36]
["2011.12.19.00.41.56",294.8,294.7,0.36]
["2011.12.19.00.42.32",294.8,294.60000000000002,0.36]
["2011.12.19.00.43.08",294.8,294.60000000000002,0.36]
["2011.12.19.00.43.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.44.20",294.8,294.60000000000002,0.36]
["2011.12.19.00.44.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.45.32",294.8,294.7,0.36]
["2011.12.19.00.46.08",294.8,294.60000000000002,0.36]
["2011.12.19.00.46.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.47.20",294.8,294.60000000000002,0.36]
["2011.12.19.00.47.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.48.32",294.8,294.60000000000002,0.36]
["2011.12.19.00.49.08",294.8,294.7,0.36]
["2011.12.19.00.49.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.50.20",294.8,294.7,0.36]
["2011.12.19.00.50.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.51.32",294.8,294.60000000000002,0.36]
["2011.12.19.00.52.08",294.8,294.60000000000002,0.36]
["2011.12.19.00.52.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.53.20",294.8,294.7,0.36]
["2011.12.19.00.53.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.54.32",294.8,294.60000000000002,0.36]
["2011.12.19.00.55.08",294.8,294.7,0.36]
["2011.12.19.00.55.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.56.20",294.8,294.60000000000002,0.36]
["2011.12.19.00.56.56",294.8,294.60000000000002,0.36]
["2011.12.19.00.57.32",294.8,294.7,0.36]
["2011.12.19.00.58.08",294.8,294.7,0.36]
["2011.12.19.00.58.44",294.8,294.60000000000002,0.36]
["2011.12.19.00.59.20",294.8,294.60000000000002,0.36]
["2011.12.19.00.59.56",294.8,294.7,0.36]
["2011.12.19.01.00.32",294.8,294.5,0.36]
["2011.12.19.01.01.08",294.8,294.7,0.36]
["2011.12.19.01.01.44",294.8,294.60000000000002,0.36]
["2011.12.19.01.02.20",294.8,294.60000000000002,0.36]
["2011.12.19.01.02.56",294.8,294.60000000000002,0.36]
["2011.12.19.01.03.32",294.8,294.7,0.36]
["2011.12.19.01.04.08",294.7,294.5,0.36]
["2011.12.19.01.04.44",294.8,294.60000000000002,0.36]
["2011.12.19.01.05.20",294.8,294.60000000000002,0.36]
["2011.12.19.01.05.56",294.8,294.7,0.36]
["2011.12.19.01.06.32",294.8,294.60000000000002,0.36]
["2011.12.19.01.07.08",294.8,294.60000000000002,0.36]
["2011.12.19.01.07.44",294.8,294.7,0.36]
["2011.12.19.01.08.20",294.8,294.7,0.36]
["2011.12.19.01.08.56",294.8,294.60000000000002,0.36]
["2011.12.19.01.09.32",294.8,294.60000000000002,0.36]
["2011.12.19.01.10.08",294.8,294.60000000000002,0.36]
["2011.12.19.01.10.44",294.8,294.60000000000002,0.36]
["2011.12.19.01.11.20",294.8,294.60000000000002,0.36]
["2011.12.19.01.11.56",294.8,294.60000000000002,0.36]
["2011.12.19.01.12.32",294.8,294.60000000000002,0.36]
["2011.12.19.01.13.08",294.8,294.5,0.36]
["2011.12.19.01.13.44",294.8,294.60000000000002,0.36]
["2011.12.19.01.14.20",294.8,294.7,0.36]
["2011.12.19.01.14.56",294.8,294.7,0.36]
["2011.12.19.01.15.32",294.8,294.60000000000002,0.36]
["2011.12.19.01.16.08",294.8,294.60000000000002,0.36]
["2011.12.19.01.16.44",294.8,294.8,0.36]
["2011.12.19.01.17.20",294.8,294.60000000000002,0.36]
["2011.12.19.01.17.56",294.89999999999998,294.60000000000002,0.36]
["2011.12.19.01.18.32",294.8,294.60000000000002,0.36]
["2011.12.19.01.19.08",294.8,294.60000000000002,0.36]
["2011.12.19.01.19.44",294.8,294.60000000000002,0.36]
["2011.12.19.01.20.20",294.8,294.60000000000002,0.36]
["2011.12.19.01.20.56",294.8,294.7,0.36]
["2011.12.19.01.21.32",294.89999999999998,294.7,0.36]
["2011.12.19.01.22.08",294.8,294.60000000000002,0.36]
["2011.12.19.01.22.44",294.8,"-----",0.36]
["2011.12.19.01.23.20",294.8,294.7,0.36]
["2011.12.19.01.23.56",294.7,294.60000000000002,0.36]
["2011.12.19.01.24.33",294.8,294.60000000000002,0.36]
["2011.12.19.01.25.09",294.89999999999998,294.60000000000002,0.36]
["2011.12.19.01.25.45",294.8,294.7,0.36]
["2011.12.19.01.26.21",294.8,294.5,0.36]
["2011.12.19.01.26.57",294.8,294.60000000000002,0.36]
["2011.12.19.01.27.33",294.8,294.60000000000002,0.36]
["2011.12.19.01.28.09",294.8,294.7,0.36]
["2011.12.19.01.28.45",294.89999999999998,294.60000000000002,0.35]
["2011.12.19.01.29.21",294.8,294.5,0.35]
["2011.12.19.01.29.57",294.8,294.5,0.35]
["2011.12.19.01.30.33",294.8,294.60000000000002,0.36]
["2011.12.19.01.31.09",294.7,294.60000000000002,0.36]
["2011.12.19.01.31.45",294.8,294.60000000000002,0.35]
["2011.12.19.01.32.21",294.7,294.60000000000002,0.36]
["2011.12.19.01.32.57",294.7,294.60000000000002,0.36]
["2011.12.19.01.33.33",294.7,294.60000000000002,0.36]
["2011.12.19.01.34.09",294.8,294.5,0.35]
["2011.12.19.01.34.45",294.8,294.60000000000002,0.36]
["2011.12.19.01.35.21",294.8,294.60000000000002,0.35]
["2011.12.19.01.35.57",294.7,294.60000000000002,0.36]
["2011.12.19.01.36.33",294.7,294.60000000000002,0.36]
["2011.12.19.01.37.09",294.8,294.60000000000002,0.36]
["2011.12.19.01.37.45",294.7,294.60000000000002,0.36]
["2011.12.19.01.38.21",294.7,294.60000000000002,0.36]
["2011.12.19.01.38.57",294.8,294.60000000000002,0.36]
["2011.12.19.01.39.33",294.7,294.60000000000002,0.36]
["2011.12.19.01.40.09",294.7,294.60000000000002,0.36]
["2011.12.19.01.40.45",294.7,294.60000000000002,0.36]
["2011.12.19.01.41.21",294.8,294.7,0.36]
["2011.12.19.01.41.57",294.8,294.60000000000002,0.36]
["2011.12.19.01.42.33",294.8,294.60000000000002,0.36]
["2011.12.19.01.43.09",294.7,294.5,0.36]
["2011.12.19.01.43.45",294.7,294.5,0.36]
["2011.12.19.01.44.21",294.8,294.60000000000002,0.36]
["2011.12.19.01.44.57",294.8,294.60000000000002,0.35]
["2011.12.19.01.45.33",294.7,294.60000000000002,0.35]
["2011.12.19.01.46.09",294.89999999999998,294.60000000000002,0.35]
["2011.12.19.01.46.45",294.7,294.60000000000002,0.35]
["2011.12.19.01.47.21",294.8,294.5,0.36]
["2011.12.19.01.47.57",294.8,294.7,0.35]
["2011.12.19.01.48.33",294.8,294.60000000000002,0.36]
["2011.12.19.01.49.09",294.7,294.60000000000002,0.35]
["2011.12.19.01.49.45",294.8,294.60000000000002,0.36]
["2011.12.19.01.50.21",294.8,294.60000000000002,0.35]
["2011.12.19.01.50.57",294.7,294.5,0.36]
["2011.12.19.01.51.33",294.8,294.60000000000002,0.36]
["2011.12.19.01.52.09",294.8,294.60000000000002,0.36]
["2011.12.19.01.52.45",294.7,294.60000000000002,0.35]
["2011.12.19.01.53.21",294.7,294.60000000000002,0.36]
["2011.12.19.01.53.57",294.7,294.60000000000002,0.36]
["2011.12.19.01.54.33",294.8,294.5,0.36]
["2011.12.19.01.55.09",294.7,294.60000000000002,0.36]
["2011.12.19.01.55.45",294.7,294.5,0.36]
["2011.12.19.01.56.21",294.8,294.60000000000002,0.35]
["2011.12.19.01.56.57",294.7,294.60000000000002,0.36]
["2011.12.19.01.57.33",294.7,294.60000000000002,0.35]
["2011.12.19.01.58.09",294.7,294.60000000000002,0.36]
["2011.12.19.01.58.45",294.7,294.60000000000002,0.36]
["2011.12.19.01.59.21",294.60000000000002,294.60000000000002,0.35]
["2011.12.19.01.59.58",294.7,294.60000000000002,0.36]
["2011.12.19.02.00.34",294.7,294.60000000000002,0.35]
["2011.12.19.02.01.10",294.8,294.60000000000002,0.36]
["2011.12.19.02.01.46",294.7,294.7,0.36]
["2011.12.19.02.02.22",294.7,294.60000000000002,0.36]
["2011.12.19.02.02.58",294.7,294.5,0.36]
["2011.12.19.02.03.34",294.7,294.60000000000002,0.36]
["2011.12.19.02.04.10",294.8,294.60000000000002,0.36]
["2011.12.19.02.04.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.05.22",294.7,294.5,0.36]
["2011.12.19.02.05.58",294.7,294.60000000000002,0.35]
["2011.12.19.02.06.34",294.7,294.60000000000002,0.36]
["2011.12.19.02.07.10",294.7,294.60000000000002,0.36]
["2011.12.19.02.07.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.08.22",294.8,294.60000000000002,0.35]
["2011.12.19.02.08.58",294.7,294.5,0.35]
["2011.12.19.02.09.34",294.7,294.60000000000002,0.35]
["2011.12.19.02.10.10",294.8,294.5,0.35]
["2011.12.19.02.10.46",294.7,294.60000000000002,0.35]
["2011.12.19.02.11.22",294.7,294.60000000000002,0.35]
["2011.12.19.02.11.58",294.7,294.60000000000002,0.35]
["2011.12.19.02.12.34",294.7,294.60000000000002,0.35]
["2011.12.19.02.13.10",294.8,294.60000000000002,0.36]
["2011.12.19.02.13.46",294.7,294.60000000000002,0.35]
["2011.12.19.02.14.22",294.7,294.60000000000002,0.36]
["2011.12.19.02.14.58",294.7,294.5,0.36]
["2011.12.19.02.15.34",294.8,294.60000000000002,0.35]
["2011.12.19.02.16.10",294.7,294.60000000000002,0.35]
["2011.12.19.02.16.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.17.22",294.7,294.5,0.35]
["2011.12.19.02.17.58",294.7,294.60000000000002,0.35]
["2011.12.19.02.18.34",294.8,294.60000000000002,0.36]
["2011.12.19.02.19.10",294.89999999999998,294.60000000000002,0.36]
["2011.12.19.02.19.46",294.7,294.5,0.35]
["2011.12.19.02.20.22",294.60000000000002,294.5,0.36]
["2011.12.19.02.20.58",294.7,294.5,0.36]
["2011.12.19.02.21.34",294.7,294.60000000000002,0.36]
["2011.12.19.02.22.10",294.7,294.60000000000002,0.36]
["2011.12.19.02.22.46",294.8,294.60000000000002,0.36]
["2011.12.19.02.23.22",294.8,294.7,0.36]
["2011.12.19.02.23.58",294.7,294.5,0.36]
["2011.12.19.02.24.34",294.60000000000002,294.5,0.36]
["2011.12.19.02.25.10",294.7,294.60000000000002,0.36]
["2011.12.19.02.25.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.26.22",294.8,294.60000000000002,0.36]
["2011.12.19.02.26.58",294.7,294.60000000000002,0.36]
["2011.12.19.02.27.34",294.7,294.39999999999998,0.36]
["2011.12.19.02.28.10",294.7,294.5,0.35]
["2011.12.19.02.28.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.29.22",294.7,294.60000000000002,0.36]
["2011.12.19.02.29.58",294.7,294.5,0.36]
["2011.12.19.02.30.34",294.7,294.60000000000002,0.35]
["2011.12.19.02.31.10",294.8,294.39999999999998,0.36]
["2011.12.19.02.31.46",294.7,294.5,0.35]
["2011.12.19.02.32.22",294.7,294.5,0.35]
["2011.12.19.02.32.58",294.7,294.5,0.35]
["2011.12.19.02.33.34",294.89999999999998,294.60000000000002,0.36]
["2011.12.19.02.34.10",294.7,294.60000000000002,0.36]
["2011.12.19.02.34.46",294.8,294.5,0.36]
["2011.12.19.02.35.22",294.7,294.5,0.35]
["2011.12.19.02.35.58",294.7,294.60000000000002,0.35]
["2011.12.19.02.36.34",294.7,294.60000000000002,0.36]
["2011.12.19.02.37.10",294.8,294.60000000000002,0.36]
["2011.12.19.02.37.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.38.22",294.8,294.39999999999998,0.36]
["2011.12.19.02.38.58",294.7,294.5,0.35]
["2011.12.19.02.39.34",294.7,294.60000000000002,0.36]
["2011.12.19.02.40.10",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.02.40.46",294.8,294.60000000000002,0.36]
["2011.12.19.02.41.22",294.7,294.60000000000002,0.36]
["2011.12.19.02.41.58",294.7,294.39999999999998,0.36]
["2011.12.19.02.42.34",294.7,294.5,0.36]
["2011.12.19.02.43.10",294.8,294.60000000000002,0.36]
["2011.12.19.02.43.46",294.7,294.60000000000002,0.36]
["2011.12.19.02.44.22",294.8,294.60000000000002,0.36]
["2011.12.19.02.44.58",294.7,294.60000000000002,0.36]
["2011.12.19.02.45.34",294.7,294.39999999999998,0.36]
["2011.12.19.02.46.10",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.02.46.47",294.8,294.60000000000002,0.36]
["2011.12.19.02.47.23",294.7,294.60000000000002,0.36]
["2011.12.19.02.47.59",294.7,294.5,0.36]
["2011.12.19.02.48.35",294.60000000000002,294.5,0.36]
["2011.12.19.02.49.11",294.60000000000002,294.39999999999998,0.35]
["2011.12.19.02.49.47",294.7,294.60000000000002,0.36]
["2011.12.19.02.50.23",294.60000000000002,294.5,0.36]
["2011.12.19.02.50.59",294.7,294.5,0.35]
["2011.12.19.02.51.35",294.7,294.60000000000002,0.36]
["2011.12.19.02.52.11",294.7,294.60000000000002,0.36]
["2011.12.19.02.52.47",294.8,294.5,0.36]
["2011.12.19.02.53.23",294.7,294.5,0.36]
["2011.12.19.02.53.59",294.8,294.5,0.36]
["2011.12.19.02.54.35",294.7,294.60000000000002,0.36]
["2011.12.19.02.55.11",294.7,294.5,0.36]
["2011.12.19.02.55.47",294.7,294.60000000000002,0.36]
["2011.12.19.02.56.23",294.7,294.39999999999998,0.35]
["2011.12.19.02.56.59",294.7,294.5,0.36]
["2011.12.19.02.57.35",294.7,294.5,0.36]
["2011.12.19.02.58.11",294.7,294.60000000000002,0.36]
["2011.12.19.02.58.47",294.7,294.60000000000002,0.36]
["2011.12.19.02.59.23",294.7,294.5,0.36]
["2011.12.19.02.59.59",294.7,294.5,0.36]
["2011.12.19.03.00.35",294.7,294.5,0.35]
["2011.12.19.03.01.11",294.8,294.60000000000002,0.36]
["2011.12.19.03.01.47",294.7,294.60000000000002,0.36]
["2011.12.19.03.02.23",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.03.02.59",294.60000000000002,294.60000000000002,0.35]
["2011.12.19.03.03.35",294.7,294.5,0.36]
["2011.12.19.03.04.11",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.03.04.47",294.7,294.5,0.36]
["2011.12.19.03.05.23",294.7,294.39999999999998,0.36]
["2011.12.19.03.05.59",294.7,294.60000000000002,0.36]
["2011.12.19.03.06.35",294.7,294.60000000000002,0.36]
["2011.12.19.03.07.11",294.7,294.5,0.36]
["2011.12.19.03.07.47",294.60000000000002,294.5,0.36]
["2011.12.19.03.08.23",294.7,294.60000000000002,0.36]
["2011.12.19.03.08.59",294.60000000000002,294.5,0.36]
["2011.12.19.03.09.35",294.7,294.5,0.36]
["2011.12.19.03.10.11",294.7,294.60000000000002,0.36]
["2011.12.19.03.10.47",294.7,294.39999999999998,0.36]
["2011.12.19.03.11.23",294.8,294.60000000000002,0.36]
["2011.12.19.03.11.59",294.7,294.60000000000002,0.36]
["2011.12.19.03.12.35",294.7,294.5,0.36]
["2011.12.19.03.13.11",294.7,294.5,0.36]
["2011.12.19.03.13.47",294.7,294.5,0.36]
["2011.12.19.03.14.23",294.60000000000002,294.5,0.36]
["2011.12.19.03.14.59",294.60000000000002,294.5,0.36]
["2011.12.19.03.15.35",294.60000000000002,294.5,0.36]
["2011.12.19.03.16.11",294.7,294.5,0.36]
["2011.12.19.03.16.47",294.60000000000002,294.5,0.36]
["2011.12.19.03.17.23",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.03.17.59",294.7,294.60000000000002,0.36]
["2011.12.19.03.18.35",294.7,294.60000000000002,0.36]
["2011.12.19.03.19.11",294.7,294.5,0.36]
["2011.12.19.03.19.47",294.7,294.60000000000002,0.36]
["2011.12.19.03.20.23",294.7,294.60000000000002,0.36]
["2011.12.19.03.20.59",294.7,294.5,0.36]
["2011.12.19.03.21.35",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.03.22.11",294.60000000000002,294.5,0.36]
["2011.12.19.03.22.47",294.7,294.60000000000002,0.36]
["2011.12.19.03.23.23",294.8,294.5,0.36]
["2011.12.19.03.23.59",294.60000000000002,294.5,0.36]
["2011.12.19.03.24.35",294.60000000000002,294.5,0.36]
["2011.12.19.03.25.11",294.60000000000002,294.5,0.36]
["2011.12.19.03.25.47",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.03.26.23",294.7,294.5,0.36]
["2011.12.19.03.26.59",294.7,294.5,0.36]
["2011.12.19.03.27.35",294.7,294.60000000000002,0.36]
["2011.12.19.03.28.11",294.7,294.5,0.36]
["2011.12.19.03.28.47",294.7,294.60000000000002,0.36]
["2011.12.19.03.29.23",294.7,294.5,0.36]
["2011.12.19.03.29.59",294.7,294.5,0.36]
["2011.12.19.03.30.35",294.60000000000002,294.5,0.36]
["2011.12.19.03.31.11",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.03.31.47",294.60000000000002,294.5,0.36]
["2011.12.19.03.32.23",294.7,294.60000000000002,0.36]
["2011.12.19.03.32.59",294.7,294.60000000000002,0.36]
["2011.12.19.03.33.35",294.7,294.60000000000002,0.35]
["2011.12.19.03.34.11",294.60000000000002,294.5,0.35]
["2011.12.19.03.34.47",294.60000000000002,294.5,0.36]
["2011.12.19.03.35.24",294.7,294.60000000000002,0.36]
["2011.12.19.03.36.00",294.7,294.5,0.36]
["2011.12.19.03.36.36",294.60000000000002,294.5,0.36]
["2011.12.19.03.37.12",294.60000000000002,294.5,0.36]
["2011.12.19.03.37.48",294.7,294.5,0.36]
["2011.12.19.03.38.24",294.60000000000002,294.5,0.36]
["2011.12.19.03.39.00",294.7,294.5,0.36]
["2011.12.19.03.39.36",294.7,294.5,0.36]
["2011.12.19.03.40.12",294.7,294.5,0.36]
["2011.12.19.03.40.48",294.7,294.5,0.36]
["2011.12.19.03.41.24",294.60000000000002,294.5,0.36]
["2011.12.19.03.42.00",294.60000000000002,294.5,0.36]
["2011.12.19.03.42.36",294.7,294.5,0.35]
["2011.12.19.03.43.12",294.7,294.5,0.36]
["2011.12.19.03.43.48",294.60000000000002,294.5,0.35]
["2011.12.19.03.44.24",294.7,294.5,0.35]
["2011.12.19.03.45.00",294.60000000000002,294.5,0.36]
["2011.12.19.03.45.36",294.60000000000002,294.5,0.36]
["2011.12.19.03.46.12",294.7,294.5,0.35]
["2011.12.19.03.46.48",294.60000000000002,294.5,0.35]
["2011.12.19.03.47.24",294.7,294.60000000000002,0.35]
["2011.12.19.03.48.00",294.8,294.5,0.36]
["2011.12.19.03.48.36",294.7,294.5,0.35]
["2011.12.19.03.49.12",294.60000000000002,294.5,0.36]
["2011.12.19.03.49.48",294.7,294.5,0.36]
["2011.12.19.03.50.24",294.7,294.5,0.36]
["2011.12.19.03.51.00",294.7,294.60000000000002,0.36]
["2011.12.19.03.51.36",294.7,294.5,0.36]
["2011.12.19.03.52.12",294.60000000000002,294.5,0.35]
["2011.12.19.03.52.48",294.7,294.60000000000002,0.36]
["2011.12.19.03.53.24",294.7,294.60000000000002,0.36]
["2011.12.19.03.54.00",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.03.54.36",294.60000000000002,294.5,0.36]
["2011.12.19.03.55.12",294.60000000000002,294.5,0.35]
["2011.12.19.03.55.48",294.7,294.5,0.36]
["2011.12.19.03.56.24",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.03.57.00",294.60000000000002,294.5,0.36]
["2011.12.19.03.57.36",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.03.58.12",294.7,294.5,0.36]
["2011.12.19.03.58.48",294.60000000000002,294.5,0.35]
["2011.12.19.03.59.24",294.7,294.5,0.35]
["2011.12.19.04.00.00",294.7,294.5,0.35]
["2011.12.19.04.00.36",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.04.01.12",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.01.48",294.60000000000002,294.5,0.36]
["2011.12.19.04.02.24",294.7,294.5,0.35]
["2011.12.19.04.03.00",294.60000000000002,294.5,0.36]
["2011.12.19.04.03.36",294.8,294.5,0.36]
["2011.12.19.04.04.12",294.60000000000002,294.5,0.35]
["2011.12.19.04.04.48",294.60000000000002,294.39999999999998,0.35]
["2011.12.19.04.05.24",294.60000000000002,294.5,0.36]
["2011.12.19.04.06.00",294.60000000000002,294.60000000000002,0.35]
["2011.12.19.04.06.36",294.7,294.5,0.36]
["2011.12.19.04.07.12",294.8,294.5,0.36]
["2011.12.19.04.07.48",294.60000000000002,294.5,0.36]
["2011.12.19.04.08.24",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.09.00",294.7,294.5,0.36]
["2011.12.19.04.09.36",294.60000000000002,294.5,0.35]
["2011.12.19.04.10.12",294.60000000000002,294.5,0.36]
["2011.12.19.04.10.48",294.7,294.5,0.36]
["2011.12.19.04.11.24",294.7,294.5,0.36]
["2011.12.19.04.12.00",294.7,294.39999999999998,0.35]
["2011.12.19.04.12.36",294.60000000000002,294.5,0.35]
["2011.12.19.04.13.12",294.60000000000002,294.5,0.36]
["2011.12.19.04.13.48",294.7,294.5,0.35]
["2011.12.19.04.14.24",294.8,294.5,0.36]
["2011.12.19.04.15.00",294.60000000000002,294.5,0.35]
["2011.12.19.04.15.36",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.16.12",294.7,294.5,0.36]
["2011.12.19.04.16.48",294.60000000000002,294.5,0.36]
["2011.12.19.04.17.24",294.60000000000002,294.5,0.36]
["2011.12.19.04.18.00",294.7,294.5,0.36]
["2011.12.19.04.18.36",294.60000000000002,294.5,0.36]
["2011.12.19.04.19.12",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.19.48",294.60000000000002,294.5,0.36]
["2011.12.19.04.20.24",294.7,294.5,0.36]
["2011.12.19.04.21.00",294.60000000000002,294.5,0.36]
["2011.12.19.04.21.36",294.7,294.5,0.35]
["2011.12.19.04.22.12",294.60000000000002,294.5,0.36]
["2011.12.19.04.22.48",294.60000000000002,294.39999999999998,0.35]
["2011.12.19.04.23.25",294.7,294.5,0.35]
["2011.12.19.04.24.01",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.04.24.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.25.13",294.8,294.5,0.36]
["2011.12.19.04.25.49",294.7,294.5,0.36]
["2011.12.19.04.26.25",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.27.01",294.7,294.5,0.35]
["2011.12.19.04.27.37",294.7,294.5,0.36]
["2011.12.19.04.28.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.28.49",294.7,294.5,0.35]
["2011.12.19.04.29.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.30.01",294.7,294.5,0.36]
["2011.12.19.04.30.37",294.7,294.5,0.36]
["2011.12.19.04.31.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.31.49",294.60000000000002,294.5,0.36]
["2011.12.19.04.32.25",294.8,294.5,0.36]
["2011.12.19.04.33.01",294.60000000000002,294.5,0.36]
["2011.12.19.04.33.37",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.34.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.34.49",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.04.35.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.36.01",294.8,294.5,0.36]
["2011.12.19.04.36.37",294.7,294.39999999999998,0.35]
["2011.12.19.04.37.13",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.37.49",294.60000000000002,294.5,0.36]
["2011.12.19.04.38.25",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.04.39.01",294.60000000000002,294.5,0.36]
["2011.12.19.04.39.37",294.7,294.5,0.36]
["2011.12.19.04.40.13",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.04.40.49",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.41.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.42.01",294.60000000000002,294.5,0.35]
["2011.12.19.04.42.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.43.13",294.7,294.5,0.36]
["2011.12.19.04.43.49",294.60000000000002,294.5,0.36]
["2011.12.19.04.44.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.45.01",294.60000000000002,294.5,0.36]
["2011.12.19.04.45.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.46.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.46.49","-----",294.5,0.36]
["2011.12.19.04.47.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.48.01",294.60000000000002,294.5,0.36]
["2011.12.19.04.48.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.49.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.49.49",294.7,294.39999999999998,0.36]
["2011.12.19.04.50.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.51.01",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.51.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.52.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.52.49",294.60000000000002,294.5,0.36]
["2011.12.19.04.53.25",294.60000000000002,294.5,0.36]
["2011.12.19.04.54.01",294.7,294.5,0.36]
["2011.12.19.04.54.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.55.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.55.49",294.60000000000002,294.5,0.36]
["2011.12.19.04.56.25",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.57.01",294.60000000000002,294.5,0.36]
["2011.12.19.04.57.37",294.60000000000002,294.5,0.36]
["2011.12.19.04.58.13",294.60000000000002,294.5,0.36]
["2011.12.19.04.58.49",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.04.59.25",294.7,294.5,0.36]
["2011.12.19.05.00.01",294.60000000000002,294.5,0.36]
["2011.12.19.05.00.37",294.60000000000002,294.60000000000002,0.36]
["2011.12.19.05.01.13",294.60000000000002,294.5,0.36]
["2011.12.19.05.01.49",294.60000000000002,294.5,0.36]
["2011.12.19.05.02.25",294.60000000000002,294.5,0.36]
["2011.12.19.05.03.01",294.60000000000002,294.5,0.36]
["2011.12.19.05.03.37",294.60000000000002,294.5,0.36]
["2011.12.19.05.04.13",294.60000000000002,294.5,0.36]
["2011.12.19.05.04.49",294.60000000000002,294.5,0.36]
["2011.12.19.05.05.25",294.60000000000002,294.5,0.36]
["2011.12.19.05.06.01",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.06.37",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.07.13",294.60000000000002,294.5,0.36]
["2011.12.19.05.07.49",294.60000000000002,294.5,0.36]
["2011.12.19.05.08.25",294.60000000000002,294.5,0.36]
["2011.12.19.05.09.01",294.60000000000002,294.5,0.36]
["2011.12.19.05.09.37",294.60000000000002,294.5,0.36]
["2011.12.19.05.10.13",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.10.49",294.60000000000002,294.5,0.36]
["2011.12.19.05.11.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.12.02",294.60000000000002,294.5,0.36]
["2011.12.19.05.12.38",294.60000000000002,294.5,0.36]
["2011.12.19.05.13.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.13.50",294.60000000000002,294.5,0.36]
["2011.12.19.05.14.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.15.02",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.15.38",294.60000000000002,294.5,0.36]
["2011.12.19.05.16.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.16.50",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.17.26",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.18.02",294.60000000000002,294.5,0.37]
["2011.12.19.05.18.38",294.60000000000002,294.5,0.36]
["2011.12.19.05.19.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.19.50",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.20.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.21.02",294.60000000000002,294.5,0.36]
["2011.12.19.05.21.38",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.22.14",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.22.50",294.5,294.39999999999998,0.36]
["2011.12.19.05.23.26",294.60000000000002,294.3,0.36]
["2011.12.19.05.24.02",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.24.38",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.25.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.25.50",294.7,294.5,0.36]
["2011.12.19.05.26.26",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.27.02",294.60000000000002,294.3,0.36]
["2011.12.19.05.27.38",294.5,294.5,0.36]
["2011.12.19.05.28.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.28.50",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.29.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.30.02",294.60000000000002,294.5,0.36]
["2011.12.19.05.30.38",294.60000000000002,"-----",0.36]
["2011.12.19.05.31.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.31.50",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.32.26",294.5,294.39999999999998,0.36]
["2011.12.19.05.33.02",294.60000000000002,294.3,0.36]
["2011.12.19.05.33.38",294.5,294.5,0.36]
["2011.12.19.05.34.14",294.60000000000002,294.5,0.36]
["2011.12.19.05.34.50",294.60000000000002,294.5,0.36]
["2011.12.19.05.35.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.36.02",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.36.38",294.60000000000002,294.3,0.36]
["2011.12.19.05.37.14",294.5,294.5,0.36]
["2011.12.19.05.37.50",294.60000000000002,294.5,0.36]
["2011.12.19.05.38.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.39.02",294.7,294.5,0.36]
["2011.12.19.05.39.38",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.40.14",294.60000000000002,294.3,0.36]
["2011.12.19.05.40.50",294.60000000000002,294.5,0.36]
["2011.12.19.05.41.26",294.60000000000002,294.5,0.36]
["2011.12.19.05.42.02",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.42.38",294.7,294.5,0.36]
["2011.12.19.05.43.14",294.60000000000002,294.3,0.36]
["2011.12.19.05.43.50",294.5,294.3,0.36]
["2011.12.19.05.44.26",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.45.03",294.60000000000002,294.5,0.36]
["2011.12.19.05.45.39",294.60000000000002,294.5,0.36]
["2011.12.19.05.46.15",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.46.51",294.5,294.5,0.36]
["2011.12.19.05.47.27",294.60000000000002,294.5,0.36]
["2011.12.19.05.48.03",294.60000000000002,294.5,0.36]
["2011.12.19.05.48.39",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.49.15",294.5,294.39999999999998,0.36]
["2011.12.19.05.49.51",294.60000000000002,294.5,0.36]
["2011.12.19.05.50.27",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.51.03",294.60000000000002,294.5,0.36]
["2011.12.19.05.51.39",294.5,294.39999999999998,0.36]
["2011.12.19.05.52.15",294.5,294.5,0.36]
["2011.12.19.05.52.51",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.53.27",294.5,294.39999999999998,0.36]
["2011.12.19.05.54.03",294.60000000000002,294.3,0.36]
["2011.12.19.05.54.39",294.5,294.5,0.36]
["2011.12.19.05.55.15",294.5,294.39999999999998,0.36]
["2011.12.19.05.55.51",294.60000000000002,294.5,0.36]
["2011.12.19.05.56.27",294.5,294.39999999999998,0.36]
["2011.12.19.05.57.03",294.60000000000002,294.5,0.36]
["2011.12.19.05.57.39",294.60000000000002,294.3,0.36]
["2011.12.19.05.58.15",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.58.51",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.05.59.27",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.00.03",294.60000000000002,294.3,0.36]
["2011.12.19.06.00.39",294.5,294.39999999999998,0.36]
["2011.12.19.06.01.15",294.60000000000002,294.3,0.36]
["2011.12.19.06.01.51",294.60000000000002,294.3,0.36]
["2011.12.19.06.02.27",294.5,294.39999999999998,0.36]
["2011.12.19.06.03.03",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.03.39",294.7,294.60000000000002,0.36]
["2011.12.19.06.04.15",294.60000000000002,294.5,0.36]
["2011.12.19.06.04.51",294.60000000000002,"-----",0.36]
["2011.12.19.06.05.27",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.06.03",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.06.39",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.07.15",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.07.51",294.5,294.39999999999998,0.36]
["2011.12.19.06.08.27",294.5,294.39999999999998,0.36]
["2011.12.19.06.09.03",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.09.39",294.60000000000002,294.5,0.36]
["2011.12.19.06.10.15",294.60000000000002,294.3,0.36]
["2011.12.19.06.10.51",294.7,294.5,0.36]
["2011.12.19.06.11.27",294.60000000000002,294.5,0.36]
["2011.12.19.06.12.03",294.5,294.39999999999998,0.36]
["2011.12.19.06.12.39",294.5,294.39999999999998,0.36]
["2011.12.19.06.13.15",294.60000000000002,294.3,0.36]
["2011.12.19.06.13.51",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.14.27",294.5,294.39999999999998,0.36]
["2011.12.19.06.15.03",294.5,294.39999999999998,0.36]
["2011.12.19.06.15.39",294.5,294.39999999999998,0.36]
["2011.12.19.06.16.15",294.5,294.39999999999998,0.36]
["2011.12.19.06.16.51",294.5,294.39999999999998,0.36]
["2011.12.19.06.17.27",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.18.03",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.18.39",294.5,294.3,0.36]
["2011.12.19.06.19.15",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.19.51",294.5,294.39999999999998,0.36]
["2011.12.19.06.20.27",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.21.03",294.7,294.39999999999998,0.36]
["2011.12.19.06.21.39",294.5,294.39999999999998,0.36]
["2011.12.19.06.22.15",294.5,294.3,0.36]
["2011.12.19.06.22.51",294.5,294.39999999999998,0.36]
["2011.12.19.06.23.27",294.5,294.39999999999998,0.37]
["2011.12.19.06.24.03",294.5,294.39999999999998,0.37]
["2011.12.19.06.24.39",294.60000000000002,294.5,0.37]
["2011.12.19.06.25.15",294.60000000000002,294.5,0.36]
["2011.12.19.06.25.51",294.5,294.5,0.37]
["2011.12.19.06.26.27",294.5,294.39999999999998,0.37]
["2011.12.19.06.27.03",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.27.39",294.5,294.5,0.37]
["2011.12.19.06.28.15","-----",294.39999999999998,0.37]
["2011.12.19.06.28.51",294.5,294.39999999999998,0.37]
["2011.12.19.06.29.27",294.60000000000002,294.39999999999998,0.36]
["2011.12.19.06.30.03",294.5,294.39999999999998,0.37]
["2011.12.19.06.30.39",294.5,294.39999999999998,0.37]
["2011.12.19.06.31.15",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.31.51",294.5,294.39999999999998,0.36]
["2011.12.19.06.32.28",294.60000000000002,294.3,0.36]
["2011.12.19.06.33.04",294.5,294.39999999999998,0.37]
["2011.12.19.06.33.40",294.5,294.39999999999998,0.36]
["2011.12.19.06.34.16",294.5,294.5,0.37]
["2011.12.19.06.34.52",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.35.28",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.36.04",294.60000000000002,294.3,0.37]
["2011.12.19.06.36.40",294.5,294.3,0.37]
["2011.12.19.06.37.16",294.5,294.39999999999998,0.37]
["2011.12.19.06.37.52",294.5,294.3,0.37]
["2011.12.19.06.38.28",294.7,294.39999999999998,0.37]
["2011.12.19.06.39.04",294.5,294.39999999999998,0.37]
["2011.12.19.06.39.40",294.5,294.39999999999998,0.37]
["2011.12.19.06.40.16",294.5,294.3,0.37]
["2011.12.19.06.40.52",294.5,294.39999999999998,0.37]
["2011.12.19.06.41.28",294.5,294.39999999999998,0.37]
["2011.12.19.06.42.04",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.42.40",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.43.16",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.43.52",294.5,294.5,0.37]
["2011.12.19.06.44.28",294.5,294.39999999999998,0.37]
["2011.12.19.06.45.04",294.60000000000002,294.5,0.37]
["2011.12.19.06.45.40",294.5,294.39999999999998,0.37]
["2011.12.19.06.46.16",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.46.52",294.5,294.39999999999998,0.37]
["2011.12.19.06.47.28",294.5,294.39999999999998,0.37]
["2011.12.19.06.48.04",294.5,294.3,0.37]
["2011.12.19.06.48.40",294.5,294.39999999999998,0.37]
["2011.12.19.06.49.16",294.5,294.39999999999998,0.37]
["2011.12.19.06.49.52",294.5,294.3,0.37]
["2011.12.19.06.50.28",294.5,294.5,0.37]
["2011.12.19.06.51.04",294.60000000000002,294.3,0.37]
["2011.12.19.06.51.40",294.5,294.5,0.37]
["2011.12.19.06.52.16",294.60000000000002,294.39999999999998,0.38]
["2011.12.19.06.52.52",294.5,294.39999999999998,0.37]
["2011.12.19.06.53.28",294.5,294.3,0.37]
["2011.12.19.06.54.04",294.5,294.39999999999998,0.37]
["2011.12.19.06.54.40",294.5,294.39999999999998,0.37]
["2011.12.19.06.55.16",294.5,294.39999999999998,0.37]
["2011.12.19.06.55.52",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.06.56.28",294.5,294.39999999999998,0.37]
["2011.12.19.06.57.04",294.5,294.39999999999998,0.38]
["2011.12.19.06.57.40",294.5,294.39999999999998,0.37]
["2011.12.19.06.58.16",294.5,294.3,0.38]
["2011.12.19.06.58.52",294.5,294.39999999999998,0.38]
["2011.12.19.06.59.28",294.5,294.3,0.37]
["2011.12.19.07.00.04",294.5,294.39999999999998,0.37]
["2011.12.19.07.00.40",294.5,294.39999999999998,0.37]
["2011.12.19.07.01.16",294.60000000000002,294.39999999999998,0.37]
["2011.12.19.07.01.52",294.5,294.3,0.37]
["2011.12.19.07.02.28",294.5,294.3,0.37]
["2011.12.19.07.03.04",294.5,294.39999999999998,0.37]
["2011.12.19.07.03.40",294.5,294.3,0.37]
["2011.12.19.07.04.16",294.60000000000002,294.39999999999998,0.38]
["2011.12.19.07.04.52",294.5,294.39999999999998,0.37]
["2011.12.19.07.05.28",294.5,294.39999999999998,0.37]
["2011.12.19.07.06.04",294.60000000000002,294.3,0.37]
["2011.12.19.07.06.40",294.5,294.39999999999998,0.37]
["2011.12.19.07.07.16",294.5,294.3,0.37]
["2011.12.19.07.07.52",294.60000000000002,294.39999999999998,0.38]
["2011.12.19.07.08.28",294.5,294.39999999999998,0.37]
["2011.12.19.07.09.04",294.5,294.39999999999998,0.38]
["2011.12.19.07.09.40",294.60000000000002,294.3,0.37]
["2011.12.19.07.10.16",294.5,294.39999999999998,0.38]
["2011.12.19.07.10.52",294.5,294.3,0.37]
["2011.12.19.07.11.28",294.60000000000002,294.3,0.37]
["2011.12.19.07.12.04",294.5,294.39999999999998,0.38]
["2011.12.19.07.12.40",294.5,294.39999999999998,0.37]
["2011.12.19.07.13.16",294.5,294.3,0.38]
["2011.12.19.07.13.52",294.5,294.39999999999998,0.37]
["2011.12.19.07.14.28",294.5,294.39999999999998,0.38]
["2011.12.19.07.15.04",294.5,294.39999999999998,0.37]
["2011.12.19.07.15.40",294.5,294.39999999999998,0.38]
["2011.12.19.07.16.16",294.5,294.3,0.38]
["2011.12.19.07.16.52",294.5,294.3,0.37]
["2011.12.19.07.17.28",294.5,294.3,0.38]
["2011.12.19.07.18.04",294.5,294.39999999999998,0.38]
["2011.12.19.07.18.40",294.5,294.39999999999998,0.38]
["2011.12.19.07.19.16",294.5,294.3,0.38]
["2011.12.19.07.19.53",294.60000000000002,294.39999999999998,0.38]
["2011.12.19.07.20.29",294.5,294.3,0.38]
["2011.12.19.07.21.05",294.60000000000002,294.3,0.38]
["2011.12.19.07.21.41",294.60000000000002,294.3,0.38]
["2011.12.19.07.22.17",294.5,294.39999999999998,0.38]
["2011.12.19.07.22.53",294.5,294.3,0.38]
["2011.12.19.07.23.29",294.60000000000002,294.3,0.37]
["2011.12.19.07.24.05",294.5,294.3,0.37]
["2011.12.19.07.24.41",294.5,294.39999999999998,0.38]
["2011.12.19.07.25.17",294.60000000000002,294.3,0.38]
["2011.12.19.07.25.53",294.5,294.3,0.38]
["2011.12.19.07.26.29",294.5,294.3,0.38]
["2011.12.19.07.27.05",294.5,294.39999999999998,0.38]
["2011.12.19.07.27.41",294.5,294.3,0.38]
["2011.12.19.07.28.17",294.5,294.39999999999998,0.38]
["2011.12.19.07.28.53",294.5,294.3,0.38]
["2011.12.19.07.29.29",294.5,294.3,0.38]
["2011.12.19.07.30.05",294.5,294.39999999999998,0.38]
["2011.12.19.07.30.41",294.5,294.3,0.38]
["2011.12.19.07.31.17",294.5,294.2,0.38]
["2011.12.19.07.31.53",294.5,294.39999999999998,0.38]
["2011.12.19.07.32.29",294.60000000000002,294.39999999999998,0.38]
["2011.12.19.07.33.05",294.5,294.39999999999998,0.38]
["2011.12.19.07.33.41",294.5,294.3,0.38]
["2011.12.19.07.34.17",294.5,294.39999999999998,0.38]
["2011.12.19.07.34.53",294.5,294.3,0.38]
["2011.12.19.07.35.29",294.5,294.3,0.37]
["2011.12.19.07.36.05",294.5,294.39999999999998,0.38]
["2011.12.19.07.36.41",294.5,294.39999999999998,0.38]
["2011.12.19.07.37.17",294.5,294.39999999999998,0.38]
["2011.12.19.07.37.53",294.5,294.3,0.38]
["2011.12.19.07.38.29",294.5,294.3,0.37]
["2011.12.19.07.39.06",294.39999999999998,294.3,0.38]
["2011.12.19.07.39.42",294.5,294.3,0.38]
["2011.12.19.07.40.18",294.5,294.3,0.38]
["2011.12.19.07.40.54",294.5,294.3,0.38]
["2011.12.19.07.41.30",294.5,294.3,0.38]
["2011.12.19.07.42.06",294.5,294.2,0.38]
["2011.12.19.07.42.42",294.5,294.3,0.38]
["2011.12.19.07.43.18",294.39999999999998,294.2,0.38]
["2011.12.19.07.43.54",294.5,294.3,0.38]
["2011.12.19.07.44.30",294.60000000000002,294.3,0.37]
["2011.12.19.07.45.06",294.5,294.39999999999998,0.38]
["2011.12.19.07.45.42",294.5,294.3,0.38]
["2011.12.19.07.46.18",294.5,294.3,0.38]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}