{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":908,"n_cols":9,"rows_kept":908,"cut":false,"hidden":false,"merged":[]}
["Time Stamp","T1","T2","Pr",null,null,"Date","T1","T2"]
["2011.12.20.14.55.53",295,294.89999999999998,0.31,null,null,{"$f":"[1]Sheet1!G2+1","v":"2011-12-20"},"n/a","n/a"]
["2011.12.20.14.56.29",295,294.8,0.3,null,null,{"$f":"[1]Sheet1!G3+1","v":"2011-12-20T01:00:00"},"n/a","n/a"]
["2011.12.20.14.57.05",295,294.89999999999998,0.3,null,null,{"$f":"[1]Sheet1!G4+1","v":"2011-12-20T02:00:00"},"n/a","n/a"]
["2011.12.20.14.57.41",295.10000000000002,294.89999999999998,0.3,null,null,{"$f":"[1]Sheet1!G5+1","v":"2011-12-20T03:00:00"},"n/a","n/a"]
["2011.12.20.14.58.17",294.89999999999998,294.89999999999998,0.31,null,null,{"$f":"[1]Sheet1!G6+1","v":"2011-12-20T04:00:00"},"n/a","n/a"]
["2011.12.20.14.58.53",295,294.89999999999998,0.3,null,null,{"$f":"[1]Sheet1!G7+1","v":"2011-12-20T05:00:00"},"n/a","n/a"]
["2011.12.20.14.59.29",295,294.8,0.31,null,null,{"$f":"[1]Sheet1!G8+1","v":"2011-12-20T06:00:00"},"n/a","n/a"]
["2011.12.20.15.00.05",294.89999999999998,294.8,0.3,null,null,{"$f":"[1]Sheet1!G9+1","v":"2011-12-20T07:00:00"},"n/a","n/a"]
["2011.12.20.15.00.41",295,294.89999999999998,0.31,null,null,{"$f":"[1]Sheet1!G10+1","v":"2011-12-20T08:00:00"},"n/a","n/a"]
["2011.12.20.15.01.17",295.10000000000002,294.89999999999998,0.31,null,null,{"$f":"[1]Sheet1!G11+1","v":"2011-12-20T09:00:00"},"n/a","n/a"]
["2011.12.20.15.01.53",295,294.8,0.3,null,null,{"$f":"[1]Sheet1!G12+1","v":"2011-12-20T10:00:00"},"n/a","n/a"]
["2011.12.20.15.02.29",294.89999999999998,294.7,0.31,null,null,{"$f":"[1]Sheet1!G13+1","v":"2011-12-20T11:00:00"},"n/a","n/a"]
["2011.12.20.15.03.05",295,294.89999999999998,0.3,null,null,{"$f":"[1]Sheet1!G14+1","v":"2011-12-20T12:00:00"},"n/a","n/a"]
["2011.12.20.15.03.41",295,294.89999999999998,0.3,null,null,{"$f":"[1]Sheet1!G15+1","v":"2011-12-20T13:00:00"},"n/a","n/a"]
["2011.12.20.15.04.17",295,294.8,0.31,null,null,{"$f":"[1]Sheet1!G16+1","v":"2011-12-20T14:00:00"},{"$f":"AVERAGE(B2:B8)","v":295},{"$f":"AVERAGE(C2:C8)","v":294.87142857142862}]
["2011.12.20.15.04.53",295.10000000000002,294.8,0.3,null,null,{"$f":"[1]Sheet1!G17+1","v":"2011-12-20T15:00:00"},{"$f":"AVERAGE(B9:B108)","v":294.96800000000002},{"$f":"AVERAGE(C9:C108)","v":294.82400000000001}]
["2011.12.20.15.05.29",294.89999999999998,294.8,0.31,null,null,{"$f":"[1]Sheet1!G18+1","v":"2011-12-20T16:00:00"},{"$f":"AVERAGE(B109:B208)","v":294.9785714285714},{"$f":"AVERAGE(C109:C208)","v":294.84400000000011}]
["2011.12.20.15.06.05",295,294.7,0.31,null,null,{"$f":"[1]Sheet1!G19+1","v":"2011-12-20T17:00:00"},{"$f":"AVERAGE(B209:B308)","v":294.98484848484873},{"$f":"AVERAGE(C209:C308)","v":294.82799999999975}]
["2011.12.20.15.06.41",295,294.8,0.3,null,null,{"$f":"[1]Sheet1!G20+1","v":"2011-12-20T18:00:00"},{"$f":"AVERAGE(B309:B408)","v":294.98989898989907},{"$f":"AVERAGE(C309:C408)","v":294.83232323232323}]
["2011.12.20.15.07.17",295,294.89999999999998,0.31,null,null,{"$f":"[1]Sheet1!G21+1","v":"2011-12-20T19:00:00"},{"$f":"AVERAGE(B409:B508)","v":295},{"$f":"AVERAGE(C409:C508)","v":294.86100000000016}]
["2011.12.20.15.07.53",294.89999999999998,294.8,0.3,null,null,{"$f":"[1]Sheet1!G22+1","v":"2011-12-20T20:00:00"},{"$f":"AVERAGE(B509:B608)","v":294.97575757575765},{"$f":"AVERAGE(C509:C608)","v":294.81818181818164}]
["2011.12.20.15.08.29",294.89999999999998,294.89999999999998,0.3,null,null,{"$f":"[1]Sheet1!G23+1","v":"2011-12-20T21:00:00"},{"$f":"AVERAGE(B609:B708)","v":294.94949494949537},{"$f":"AVERAGE(C609:C708)","v":294.80909090909074}]
["2011.12.20.15.09.05",294.89999999999998,294.8,0.3,null,null,{"$f":"[1]Sheet1!G24+1","v":"2011-12-20T22:00:00"},{"$f":"AVERAGE(B709:B808)","v":294.94500000000028},{"$f":"AVERAGE(C709:C808)","v":294.79489795918334}]
["2011.12.20.15.09.41",294.89999999999998,294.8,0.31,null,null,{"$f":"[1]Sheet1!G25+1","v":"2011-12-20T23:00:00"},{"$f":"AVERAGE(B809:B908)","v":294.92200000000025},{"$f":"AVERAGE(C809:C908)","v":294.77899999999966}]
["2011.12.20.15.10.17",295,294.89999999999998,0.31]
["2011.12.20.15.10.53",294.89999999999998,294.8,0.3]
["2011.12.20.15.11.29",295,294.8,0.3]
["2011.12.20.15.12.05",294.89999999999998,294.8,0.31]
["2011.12.20.15.12.41",294.89999999999998,294.8,0.3]
["2011.12.20.15.13.17",294.89999999999998,294.8,0.31]
["2011.12.20.15.13.53",294.89999999999998,294.8,0.31]
["2011.12.20.15.14.29",294.89999999999998,294.8,0.31]
["2011.12.20.15.15.05",295,294.8,0.3]
["2011.12.20.15.15.41",294.89999999999998,294.8,0.31]
["2011.12.20.15.16.17",294.89999999999998,294.8,0.3]
["2011.12.20.15.16.53",295,294.8,0.31]
["2011.12.20.15.17.29",295,294.8,0.31]
["2011.12.20.15.18.05",294.89999999999998,294.8,0.31]
["2011.12.20.15.18.41",294.89999999999998,294.8,0.3]
["2011.12.20.15.19.17",294.89999999999998,294.8,0.3]
["2011.12.20.15.19.53",295.10000000000002,294.8,0.31]
["2011.12.20.15.20.29",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.21.05",294.89999999999998,294.7,0.3]
["2011.12.20.15.21.41",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.22.17",294.89999999999998,294.8,0.31]
["2011.12.20.15.22.53",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.23.29",295.10000000000002,294.8,0.3]
["2011.12.20.15.24.05",294.89999999999998,294.8,0.31]
["2011.12.20.15.24.41",294.89999999999998,294.7,0.31]
["2011.12.20.15.25.17",295,294.8,0.3]
["2011.12.20.15.25.53",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.26.29",295,294.8,0.3]
["2011.12.20.15.27.05",295,294.8,0.31]
["2011.12.20.15.27.41",294.89999999999998,294.89999999999998,0.3]
["2011.12.20.15.28.17",295,294.7,0.3]
["2011.12.20.15.28.53",295,294.8,0.31]
["2011.12.20.15.29.29",294.89999999999998,294.8,0.3]
["2011.12.20.15.30.05",294.89999999999998,294.8,0.31]
["2011.12.20.15.30.41",295,294.89999999999998,0.3]
["2011.12.20.15.31.17",295,294.89999999999998,0.31]
["2011.12.20.15.31.53",295,294.8,0.3]
["2011.12.20.15.32.30",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.33.06",295,294.89999999999998,0.3]
["2011.12.20.15.33.42",294.89999999999998,294.89999999999998,0.3]
["2011.12.20.15.34.18",295.10000000000002,294.89999999999998,0.31]
["2011.12.20.15.34.54",295,294.8,0.31]
["2011.12.20.15.35.30",295,294.8,0.31]
["2011.12.20.15.36.06",295,294.8,0.3]
["2011.12.20.15.36.42",295,294.89999999999998,0.3]
["2011.12.20.15.37.18",294.89999999999998,294.8,0.31]
["2011.12.20.15.37.54",295.10000000000002,294.89999999999998,0.3]
["2011.12.20.15.38.30",295,294.8,0.31]
["2011.12.20.15.39.06",295,294.7,0.3]
["2011.12.20.15.39.42",295,294.8,0.3]
["2011.12.20.15.40.18",295,294.89999999999998,0.31]
["2011.12.20.15.40.54",295,294.8,0.3]
["2011.12.20.15.41.30",295.10000000000002,294.8,0.3]
["2011.12.20.15.42.06",295,294.8,0.31]
["2011.12.20.15.42.42",295,294.7,0.31]
["2011.12.20.15.43.18",295,294.8,0.31]
["2011.12.20.15.43.54",295,294.8,0.3]
["2011.12.20.15.44.30",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.45.06",295,294.89999999999998,0.31]
["2011.12.20.15.45.42",295,294.8,0.31]
["2011.12.20.15.46.18",294.89999999999998,294.8,0.31]
["2011.12.20.15.46.54",295,294.89999999999998,0.31]
["2011.12.20.15.47.30",295,294.89999999999998,0.31]
["2011.12.20.15.48.06",294.89999999999998,294.8,0.31]
["2011.12.20.15.48.42",294.89999999999998,294.8,0.31]
["2011.12.20.15.49.18",294.89999999999998,294.8,0.31]
["2011.12.20.15.49.54",295,294.89999999999998,0.31]
["2011.12.20.15.50.30",295,294.8,0.3]
["2011.12.20.15.51.06",295,294.89999999999998,0.3]
["2011.12.20.15.51.42",295,294.89999999999998,0.3]
["2011.12.20.15.52.18",295,294.8,0.3]
["2011.12.20.15.52.54",295.10000000000002,294.8,0.31]
["2011.12.20.15.53.30",295,294.8,0.31]
["2011.12.20.15.54.06",294.89999999999998,294.7,0.31]
["2011.12.20.15.54.42",295,294.8,0.31]
["2011.12.20.15.55.18",295,294.8,0.31]
["2011.12.20.15.55.54",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.56.30",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.15.57.06",295,294.8,0.31]
["2011.12.20.15.57.42",295,294.7,0.31]
["2011.12.20.15.58.18",295,294.89999999999998,0.31]
["2011.12.20.15.58.54",295,294.89999999999998,0.31]
["2011.12.20.15.59.30",295,294.89999999999998,0.31]
["2011.12.20.16.00.06",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.00.42",294.89999999999998,294.8,0.31]
["2011.12.20.16.01.18",294.89999999999998,294.8,0.31]
["2011.12.20.16.01.54",295,294.89999999999998,0.31]
["2011.12.20.16.02.30",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.03.06",295,294.8,0.31]
["2011.12.20.16.03.42",294.89999999999998,294.8,0.31]
["2011.12.20.16.04.18",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.04.54",295,294.8,0.31]
["2011.12.20.16.05.30",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.06.06",294.89999999999998,294.8,0.31]
["2011.12.20.16.06.42",295,294.89999999999998,0.31]
["2011.12.20.16.07.18",295,294.8,0.31]
["2011.12.20.16.07.54","-----",294.8,0.31]
["2011.12.20.16.08.30",295,294.8,0.31]
["2011.12.20.16.09.06",295,294.7,0.31]
["2011.12.20.16.09.42",295,294.8,0.31]
["2011.12.20.16.10.18",295,294.89999999999998,0.3]
["2011.12.20.16.10.54",295,294.89999999999998,0.31]
["2011.12.20.16.11.30",295,294.89999999999998,0.31]
["2011.12.20.16.12.06",295,294.8,0.31]
["2011.12.20.16.12.42",294.89999999999998,294.7,0.31]
["2011.12.20.16.13.18",295,294.8,0.31]
["2011.12.20.16.13.54",294.89999999999998,294.8,0.31]
["2011.12.20.16.14.31",294.89999999999998,294.8,0.31]
["2011.12.20.16.15.07",295,294.8,0.31]
["2011.12.20.16.15.43",295,294.8,0.31]
["2011.12.20.16.16.19",295,294.89999999999998,0.31]
["2011.12.20.16.16.55",295,294.89999999999998,0.31]
["2011.12.20.16.17.31",295,294.8,0.31]
["2011.12.20.16.18.07",295,294.8,0.3]
["2011.12.20.16.18.43",295,294.89999999999998,0.31]
["2011.12.20.16.19.19",295,294.89999999999998,0.31]
["2011.12.20.16.19.55",295,294.89999999999998,0.3]
["2011.12.20.16.20.31",294.89999999999998,294.8,0.31]
["2011.12.20.16.21.07",295,294.8,0.31]
["2011.12.20.16.21.43",295,294.8,0.31]
["2011.12.20.16.22.19",295,294.89999999999998,0.3]
["2011.12.20.16.22.55","-----",294.89999999999998,0.31]
["2011.12.20.16.23.31",295,294.89999999999998,0.31]
["2011.12.20.16.24.07",295,294.8,0.31]
["2011.12.20.16.24.43",294.89999999999998,294.8,0.31]
["2011.12.20.16.25.19",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.25.55",295,294.8,0.31]
["2011.12.20.16.26.31",295.10000000000002,294.8,0.31]
["2011.12.20.16.27.07",294.89999999999998,294.8,0.31]
["2011.12.20.16.27.43",294.89999999999998,294.7,0.31]
["2011.12.20.16.28.19",295,294.89999999999998,0.31]
["2011.12.20.16.28.55",295,294.8,0.31]
["2011.12.20.16.29.31",295,294.8,0.31]
["2011.12.20.16.30.07",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.30.43",295,294.8,0.31]
["2011.12.20.16.31.19",294.89999999999998,294.7,0.31]
["2011.12.20.16.31.55",295,294.8,0.31]
["2011.12.20.16.32.31",295,294.8,0.31]
["2011.12.20.16.33.07",294.89999999999998,294.8,0.31]
["2011.12.20.16.33.43",294.89999999999998,294.8,0.31]
["2011.12.20.16.34.19",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.16.34.55",295,294.8,0.3]
["2011.12.20.16.35.31",295,294.8,0.31]
["2011.12.20.16.36.07",295,294.8,0.31]
["2011.12.20.16.36.43",295,294.89999999999998,0.31]
["2011.12.20.16.37.19",295,294.8,0.31]
["2011.12.20.16.37.55",295,294.8,0.31]
["2011.12.20.16.38.31",294.89999999999998,294.8,0.31]
["2011.12.20.16.39.07",294.89999999999998,294.8,0.31]
["2011.12.20.16.39.43",295.10000000000002,294.89999999999998,0.31]
["2011.12.20.16.40.20",295,294.8,0.31]
["2011.12.20.16.40.56",295,294.8,0.31]
["2011.12.20.16.41.32",295,294.8,0.31]
["2011.12.20.16.42.08",295,294.89999999999998,0.31]
["2011.12.20.16.42.44",295,294.89999999999998,0.31]
["2011.12.20.16.43.20",295,294.89999999999998,0.31]
["2011.12.20.16.43.56",295,294.89999999999998,0.31]
["2011.12.20.16.44.32",295,294.8,0.31]
["2011.12.20.16.45.08",295,294.89999999999998,0.31]
["2011.12.20.16.45.44",295,294.89999999999998,0.31]
["2011.12.20.16.46.20",295,294.89999999999998,0.31]
["2011.12.20.16.46.56",295,294.89999999999998,0.31]
["2011.12.20.16.47.32",295,294.89999999999998,0.31]
["2011.12.20.16.48.08",295,294.8,0.31]
["2011.12.20.16.48.44",295,294.89999999999998,0.31]
["2011.12.20.16.49.20",295,294.89999999999998,0.31]
["2011.12.20.16.49.56",295,294.89999999999998,0.31]
["2011.12.20.16.50.32",295,294.89999999999998,0.31]
["2011.12.20.16.51.08",295,294.89999999999998,0.31]
["2011.12.20.16.51.44",295,294.8,0.31]
["2011.12.20.16.52.20",295,294.8,0.31]
["2011.12.20.16.52.56",295,294.89999999999998,0.31]
["2011.12.20.16.53.32",295,294.89999999999998,0.31]
["2011.12.20.16.54.08",295,294.89999999999998,0.31]
["2011.12.20.16.54.44",295,294.89999999999998,0.31]
["2011.12.20.16.55.20",295,295,0.31]
["2011.12.20.16.55.56",295,294.8,0.31]
["2011.12.20.16.56.32",295,294.89999999999998,0.31]
["2011.12.20.16.57.08",295,294.89999999999998,0.31]
["2011.12.20.16.57.44",295,294.89999999999998,0.31]
["2011.12.20.16.58.20",295,294.89999999999998,0.31]
["2011.12.20.16.58.56",295,294.89999999999998,0.31]
["2011.12.20.16.59.32",295,294.8,0.31]
["2011.12.20.17.00.08",295.10000000000002,294.89999999999998,0.31]
["2011.12.20.17.00.44",295,294.89999999999998,0.31]
["2011.12.20.17.01.20",295.10000000000002,295,0.31]
["2011.12.20.17.01.56",295,294.89999999999998,0.32]
["2011.12.20.17.02.32",295,294.89999999999998,0.31]
["2011.12.20.17.03.08",295,294.8,0.31]
["2011.12.20.17.03.44",295,294.89999999999998,0.31]
["2011.12.20.17.04.20",295,295,0.31]
["2011.12.20.17.04.56",295,294.89999999999998,0.32]
["2011.12.20.17.05.32",295,294.89999999999998,0.31]
["2011.12.20.17.06.08",294.89999999999998,294.8,0.31]
["2011.12.20.17.06.44",295,294.89999999999998,0.31]
["2011.12.20.17.07.20",295,294.8,0.31]
["2011.12.20.17.07.56",295,294.89999999999998,0.31]
["2011.12.20.17.08.32",295,294.8,0.31]
["2011.12.20.17.09.08",295,294.89999999999998,0.31]
["2011.12.20.17.09.44",295,294.8,0.31]
["2011.12.20.17.10.20",295,294.89999999999998,0.31]
["2011.12.20.17.10.56",295,294.89999999999998,0.31]
["2011.12.20.17.11.32",295,294.8,0.31]
["2011.12.20.17.12.08",295,294.89999999999998,0.31]
["2011.12.20.17.12.44",295,294.89999999999998,0.31]
["2011.12.20.17.13.20",295.10000000000002,294.89999999999998,0.31]
["2011.12.20.17.13.56",295,294.89999999999998,0.31]
["2011.12.20.17.14.32",295,294.8,0.31]
["2011.12.20.17.15.08",295,294.89999999999998,0.31]
["2011.12.20.17.15.44",295,294.8,0.31]
["2011.12.20.17.16.20",295,294.89999999999998,0.31]
["2011.12.20.17.16.56",295.10000000000002,294.8,0.31]
["2011.12.20.17.17.32",295,294.8,0.31]
["2011.12.20.17.18.08",295,294.7,0.31]
["2011.12.20.17.18.44",294.89999999999998,294.8,0.31]
["2011.12.20.17.19.20",295,294.89999999999998,0.31]
["2011.12.20.17.19.56",294.89999999999998,294.8,0.31]
["2011.12.20.17.20.32",295,294.8,0.31]
["2011.12.20.17.21.08",295,294.8,0.31]
["2011.12.20.17.21.44",295,294.7,0.31]
["2011.12.20.17.22.20",295,294.8,0.31]
["2011.12.20.17.22.56",295,294.7,0.31]
["2011.12.20.17.23.32",295,294.8,0.31]
["2011.12.20.17.24.09",294.89999999999998,294.8,0.31]
["2011.12.20.17.24.45",295,294.89999999999998,0.31]
["2011.12.20.17.25.21",295,294.89999999999998,0.32]
["2011.12.20.17.25.57",295,294.8,0.32]
["2011.12.20.17.26.33",295,294.8,0.31]
["2011.12.20.17.27.09",295,294.89999999999998,0.32]
["2011.12.20.17.27.45",295,294.8,0.31]
["2011.12.20.17.28.21",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.17.28.57",295,294.8,0.31]
["2011.12.20.17.29.33",295,294.8,0.31]
["2011.12.20.17.30.09",295,294.89999999999998,0.32]
["2011.12.20.17.30.45",295,294.8,0.31]
["2011.12.20.17.31.21",295,294.8,0.31]
["2011.12.20.17.31.57",295.10000000000002,294.8,0.32]
["2011.12.20.17.32.33",295,294.8,0.31]
["2011.12.20.17.33.09",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.17.33.45",295,294.89999999999998,0.31]
["2011.12.20.17.34.21",295,294.8,0.31]
["2011.12.20.17.34.57",295,294.8,0.31]
["2011.12.20.17.35.33",295,294.8,0.31]
["2011.12.20.17.36.09",295,294.8,0.31]
["2011.12.20.17.36.45",294.89999999999998,294.8,0.31]
["2011.12.20.17.37.21",294.89999999999998,294.8,0.31]
["2011.12.20.17.37.57",294.89999999999998,294.8,0.31]
["2011.12.20.17.38.33",294.89999999999998,294.8,0.31]
["2011.12.20.17.39.09",294.89999999999998,294.7,0.31]
["2011.12.20.17.39.45",294.89999999999998,294.8,0.31]
["2011.12.20.17.40.21",295,294.8,0.32]
["2011.12.20.17.40.57",294.89999999999998,294.8,0.32]
["2011.12.20.17.41.33",295,294.89999999999998,0.31]
["2011.12.20.17.42.09",295,294.8,0.31]
["2011.12.20.17.42.45",295,294.7,0.31]
["2011.12.20.17.43.21",295,294.89999999999998,0.31]
["2011.12.20.17.43.57",295,294.8,0.31]
["2011.12.20.17.44.33",295,294.7,0.31]
["2011.12.20.17.45.09",294.89999999999998,294.8,0.31]
["2011.12.20.17.45.45",295,294.8,0.31]
["2011.12.20.17.46.21",294.89999999999998,294.8,0.31]
["2011.12.20.17.46.57",294.89999999999998,294.8,0.31]
["2011.12.20.17.47.33",295,294.8,0.32]
["2011.12.20.17.48.09",295,294.8,0.31]
["2011.12.20.17.48.45",294.89999999999998,294.8,0.31]
["2011.12.20.17.49.21","-----",294.89999999999998,0.31]
["2011.12.20.17.49.57",295,294.8,0.31]
["2011.12.20.17.50.33",295,294.8,0.31]
["2011.12.20.17.51.09",294.89999999999998,294.8,0.31]
["2011.12.20.17.51.45",295,294.8,0.31]
["2011.12.20.17.52.21",295,294.8,0.32]
["2011.12.20.17.52.57",295,294.8,0.31]
["2011.12.20.17.53.34",295,294.8,0.31]
["2011.12.20.17.54.10",294.89999999999998,294.7,0.31]
["2011.12.20.17.54.46",295,294.8,0.31]
["2011.12.20.17.55.22",294.89999999999998,294.8,0.31]
["2011.12.20.17.55.58",294.89999999999998,294.8,0.31]
["2011.12.20.17.56.34",295,294.8,0.31]
["2011.12.20.17.57.10",295,294.89999999999998,0.31]
["2011.12.20.17.57.46",295,294.7,0.32]
["2011.12.20.17.58.22",294.89999999999998,294.8,0.31]
["2011.12.20.17.58.58",295,294.89999999999998,0.31]
["2011.12.20.17.59.34",295,294.89999999999998,0.31]
["2011.12.20.18.00.10",294.89999999999998,294.8,0.31]
["2011.12.20.18.00.46",295,294.8,0.32]
["2011.12.20.18.01.22",295,294.89999999999998,0.31]
["2011.12.20.18.01.58",294.89999999999998,294.8,0.32]
["2011.12.20.18.02.34",294.89999999999998,294.8,0.32]
["2011.12.20.18.03.10",295,294.89999999999998,0.32]
["2011.12.20.18.03.46",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.18.04.22","-----",294.8,0.31]
["2011.12.20.18.04.58",295,294.8,0.31]
["2011.12.20.18.05.34",295,294.8,0.31]
["2011.12.20.18.06.10",295,294.8,0.31]
["2011.12.20.18.06.46",295,294.8,0.31]
["2011.12.20.18.07.22",295,294.8,0.31]
["2011.12.20.18.07.58",295,294.8,0.31]
["2011.12.20.18.08.34",294.89999999999998,294.8,0.31]
["2011.12.20.18.09.10",295,294.8,0.31]
["2011.12.20.18.09.46",295,294.89999999999998,0.31]
["2011.12.20.18.10.22",295,294.8,0.32]
["2011.12.20.18.10.58",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.18.11.34",295,294.89999999999998,0.32]
["2011.12.20.18.12.10",295,294.8,0.31]
["2011.12.20.18.12.46",295,294.7,0.32]
["2011.12.20.18.13.22",295,294.8,0.32]
["2011.12.20.18.13.58",295,294.89999999999998,0.32]
["2011.12.20.18.14.34",295,294.89999999999998,0.31]
["2011.12.20.18.15.10",295,294.89999999999998,0.32]
["2011.12.20.18.15.46",295,294.89999999999998,0.32]
["2011.12.20.18.16.22",295,294.89999999999998,0.32]
["2011.12.20.18.16.58",295,294.8,0.32]
["2011.12.20.18.17.34",295,294.8,0.32]
["2011.12.20.18.18.10",295,294.8,0.31]
["2011.12.20.18.18.46",295,294.8,0.31]
["2011.12.20.18.19.22",295.10000000000002,294.89999999999998,0.31]
["2011.12.20.18.19.58",294.89999999999998,294.8,0.31]
["2011.12.20.18.20.34",295,294.8,0.32]
["2011.12.20.18.21.10",295,294.89999999999998,0.32]
["2011.12.20.18.21.46",295,294.8,0.32]
["2011.12.20.18.22.22",295,294.89999999999998,0.32]
["2011.12.20.18.22.58",295.10000000000002,294.8,0.31]
["2011.12.20.18.23.34",295,294.8,0.32]
["2011.12.20.18.24.10",295,294.7,0.31]
["2011.12.20.18.24.46",295,294.8,0.32]
["2011.12.20.18.25.22",295,294.8,0.32]
["2011.12.20.18.25.58",295,294.8,0.32]
["2011.12.20.18.26.34",295,294.8,0.32]
["2011.12.20.18.27.10",295,294.8,0.32]
["2011.12.20.18.27.46",295,294.8,0.32]
["2011.12.20.18.28.22",295,294.89999999999998,0.31]
["2011.12.20.18.28.58",295,294.8,0.32]
["2011.12.20.18.29.34",295,294.89999999999998,0.32]
["2011.12.20.18.30.10",295,294.89999999999998,0.32]
["2011.12.20.18.30.46",295,294.8,0.32]
["2011.12.20.18.31.22",295,294.8,0.32]
["2011.12.20.18.31.58",294.89999999999998,294.8,0.32]
["2011.12.20.18.32.34",295,294.8,0.32]
["2011.12.20.18.33.10",295,294.8,0.31]
["2011.12.20.18.33.46",295,294.89999999999998,0.32]
["2011.12.20.18.34.22",295,294.89999999999998,0.32]
["2011.12.20.18.34.58",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.18.35.34",295,"-----",0.32]
["2011.12.20.18.36.10",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.18.36.46",295,294.8,0.32]
["2011.12.20.18.37.22",295,294.8,0.32]
["2011.12.20.18.37.58",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.18.38.34",295,294.89999999999998,0.32]
["2011.12.20.18.39.10",295,294.89999999999998,0.32]
["2011.12.20.18.39.46",295,294.8,0.32]
["2011.12.20.18.40.22",295,294.8,0.31]
["2011.12.20.18.40.58",295,294.89999999999998,0.32]
["2011.12.20.18.41.34",295,294.8,0.32]
["2011.12.20.18.42.11",295,294.89999999999998,0.31]
["2011.12.20.18.42.47",295,294.89999999999998,0.32]
["2011.12.20.18.43.23",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.18.43.59",295,294.8,0.32]
["2011.12.20.18.44.35",295,294.8,0.32]
["2011.12.20.18.45.11",295,294.89999999999998,0.32]
["2011.12.20.18.45.47",295,294.8,0.31]
["2011.12.20.18.46.23",295,294.8,0.31]
["2011.12.20.18.46.59",295,294.8,0.32]
["2011.12.20.18.47.35",294.89999999999998,294.8,0.32]
["2011.12.20.18.48.11",295,294.89999999999998,0.31]
["2011.12.20.18.48.47",295,294.89999999999998,0.32]
["2011.12.20.18.49.23",295.10000000000002,294.89999999999998,0.31]
["2011.12.20.18.49.59",295,294.8,0.31]
["2011.12.20.18.50.35",295,294.7,0.32]
["2011.12.20.18.51.11",295,294.8,0.31]
["2011.12.20.18.51.47",295,294.8,0.32]
["2011.12.20.18.52.23",295,294.8,0.31]
["2011.12.20.18.52.59",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.18.53.35",295,294.8,0.31]
["2011.12.20.18.54.11",295,294.7,0.32]
["2011.12.20.18.54.47",295,294.8,0.31]
["2011.12.20.18.55.23",295,294.89999999999998,0.32]
["2011.12.20.18.55.59",295,294.8,0.32]
["2011.12.20.18.56.35",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.18.57.11",295,294.89999999999998,0.32]
["2011.12.20.18.57.47",295,294.8,0.32]
["2011.12.20.18.58.23",295,294.8,0.32]
["2011.12.20.18.58.59",295,294.8,0.32]
["2011.12.20.18.59.35",295,294.8,0.32]
["2011.12.20.19.00.11",295,294.8,0.32]
["2011.12.20.19.00.47",294.89999999999998,294.89999999999998,0.31]
["2011.12.20.19.01.23",295,295,0.31]
["2011.12.20.19.01.59",295,294.8,0.32]
["2011.12.20.19.02.35",295,294.8,0.32]
["2011.12.20.19.03.11",294.89999999999998,294.8,0.32]
["2011.12.20.19.03.47",295,294.8,0.32]
["2011.12.20.19.04.23",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.19.04.59",294.89999999999998,294.8,0.31]
["2011.12.20.19.05.35",294.89999999999998,294.7,0.32]
["2011.12.20.19.06.11",294.89999999999998,294.8,0.32]
["2011.12.20.19.06.47",295,294.89999999999998,0.32]
["2011.12.20.19.07.23",295,294.89999999999998,0.32]
["2011.12.20.19.07.59",295,294.89999999999998,0.32]
["2011.12.20.19.08.35",295,294.8,0.32]
["2011.12.20.19.09.11",295,294.89999999999998,0.32]
["2011.12.20.19.09.47",295,294.89999999999998,0.32]
["2011.12.20.19.10.23",295,294.8,0.32]
["2011.12.20.19.10.59",295,294.8,0.31]
["2011.12.20.19.11.35",295,294.89999999999998,0.31]
["2011.12.20.19.12.11",295,294.8,0.32]
["2011.12.20.19.12.47",295,294.8,0.32]
["2011.12.20.19.13.23",295,294.8,0.31]
["2011.12.20.19.13.59",295,294.89999999999998,0.32]
["2011.12.20.19.14.35",295,294.89999999999998,0.32]
["2011.12.20.19.15.11",295,294.89999999999998,0.32]
["2011.12.20.19.15.47",295.10000000000002,294.8,0.32]
["2011.12.20.19.16.23",295,294.8,0.32]
["2011.12.20.19.16.59",295,294.8,0.32]
["2011.12.20.19.17.35",295,294.89999999999998,0.32]
["2011.12.20.19.18.11",295,294.89999999999998,0.32]
["2011.12.20.19.18.47",295,294.89999999999998,0.32]
["2011.12.20.19.19.23",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.19.19.59",295,294.89999999999998,0.32]
["2011.12.20.19.20.35",295,294.8,0.32]
["2011.12.20.19.21.11",295,294.89999999999998,0.32]
["2011.12.20.19.21.47",295,294.89999999999998,0.32]
["2011.12.20.19.22.23",295,294.8,0.32]
["2011.12.20.19.22.59",295,294.89999999999998,0.32]
["2011.12.20.19.23.35",295,294.89999999999998,0.32]
["2011.12.20.19.24.11",295,294.89999999999998,0.32]
["2011.12.20.19.24.47",295,294.89999999999998,0.32]
["2011.12.20.19.25.23",295,294.89999999999998,0.32]
["2011.12.20.19.25.59",295,294.8,0.32]
["2011.12.20.19.26.35",295,294.89999999999998,0.32]
["2011.12.20.19.27.11",295,294.89999999999998,0.32]
["2011.12.20.19.27.47",295,294.89999999999998,0.32]
["2011.12.20.19.28.23",295.10000000000002,294.8,0.32]
["2011.12.20.19.28.59",295,294.89999999999998,0.32]
["2011.12.20.19.29.35",295,294.8,0.32]
["2011.12.20.19.30.11",295,294.8,0.32]
["2011.12.20.19.30.48",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.19.31.24",295,294.89999999999998,0.32]
["2011.12.20.19.32.00",295,294.8,0.32]
["2011.12.20.19.32.36",295,294.89999999999998,0.32]
["2011.12.20.19.33.12",295,294.8,0.32]
["2011.12.20.19.33.48",295,294.89999999999998,0.32]
["2011.12.20.19.34.24",295,294.89999999999998,0.32]
["2011.12.20.19.35.00",295,294.89999999999998,0.32]
["2011.12.20.19.35.36",295,295,0.32]
["2011.12.20.19.36.12",295,294.89999999999998,0.32]
["2011.12.20.19.36.48",295,294.8,0.32]
["2011.12.20.19.37.24",294.89999999999998,294.8,0.32]
["2011.12.20.19.38.00",295,294.89999999999998,0.32]
["2011.12.20.19.38.36",295,294.8,0.32]
["2011.12.20.19.39.12",295,294.8,0.32]
["2011.12.20.19.39.48",295,294.89999999999998,0.32]
["2011.12.20.19.40.24",295,294.8,0.32]
["2011.12.20.19.41.00",295,294.8,0.32]
["2011.12.20.19.41.36",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.19.42.12",295,294.8,0.32]
["2011.12.20.19.42.48",295,294.8,0.32]
["2011.12.20.19.43.24",295,294.8,0.32]
["2011.12.20.19.44.00",295,294.89999999999998,0.32]
["2011.12.20.19.44.36",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.19.45.12",295,294.89999999999998,0.32]
["2011.12.20.19.45.48",295,294.8,0.32]
["2011.12.20.19.46.24",295,294.7,0.32]
["2011.12.20.19.47.00",295,294.89999999999998,0.32]
["2011.12.20.19.47.36",295,294.89999999999998,0.32]
["2011.12.20.19.48.12",295,294.89999999999998,0.32]
["2011.12.20.19.48.48",295,294.89999999999998,0.32]
["2011.12.20.19.49.24",295,294.89999999999998,0.32]
["2011.12.20.19.50.00",295,294.8,0.32]
["2011.12.20.19.50.36",294.89999999999998,294.8,0.32]
["2011.12.20.19.51.12",295,294.89999999999998,0.32]
["2011.12.20.19.51.48",295,294.89999999999998,0.32]
["2011.12.20.19.52.24",295,294.8,0.32]
["2011.12.20.19.53.00",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.19.53.36",295,295,0.32]
["2011.12.20.19.54.12",295,294.89999999999998,0.33]
["2011.12.20.19.54.48",295,294.89999999999998,0.32]
["2011.12.20.19.55.24",295,294.89999999999998,0.33]
["2011.12.20.19.56.00",295,294.89999999999998,0.32]
["2011.12.20.19.56.36",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.19.57.12",295,294.89999999999998,0.32]
["2011.12.20.19.57.48",295,294.8,0.32]
["2011.12.20.19.58.24",295,294.89999999999998,0.32]
["2011.12.20.19.59.00",295,294.89999999999998,0.32]
["2011.12.20.19.59.36",295,294.89999999999998,0.33]
["2011.12.20.20.00.12",295,294.89999999999998,0.32]
["2011.12.20.20.00.48",295,294.8,0.32]
["2011.12.20.20.01.24",295,294.89999999999998,0.32]
["2011.12.20.20.02.00",295,294.8,0.32]
["2011.12.20.20.02.36",295,294.89999999999998,0.32]
["2011.12.20.20.03.12",295,294.89999999999998,0.33]
["2011.12.20.20.03.48",295,294.89999999999998,0.33]
["2011.12.20.20.04.24",295,294.8,0.32]
["2011.12.20.20.05.00",295,294.8,0.33]
["2011.12.20.20.05.36",295,294.8,0.32]
["2011.12.20.20.06.12",295,294.8,0.32]
["2011.12.20.20.06.48",295,294.89999999999998,0.32]
["2011.12.20.20.07.24",295,294.8,0.32]
["2011.12.20.20.08.00",295,294.8,0.32]
["2011.12.20.20.08.36",295,294.8,0.32]
["2011.12.20.20.09.12",295,294.8,0.33]
["2011.12.20.20.09.48",295,294.8,0.32]
["2011.12.20.20.10.24",295,294.8,0.32]
["2011.12.20.20.11.01",295,294.8,0.33]
["2011.12.20.20.11.37",294.89999999999998,294.8,0.33]
["2011.12.20.20.12.13",295.10000000000002,294.89999999999998,0.32]
["2011.12.20.20.12.49",295,294.8,0.33]
["2011.12.20.20.13.25",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.20.14.01",294.89999999999998,294.8,0.32]
["2011.12.20.20.14.37",295,294.89999999999998,0.32]
["2011.12.20.20.15.13",294.89999999999998,294.8,0.33]
["2011.12.20.20.15.49",294.89999999999998,294.8,0.32]
["2011.12.20.20.16.25",295,294.8,0.32]
["2011.12.20.20.17.01",294.89999999999998,294.7,0.32]
["2011.12.20.20.17.37",295,294.8,0.32]
["2011.12.20.20.18.13",295,294.8,0.33]
["2011.12.20.20.18.49",294.89999999999998,294.8,0.32]
["2011.12.20.20.19.25",294.89999999999998,294.8,0.32]
["2011.12.20.20.20.01",294.89999999999998,294.8,0.33]
["2011.12.20.20.20.37",295,294.8,0.32]
["2011.12.20.20.21.13",295,294.8,0.33]
["2011.12.20.20.21.49",294.89999999999998,294.8,0.32]
["2011.12.20.20.22.25",295,294.89999999999998,0.32]
["2011.12.20.20.23.01",295,294.8,0.33]
["2011.12.20.20.23.37",294.89999999999998,294.8,0.32]
["2011.12.20.20.24.13",295,294.8,0.33]
["2011.12.20.20.24.49",294.89999999999998,294.7,0.33]
["2011.12.20.20.25.25",295,294.8,0.33]
["2011.12.20.20.26.01",294.89999999999998,294.8,0.32]
["2011.12.20.20.26.37",295,294.8,0.33]
["2011.12.20.20.27.13",294.89999999999998,294.8,0.32]
["2011.12.20.20.27.49",294.89999999999998,294.8,0.33]
["2011.12.20.20.28.25",295,294.7,0.33]
["2011.12.20.20.29.01",294.89999999999998,294.89999999999998,0.32]
["2011.12.20.20.29.37",294.89999999999998,294.7,0.32]
["2011.12.20.20.30.13",294.89999999999998,294.8,0.32]
["2011.12.20.20.30.49",294.89999999999998,294.8,0.33]
["2011.12.20.20.31.25",295,294.8,0.32]
["2011.12.20.20.32.01",295,294.8,0.33]
["2011.12.20.20.32.37",295,294.8,0.33]
["2011.12.20.20.33.13",294.89999999999998,294.8,0.33]
["2011.12.20.20.33.49",295,294.8,0.32]
["2011.12.20.20.34.25",294.89999999999998,294.8,0.32]
["2011.12.20.20.35.01",295,294.8,0.32]
["2011.12.20.20.35.37",295,294.89999999999998,0.32]
["2011.12.20.20.36.13",294.89999999999998,294.8,0.33]
["2011.12.20.20.36.49",295,294.8,0.33]
["2011.12.20.20.37.25",294.89999999999998,294.8,0.33]
["2011.12.20.20.38.01",295,294.8,0.33]
["2011.12.20.20.38.37",295.10000000000002,294.8,0.33]
["2011.12.20.20.39.13",295,294.8,0.33]
["2011.12.20.20.39.49",295,"-----",0.33]
["2011.12.20.20.40.25",295,294.8,0.33]
["2011.12.20.20.41.01",294.89999999999998,294.8,0.32]
["2011.12.20.20.41.37",295,294.8,0.32]
["2011.12.20.20.42.13",295.2,294.8,0.32]
["2011.12.20.20.42.49",295,294.8,0.33]
["2011.12.20.20.43.25",295,294.8,0.33]
["2011.12.20.20.44.01",295,294.8,0.33]
["2011.12.20.20.44.37",294.89999999999998,294.8,0.32]
["2011.12.20.20.45.13",295,294.89999999999998,0.33]
["2011.12.20.20.45.49",295,294.89999999999998,0.33]
["2011.12.20.20.46.25",295,294.89999999999998,0.32]
["2011.12.20.20.47.01",295,294.8,0.33]
["2011.12.20.20.47.37",295,294.8,0.33]
["2011.12.20.20.48.13",295,294.8,0.33]
["2011.12.20.20.48.49",295,294.8,0.33]
["2011.12.20.20.49.25",295,294.89999999999998,0.33]
["2011.12.20.20.50.01",295.10000000000002,294.8,0.32]
["2011.12.20.20.50.37",295,294.89999999999998,0.33]
["2011.12.20.20.51.13",295,294.8,0.33]
["2011.12.20.20.51.49",295,294.89999999999998,0.32]
["2011.12.20.20.52.25",294.89999999999998,294.8,0.32]
["2011.12.20.20.53.01",295,294.89999999999998,0.33]
["2011.12.20.20.53.38",295,294.8,0.33]
["2011.12.20.20.54.14",295,294.8,0.33]
["2011.12.20.20.54.50",294.89999999999998,294.8,0.33]
["2011.12.20.20.55.26",295,294.8,0.33]
["2011.12.20.20.56.02",295,294.89999999999998,0.33]
["2011.12.20.20.56.38",295,294.8,0.33]
["2011.12.20.20.57.14",294.89999999999998,294.8,0.33]
["2011.12.20.20.57.50","-----",294.8,0.33]
["2011.12.20.20.58.26",294.89999999999998,294.89999999999998,0.33]
["2011.12.20.20.59.02",295,294.8,0.33]
["2011.12.20.20.59.38",295,294.89999999999998,0.33]
["2011.12.20.21.00.14",295,294.8,0.33]
["2011.12.20.21.00.50",295,294.8,0.33]
["2011.12.20.21.01.26",295,294.8,0.33]
["2011.12.20.21.02.02",295,294.89999999999998,0.33]
["2011.12.20.21.02.38",295,294.89999999999998,0.33]
["2011.12.20.21.03.14",295,294.89999999999998,0.33]
["2011.12.20.21.03.50",295,294.89999999999998,0.33]
["2011.12.20.21.04.26",295,294.89999999999998,0.33]
["2011.12.20.21.05.02",295,294.8,0.33]
["2011.12.20.21.05.38",295,294.89999999999998,0.33]
["2011.12.20.21.06.14",295,294.89999999999998,0.33]
["2011.12.20.21.06.50",295,294.89999999999998,0.33]
["2011.12.20.21.07.26",295,294.8,0.33]
["2011.12.20.21.08.02",295,294.89999999999998,0.33]
["2011.12.20.21.08.38",295,294.89999999999998,0.33]
["2011.12.20.21.09.14",295,294.8,0.33]
["2011.12.20.21.09.50",295,295,0.33]
["2011.12.20.21.10.26",295,294.8,0.33]
["2011.12.20.21.11.02",295,294.89999999999998,0.33]
["2011.12.20.21.11.38",295,294.89999999999998,0.33]
["2011.12.20.21.12.14",295.10000000000002,294.89999999999998,0.33]
["2011.12.20.21.12.50",295,294.89999999999998,0.33]
["2011.12.20.21.13.26",295,294.89999999999998,0.33]
["2011.12.20.21.14.02",295,294.89999999999998,0.33]
["2011.12.20.21.14.38",295,294.89999999999998,0.33]
["2011.12.20.21.15.14",295,294.8,0.33]
["2011.12.20.21.15.50",295,294.89999999999998,0.33]
["2011.12.20.21.16.26",295,294.89999999999998,0.33]
["2011.12.20.21.17.02",295.10000000000002,294.89999999999998,0.33]
["2011.12.20.21.17.38",295,294.89999999999998,0.33]
["2011.12.20.21.18.14",295,294.89999999999998,0.33]
["2011.12.20.21.18.50",295,294.89999999999998,0.33]
["2011.12.20.21.19.26",295,294.89999999999998,0.33]
["2011.12.20.21.20.02",295,294.8,0.33]
["2011.12.20.21.20.38",295.10000000000002,294.89999999999998,0.34]
["2011.12.20.21.21.14",295,294.8,0.33]
["2011.12.20.21.21.50",295,294.7,0.33]
["2011.12.20.21.22.26",295,294.8,0.33]
["2011.12.20.21.23.02",295,294.8,0.33]
["2011.12.20.21.23.38",295,294.89999999999998,0.33]
["2011.12.20.21.24.14",295,294.8,0.33]
["2011.12.20.21.24.50",295,294.8,0.33]
["2011.12.20.21.25.26",295,294.8,0.34]
["2011.12.20.21.26.02",295,294.89999999999998,0.33]
["2011.12.20.21.26.38",295,294.8,0.34]
["2011.12.20.21.27.14",295,294.8,0.33]
["2011.12.20.21.27.50",294.89999999999998,294.8,0.34]
["2011.12.20.21.28.26","-----",294.8,0.33]
["2011.12.20.21.29.02",294.89999999999998,294.8,0.34]
["2011.12.20.21.29.38",295,"-----",0.33]
["2011.12.20.21.30.14",294.89999999999998,294.8,0.33]
["2011.12.20.21.30.50",295,294.8,0.33]
["2011.12.20.21.31.26",294.89999999999998,294.8,0.34]
["2011.12.20.21.32.02",294.89999999999998,294.8,0.34]
["2011.12.20.21.32.38",294.89999999999998,294.8,0.33]
["2011.12.20.21.33.14",294.89999999999998,294.7,0.33]
["2011.12.20.21.33.50",294.89999999999998,294.89999999999998,0.33]
["2011.12.20.21.34.26",295,294.89999999999998,0.33]
["2011.12.20.21.35.02",295,294.8,0.34]
["2011.12.20.21.35.38",294.89999999999998,294.8,0.34]
["2011.12.20.21.36.14",294.89999999999998,294.8,0.34]
["2011.12.20.21.36.50",294.89999999999998,294.7,0.34]
["2011.12.20.21.37.26",294.89999999999998,294.8,0.33]
["2011.12.20.21.38.02",294.89999999999998,294.8,0.34]
["2011.12.20.21.38.38",294.89999999999998,294.8,0.34]
["2011.12.20.21.39.14",294.89999999999998,294.8,0.33]
["2011.12.20.21.39.50",295,294.8,0.34]
["2011.12.20.21.40.26",294.89999999999998,294.8,0.33]
["2011.12.20.21.41.02",294.89999999999998,294.7,0.33]
["2011.12.20.21.41.38",295,294.8,0.33]
["2011.12.20.21.42.14",294.89999999999998,294.8,0.34]
["2011.12.20.21.42.51",294.89999999999998,294.8,0.33]
["2011.12.20.21.43.27",294.89999999999998,294.7,0.33]
["2011.12.20.21.44.03",294.89999999999998,294.7,0.34]
["2011.12.20.21.44.39",294.89999999999998,294.7,0.33]
["2011.12.20.21.45.15",294.89999999999998,294.8,0.34]
["2011.12.20.21.45.51",294.89999999999998,294.7,0.34]
["2011.12.20.21.46.27",294.89999999999998,294.8,0.34]
["2011.12.20.21.47.03",294.89999999999998,294.8,0.34]
["2011.12.20.21.47.39",294.8,294.7,0.34]
["2011.12.20.21.48.15",294.89999999999998,294.8,0.34]
["2011.12.20.21.48.51",294.89999999999998,294.8,0.34]
["2011.12.20.21.49.27",294.89999999999998,294.7,0.34]
["2011.12.20.21.50.03",294.8,294.8,0.34]
["2011.12.20.21.50.39",294.89999999999998,294.8,0.34]
["2011.12.20.21.51.15",294.89999999999998,294.7,0.34]
["2011.12.20.21.51.51",294.89999999999998,294.7,0.34]
["2011.12.20.21.52.27",294.89999999999998,294.7,0.34]
["2011.12.20.21.53.03",294.89999999999998,294.7,0.34]
["2011.12.20.21.53.39",294.8,294.7,0.34]
["2011.12.20.21.54.15",294.8,294.7,0.33]
["2011.12.20.21.54.51",294.89999999999998,294.7,0.34]
["2011.12.20.21.55.27",294.89999999999998,294.7,0.33]
["2011.12.20.21.56.03",294.89999999999998,294.7,0.34]
["2011.12.20.21.56.39",294.8,294.7,0.34]
["2011.12.20.21.57.15",294.89999999999998,294.8,0.34]
["2011.12.20.21.57.51",294.89999999999998,294.7,0.34]
["2011.12.20.21.58.27",294.89999999999998,294.8,0.34]
["2011.12.20.21.59.03",294.8,294.7,0.34]
["2011.12.20.21.59.39",294.89999999999998,294.8,0.34]
["2011.12.20.22.00.15",294.89999999999998,294.7,0.34]
["2011.12.20.22.00.51",294.89999999999998,294.7,0.34]
["2011.12.20.22.01.27",294.89999999999998,294.60000000000002,0.34]
["2011.12.20.22.02.03",294.89999999999998,294.7,0.33]
["2011.12.20.22.02.39",294.89999999999998,294.7,0.33]
["2011.12.20.22.03.15",294.89999999999998,294.8,0.34]
["2011.12.20.22.03.51",294.89999999999998,294.8,0.34]
["2011.12.20.22.04.27",294.89999999999998,294.8,0.34]
["2011.12.20.22.05.03",294.89999999999998,294.8,0.34]
["2011.12.20.22.05.39",294.89999999999998,294.60000000000002,0.33]
["2011.12.20.22.06.15",294.89999999999998,294.7,0.33]
["2011.12.20.22.06.51",294.89999999999998,294.8,0.33]
["2011.12.20.22.07.27",294.8,294.8,0.34]
["2011.12.20.22.08.03",294.89999999999998,294.8,0.33]
["2011.12.20.22.08.39",295,294.8,0.34]
["2011.12.20.22.09.15",294.89999999999998,294.8,0.33]
["2011.12.20.22.09.51",294.89999999999998,294.8,0.33]
["2011.12.20.22.10.27",295.10000000000002,294.8,0.34]
["2011.12.20.22.11.03",295,294.8,0.34]
["2011.12.20.22.11.39",294.89999999999998,294.7,0.34]
["2011.12.20.22.12.15",294.89999999999998,294.8,0.34]
["2011.12.20.22.12.51",294.89999999999998,294.8,0.34]
["2011.12.20.22.13.27",294.89999999999998,294.8,0.34]
["2011.12.20.22.14.03",294.89999999999998,294.8,0.34]
["2011.12.20.22.14.39",294.89999999999998,294.8,0.34]
["2011.12.20.22.15.15",294.89999999999998,294.8,0.34]
["2011.12.20.22.15.51",295,294.7,0.33]
["2011.12.20.22.16.27",294.89999999999998,294.8,0.34]
["2011.12.20.22.17.03",295,294.8,0.34]
["2011.12.20.22.17.39",295,294.8,0.34]
["2011.12.20.22.18.15",295,294.8,0.34]
["2011.12.20.22.18.51",294.89999999999998,294.8,0.33]
["2011.12.20.22.19.27",294.89999999999998,"-----",0.34]
["2011.12.20.22.20.03",294.89999999999998,294.89999999999998,0.34]
["2011.12.20.22.20.39",295,294.8,0.33]
["2011.12.20.22.21.15",294.89999999999998,294.8,0.33]
["2011.12.20.22.21.51",294.89999999999998,294.8,0.34]
["2011.12.20.22.22.27",295,294.8,0.34]
["2011.12.20.22.23.03",294.89999999999998,294.7,0.34]
["2011.12.20.22.23.39",295,294.89999999999998,0.33]
["2011.12.20.22.24.15",295,294.8,0.34]
["2011.12.20.22.24.51",295,294.8,0.34]
["2011.12.20.22.25.27",295,294.8,0.34]
["2011.12.20.22.26.03",294.89999999999998,294.8,0.34]
["2011.12.20.22.26.39",294.89999999999998,294.8,0.34]
["2011.12.20.22.27.15",294.89999999999998,294.8,0.34]
["2011.12.20.22.27.51",295,294.8,0.34]
["2011.12.20.22.28.27",295,294.89999999999998,0.34]
["2011.12.20.22.29.03",295,294.89999999999998,0.34]
["2011.12.20.22.29.39",295,294.8,0.34]
["2011.12.20.22.30.15",295,294.8,0.34]
["2011.12.20.22.30.52",295,294.89999999999998,0.34]
["2011.12.20.22.31.28",295,294.8,0.34]
["2011.12.20.22.32.04",295,294.8,0.34]
["2011.12.20.22.32.40",295,294.89999999999998,0.33]
["2011.12.20.22.33.16",294.89999999999998,294.89999999999998,0.33]
["2011.12.20.22.33.52",295,294.8,0.34]
["2011.12.20.22.34.28",294.89999999999998,294.8,0.34]
["2011.12.20.22.35.04",295,294.89999999999998,0.34]
["2011.12.20.22.35.40",295,294.8,0.33]
["2011.12.20.22.36.16",295,294.8,0.34]
["2011.12.20.22.36.52",295,294.8,0.33]
["2011.12.20.22.37.28",295.10000000000002,294.8,0.34]
["2011.12.20.22.38.04",295,294.8,0.34]
["2011.12.20.22.38.40",295,294.7,0.34]
["2011.12.20.22.39.16",295,294.8,0.34]
["2011.12.20.22.39.52",295,294.8,0.34]
["2011.12.20.22.40.28",295,294.8,0.34]
["2011.12.20.22.41.04",295.10000000000002,294.8,0.34]
["2011.12.20.22.41.40",294.89999999999998,294.8,0.33]
["2011.12.20.22.42.16",294.89999999999998,294.60000000000002,0.33]
["2011.12.20.22.42.52",295,294.89999999999998,0.33]
["2011.12.20.22.43.28",295,294.8,0.34]
["2011.12.20.22.44.04",295,294.89999999999998,0.33]
["2011.12.20.22.44.40",295,294.89999999999998,0.34]
["2011.12.20.22.45.16",295,294.8,0.34]
["2011.12.20.22.45.52",294.89999999999998,294.8,0.33]
["2011.12.20.22.46.28",294.89999999999998,294.8,0.33]
["2011.12.20.22.47.04",295,294.8,0.33]
["2011.12.20.22.47.40",294.89999999999998,294.8,0.34]
["2011.12.20.22.48.16",294.89999999999998,294.8,0.33]
["2011.12.20.22.48.52",295,294.8,0.33]
["2011.12.20.22.49.28",294.89999999999998,294.8,0.34]
["2011.12.20.22.50.04",294.89999999999998,294.7,0.34]
["2011.12.20.22.50.40",295,294.89999999999998,0.33]
["2011.12.20.22.51.16",294.89999999999998,294.8,0.33]
["2011.12.20.22.51.52",294.89999999999998,294.8,0.33]
["2011.12.20.22.52.28",294.89999999999998,294.8,0.34]
["2011.12.20.22.53.04",294.89999999999998,294.8,0.33]
["2011.12.20.22.53.40",294.89999999999998,294.8,0.34]
["2011.12.20.22.54.16",294.89999999999998,294.7,0.34]
["2011.12.20.22.54.52",294.89999999999998,294.8,0.33]
["2011.12.20.22.55.28",294.89999999999998,294.8,0.33]
["2011.12.20.22.56.04",294.89999999999998,294.8,0.33]
["2011.12.20.22.56.40",295,294.8,0.33]
["2011.12.20.22.57.16",294.89999999999998,294.8,0.34]
["2011.12.20.22.57.52",294.89999999999998,"-----",0.34]
["2011.12.20.22.58.28",294.89999999999998,294.8,0.33]
["2011.12.20.22.59.04",294.89999999999998,294.8,0.33]
["2011.12.20.22.59.40",294.89999999999998,294.8,0.33]
["2011.12.20.23.00.16",294.89999999999998,294.8,0.33]
["2011.12.20.23.00.52",294.89999999999998,294.8,0.33]
["2011.12.20.23.01.28",294.89999999999998,294.8,0.34]
["2011.12.20.23.02.04",294.89999999999998,294.8,0.34]
["2011.12.20.23.02.40",294.89999999999998,294.8,0.34]
["2011.12.20.23.03.16",294.8,294.7,0.34]
["2011.12.20.23.03.52",294.89999999999998,294.8,0.34]
["2011.12.20.23.04.28",294.89999999999998,294.8,0.34]
["2011.12.20.23.05.04",294.89999999999998,294.8,0.34]
["2011.12.20.23.05.40",294.89999999999998,294.8,0.34]
["2011.12.20.23.06.16",294.89999999999998,294.7,0.33]
["2011.12.20.23.06.52",294.89999999999998,294.7,0.33]
["2011.12.20.23.07.28",294.89999999999998,294.8,0.33]
["2011.12.20.23.08.04",295,294.7,0.33]
["2011.12.20.23.08.40",294.89999999999998,294.7,0.33]
["2011.12.20.23.09.16",294.89999999999998,294.60000000000002,0.34]
["2011.12.20.23.09.52",294.89999999999998,294.8,0.34]
["2011.12.20.23.10.28",294.89999999999998,294.8,0.34]
["2011.12.20.23.11.04",295,294.8,0.34]
["2011.12.20.23.11.40",294.89999999999998,294.8,0.34]
["2011.12.20.23.12.16",294.89999999999998,294.8,0.34]
["2011.12.20.23.12.52",294.89999999999998,294.7,0.34]
["2011.12.20.23.13.28",294.89999999999998,294.8,0.34]
["2011.12.20.23.14.04",294.89999999999998,294.8,0.34]
["2011.12.20.23.14.40",294.89999999999998,294.8,0.34]
["2011.12.20.23.15.16",294.89999999999998,294.8,0.33]
["2011.12.20.23.15.52",295,294.8,0.34]
["2011.12.20.23.16.28",294.89999999999998,294.8,0.33]
["2011.12.20.23.17.04",294.89999999999998,294.7,0.33]
["2011.12.20.23.17.40",294.89999999999998,294.8,0.33]
["2011.12.20.23.18.16",294.89999999999998,294.8,0.34]
["2011.12.20.23.18.52",294.89999999999998,294.8,0.34]
["2011.12.20.23.19.29",294.89999999999998,294.8,0.34]
["2011.12.20.23.20.05",294.89999999999998,294.8,0.34]
["2011.12.20.23.20.41",294.89999999999998,294.7,0.33]
["2011.12.20.23.21.17",294.89999999999998,294.8,0.34]
["2011.12.20.23.21.53",294.89999999999998,294.8,0.34]
["2011.12.20.23.22.29",294.89999999999998,294.8,0.33]
["2011.12.20.23.23.05",295,294.8,0.33]
["2011.12.20.23.23.41",294.89999999999998,294.8,0.33]
["2011.12.20.23.24.17",294.89999999999998,294.8,0.33]
["2011.12.20.23.24.53",294.8,294.8,0.33]
["2011.12.20.23.25.29",294.89999999999998,294.8,0.34]
["2011.12.20.23.26.05",294.89999999999998,294.8,0.34]
["2011.12.20.23.26.41",294.89999999999998,294.8,0.34]
["2011.12.20.23.27.17",295.10000000000002,294.7,0.33]
["2011.12.20.23.27.53",294.89999999999998,294.7,0.33]
["2011.12.20.23.28.29",294.89999999999998,294.7,0.33]
["2011.12.20.23.29.05",294.89999999999998,294.8,0.34]
["2011.12.20.23.29.41",295,294.8,0.33]
["2011.12.20.23.30.17",294.89999999999998,294.8,0.33]
["2011.12.20.23.30.53",294.89999999999998,294.8,0.34]
["2011.12.20.23.31.29",295,294.8,0.34]
["2011.12.20.23.32.05",295,294.8,0.33]
["2011.12.20.23.32.42",294.89999999999998,294.8,0.33]
["2011.12.20.23.33.18",294.89999999999998,294.8,0.33]
["2011.12.20.23.33.54",294.89999999999998,294.8,0.34]
["2011.12.20.23.34.30",295,294.8,0.33]
["2011.12.20.23.35.06",294.89999999999998,294.8,0.34]
["2011.12.20.23.35.42",294.89999999999998,294.89999999999998,0.33]
["2011.12.20.23.36.18",295,294.8,0.33]
["2011.12.20.23.36.54",295,294.7,0.33]
["2011.12.20.23.37.30",294.89999999999998,294.8,0.34]
["2011.12.20.23.38.06",295,294.8,0.33]
["2011.12.20.23.38.42",295,294.8,0.33]
["2011.12.20.23.39.18",295,294.8,0.33]
["2011.12.20.23.39.54",294.89999999999998,294.8,0.33]
["2011.12.20.23.40.30",294.89999999999998,294.7,0.33]
["2011.12.20.23.41.06",294.89999999999998,294.8,0.33]
["2011.12.20.23.41.42",295,294.8,0.34]
["2011.12.20.23.42.18",294.89999999999998,294.8,0.33]
["2011.12.20.23.42.54",295,294.8,0.34]
["2011.12.20.23.43.30",295,294.7,0.33]
["2011.12.20.23.44.06",294.89999999999998,294.8,0.33]
["2011.12.20.23.44.42",294.89999999999998,294.8,0.34]
["2011.12.20.23.45.18",294.89999999999998,294.8,0.33]
["2011.12.20.23.45.54",294.89999999999998,294.8,0.34]
["2011.12.20.23.46.30",294.89999999999998,294.8,0.33]
["2011.12.20.23.47.06",295,294.8,0.34]
["2011.12.20.23.47.42",294.89999999999998,294.8,0.34]
["2011.12.20.23.48.18",294.89999999999998,294.60000000000002,0.34]
["2011.12.20.23.48.54",294.89999999999998,294.8,0.33]
["2011.12.20.23.49.30",294.89999999999998,294.8,0.33]
["2011.12.20.23.50.06",294.89999999999998,294.8,0.34]
["2011.12.20.23.50.42",294.89999999999998,294.8,0.33]
["2011.12.20.23.51.18",294.89999999999998,294.7,0.33]
["2011.12.20.23.51.54",294.89999999999998,294.8,0.34]
["2011.12.20.23.52.30",294.89999999999998,294.8,0.33]
["2011.12.20.23.53.06",294.89999999999998,294.8,0.34]
["2011.12.20.23.53.42",295,294.8,0.34]
["2011.12.20.23.54.18",295,294.8,0.34]
["2011.12.20.23.54.54",294.89999999999998,294.7,0.33]
["2011.12.20.23.55.30",294.89999999999998,294.8,0.33]
["2011.12.20.23.56.06",294.89999999999998,294.8,0.33]
["2011.12.20.23.56.42",295,294.8,0.33]
["2011.12.20.23.57.18",294.8,294.8,0.33]
["2011.12.20.23.57.54",294.89999999999998,294.8,0.34]
["2011.12.20.23.58.30",295.10000000000002,294.8,0.33]
["2011.12.20.23.59.06",295,294.8,0.33]
["2011.12.20.23.59.42",294.89999999999998,294.60000000000002,0.33]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}