{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Graph","Data"],"not_rendered":{"charts":2,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Graph","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Data","index":1,"n_rows":252,"n_cols":6,"rows_kept":252,"cut":false,"hidden":false,"merged":[]}
["Time and Date","Spike Rate","Noise Burst Rate","Relative Humidity","Absolute Humidity","Temperature"]
["2012-02-06T10:00:00",1,1,24.219178082191782,4.2122257041401578,20.11780821917808]
["2012-02-06T11:00:00",1,2,24.212499999999977,4.2229102634499647,20.165833333333328]
["2012-02-06T12:00:00",2,2,24.209166666666658,4.2264461195503893,20.182499999999994]
["2012-02-06T13:00:00",2,1,24.159999999999986,4.2333017384128677,20.245000000000026]
[{"$f":"A5+0.04166667","v":"2012-02-06T14:00:00"},2,1,24.106666666666634,4.2629942756163706,20.402500000000035]
[{"$f":"A6+0.04166667","v":"2012-02-06T15:00:00.001"},1,2,24.119166666666626,4.2785013463796115,20.455833333333356]
["2012-02-06T16:00:00.001",4,1,24.101666666666613,4.2585867552811916,20.388333333333374]
["2012-02-06T17:00:00.001",2,0,24.164166666666631,4.2163293080949709,20.173333333333314]
["2012-02-06T18:00:00.002",2,0,24.075833333333325,4.1835463925649261,20.102499999999957]
["2012-02-06T19:00:00.002",2,0,23.748333333333296,4.1266382297364261,20.102499999999957]
["2012-02-06T20:00:00.002",1,0,23.458333333333321,4.0754513217368364,20.099166666666623]
["2012-02-06T21:00:00.002",2,0,23.113333333333326,4.0151223776602452,20.097499999999958]
[{"$f":"A13+0.04166667","v":"2012-02-06T22:00:00.003"},3,0,22.909166666666675,3.9794616089560417,20.096666666666625]
["2012-02-06T23:00:00.003",2,0,22.816666666666681,3.9630072929911617,20.094999999999956]
["2012-02-07T00:00:00.003",2,0,22.927499999999991,3.9830346340282845,20.09833333333329]
["2012-02-07T01:00:00.004",2,0,23.120833333333326,4.0146629721809663,20.089999999999961]
["2012-02-07T02:00:00.004",1,0,23.193333333333335,4.0080459208610923,20.00833333333334]
[{"$f":"A18+0.04166667","v":"2012-02-07T03:00:00.004"},1,0,23.359999999999996,3.9682192081054852,19.71583333333334]
["2012-02-07T04:00:00.004",2,0,23.454999999999984,3.981045613521879,19.701666666666668]
["2012-02-07T05:00:00.005",1,0,23.500833333333315,3.9890200677865222,19.702500000000001]
["2012-02-07T06:00:00.005",2,0,23.630833333333328,4.0106938406281154,19.700833333333335]
[{"$f":"A22+0.04166667","v":"2012-02-07T07:00:00.005"},3,1,23.784210526315785,4.0373519713705504,19.703508771929833]
[{"$f":"A23+0.04166667","v":"2012-02-07T08:00:00.006"},1,3,24.115833333333338,4.0970151512524549,19.717499999999998]
["2012-02-07T09:00:00.006",1,4,24.196666666666616,4.1503159640651823,19.880833333333324]
["2012-02-07T10:00:00.006",2,3,24.113333333333305,4.2313022290417308,20.270000000000046]
["2012-02-07T11:00:00.006",3,2,24.093333333333284,4.2708025065851158,20.443333333333349]
["2012-02-07T12:00:00.007",3,0,24.117499999999954,4.2804944999463928,20.465000000000018]
["2012-02-07T13:00:00.007",2,3,24.164999999999949,4.3083564452526826,20.542499999999958]
["2012-02-07T14:00:00.007",4,1,24.228333333333328,4.3957859698335824,20.842500000000033]
["2012-02-07T15:00:00.008",4,5,24.436666666666667,4.4713353156932971,20.988333333333333]
["2012-02-07T16:00:00.008",3,0,24.936666666666685,4.5491428714938307,20.936666666666717]
["2012-02-07T17:00:00.008",3,0,25.288333333333334,4.6023575294131902,20.895833333333375]
["2012-02-07T18:00:00.008",2,4,25.420833333333317,4.62400641757716,20.886666666666713]
["2012-02-07T19:00:00.009",2,1,25.260833333333323,4.5875595607386934,20.859166666666695]
[{"$f":"A35+0.04166667","v":"2012-02-07T20:00:00.009"},3,0,25.009166666666676,4.5315181430985803,20.820000000000014]
["2012-02-07T21:00:00.009",2,0,24.838333333333335,4.4940217903553936,20.795000000000002]
["2012-02-07T22:00:00.010",2,0,24.592499999999998,4.4288694528240242,20.714999999999989]
["2012-02-07T23:00:00.010",2,0,24.420833333333352,4.3881463618701053,20.676666666666666]
["2012-02-08T00:00:00.010",2,0,24.404999999999998,4.3585512715486789,20.571666666666644]
[{"$f":"A40+0.04166667","v":"2012-02-08T01:00:00.010"},1,0,24.463333333333345,4.3509604921287117,20.50083333333334]
["2012-02-08T02:00:00.011",3,0,24.62583333333334,4.3709285542519503,20.465833333333361]
["2012-02-08T03:00:00.011",1,0,24.876666666666683,4.4154498731524878,20.46583333333335]
["2012-02-08T04:00:00.011",2,0,25.144999999999996,4.4483426293921067,20.40916666666671]
[{"$f":"A44+0.04166667","v":"2012-02-08T05:00:00.012"},3,0,25.196666666666651,4.4550983763796257,20.400000000000045]
["2012-02-08T06:00:00.012",2,0,25.139999999999997,4.4191964607715315,20.299999999999969]
["2012-02-08T07:00:00.012",2,2,25.084999999999994,4.3995075583347045,20.261061946902682]
["2012-02-08T08:00:00.012",2,1,25.540833333333328,4.5036638834413463,20.353333333333367]
["2012-02-08T09:00:00.013",4,0,25.745833333333344,4.5599544510997569,20.429166666666678]
["2012-02-08T10:00:00.013",4,2,25.843333333333376,4.5941686160590205,20.4925]
["2012-02-08T11:00:00.013",2,0,25.862500000000047,4.6253610587555256,20.595833333333296]
["2012-02-08T12:00:00.014",3,5,25.878333333333373,4.67742364061891,20.777500000000014]
["2012-02-08T13:00:00.014",1,6,26.109999999999957,4.7518969917476399,20.895833333333378]
["2012-02-08T14:00:00.014",4,12,26.316666666666688,4.799498112449653,20.931666666666686]
["2012-02-08T15:00:00.014",6,6,27.115833333333327,5.015629328447238,21.174999999999994]
["2012-02-08T16:00:00.015",4,1,27.657500000000002,5.1051947657871235,21.139166666666672]
["2012-02-08T17:00:00.015",0,0,27.785000000000025,5.0731796431567195,20.951666666666711]
["2012-02-08T18:00:00.015",0,0,27.869166666666704,5.0708282719039639,20.891666666666719]
["2012-02-08T19:00:00.016",0,0,27.96583333333335,5.0645472731504331,20.810833333333321]
["2012-02-08T20:00:00.016",0,0,28.303333333333342,5.0981438121013163,20.718333333333323]
["2012-02-08T21:00:00.016",0,0,28.860833333333328,5.1676158727600789,20.615833333333292]
["2012-02-08T22:00:00.016",0,0,29.322500000000016,5.2192517048293352,20.514166666666664]
["2012-02-08T23:00:00.017",0,0,29.735000000000017,5.2885601676024203,20.500833333333333]
["2012-02-09T00:00:00.017",0,0,30.08499999999994,5.3492495779483971,20.495833333333337]
["2012-02-09T01:00:00.017",0,0,30.31000000000002,5.3803550929553809,20.467500000000022]
["2012-02-09T02:00:00.018",0,0,30.632500000000011,5.4307323494848969,20.445833333333365]
["2012-02-09T03:00:00.018",0,0,30.863333333333351,5.4599594890357963,20.409166666666703]
["2012-02-09T04:00:00.018",0,0,31.039166666666624,5.4283433494809872,20.212500000000002]
["2012-02-09T05:00:00.018",0,0,31.299999999999965,5.4431009998957514,20.115833333333295]
["2012-02-09T06:00:00.019",0,0,31.667499999999972,5.5019103870099597,20.099999999999955]
["2012-02-09T07:00:00.019",0,0,32.078333333333283,5.5746474654917968,20.104166666666622]
["2012-02-09T08:00:00.019",5,2,32.464999999999996,5.6630594577577638,20.168333333333354]
["2012-02-09T09:00:00.020",7,0,32.483333333333334,5.7658650849704367,20.466666666666661]
["2012-02-09T10:00:00.020",6,3,32.050000000000033,5.8171392022384936,20.849166666666687]
["2012-02-09T11:00:00.020",6,1,31.820000000000043,5.8009190523316372,20.92500000000005]
["2012-02-09T12:00:00.021",7,0,31.62916666666667,5.7602656080141221,20.907500000000038]
["2012-02-09T13:00:00.021",5,0,31.008333333333347,5.6856202023937703,21.024166666666645]
["2012-02-09T14:00:00.021",6,0,30.740833333333299,5.695226573188612,21.202500000000011]
["2012-02-09T15:00:00.021",8,2,30.20249999999999,5.6419122555580064,21.345000000000041]
["2012-02-09T16:00:00.022",6,1,29.869166666666668,5.5912405304737138,21.380833333333374]
["2012-02-09T17:00:00.022",5,3,29.280833333333309,5.4581316091903851,21.308333333333312]
["2012-02-09T18:00:00.022",6,0,28.802499999999991,5.3356037117449482,21.200833333333325]
["2012-02-09T19:00:00.023",5,1,28.535000000000014,5.2850278161459725,21.197499999999991]
["2012-02-09T20:00:00.023",4,0,28.205833333333317,5.2076687552731133,21.14333333333332]
["2012-02-09T21:00:00.023",4,0,27.966666666666701,5.1167467415440422,20.986666666666679]
["2012-02-09T22:00:00.023",2,0,27.880833333333378,5.076393669363461,20.903333333333379]
["2012-02-09T23:00:00.024",5,0,27.859166666666713,5.066798424895528,20.884166666666705]
[{"$f":"A87+0.04166667","v":"2012-02-10T00:00:00.024"},5,0,27.89750000000004,5.0543774829682944,20.818333333333339]
["2012-02-10T01:00:00.024",3,0,27.906666666666705,5.0242554722465842,20.709999999999994]
["2012-02-10T02:00:00.025",4,0,27.841666666666711,4.9769057570780388,20.587499999999974]
["2012-02-10T03:00:00.025",4,0,27.85833333333338,4.9550238264043927,20.501666666666665]
["2012-02-10T04:00:00.025",5,0,27.876666666666697,4.9553933334291722,20.491666666666671]
["2012-02-10T05:00:00.025",2,0,27.881666666666717,4.9380008469934413,20.428333333333377]
["2012-02-10T06:00:00.026",5,0,27.85833333333337,4.9104010073849027,20.34666666666666]
["2012-02-10T07:00:00.026",4,0,27.835000000000043,4.9146512710042796,20.375833333333372]
["2012-02-10T08:00:00.026",1,1,38.048333333333353,6.7480849617004521,20.452500000000008]
["2012-02-10T09:00:00.027",4,3,47.811666666666653,8.5168467862213504,20.527499999999975]
["2012-02-10T10:00:00.027",4,3,50.947499999999984,9.1880675818972293,20.739166666666691]
["2012-02-10T11:00:00.027",3,1,53.415833333333339,9.7157785324304005,20.88583333333338]
["2012-02-10T12:00:00.027",5,6,52.940000000000005,9.6157049997499175,20.861666666666689]
["2012-02-10T13:00:00.028",4,2,53.354999999999947,9.716948118000575,20.907500000000038]
["2012-02-10T14:00:00.028",3,2,54.400833333333331,9.9617877367366336,21.001666666666665]
["2012-02-10T15:00:00.028",5,2,53.042499999999968,9.8070291434618646,21.167499999999997]
["2012-02-10T16:00:00.029",3,0,50.951666666666661,9.341481726008336,21.022499999999997]
["2012-02-10T17:00:00.029",4,1,49.112500000000004,9.0012379881795059,21.016666666666655]
["2012-02-10T18:00:00.029",1,0,47.383333333333347,8.678855866168389,21.005833333333332]
["2012-02-10T19:00:00.029",2,0,46.070833333333326,8.4364123562060129,21.001666666666665]
["2012-02-10T20:00:00.030",3,0,45.195833333333304,8.2761838498477509,21.001666666666665]
["2012-02-10T21:00:00.030",4,0,44.75916666666663,8.1803618993662397,20.968333333333359]
["2012-02-10T22:00:00.030",3,0,44.763333333333328,8.1486898314075464,20.900000000000045]
["2012-02-10T23:00:00.031",4,0,44.424166666666629,8.0771567740614394,20.879166666666706]
["2012-02-11T00:00:00.031",2,0,44.55166666666662,8.0541296285213377,20.780833333333288]
["2012-02-11T01:00:00.031",3,0,44.66249999999998,8.0175561394282049,20.659999999999982]
["2012-02-11T02:00:00.031",3,0,44.66,7.9585236183427819,20.534166666666671]
["2012-02-11T03:00:00.032",1,0,44.837500000000006,7.9750241393864165,20.501666666666665]
["2012-02-11T04:00:00.032",3,0,44.909166666666671,7.980397127830793,20.485833333333339]
["2012-02-11T05:00:00.032",5,0,45.055833333333361,7.9192996485807301,20.2983333333333]
["2012-02-11T06:00:00.033",5,0,45.158333333333324,7.8756962645409621,20.164999999999985]
["2012-02-11T07:00:00.033",3,0,44.907500000000013,7.8048909880898165,20.10583333333329]
["2012-02-11T08:00:00.033",3,0,44.90666666666668,7.8013219335774497,20.09833333333329]
["2012-02-11T09:00:00.033",4,0,44.942500000000017,7.8159263077378798,20.116666666666628]
["2012-02-11T10:00:00.034",2,0,44.617500000000035,7.7692468954402631,20.138333333333314]
["2012-02-11T11:00:00.034",3,0,44.285833333333336,7.7265424275648318,20.17166666666666]
["2012-02-11T12:00:00.034",2,0,44.170833333333327,7.7173762008029749,20.195833333333333]
["2012-02-11T13:00:00.035",2,0,42.952500000000008,7.560269795184797,20.322500000000023]
["2012-02-11T14:00:00.035",3,0,41.69666666666668,7.4102535729244288,20.487500000000001]
["2012-02-11T15:00:00.035",1,0,40.591666666666676,7.2194878584135909,20.500833333333333]
["2012-02-11T16:00:00.035",3,0,39.880000000000003,7.3116016728248159,21.022499999999997]
["2012-02-11T17:00:00.036",2,0,38.399166666666652,6.829869664878478,20.501666666666665]
["2012-02-11T18:00:00.036",3,0,37.359166666666667,6.6448900138060107,20.501666666666665]
["2012-02-11T19:00:00.036",4,0,36.689166666666672,6.5301624705669692,20.513333333333325]
["2012-02-11T20:00:00.037",1,0,36.754999999999995,6.5425158200476998,20.514999999999997]
["2012-02-11T21:00:00.037",4,0,37.138333333333328,6.6049693524930033,20.5]
["2012-02-11T22:00:00.037",3,0,37.277499999999982,6.6297198322727962,20.5]
["2012-02-11T23:00:00.037",2,0,37.594166666666666,6.6860382892567625,20.5]
["2012-02-12T00:00:00.038",2,0,38.054166666666674,6.7668614153185231,20.497500000000002]
["2012-02-12T01:00:00.038",5,0,38.500833333333361,6.8386380838244483,20.478333333333342]
["2012-02-12T02:00:00.038",5,0,39.001666666666651,6.910439773804443,20.435833333333367]
["2012-02-12T03:00:00.039",2,0,40.048333333333339,7.0776223055284797,20.391666666666705]
["2012-02-12T04:00:00.039",5,0,40.730833333333372,7.1448325240165129,20.26416666666664]
["2012-02-12T05:00:00.039",4,0,40.894166666666685,7.1441920451687322,20.194166666666668]
["2012-02-12T06:00:00.040",3,0,41.77416666666668,7.2776837063184292,20.14666666666664]
["2012-02-12T07:00:00.040",6,0,41.76666666666668,7.260078294541346,20.108333333333295]
["2012-02-12T08:00:00.040",4,0,42.084166666666647,7.3149109756809159,20.107499999999959]
["2012-02-12T09:00:00.040",2,0,42.404166666666669,7.4004118256598419,20.176666666666666]
["2012-02-12T10:00:00.041",5,0,42.290833333333339,7.4314964390111333,20.29416666666669]
["2012-02-12T11:00:00.041",5,0,42.055,7.444194611893491,20.41916666666669]
["2012-02-12T12:00:00.041",4,0,41.950000000000017,7.4473059936257702,20.46916666666668]
["2012-02-12T13:00:00.042",3,0,41.26666666666668,7.3352609556646025,20.490833333333335]
["2012-02-12T14:00:00.042",3,0,40.644999999999982,7.2265142333601355,20.495000000000001]
["2012-02-12T15:00:00.042",3,0,40.30749999999999,7.166159765515733,20.494166666666668]
[{"$f":"A151+0.04166667","v":"2012-02-12T16:00:00.042"},4,0,40.249166666666689,7.1575282311085129,20.498333333333335]
["2012-02-12T17:00:00.043",5,0,40.241666666666667,7.1565423594380384,20.499166666666667]
["2012-02-12T18:00:00.043",2,0,40.460833333333312,7.1930708148363101,20.493333333333339]
["2012-02-12T19:00:00.043",6,0,40.18,7.1393260220431607,20.48416666666667]
["2012-02-12T20:00:00.044",3,0,40.523333333333333,7.1989306990670352,20.480833333333344]
["2012-02-12T21:00:00.044",5,0,40.742499999999971,7.2361062913121099,20.476666666666681]
["2012-02-12T22:00:00.044",5,0,41.007499999999986,7.2647797368310227,20.433333333333358]
["2012-02-12T23:00:00.044",4,0,41.707500000000017,7.3475659227306602,20.337499999999988]
["2012-02-13T00:00:00.045",4,0,42.283333333333324,7.3857991346625855,20.191666666666663]
["2012-02-13T01:00:00.045",5,0,42.575833333333335,7.4083123541235958,20.125833333333297]
["2012-02-13T02:00:00.045",6,0,42.98249999999998,7.4703273817418108,20.105833333333294]
["2012-02-13T03:00:00.046",4,0,43.284999999999968,7.5192344440592871,20.097499999999958]
["2012-02-13T04:00:00.046",3,0,43.664166666666667,7.505942269902329,19.918333333333344]
["2012-02-13T05:00:00.046",4,0,43.992500000000028,7.4994666844709563,19.77583333333332]
["2012-02-13T06:00:00.046",6,0,44.72833333333336,7.6263963509623087,19.779166666666672]
["2012-02-13T07:00:00.047",5,1,45.406666666666688,7.7375151806608313,19.769166666666656]
["2012-02-13T08:00:00.047",5,1,45.838333333333296,7.8359280867521877,19.823333333333355]
["2012-02-13T09:00:00.047",7,2,47.956666666666663,8.3449989935340749,20.126666666666644]
["2012-02-13T10:00:00.048",6,4,49.035833333333322,8.683256367851774,20.425833333333344]
["2012-02-13T11:00:00.048",5,5,47.363333333333358,8.4234626872120586,20.5]
["2012-02-13T12:00:00.048",6,0,47.363333333333358,8.4234626872120586,20.5]
["2012-02-13T13:00:00.048",5,3,49.35083333333332,8.8497213930530982,20.641666666666698]
["2012-02-13T14:00:00.049",2,0,50.439999999999991,9.1807320698854777,20.897500000000043]
["2012-02-13T15:00:00.049",0,0,50.16166666666664,9.177960901666804,20.987500000000001]
["2012-02-13T16:00:00.049",2,1,51.143333333333338,9.3825244460536368,21.033333333333307]
["2012-02-13T17:00:00.050",7,1,47.608333333333327,8.7158464481064009,20.997500000000002]
["2012-02-13T18:00:00.050",4,1,45.129166666666634,8.2308236834319963,20.932500000000051]
["2012-02-13T19:00:00.050",5,0,43.589166666666671,7.9284111717162,20.885833333333377]
["2012-02-13T20:00:00.050",4,0,43.629999999999988,7.8917181299332908,20.789999999999967]
["2012-02-13T21:00:00.051",5,0,43.041666666666679,7.7382291424968468,20.685833333333331]
["2012-02-13T22:00:00.051",6,0,42.960000000000029,7.6824053819824405,20.594166666666627]
["2012-02-13T23:00:00.051",7,0,44.294999999999995,7.8846616310437447,20.514999999999997]
["2012-02-14T00:00:00.052",7,0,44.896666666666668,7.9859359823941816,20.502499999999998]
["2012-02-14T01:00:00.052",4,1,45.359166666666638,8.0662419335279623,20.498333333333335]
["2012-02-14T02:00:00.052",11,0,46.352500000000006,8.2388809937161209,20.490000000000006]
["2012-02-14T03:00:00.052",5,0,46.870833333333358,8.2962462170728255,20.418333333333372]
["2012-02-14T04:00:00.053",11,0,47.253333333333302,8.2849465503112345,20.255833333333314]
["2012-02-14T05:00:00.053",9,0,47.729166666666693,8.3264886694947471,20.16999999999998]
["2012-02-14T06:00:00.053",10,0,48.64083333333334,8.4652896223052281,20.129166666666627]
["2012-02-14T07:00:00.054",11,1,49.31680672268908,8.5986805251524707,20.160504201680656]
["2012-02-14T08:00:00.054",2,545,50.113333333333316,8.8172472590356001,20.315833333333352]
["2012-02-14T09:00:00.054",0,20,51.829999999999963,9.2182974100162447,20.500833333333333]
["2012-02-14T10:00:00.054",0,0,49.419166666666655,8.7890880382105756,20.5]
["2012-02-14T11:00:00.055",0,0,49.498333333333335,8.8023118878524027,20.498333333333335]
["2012-02-14T12:00:00.055",0,0,50.229999999999954,8.9324245151720767,20.498333333333335]
["2012-02-14T13:00:00.055",9,2,51.218333333333327,9.1072948697722733,20.496666666666666]
["2012-02-14T14:00:00.056",14,5,51.569999999999965,9.1720547450229173,20.500833333333333]
["2012-02-14T15:00:00.056",14,0,51.540833333333339,9.1842589982675538,20.53333333333331]
["2012-02-14T16:00:00.056",13,0,51.172499999999971,9.101356824504272,20.500833333333333]
["2012-02-14T17:00:00.056",13,1,50.83083333333331,9.0405892198656037,20.500833333333333]
["2012-02-14T18:00:00.057",16,1,51.406666666666645,9.1261305549222573,20.469166666666691]
["2012-02-14T19:00:00.057",17,1,51.456666666666642,9.0030428704781471,20.220000000000002]
["2012-02-14T20:00:00.057",11,0,51.451666666666625,8.9750145551845311,20.168333333333319]
["2012-02-14T21:00:00.058",13,0,51.441666666666677,8.9422682487681175,20.109166666666624]
["2012-02-14T22:00:00.058",14,0,51.796666666666653,8.9317956159768546,19.971666666666689]
["2012-02-14T23:00:00.058",14,0,51.787499999999959,8.8412469628000636,19.800833333333333]
["2012-02-15T00:00:00.058",17,0,51.702499999999972,8.8263042315702016,19.8]
["2012-02-15T01:00:00.059",17,0,51.72833333333331,8.8220860154016325,19.78333333333331]
["2012-02-15T02:00:00.059",14,0,51.439999999999991,8.76433882406522,19.766666666666644]
["2012-02-15T03:00:00.059",14,0,51.355000000000018,8.7310527116368988,19.73]
["2012-02-15T04:00:00.060",14,0,50.83083333333331,8.611977437986754,19.670833333333331]
["2012-02-15T05:00:00.060",13,0,50.512500000000003,8.4266191282038267,19.407500000000041]
["2012-02-15T06:00:00.060",12,0,50.000000000000014,8.3194738870199814,19.363333333333344]
["2012-02-15T07:00:00.061",9,0,49.694166666666639,8.2240843308900367,19.271666666666665]
[{"$f":"A215+0.04166667","v":"2012-02-15T08:00:00.061"},11,0,49.440833333333337,8.2135330044438088,19.336666666666698]
["2012-02-15T09:00:00.061",12,1,49.314166666666651,8.351747731867647,19.664166666666656]
["2012-02-15T10:00:00.061",10,0,49.150833333333345,8.3550883869384229,19.72750000000001]
["2012-02-15T11:00:00.062",11,2,49.404166666666633,8.4191200465582892,19.770000000000003]
["2012-02-15T12:00:00.062",9,2,48.531666666666659,8.2862156764304125,19.802499999999998]
["2012-02-15T13:00:00.062",6,1,32.136666666666663,5.468216798806762,19.744166666666676]
["2012-02-15T14:00:00.063",8,2,31.432499999999994,5.3627993979095576,19.789999999999996]
["2012-02-15T15:00:00.063",5,5,28.50416666666667,4.9523129598609472,20.099999999999955]
["2012-02-15T16:00:00.063",5,5,27.984166666666692,4.882155262797462,20.170833333333295]
["2012-02-15T17:00:00.063",5,0,28.038333333333316,4.8687668905179837,20.090833333333293]
["2012-02-15T18:00:00.064",4,2,28.024166666666648,4.8570599005231907,20.058333333333316]
["2012-02-15T19:00:00.064",4,0,28.189166666666658,4.8150886692005521,19.809999999999985]
["2012-02-15T20:00:00.064",4,0,28.461666666666655,4.8419497987237703,19.740833333333338]
["2012-02-15T21:00:00.065",4,0,27.965833333333357,4.7524821815058216,19.722500000000004]
["2012-02-15T22:00:00.065",4,0,27.019999999999996,4.5886054718174867,19.710833333333337]
["2012-02-15T23:00:00.065",4,0,28.099999999999962,4.7703803191542828,19.705000000000002]
["2012-02-16T00:00:00.065",6,0,28.301666666666687,4.8055562202564248,19.708333333333332]
["2012-02-16T01:00:00.066",5,0,28.508333333333326,4.8387540125980086,19.701666666666668]
["2012-02-16T02:00:00.066",4,0,28.549166666666657,4.8461587516577991,19.703333333333337]
["2012-02-16T03:00:00.066",7,0,28.834166666666661,4.8945368798304552,19.703333333333337]
["2012-02-16T04:00:00.067",4,0,29.55,5.0145761522037722,19.698333333333334]
["2012-02-16T05:00:00.067",4,0,29.891666666666687,5.0661088111709871,19.67666666666668]
["2012-02-16T06:00:00.067",5,4,29.771666666666679,4.9702359395266908,19.420000000000041]
["2012-02-16T07:00:00.067",5,2,29.33499999999999,4.970304472127367,19.671666666666674]
["2012-02-16T08:00:00.068",6,4,28.890833333333351,4.8960061918213595,19.675000000000011]
["2012-02-16T09:00:00.068",4,1,29.159999999999975,4.945974002150324,19.690000000000005]
["2012-02-16T10:00:00.068",7,9,28.952499999999983,4.9139026027063002,19.700833333333335]
["2012-02-16T11:00:00.069",3,2,28.455833333333342,4.8314970423689827,19.707500000000003]
["2012-02-16T12:00:00.069",2,2,28.317499999999999,4.8063636393479383,19.701666666666668]
["2012-02-16T13:00:00.069",3,6,28.163333333333291,4.7808294444631239,19.703921568627482]
["2012-02-16T14:00:00.069",3,0,28.288333333333334,4.8207042101790982,19.770000000000014]
["2012-02-16T15:00:00.070",6,0,28.142499999999981,4.8618890405048285,20.003333333333309]
["2012-02-16T16:00:00.070",3,4,28.07333333333332,4.8679550407487646,20.066666666666652]
["2012-02-16T17:00:00.070",5,0,28.112499999999972,4.8304617749717664,19.910833333333343]
["2012-02-16T18:00:00.071",4,0,28.130833333333317,4.8227648215808179,19.872500000000002]
["2012-02-16T19:00:00.071",5,0,28.282500000000013,4.8084120011074036,19.730000000000008]
["2012-02-16T20:00:00.071",4,0,28.873333333333349,4.9079016310543784,19.726666666666667]