{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Graph","Data"],"not_rendered":{"charts":2,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Graph","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Data","index":1,"n_rows":147,"n_cols":4,"rows_kept":147,"cut":false,"hidden":false,"merged":[]}
["Time and Date","Spike Rate","Noise Rate","Cryostat Temperature"]
["2012-01-30T10:00:00",0,1]
["2012-01-30T11:00:00",0,3]
["2012-01-30T12:00:00",1,0]
["2012-01-30T13:00:00",0,3,89.093947368421055]
["2012-01-30T14:00:00",1,0,89.099750000000029]
["2012-01-30T15:00:00",0,2,89.118599999999972]
["2012-01-30T16:00:00",0,2,89.171249999999887]
["2012-01-30T17:00:00",1,1,89.176649999999952]
["2012-01-30T18:00:00",0,0,89.183099999999939]
["2012-01-30T19:00:00",0,0,89.177799999999934]
["2012-01-30T20:00:00",1,0,89.182299999999913]
["2012-01-30T21:00:00",0,0,89.186549999999926]
["2012-01-30T22:00:00",0,0,89.192649999999901]
["2012-01-30T23:00:00",0,0,89.200449999999947]
["2012-01-31",0,0,89.194749999999914]
["2012-01-31T01:00:00",0,0,89.197499999999948]
["2012-01-31T02:00:00",0,0,89.196699999999908]
["2012-01-31T03:00:00",0,0,89.190199999999905]
["2012-01-31T04:00:00",0,0,89.186212121212023]
["2012-01-31T05:00:00",0,0,89.186849999999907]
["2012-01-31T06:00:00",0,0,89.190849999999912]
["2012-01-31T07:00:00",0,0,89.198949999999968]
["2012-01-31T08:00:00",0,0,89.109400000000065]
["2012-01-31T09:00:00",1,0,89.101150000000004]
["2012-01-31T10:00:00",0,0,89.11869999999999]
["2012-01-31T11:00:00",0,2,89.116350000000011]
["2012-01-31T12:00:00",0,2,89.189099999999968]
["2012-01-31T13:00:00",0,0,89.197999999999951]
["2012-01-31T14:00:00",0,1,89.187149999999917]
["2012-01-31T15:00:00",0,1,89.185949999999892]
["2012-01-31T16:00:00",0,0,89.206250000000068]
["2012-01-31T17:00:00",0,0,89.211999999999961]
["2012-01-31T18:00:00",0,2,89.218350000000072]
["2012-01-31T19:00:00",0,0,89.232550000000032]
["2012-01-31T20:00:00",0,0,89.235100000000045]
["2012-01-31T21:00:00",0,0,89.236050000000048]
["2012-01-31T22:00:00",0,0,89.234650000000016]
["2012-01-31T23:00:00",0,0,89.233900000000034]
[{"$f":"A39+0.04166666667","v":"2012-02-01"},0,0,89.237200000000001]
[{"$f":"A40+0.04166666667","v":"2012-02-01T01:00:00"},0,0,89.239700000000013]
["2012-02-01T02:00:00",0,0,89.241200000000006]
["2012-02-01T03:00:00",0,0,89.240450000000024]
["2012-02-01T04:00:00",0,0,89.242149999999981]
["2012-02-01T05:00:00",0,0,89.244898989898971]
["2012-02-01T06:00:00",0,0,89.245900000000006]
["2012-02-01T07:00:00",0,1,89.268099999999976]
["2012-02-01T08:00:00",0,2,89.245149253731341]
["2012-02-01T09:00:00",0,0,89.203649999999897]
["2012-02-01T10:00:00",0,2,89.18709999999993]
["2012-02-01T11:00:00",0,2,89.211450000000013]
["2012-02-01T12:00:00",0,0,89.276199999999974]
["2012-02-01T13:00:00",0,1,89.268400000000014]
["2012-02-01T14:00:00",0,0,89.239450000000019]
["2012-02-01T15:00:00",0,0,89.234350000000006]
["2012-02-01T16:00:00",0,0,89.238900000000029]
["2012-02-01T17:00:00",0,0,89.212300000000042]
["2012-02-01T18:00:00",0,0,89.226000000000084]
["2012-02-01T19:00:00",0,0,89.221250000000083]
["2012-02-01T20:00:00",0,0,89.214600000000047]
["2012-02-01T21:00:00",0,0,89.208349999999996]
["2012-02-01T22:00:00",0,0,89.211350000000024]
["2012-02-01T23:00:00",0,0,89.208400000000012]
["2012-02-02",0,0,89.210500000000025]
["2012-02-02T01:00:00",0,0,89.211750000000009]
["2012-02-02T02:00:00",0,0,89.215850000000046]
["2012-02-02T03:00:00",0,0,89.213800000000049]
["2012-02-02T04:00:00",0,0,89.21500000000006]
["2012-02-02T05:00:00",0,0,89.213450000000037]
["2012-02-02T06:00:00",0,0,89.210100000000011]
["2012-02-02T07:00:00",0,4,89.214191919191961]
["2012-02-02T08:00:00",{"$f":"0","v":0},0,89.200199999999882]
["2012-02-02T09:00:00",{"$f":"0","v":0},0,89.184149999999917]
["2012-02-02T10:00:00",{"$f":"0","v":0},2,89.19319999999999]
["2012-02-02T11:00:00",{"$f":"0","v":0},0,89.210000000000008]
["2012-02-02T12:00:00",{"$f":"0","v":0},0,89.192599999999914]
["2012-02-02T13:00:00",{"$f":"0","v":0},1,89.158750000000026]
["2012-02-02T14:00:00",{"$f":"0","v":0},0,89.115150000000028]
["2012-02-02T15:00:00",{"$f":"0","v":0},1,89.112149999999986]
["2012-02-02T16:00:00",{"$f":"0","v":0},0,89.098000000000013]
["2012-02-02T17:00:00",{"$f":"0","v":0},1,89.099600000000038]
["2012-02-02T18:00:00",{"$f":"0","v":0},0,89.107200000000034]
["2012-02-02T19:00:00",{"$f":"0","v":0},0,89.121599999999944]
["2012-02-02T20:00:00",{"$f":"0","v":0},1,89.12049999999995]
["2012-02-02T21:00:00",{"$f":"0","v":0},0,89.119299999999981]
["2012-02-02T22:00:00",{"$f":"0","v":0},0,89.131400000000028]
["2012-02-02T23:00:00",{"$f":"0","v":0},0,89.129249999999985]
["2012-02-03",{"$f":"0","v":0},0,89.108950000000021]
["2012-02-03T01:00:00",{"$f":"0","v":0},0,89.104950000000017]
["2012-02-03T02:00:00",{"$f":"0","v":0},0,89.087350000000043]
["2012-02-03T03:00:00",{"$f":"0","v":0},0,89.103549999999998]
["2012-02-03T04:00:00",{"$f":"0","v":0},0,89.099292929293]
["2012-02-03T05:00:00",{"$f":"0","v":0},0,89.090449999999976]
["2012-02-03T06:00:00",{"$f":"0","v":0},0,89.088400000000036]
["2012-02-03T07:00:00",{"$f":"0","v":0},0,89.082899999999981]
["2012-02-03T08:00:00",{"$f":"0","v":0},1,89.089649999999978]
["2012-02-03T09:00:00",{"$f":"0","v":0},0,89.08510000000004]
["2012-02-03T10:00:00",{"$f":"0","v":0},0,89.108500000000006]
["2012-02-03T11:00:00",{"$f":"0","v":0},0,89.119149999999948]
["2012-02-03T12:00:00",{"$f":"0","v":0},1,89.11069999999998]
["2012-02-03T13:00:00",{"$f":"0","v":0},1,89.097800000000078]
["2012-02-03T14:00:00",{"$f":"0","v":0},1,89.092550000000074]
["2012-02-03T15:00:00",{"$f":"0","v":0},1,89.096100000000007]
["2012-02-03T16:00:00",{"$f":"0","v":0},2,89.138449999999963]
[{"$f":"A104+0.04166666667","v":"2012-02-03T17:00:00"},{"$f":"0","v":0},{"$f":"0","v":0},89.146900000000088]
["2012-02-03T18:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.144199999999955]
["2012-02-03T19:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.19584999999995]
["2012-02-03T20:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.197449999999918]
["2012-02-03T21:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.191599999999923]
["2012-02-03T22:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.193449999999942]
["2012-02-03T23:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.194699999999926]
["2012-02-04",{"$f":"0","v":0},{"$f":"0","v":0},89.198849999999936]
["2012-02-04T01:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.19849999999991]
["2012-02-04T02:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.196199999999919]
["2012-02-04T03:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.205849999999998]
["2012-02-04T04:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.210200000000043]
["2012-02-04T05:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.215858585858655]
["2012-02-04T06:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.220350000000096]
["2012-02-04T07:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.224500000000063]
["2012-02-04T08:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.230800000000059]
["2012-02-04T09:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.238050000000015]
["2012-02-04T10:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.240200000000016]
["2012-02-04T11:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.240500000000026]
["2012-02-04T12:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.235100000000045]
["2012-02-04T13:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.231750000000034]
["2012-02-04T14:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.227850000000046]
["2012-02-04T15:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.225500000000096]
["2012-02-04T16:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.217350000000039]
["2012-02-04T17:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.22115000000008]
["2012-02-04T18:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.232000000000042]
["2012-02-04T19:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.236550000000037]
["2012-02-04T20:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.242649999999998]
["2012-02-04T21:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.253450000000015]
["2012-02-04T22:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.257250000000013]
["2012-02-04T23:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.258049999999983]
["2012-02-05",{"$f":"0","v":0},{"$f":"0","v":0},89.26285]
["2012-02-05T01:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.265550000000019]
["2012-02-05T02:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.269350000000003]
["2012-02-05T03:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.27055]
["2012-02-05T04:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.271313131313121]
["2012-02-05T05:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.276349999999994]
["2012-02-05T06:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.28609999999999]
["2012-02-05T07:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.290049999999994]
["2012-02-05T08:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.290250000000015]
["2012-02-05T09:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.292300000000026]
["2012-02-05T10:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.289649999999966]
["2012-02-05T11:00:00",{"$f":"0","v":0},{"$f":"0","v":0},89.287234042553195]