{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":1147,"n_cols":9,"rows_kept":1147,"cut":false,"hidden":false,"merged":[]}
["Date","Temp 1","Temp 2","Pressure",null,"Time and Date","Temp 1 Ave","Temp 2 Ave","Total Ave"]
["2012.02.05.00.00.28",89.25,89.3,3.02,null,"2012-02-05",{"$f":"AVERAGE(B2:B101)","v":89.224399999999989},{"$f":"AVERAGE(C2:C101)","v":89.301300000000012},{"$f":"AVERAGE(G2:H2)","v":89.26285}]
["2012.02.05.00.01.04",89.2,89.3,2.78,null,{"$f":"F2+0.041666667","v":"2012-02-05T01:00:00"},{"$f":"AVERAGE(B102:B201)","v":89.227900000000034},{"$f":"AVERAGE(C102:C201)","v":89.303200000000018},{"$f":"AVERAGE(G3:H3)","v":89.265550000000019}]
["2012.02.05.00.01.40",89.22,89.3,3.19,null,{"$f":"F3+0.041666667","v":"2012-02-05T02:00:00"},{"$f":"AVERAGE(B202:B301)","v":89.232999999999976},{"$f":"AVERAGE(C202:C301)","v":89.305700000000016},89.269350000000003]
["2012.02.05.00.02.16",89.22,89.3,3.04,null,"2012-02-05T03:00:00",{"$f":"AVERAGE(B302:B401)","v":89.232599999999991},{"$f":"AVERAGE(C302:C401)","v":89.308500000000009},89.27055]
["2012.02.05.00.02.52",89.23,89.3,3,null,"2012-02-05T04:00:00",{"$f":"AVERAGE(B402:B500)","v":89.232626262626226},{"$f":"AVERAGE(C402:C500)","v":89.310000000000016},89.271313131313121]
["2012.02.05.00.03.28",89.2,89.3,2.97,null,"2012-02-05T05:00:00",{"$f":"AVERAGE(B501:B600)","v":89.238399999999984},{"$f":"AVERAGE(C501:C600)","v":89.314300000000003},89.276349999999994]
["2012.02.05.00.04.04",89.25,89.3,2.7,null,"2012-02-05T06:00:00",{"$f":"AVERAGE(B601:B700)","v":89.247000000000014},{"$f":"AVERAGE(C601:C700)","v":89.325199999999967},89.28609999999999]
["2012.02.05.00.04.40",89.2,89.3,3.33,null,"2012-02-05T07:00:00",{"$f":"AVERAGE(B701:B800)","v":89.249199999999988},{"$f":"AVERAGE(C701:C800)","v":89.3309},89.290049999999994]
["2012.02.05.00.05.16",89.22,89.3,2.7,null,"2012-02-05T08:00:00",{"$f":"AVERAGE(B801:B900)","v":89.249600000000029},{"$f":"AVERAGE(C801:C900)","v":89.3309},89.290250000000015]
["2012.02.05.00.05.52",89.23,89.3,2.93,null,"2012-02-05T09:00:00",{"$f":"AVERAGE(B901:B1000)","v":89.250400000000013},{"$f":"AVERAGE(C901:C1000)","v":89.334200000000038},89.292300000000026]
["2012.02.05.00.06.28",89.23,89.3,3.19,null,"2012-02-05T10:00:00",{"$f":"AVERAGE(B1001:B1100)","v":89.248700000000014},{"$f":"AVERAGE(C1001:C1100)","v":89.330599999999905},89.289649999999966]
["2012.02.05.00.07.04",89.22,89.3,3.32,null,"2012-02-05T11:00:00",{"$f":"AVERAGE(B1101:B1147)","v":89.248085106382973},{"$f":"AVERAGE(C1101:C1147)","v":89.326382978723402},89.287234042553195]
["2012.02.05.00.07.40",89.2,89.3,3.19]
["2012.02.05.00.08.16",89.2,89.3,3.19]
["2012.02.05.00.08.52",89.2,89.32,3.17]
["2012.02.05.00.09.29",89.25,89.29,3.12]
["2012.02.05.00.10.05",89.2,89.3,2.76]
["2012.02.05.00.10.41",89.22,89.3,3.04]
["2012.02.05.00.11.17",89.25,89.3,3.21]
["2012.02.05.00.11.53",89.22,89.3,3.25]
["2012.02.05.00.12.29",89.25,89.3,3.26]
["2012.02.05.00.13.05",89.22,89.3,3.15]
["2012.02.05.00.13.41",89.2,89.3,3.31]
["2012.02.05.00.14.17",89.2,89.3,3.08]
["2012.02.05.00.14.53",89.22,89.3,3.27]
["2012.02.05.00.15.29",89.2,89.3,3.14]
["2012.02.05.00.16.05",89.23,89.3,3.28]
["2012.02.05.00.16.41",89.22,89.3,3.22]
["2012.02.05.00.17.17",89.22,89.3,3.08]
["2012.02.05.00.17.53",89.2,89.3,3.03]
["2012.02.05.00.18.29",89.25,89.3,3.25]
["2012.02.05.00.19.05",89.25,89.3,2.83]
["2012.02.05.00.19.41",89.22,89.3,3.25]
["2012.02.05.00.20.17",89.22,89.3,3.22]
["2012.02.05.00.20.53",89.25,89.29,2.89]
["2012.02.05.00.21.29",89.25,89.3,3.15]
["2012.02.05.00.22.05",89.22,89.3,2.93]
["2012.02.05.00.22.41",89.25,89.3,3.11]
["2012.02.05.00.23.17",89.25,89.3,3.29]
["2012.02.05.00.23.53",89.23,89.3,2.94]
["2012.02.05.00.24.29",89.22,89.3,3]
["2012.02.05.00.25.06",89.22,89.29,3.18]
["2012.02.05.00.25.42",89.25,89.3,3.09]
["2012.02.05.00.26.18",89.25,89.3,3.29]
["2012.02.05.00.26.54",89.2,89.3,3.11]
["2012.02.05.00.27.30",89.22,89.3,3.12]
["2012.02.05.00.28.06",89.22,89.3,2.87]
["2012.02.05.00.28.42",89.22,89.3,3.17]
["2012.02.05.00.29.18",89.22,89.32,3.21]
["2012.02.05.00.29.54",89.25,89.3,3.18]
["2012.02.05.00.30.30",89.22,89.3,3.21]
["2012.02.05.00.31.06",89.23,89.3,3.06]
["2012.02.05.00.31.42",89.22,89.3,3.35]
["2012.02.05.00.32.18",89.25,89.3,3.29]
["2012.02.05.00.32.54",89.22,89.3,3.1]
["2012.02.05.00.33.30",89.2,89.32,3.18]
["2012.02.05.00.34.06",89.2,89.3,2.84]
["2012.02.05.00.34.42",89.22,89.32,3.1]
["2012.02.05.00.35.18",89.2,89.3,3.17]
["2012.02.05.00.35.54",89.25,89.3,3]
["2012.02.05.00.36.30",89.22,89.3,2.94]
["2012.02.05.00.37.06",89.25,89.3,3.08]
["2012.02.05.00.37.42",89.22,89.3,3.32]
["2012.02.05.00.38.18",89.2,89.3,3.25]
["2012.02.05.00.38.54",89.22,89.3,3.13]
["2012.02.05.00.39.30",89.2,89.3,3.19]
["2012.02.05.00.40.06",89.25,89.3,3.18]
["2012.02.05.00.40.42",89.22,89.3,3.29]
["2012.02.05.00.41.18",89.23,89.3,2.99]
["2012.02.05.00.41.54",89.2,89.32,3.19]
["2012.02.05.00.42.30",89.22,89.3,3.12]
["2012.02.05.00.43.06",89.25,89.3,3.11]
["2012.02.05.00.43.42",89.25,89.3,3.31]
["2012.02.05.00.44.18",89.23,89.3,3.29]
["2012.02.05.00.44.54",89.25,89.32,3.21]
["2012.02.05.00.45.30",89.25,89.3,3.19]
["2012.02.05.00.46.06",89.22,89.3,3.18]
["2012.02.05.00.46.42",89.22,89.3,3.26]
["2012.02.05.00.47.18",89.22,89.3,3.35]
["2012.02.05.00.47.54",89.23,89.3,3.21]
["2012.02.05.00.48.30",89.25,89.3,3.28]
["2012.02.05.00.49.06",89.2,89.3,3.18]
["2012.02.05.00.49.42",89.22,89.3,3.29]
["2012.02.05.00.50.18",89.25,89.3,2.99]
["2012.02.05.00.50.54",89.2,89.3,3.12]
["2012.02.05.00.51.30",89.22,89.3,3.29]
["2012.02.05.00.52.06",89.22,89.32,3.08]
["2012.02.05.00.52.42",89.2,89.3,2.92]
["2012.02.05.00.53.18",89.2,89.3,3.17]
["2012.02.05.00.53.54",89.25,89.32,3.31]
["2012.02.05.00.54.30",89.25,89.3,3.11]
["2012.02.05.00.55.06",89.22,89.3,3.12]
["2012.02.05.00.55.42",89.2,89.3,3.16]
["2012.02.05.00.56.18",89.25,89.3,2.81]
["2012.02.05.00.56.54",89.25,89.3,3.22]
["2012.02.05.00.57.30",89.22,89.3,3.04]
["2012.02.05.00.58.06",89.23,89.3,2.87]
["2012.02.05.00.58.42",89.22,89.3,3.22]
["2012.02.05.00.59.18",89.2,89.3,3.25]
["2012.02.05.00.59.54",89.2,89.3,3.31]
["2012.02.05.01.00.30",89.2,89.3,2.91]
["2012.02.05.01.01.06",89.22,89.3,3.17]
["2012.02.05.01.01.42",89.25,89.3,3.21]
["2012.02.05.01.02.18",89.2,89.32,2.93]
["2012.02.05.01.02.54",89.22,89.32,3.26]
["2012.02.05.01.03.30",89.22,89.3,3.24]
["2012.02.05.01.04.06",89.22,89.3,3.06]
["2012.02.05.01.04.42",89.2,89.3,3.21]
["2012.02.05.01.05.18",89.25,89.3,3]
["2012.02.05.01.05.54",89.2,89.3,2.91]
["2012.02.05.01.06.30",89.22,89.3,3.27]
["2012.02.05.01.07.06",89.22,89.3,3.02]
["2012.02.05.01.07.42",89.25,89.3,3.23]
["2012.02.05.01.08.18",89.23,89.3,3.33]
["2012.02.05.01.08.54",89.25,89.3,3.26]
["2012.02.05.01.09.30",89.25,89.3,2.97]
["2012.02.05.01.10.06",89.2,89.3,3.26]
["2012.02.05.01.10.42",89.25,89.3,3.35]
["2012.02.05.01.11.18",89.25,89.3,2.77]
["2012.02.05.01.11.54",89.25,89.3,3.17]
["2012.02.05.01.12.30",89.22,89.3,3.25]
["2012.02.05.01.13.07",89.2,89.3,3.34]
["2012.02.05.01.13.43",89.25,89.3,3.03]
["2012.02.05.01.14.19",89.25,89.3,3.17]
["2012.02.05.01.14.55",89.25,89.32,2.76]
["2012.02.05.01.15.31",89.22,89.3,3.1]
["2012.02.05.01.16.07",89.22,89.3,2.9]
["2012.02.05.01.16.43",89.25,89.3,3.17]
["2012.02.05.01.17.19",89.22,89.3,3.22]
["2012.02.05.01.17.55",89.2,89.3,3]
["2012.02.05.01.18.31",89.23,89.3,3.18]
["2012.02.05.01.19.07",89.22,89.32,2.75]
["2012.02.05.01.19.43",89.22,89.3,3.16]
["2012.02.05.01.20.19",89.22,89.3,3.04]
["2012.02.05.01.20.55",89.22,89.32,3.18]
["2012.02.05.01.21.31",89.23,89.3,3.16]
["2012.02.05.01.22.07",89.23,89.3,2.98]
["2012.02.05.01.22.43",89.22,89.32,3.14]
["2012.02.05.01.23.19",89.2,89.3,3.24]
["2012.02.05.01.23.55",89.25,89.3,3.18]
["2012.02.05.01.24.31",89.22,89.3,3.2]
["2012.02.05.01.25.07",89.25,89.3,3.2]
["2012.02.05.01.25.43",89.22,89.3,3.13]
["2012.02.05.01.26.19",89.2,89.3,3.3]
["2012.02.05.01.26.55",89.25,89.3,2.95]
["2012.02.05.01.27.31",89.22,89.3,2.64]
["2012.02.05.01.28.07",89.25,89.3,2.92]
["2012.02.05.01.28.43",89.25,89.3,2.94]
["2012.02.05.01.29.19",89.22,89.3,3.01]
["2012.02.05.01.29.55",89.22,89.3,3.19]
["2012.02.05.01.30.31",89.25,89.3,3.23]
["2012.02.05.01.31.07",89.2,89.3,3.3]
["2012.02.05.01.31.43",89.22,89.3,2.75]
["2012.02.05.01.32.19",89.25,89.3,3.04]
["2012.02.05.01.32.55",89.22,89.3,3.08]
["2012.02.05.01.33.31",89.22,89.3,2.92]
["2012.02.05.01.34.07",89.2,89.3,3.1]
["2012.02.05.01.34.43",89.25,89.3,3.25]
["2012.02.05.01.35.19",89.23,89.3,3.12]
["2012.02.05.01.35.55",89.2,89.3,3.23]
["2012.02.05.01.36.31",89.22,89.3,3.3]
["2012.02.05.01.37.07",89.22,89.3,3.02]
["2012.02.05.01.37.43",89.25,89.32,3.18]
["2012.02.05.01.38.19",89.22,89.3,3.19]
["2012.02.05.01.38.55",89.25,89.3,3.25]
["2012.02.05.01.39.31",89.22,89.3,3.03]
["2012.02.05.01.40.07",89.22,89.3,3.33]
["2012.02.05.01.40.43",89.22,89.3,3.13]
["2012.02.05.01.41.19",89.22,89.3,3.28]
["2012.02.05.01.41.55",89.22,89.3,3.32]
["2012.02.05.01.42.31",89.25,89.32,3.04]
["2012.02.05.01.43.07",89.25,89.3,3.22]
["2012.02.05.01.43.43",89.25,89.32,3.26]
["2012.02.05.01.44.19",89.22,89.32,3.18]
["2012.02.05.01.44.55",89.23,89.3,3.32]
["2012.02.05.01.45.31",89.22,89.32,3.07]
["2012.02.05.01.46.07",89.22,89.3,3.16]
["2012.02.05.01.46.43",89.22,89.32,3.34]
["2012.02.05.01.47.19",89.25,89.3,3.09]
["2012.02.05.01.47.55",89.25,89.3,3.12]
["2012.02.05.01.48.31",89.22,89.32,3.34]
["2012.02.05.01.49.07",89.22,89.33,3.1]
["2012.02.05.01.49.43",89.22,89.3,3.26]
["2012.02.05.01.50.19",89.22,89.3,3.03]
["2012.02.05.01.50.55",89.22,89.3,2.75]
["2012.02.05.01.51.31",89.25,89.3,3.19]
["2012.02.05.01.52.07",89.22,89.3,3.25]
["2012.02.05.01.52.43",89.22,89.3,2.98]
["2012.02.05.01.53.19",89.2,89.3,3.27]
["2012.02.05.01.53.55",89.25,89.3,3.36]
["2012.02.05.01.54.31",89.22,89.3,3.17]
["2012.02.05.01.55.07",89.23,89.3,3.25]
["2012.02.05.01.55.43",89.25,89.33,3.24]
["2012.02.05.01.56.19",89.2,89.3,3.13]
["2012.02.05.01.56.55",89.25,89.3,3.29]
["2012.02.05.01.57.31",89.25,89.3,2.9]
["2012.02.05.01.58.07",89.2,89.3,3.31]
["2012.02.05.01.58.44",89.25,89.3,3.02]
["2012.02.05.01.59.20",89.22,89.3,3.06]
["2012.02.05.01.59.56",89.25,89.3,3.1]
["2012.02.05.02.00.32",89.25,89.3,3.23]
["2012.02.05.02.01.08",89.25,89.3,3.2]
["2012.02.05.02.01.44",89.25,89.3,3.11]
["2012.02.05.02.02.20",89.25,89.32,3.11]
["2012.02.05.02.02.56",89.2,89.3,3.29]
["2012.02.05.02.03.32",89.25,89.3,3.3]
["2012.02.05.02.04.08",89.22,89.3,3.02]
["2012.02.05.02.04.44",89.25,89.32,3.19]
["2012.02.05.02.05.20",89.25,89.3,3.14]
["2012.02.05.02.05.56",89.2,89.32,3.23]
["2012.02.05.02.06.32",89.25,89.32,2.98]
["2012.02.05.02.07.08",89.25,89.3,3.07]
["2012.02.05.02.07.44",89.22,89.3,3.35]
["2012.02.05.02.08.20",89.22,89.3,3.16]
["2012.02.05.02.08.56",89.22,89.3,3.33]
["2012.02.05.02.09.32",89.25,89.3,3.05]
["2012.02.05.02.10.08",89.22,89.32,3.12]
["2012.02.05.02.10.44",89.22,89.32,3.17]
["2012.02.05.02.11.20",89.25,89.35,3.27]
["2012.02.05.02.11.56",89.25,89.32,3]
["2012.02.05.02.12.32",89.23,89.3,3.3]
["2012.02.05.02.13.08",89.25,89.3,3.13]
["2012.02.05.02.13.44",89.22,89.3,3.31]
["2012.02.05.02.14.20",89.2,89.32,3.1]
["2012.02.05.02.14.56",89.2,89.3,3.26]
["2012.02.05.02.15.32",89.25,89.32,3.31]
["2012.02.05.02.16.08",89.25,89.3,3.01]
["2012.02.05.02.16.44",89.2,89.32,3.31]
["2012.02.05.02.17.20",89.25,89.3,2.89]
["2012.02.05.02.17.56",89.25,89.3,3.23]
["2012.02.05.02.18.32",89.25,89.32,3.28]
["2012.02.05.02.19.08",89.22,89.3,2.82]
["2012.02.05.02.19.44",89.25,89.3,3.23]
["2012.02.05.02.20.20",89.25,89.32,3.23]
["2012.02.05.02.20.56",89.25,89.3,2.9]
["2012.02.05.02.21.32",89.25,89.3,3.12]
["2012.02.05.02.22.08",89.25,89.3,3.22]
["2012.02.05.02.22.44",89.25,89.3,3.27]
["2012.02.05.02.23.20",89.25,89.3,3.26]
["2012.02.05.02.23.56",89.22,89.3,3.09]
["2012.02.05.02.24.32",89.2,89.3,3.25]
["2012.02.05.02.25.08",89.25,89.3,2.99]
["2012.02.05.02.25.44",89.22,89.3,3.35]
["2012.02.05.02.26.20",89.25,89.32,3.2]
["2012.02.05.02.26.56",89.2,89.3,3.09]
["2012.02.05.02.27.32",89.25,89.3,3.25]
["2012.02.05.02.28.08",89.25,89.32,3.05]
["2012.02.05.02.28.44",89.23,89.32,3.05]
["2012.02.05.02.29.20",89.23,89.3,3.32]
["2012.02.05.02.29.56",89.22,89.3,2.94]
["2012.02.05.02.30.32",89.22,89.3,3.25]
["2012.02.05.02.31.08",89.25,89.3,3.21]
["2012.02.05.02.31.44",89.22,89.32,3.31]
["2012.02.05.02.32.20",89.23,89.3,3.14]
["2012.02.05.02.32.56",89.22,89.32,3.26]
["2012.02.05.02.33.32",89.25,89.32,3.2]
["2012.02.05.02.34.08",89.25,89.3,3.18]
["2012.02.05.02.34.44",89.25,89.3,3.25]
["2012.02.05.02.35.20",89.23,89.3,3.15]
["2012.02.05.02.35.56",89.23,89.3,3.11]
["2012.02.05.02.36.32",89.22,89.3,3.3]
["2012.02.05.02.37.08",89.25,89.3,3.02]
["2012.02.05.02.37.44",89.25,89.32,2.4300000000000002]
["2012.02.05.02.38.20",89.25,89.3,3.29]
["2012.02.05.02.38.56",89.25,89.32,3.29]
["2012.02.05.02.39.32",89.22,89.3,3.02]
["2012.02.05.02.40.08",89.22,89.3,3.22]
["2012.02.05.02.40.44",89.22,89.3,3.3]
["2012.02.05.02.41.20",89.25,89.3,2.97]
["2012.02.05.02.41.56",89.2,89.3,3.25]
["2012.02.05.02.42.32",89.23,89.3,3.2]
["2012.02.05.02.43.08",89.22,89.3,3.25]
["2012.02.05.02.43.44",89.22,89.33,3.1]
["2012.02.05.02.44.20",89.25,89.3,2.93]
["2012.02.05.02.44.56",89.22,89.3,3.31]
["2012.02.05.02.45.32",89.23,89.3,3.31]
["2012.02.05.02.46.08",89.22,89.3,3.13]
["2012.02.05.02.46.44",89.25,89.32,3.32]
["2012.02.05.02.47.21",89.25,89.3,2.77]
["2012.02.05.02.47.57",89.22,89.3,3.2]
["2012.02.05.02.48.33",89.2,89.3,3.19]
["2012.02.05.02.49.09",89.25,89.3,3.13]
["2012.02.05.02.49.45",89.22,89.3,3.21]
["2012.02.05.02.50.21",89.2,89.3,3.09]
["2012.02.05.02.50.57",89.22,89.3,3.32]
["2012.02.05.02.51.33",89.25,89.32,3.17]
["2012.02.05.02.52.09",89.22,89.3,3.1]
["2012.02.05.02.52.45",89.23,89.3,3.34]
["2012.02.05.02.53.21",89.22,89.3,3.24]
["2012.02.05.02.53.57",89.2,89.3,2.96]
["2012.02.05.02.54.33",89.25,89.32,3.07]
["2012.02.05.02.55.09",89.2,89.3,3.28]
["2012.02.05.02.55.45",89.25,89.33,3.1]
["2012.02.05.02.56.21",89.22,89.3,3.04]
["2012.02.05.02.56.57",89.2,89.3,3.04]
["2012.02.05.02.57.33",89.25,89.3,3.21]
["2012.02.05.02.58.09",89.25,89.3,3.28]
["2012.02.05.02.58.45",89.25,89.3,3.25]
["2012.02.05.02.59.21",89.25,89.3,3.12]
["2012.02.05.02.59.57",89.22,89.3,3.32]
["2012.02.05.03.00.33",89.25,89.3,3.24]
["2012.02.05.03.01.09",89.25,89.3,3.3]
["2012.02.05.03.01.45",89.2,89.3,3.04]
["2012.02.05.03.02.21",89.23,89.3,3.02]
["2012.02.05.03.02.57",89.25,89.3,3.04]
["2012.02.05.03.03.33",89.25,89.3,3.3]
["2012.02.05.03.04.09",89.25,89.3,3.27]
["2012.02.05.03.04.45",89.22,89.3,3.22]
["2012.02.05.03.05.21",89.25,89.32,3.27]
["2012.02.05.03.05.57",89.25,89.32,3.15]
["2012.02.05.03.06.33",89.2,89.3,3.26]
["2012.02.05.03.07.09",89.25,89.3,3.23]
["2012.02.05.03.07.45",89.25,89.3,3.28]
["2012.02.05.03.08.21",89.22,89.32,3.18]
["2012.02.05.03.08.57",89.22,89.32,3.31]
["2012.02.05.03.09.33",89.22,89.3,3.02]
["2012.02.05.03.10.09",89.2,89.3,3.3]
["2012.02.05.03.10.45",89.22,89.3,3.22]
["2012.02.05.03.11.21",89.22,89.3,3.2]
["2012.02.05.03.11.57",89.22,89.35,3.27]
["2012.02.05.03.12.33",89.22,89.3,2.96]
["2012.02.05.03.13.09",89.2,89.3,2.83]
["2012.02.05.03.13.45",89.22,89.3,3.28]
["2012.02.05.03.14.21",89.2,89.3,3.16]
["2012.02.05.03.14.57",89.25,89.32,3.23]
["2012.02.05.03.15.33",89.22,89.3,3.03]
["2012.02.05.03.16.09",89.25,89.32,3.27]
["2012.02.05.03.16.45",89.22,89.3,3.1]
["2012.02.05.03.17.21",89.22,89.3,3.15]
["2012.02.05.03.17.57",89.25,89.35,3.19]
["2012.02.05.03.18.33",89.22,89.3,3.21]
["2012.02.05.03.19.09",89.23,89.3,3.29]
["2012.02.05.03.19.45",89.25,89.32,3.27]
["2012.02.05.03.20.21",89.25,89.3,3.16]
["2012.02.05.03.20.57",89.25,89.3,2.99]
["2012.02.05.03.21.33",89.22,89.3,3.21]
["2012.02.05.03.22.09",89.22,89.3,3.14]
["2012.02.05.03.22.45",89.25,89.32,3.28]
["2012.02.05.03.23.21",89.25,89.3,3.23]
["2012.02.05.03.23.57",89.25,89.3,3.02]
["2012.02.05.03.24.34",89.2,89.3,3.28]
["2012.02.05.03.25.10",89.2,89.32,3.2]
["2012.02.05.03.25.46",89.2,89.3,3.28]
["2012.02.05.03.26.22",89.25,89.3,2.68]
["2012.02.05.03.26.58",89.25,89.32,3.2]
["2012.02.05.03.27.34",89.23,89.3,2.89]
["2012.02.05.03.28.10",89.22,89.3,3.02]
["2012.02.05.03.28.46",89.22,89.32,3.16]
["2012.02.05.03.29.22",89.2,89.32,3.13]
["2012.02.05.03.29.58",89.25,89.3,3.27]
["2012.02.05.03.30.34",89.23,89.3,2.93]
["2012.02.05.03.31.10",89.25,89.32,2.95]
["2012.02.05.03.31.46",89.2,89.32,3.19]
["2012.02.05.03.32.22",89.25,89.3,2.98]
["2012.02.05.03.32.58",89.25,89.3,3.02]
["2012.02.05.03.33.34",89.22,89.3,2.9]
["2012.02.05.03.34.10",89.25,89.32,3.17]
["2012.02.05.03.34.46",89.22,89.3,3.3]
["2012.02.05.03.35.22",89.22,89.3,3.18]
["2012.02.05.03.35.58",89.25,89.3,3.27]
["2012.02.05.03.36.34",89.25,89.32,2.98]
["2012.02.05.03.37.10",89.25,89.3,3.12]
["2012.02.05.03.37.46",89.25,89.3,3.15]
["2012.02.05.03.38.22",89.25,89.3,3.15]
["2012.02.05.03.38.58",89.25,89.3,3.27]
["2012.02.05.03.39.34",89.2,89.3,3.15]
["2012.02.05.03.40.10",89.25,89.35,3.2]
["2012.02.05.03.40.46",89.25,89.3,3.03]
["2012.02.05.03.41.22",89.22,89.3,2.98]
["2012.02.05.03.41.58",89.25,89.3,3.29]
["2012.02.05.03.42.34",89.22,89.3,3.22]
["2012.02.05.03.43.10",89.22,89.3,3.34]
["2012.02.05.03.43.46",89.25,89.32,3.09]
["2012.02.05.03.44.22",89.23,89.32,3.1]
["2012.02.05.03.44.58",89.25,89.3,3.29]
["2012.02.05.03.45.34",89.22,89.3,3.27]
["2012.02.05.03.46.10",89.25,89.32,3.01]
["2012.02.05.03.46.46",89.22,89.32,3.15]
["2012.02.05.03.47.22",89.22,89.3,3.27]
["2012.02.05.03.47.58",89.25,89.32,3.26]
["2012.02.05.03.48.34",89.25,89.32,2.87]
["2012.02.05.03.49.10",89.2,89.3,3.27]
["2012.02.05.03.49.46",89.25,89.32,3.33]
["2012.02.05.03.50.22",89.2,89.3,3.28]
["2012.02.05.03.50.58",89.23,89.32,3.15]
["2012.02.05.03.51.34",89.22,89.3,3.31]
["2012.02.05.03.52.10",89.2,89.32,3.3]
["2012.02.05.03.52.46",89.25,89.35,3.18]
["2012.02.05.03.53.22",89.25,89.32,3.2]
["2012.02.05.03.53.58",89.22,89.32,3.27]
["2012.02.05.03.54.34",89.25,89.3,3.2]
["2012.02.05.03.55.10",89.2,89.3,3.1]
["2012.02.05.03.55.46",89.22,89.3,3.26]
["2012.02.05.03.56.22",89.25,89.32,3.38]
["2012.02.05.03.56.59",89.25,89.3,2.97]
["2012.02.05.03.57.35",89.25,89.3,3.3]
["2012.02.05.03.58.11",89.25,89.3,3.19]
["2012.02.05.03.58.47",89.25,89.32,3.25]
["2012.02.05.03.59.23",89.25,89.35,2.83]
["2012.02.05.03.59.59",89.25,89.32,2.92]
["2012.02.05.04.00.35",89.23,89.3,3.28]
["2012.02.05.04.01.11",89.25,89.3,3.04]
["2012.02.05.04.01.47",89.25,89.3,3.2]
["2012.02.05.04.02.23",89.25,89.32,3.24]
["2012.02.05.04.02.59",89.25,89.32,3.12]
["2012.02.05.04.03.35",89.25,89.32,3.16]
["2012.02.05.04.04.11",89.25,89.33,3.11]
["2012.02.05.04.04.47",89.22,89.3,3.13]
["2012.02.05.04.05.23",89.25,89.3,3.12]
["2012.02.05.04.05.59",89.25,89.32,3.3]
["2012.02.05.04.06.35",89.22,89.3,3.19]
["2012.02.05.04.07.11",89.25,89.3,3.29]
["2012.02.05.04.07.47",89.25,89.3,3.13]
["2012.02.05.04.08.23",89.22,89.3,3.31]
["2012.02.05.04.08.59",89.22,89.35,2.99]
["2012.02.05.04.09.35",89.22,89.3,3.24]
["2012.02.05.04.10.11",89.25,89.33,2.61]
["2012.02.05.04.10.47",89.25,89.3,3.2]
["2012.02.05.04.11.23",89.22,89.32,3.29]
["2012.02.05.04.11.59",89.22,89.32,3.38]
["2012.02.05.04.12.35",89.25,89.35,3.03]
["2012.02.05.04.13.11",89.22,89.32,3.16]
["2012.02.05.04.13.47",89.25,89.32,3.16]
["2012.02.05.04.14.23",89.22,89.3,3.16]
["2012.02.05.04.14.59",89.22,89.32,3.32]
["2012.02.05.04.15.35",89.22,89.3,3.02]
["2012.02.05.04.16.11",89.25,89.3,3.22]
["2012.02.05.04.16.47",89.22,89.3,3.02]
["2012.02.05.04.17.23",89.25,89.32,3.28]
["2012.02.05.04.17.59",89.25,89.3,2.65]
["2012.02.05.04.18.35",89.25,89.3,3.22]
["2012.02.05.04.19.11",89.22,89.3,2.64]
["2012.02.05.04.19.47",89.2,89.32,3.28]
["2012.02.05.04.20.23",89.23,89.32,3.19]
["2012.02.05.04.20.59",89.2,89.33,3.15]
["2012.02.05.04.21.35",89.22,89.3,3.32]
["2012.02.05.04.22.11",89.2,89.3,3.05]
["2012.02.05.04.22.47",89.25,89.3,3]
["2012.02.05.04.23.23",89.23,89.32,3.16]
["2012.02.05.04.23.59",89.25,89.3,3.32]
["2012.02.05.04.24.35",89.25,89.32,3.35]
["2012.02.05.04.25.11",89.25,89.3,2.96]
["2012.02.05.04.25.47",89.22,89.32,3.13]
["2012.02.05.04.26.23",89.22,89.3,3.2]
["2012.02.05.04.26.59",89.25,89.3,3.03]
["2012.02.05.04.27.35",89.25,89.32,3.18]
["2012.02.05.04.28.11",89.2,89.32,3.25]
["2012.02.05.04.28.47",89.22,89.3,3.06]
["2012.02.05.04.29.23",89.25,89.3,3.28]
["2012.02.05.04.29.59",89.23,89.3,2.72]
["2012.02.05.04.30.35",89.25,89.3,3.31]
["2012.02.05.04.31.11",89.22,89.3,3.05]
["2012.02.05.04.31.47",89.25,89.3,3.24]
["2012.02.05.04.32.23",89.22,89.3,3.19]
["2012.02.05.04.32.59",89.25,89.32,2.98]
["2012.02.05.04.33.35",89.25,89.33,3.1]
["2012.02.05.04.34.11",89.2,89.3,3.34]
["2012.02.05.04.34.47",89.2,89.32,2.93]
["2012.02.05.04.35.23",89.2,89.3,3.31]
["2012.02.05.04.35.59",89.22,89.3,3.37]
["2012.02.05.04.36.35",89.25,89.3,3.35]
["2012.02.05.04.37.11",89.25,89.3,3.27]
["2012.02.05.04.37.47",89.2,89.3,3.26]
["2012.02.05.04.38.23",89.22,89.3,3.25]
["2012.02.05.04.38.59",89.2,89.32,3.24]
["2012.02.05.04.39.35",89.22,89.3,3.13]
["2012.02.05.04.40.11",89.23,89.3,3.14]
["2012.02.05.04.40.47",89.2,89.3,3.24]
["2012.02.05.04.41.23",89.25,89.32,3.17]
["2012.02.05.04.41.59",89.25,89.3,2.98]
["2012.02.05.04.42.35",89.2,89.3,3.31]
["2012.02.05.04.43.11",89.23,89.3,3.27]
["2012.02.05.04.43.47",89.25,89.3,3.22]
["2012.02.05.04.44.23",89.25,89.32,3.03]
["2012.02.05.04.44.59",89.25,89.3,3.02]
["2012.02.05.04.45.35",89.2,89.3,3.17]
["2012.02.05.04.46.12",89.23,89.32,2.73]
["2012.02.05.04.46.48",89.23,89.3,3.21]
["2012.02.05.04.47.24",89.22,89.3,2.99]
["2012.02.05.04.48.00",89.22,89.3,3.2]
["2012.02.05.04.48.36",89.25,89.32,3.2]
["2012.02.05.04.49.12",89.25,89.3,2.98]
["2012.02.05.04.49.48",89.22,89.32,3.26]
["2012.02.05.04.50.24",89.25,89.3,3.22]
["2012.02.05.04.51.00",89.2,89.33,3.15]
["2012.02.05.04.51.36",89.25,89.32,3.22]
["2012.02.05.04.52.12",89.25,89.35,3.3]
["2012.02.05.04.52.48",89.22,89.32,3.14]
["2012.02.05.04.53.24",89.23,89.32,3.04]
["2012.02.05.04.54.00",89.25,89.3,3.3]
["2012.02.05.04.54.36",89.22,89.3,3.2]
["2012.02.05.04.55.12",89.22,89.32,3.34]
["2012.02.05.04.55.48",89.2,89.3,3.08]
["2012.02.05.04.56.24",89.25,89.3,3.31]
["2012.02.05.04.57.00",89.25,89.32,3.28]
["2012.02.05.04.57.36",89.25,89.35,2.99]
["2012.02.05.04.58.12",89.25,89.3,3.04]
["2012.02.05.04.58.48",89.25,89.32,3.21]
["2012.02.05.04.59.24",89.25,89.32,3.34]
["2012.02.05.05.00.00",89.22,89.32,3.32]
["2012.02.05.05.00.36",89.22,89.3,3.14]
["2012.02.05.05.01.12",89.25,89.32,3.27]
["2012.02.05.05.01.48",89.2,89.35,3.26]
["2012.02.05.05.02.24",89.25,89.32,3.18]
["2012.02.05.05.03.00",89.23,89.3,3.33]
["2012.02.05.05.03.36",89.25,89.3,2.92]
["2012.02.05.05.04.12",89.2,89.32,3.26]
["2012.02.05.05.04.48",89.25,89.3,3.14]
["2012.02.05.05.05.24",89.25,89.32,3.3]
["2012.02.05.05.06.00",89.22,89.32,2.97]
["2012.02.05.05.06.36",89.22,89.32,3.28]
["2012.02.05.05.07.12",89.25,89.3,3.12]
["2012.02.05.05.07.48",89.22,89.3,3.17]
["2012.02.05.05.08.24",89.25,89.3,3.26]
["2012.02.05.05.09.00",89.25,89.3,3.24]
["2012.02.05.05.09.36",89.22,89.3,3.33]
["2012.02.05.05.10.12",89.25,89.32,3.3]
["2012.02.05.05.10.48",89.25,89.32,3.23]
["2012.02.05.05.11.24",89.25,89.3,3.34]
["2012.02.05.05.12.00",89.22,89.3,3.06]
["2012.02.05.05.12.36",89.23,89.3,3.26]
["2012.02.05.05.13.12",89.25,89.3,3.28]
["2012.02.05.05.13.48",89.25,89.3,3.25]
["2012.02.05.05.14.24",89.25,89.3,3.27]
["2012.02.05.05.15.00",89.2,89.32,3]
["2012.02.05.05.15.36",89.22,89.32,3.3]
["2012.02.05.05.16.12",89.22,89.3,3.22]
["2012.02.05.05.16.48",89.25,89.3,3.23]
["2012.02.05.05.17.24",89.2,89.3,2.94]
["2012.02.05.05.18.00",89.2,89.3,3.24]
["2012.02.05.05.18.36",89.22,89.3,3.03]
["2012.02.05.05.19.12",89.25,89.33,3.21]
["2012.02.05.05.19.48",89.2,89.3,3.21]
["2012.02.05.05.20.24",89.22,89.3,2.93]
["2012.02.05.05.21.00",89.25,89.32,2.93]
["2012.02.05.05.21.36",89.2,89.32,2.9]
["2012.02.05.05.22.12",89.25,89.3,3.17]
["2012.02.05.05.22.48",89.23,89.3,3.05]
["2012.02.05.05.23.24",89.25,89.3,2.88]
["2012.02.05.05.24.00",89.25,89.3,3.02]
["2012.02.05.05.24.36",89.22,89.32,2.9]
["2012.02.05.05.25.12",89.25,89.35,3.2]
["2012.02.05.05.25.48",89.25,89.32,3.14]
["2012.02.05.05.26.24",89.25,89.32,3.18]
["2012.02.05.05.27.00",89.25,89.32,3.29]
["2012.02.05.05.27.36",89.25,89.3,3.17]
["2012.02.05.05.28.12",89.22,89.3,2.89]
["2012.02.05.05.28.48",89.23,89.32,3.05]
["2012.02.05.05.29.24",89.25,89.32,3.24]
["2012.02.05.05.30.00",89.22,89.3,2.86]
["2012.02.05.05.30.36",89.25,89.3,3.12]
["2012.02.05.05.31.12",89.22,89.32,3.16]
["2012.02.05.05.31.48",89.2,89.3,3.31]
["2012.02.05.05.32.24",89.22,89.32,3.1]
["2012.02.05.05.33.00",89.22,89.32,3.25]
["2012.02.05.05.33.36",89.25,89.33,2.86]
["2012.02.05.05.34.13",89.22,89.35,3.23]
["2012.02.05.05.34.49",89.25,89.3,3.35]
["2012.02.05.05.35.25",89.25,89.32,3.26]
["2012.02.05.05.36.01",89.23,89.33,3.11]
["2012.02.05.05.36.37",89.25,89.3,3.28]
["2012.02.05.05.37.13",89.25,89.3,3.18]
["2012.02.05.05.37.49",89.25,89.3,3.2]
["2012.02.05.05.38.25",89.25,89.3,3.24]
["2012.02.05.05.39.01",89.25,89.3,3.12]
["2012.02.05.05.39.37",89.25,89.32,3.1]
["2012.02.05.05.40.13",89.25,89.3,3.27]
["2012.02.05.05.40.49",89.25,89.35,3.3]
["2012.02.05.05.41.25",89.22,89.3,3.23]
["2012.02.05.05.42.01",89.25,89.3,3.17]
["2012.02.05.05.42.37",89.25,89.32,3.32]
["2012.02.05.05.43.13",89.25,89.32,3.16]
["2012.02.05.05.43.49",89.25,89.35,3.33]
["2012.02.05.05.44.25",89.25,89.32,3.02]
["2012.02.05.05.45.01",89.25,89.32,3.11]
["2012.02.05.05.45.37",89.25,89.3,3.28]
["2012.02.05.05.46.13",89.25,89.32,2.94]
["2012.02.05.05.46.49",89.25,89.32,3.31]
["2012.02.05.05.47.25",89.25,89.3,3.1]
["2012.02.05.05.48.01",89.25,89.32,3.27]
["2012.02.05.05.48.37",89.25,89.32,3.12]
["2012.02.05.05.49.13",89.25,89.33,3.19]
["2012.02.05.05.49.49",89.25,89.32,3.23]
["2012.02.05.05.50.25",89.22,89.35,3.15]
["2012.02.05.05.51.01",89.22,89.32,2.98]
["2012.02.05.05.51.37",89.25,89.32,3.2]
["2012.02.05.05.52.13",89.25,89.33,3.15]
["2012.02.05.05.52.49",89.25,89.32,3.22]
["2012.02.05.05.53.25",89.25,89.3,3.16]
["2012.02.05.05.54.01",89.25,89.32,3.29]
["2012.02.05.05.54.37",89.25,89.32,3.17]
["2012.02.05.05.55.13",89.25,89.33,3.35]
["2012.02.05.05.55.49",89.25,89.32,3.1]
["2012.02.05.05.56.25",89.25,89.32,3.02]
["2012.02.05.05.57.01",89.22,89.35,3.06]
["2012.02.05.05.57.37",89.25,89.32,3.31]
["2012.02.05.05.58.13",89.25,89.32,3.05]
["2012.02.05.05.58.49",89.25,89.33,2.87]
["2012.02.05.05.59.25",89.25,89.33,3.05]
["2012.02.05.06.00.01",89.25,89.3,3.22]
["2012.02.05.06.00.37",89.25,89.35,3.32]
["2012.02.05.06.01.13",89.25,89.33,3.28]
["2012.02.05.06.01.49",89.25,89.32,3.25]
["2012.02.05.06.02.25",89.25,89.32,2.88]
["2012.02.05.06.03.01",89.25,89.32,3.15]
["2012.02.05.06.03.37",89.25,89.32,3.28]
["2012.02.05.06.04.13",89.25,89.32,2.93]
["2012.02.05.06.04.49",89.25,89.35,3.29]
["2012.02.05.06.05.25",89.25,89.32,3.22]
["2012.02.05.06.06.01",89.25,89.35,3.03]
["2012.02.05.06.06.37",89.25,89.32,3.21]
["2012.02.05.06.07.13",89.22,89.35,3.19]
["2012.02.05.06.07.49",89.25,89.32,3.28]
["2012.02.05.06.08.25",89.22,89.35,3.22]
["2012.02.05.06.09.01",89.25,89.32,2.93]
["2012.02.05.06.09.37",89.25,89.35,3.31]
["2012.02.05.06.10.13",89.25,89.32,3.19]
["2012.02.05.06.10.49",89.25,89.32,3.26]
["2012.02.05.06.11.25",89.22,89.3,3.14]
["2012.02.05.06.12.01",89.25,89.32,3.3]
["2012.02.05.06.12.37",89.25,89.32,2.79]
["2012.02.05.06.13.13",89.25,89.32,3.22]
["2012.02.05.06.13.49",89.25,89.32,3.15]
["2012.02.05.06.14.25",89.25,89.3,2.97]
["2012.02.05.06.15.01",89.25,89.3,3.24]
["2012.02.05.06.15.37",89.25,89.32,3.01]
["2012.02.05.06.16.13",89.25,89.3,3.16]
["2012.02.05.06.16.49",89.2,89.35,3.16]
["2012.02.05.06.17.25",89.25,89.33,3.15]
["2012.02.05.06.18.01",89.25,89.32,3.31]
["2012.02.05.06.18.37",89.25,89.33,3.01]
["2012.02.05.06.19.13",89.25,89.35,3.22]
["2012.02.05.06.19.49",89.25,89.35,3.22]
["2012.02.05.06.20.25",89.23,89.33,3.31]
["2012.02.05.06.21.01",89.25,89.3,3.11]
["2012.02.05.06.21.37",89.25,89.33,3.24]
["2012.02.05.06.22.13",89.25,89.32,2.92]
["2012.02.05.06.22.49",89.25,89.35,3.36]
["2012.02.05.06.23.26",89.25,89.32,2.93]
["2012.02.05.06.24.02",89.25,89.33,3.33]
["2012.02.05.06.24.38",89.25,89.33,3.25]
["2012.02.05.06.25.14",89.25,89.32,2.81]
["2012.02.05.06.25.50",89.22,89.32,3]
["2012.02.05.06.26.26",89.25,89.33,3.26]
["2012.02.05.06.27.02",89.25,89.32,3.18]
["2012.02.05.06.27.38",89.25,89.3,3.11]
["2012.02.05.06.28.14",89.25,89.32,3.24]
["2012.02.05.06.28.50",89.25,89.32,2.93]
["2012.02.05.06.29.26",89.25,89.3,3.26]
["2012.02.05.06.30.02",89.23,89.33,3.33]
["2012.02.05.06.30.38",89.25,89.3,2.95]
["2012.02.05.06.31.14",89.25,89.35,3.33]
["2012.02.05.06.31.50",89.25,89.32,2.94]
["2012.02.05.06.32.26",89.25,89.35,3.28]
["2012.02.05.06.33.02",89.25,89.33,3.23]
["2012.02.05.06.33.38",89.25,89.3,3.19]
["2012.02.05.06.34.14",89.25,89.33,3.18]
["2012.02.05.06.34.50",89.25,89.32,3.12]
["2012.02.05.06.35.26",89.25,89.35,3.28]
["2012.02.05.06.36.02",89.25,89.33,3.27]
["2012.02.05.06.36.38",89.22,89.32,2.74]
["2012.02.05.06.37.14",89.25,89.33,3.31]
["2012.02.05.06.37.50",89.22,89.35,2.4700000000000002]
["2012.02.05.06.38.26",89.25,89.35,3.31]
["2012.02.05.06.39.02",89.25,89.33,3.3]
["2012.02.05.06.39.38",89.25,89.32,3.32]
["2012.02.05.06.40.14",89.25,89.32,3.09]
["2012.02.05.06.40.50",89.25,89.3,3.23]
["2012.02.05.06.41.26",89.25,89.35,3.33]
["2012.02.05.06.42.02",89.25,89.35,3.03]
["2012.02.05.06.42.38",89.25,89.32,3.25]
["2012.02.05.06.43.14",89.25,89.32,3.32]
["2012.02.05.06.43.50",89.25,89.3,3.11]
["2012.02.05.06.44.26",89.25,89.32,2.88]
["2012.02.05.06.45.02",89.22,89.3,3.22]
["2012.02.05.06.45.38",89.25,89.33,3.02]
["2012.02.05.06.46.14",89.25,89.33,3.09]
["2012.02.05.06.46.50",89.25,89.32,3.12]
["2012.02.05.06.47.26",89.27,89.35,3.23]
["2012.02.05.06.48.02",89.25,89.32,3.26]
["2012.02.05.06.48.38",89.25,89.35,3.29]
["2012.02.05.06.49.14",89.25,89.33,3.07]
["2012.02.05.06.49.50",89.25,89.33,3]
["2012.02.05.06.50.26",89.25,89.32,3.21]
["2012.02.05.06.51.02",89.25,89.32,2.76]
["2012.02.05.06.51.38",89.25,89.35,3.15]
["2012.02.05.06.52.14",89.25,89.32,3.31]
["2012.02.05.06.52.50",89.25,89.32,3.12]
["2012.02.05.06.53.26",89.25,89.32,3.3]
["2012.02.05.06.54.02",89.25,89.35,3.31]
["2012.02.05.06.54.38",89.25,89.32,3.04]
["2012.02.05.06.55.14",89.25,89.32,3.26]
["2012.02.05.06.55.50",89.25,89.3,2.88]
["2012.02.05.06.56.26",89.25,89.32,3.21]
["2012.02.05.06.57.02",89.25,89.32,3.13]
["2012.02.05.06.57.38",89.25,89.32,3.25]
["2012.02.05.06.58.14",89.23,89.32,3.33]
["2012.02.05.06.58.50",89.25,89.33,3.32]
["2012.02.05.06.59.26",89.25,89.3,3.08]
["2012.02.05.07.00.02",89.25,89.32,3.34]
["2012.02.05.07.00.38",89.25,89.35,3.08]
["2012.02.05.07.01.14",89.25,89.35,3.19]
["2012.02.05.07.01.50",89.25,89.32,3.3]
["2012.02.05.07.02.26",89.25,89.32,3.07]
["2012.02.05.07.03.02",89.25,89.32,3.33]
["2012.02.05.07.03.38",89.25,89.32,3.3]
["2012.02.05.07.04.14",89.25,89.35,3.14]
["2012.02.05.07.04.50",89.25,89.33,3.24]
["2012.02.05.07.05.26",89.25,89.33,3.05]
["2012.02.05.07.06.02",89.22,89.32,3.31]
["2012.02.05.07.06.39",89.25,89.35,3.11]
["2012.02.05.07.07.15",89.25,89.35,3.07]
["2012.02.05.07.07.51",89.26,89.35,3.24]
["2012.02.05.07.08.27",89.25,89.32,2.92]
["2012.02.05.07.09.03",89.25,89.32,3]
["2012.02.05.07.09.39",89.25,89.3,3.3]
["2012.02.05.07.10.15",89.25,89.35,3.12]
["2012.02.05.07.10.51",89.25,89.35,3.17]
["2012.02.05.07.11.27",89.25,89.33,3.28]
["2012.02.05.07.12.03",89.25,89.32,3.1]
["2012.02.05.07.12.39",89.25,89.35,2.52]
["2012.02.05.07.13.15",89.25,89.32,2.93]
["2012.02.05.07.13.51",89.25,89.32,3.08]
["2012.02.05.07.14.27",89.25,89.33,3.35]
["2012.02.05.07.15.03",89.25,89.32,3.24]
["2012.02.05.07.15.39",89.25,89.32,3.35]
["2012.02.05.07.16.15",89.22,89.32,3.15]
["2012.02.05.07.16.51",89.27,89.35,3.02]
["2012.02.05.07.17.27",89.25,89.32,3.26]
["2012.02.05.07.18.03",89.25,89.32,3.25]
["2012.02.05.07.18.39",89.25,89.35,2.85]
["2012.02.05.07.19.15",89.25,89.35,3.22]
["2012.02.05.07.19.51",89.25,89.3,3.34]
["2012.02.05.07.20.27",89.25,89.3,3.18]
["2012.02.05.07.21.03",89.25,89.3,3.25]
["2012.02.05.07.21.39",89.25,89.32,3.3]
["2012.02.05.07.22.15",89.25,89.32,3.2]
["2012.02.05.07.22.51",89.25,89.32,3.23]
["2012.02.05.07.23.27",89.25,89.35,3.3]
["2012.02.05.07.24.03",89.25,89.33,3.3]
["2012.02.05.07.24.39",89.25,89.32,2.86]
["2012.02.05.07.25.15",89.25,89.32,3.14]
["2012.02.05.07.25.51",89.25,89.35,3.23]
["2012.02.05.07.26.27",89.25,89.32,3.12]
["2012.02.05.07.27.03",89.25,89.32,3.31]
["2012.02.05.07.27.39",89.25,89.33,3.22]
["2012.02.05.07.28.15",89.25,89.35,3.38]
["2012.02.05.07.28.51",89.25,89.35,3.29]
["2012.02.05.07.29.27",89.25,89.35,3.25]
["2012.02.05.07.30.03",89.25,89.32,3.34]
["2012.02.05.07.30.39",89.25,89.33,3.3]
["2012.02.05.07.31.15",89.25,89.32,2.96]
["2012.02.05.07.31.51",89.25,89.32,3.24]
["2012.02.05.07.32.27",89.25,89.32,2.96]
["2012.02.05.07.33.03",89.25,89.32,3.24]
["2012.02.05.07.33.39",89.25,89.33,3.28]
["2012.02.05.07.34.15",89.25,89.35,3.17]
["2012.02.05.07.34.51",89.25,89.32,3.07]
["2012.02.05.07.35.27",89.25,89.35,3.02]
["2012.02.05.07.36.03",89.25,89.33,3.07]
["2012.02.05.07.36.39",89.25,89.33,3.34]
["2012.02.05.07.37.15",89.25,89.32,3.14]
["2012.02.05.07.37.51",89.25,89.32,3.34]
["2012.02.05.07.38.27",89.25,89.35,2.91]
["2012.02.05.07.39.03",89.25,89.35,3.39]
["2012.02.05.07.39.39",89.25,89.35,2.96]
["2012.02.05.07.40.15",89.25,89.33,3.07]
["2012.02.05.07.40.51",89.25,89.32,3.17]
["2012.02.05.07.41.27",89.25,89.35,3.36]
["2012.02.05.07.42.03",89.25,89.33,3.04]
["2012.02.05.07.42.39",89.23,89.33,3.34]
["2012.02.05.07.43.15",89.25,89.32,3.28]
["2012.02.05.07.43.51",89.25,89.35,3.31]
["2012.02.05.07.44.27",89.25,89.35,3.14]
["2012.02.05.07.45.03",89.25,89.35,3.25]
["2012.02.05.07.45.39",89.25,89.32,3.3]
["2012.02.05.07.46.15",89.25,89.33,3.26]
["2012.02.05.07.46.51",89.25,89.32,3.22]
["2012.02.05.07.47.27",89.25,89.35,3.28]
["2012.02.05.07.48.03",89.25,89.35,3.23]
["2012.02.05.07.48.39",89.25,89.35,2.87]
["2012.02.05.07.49.15",89.25,89.32,3.34]
["2012.02.05.07.49.51",89.25,89.33,3.17]
["2012.02.05.07.50.27",89.25,89.32,3.37]
["2012.02.05.07.51.03",89.25,89.32,2.78]
["2012.02.05.07.51.39",89.25,89.35,3.24]
["2012.02.05.07.52.15",89.27,89.33,3.13]
["2012.02.05.07.52.51",89.25,89.33,3.24]
["2012.02.05.07.53.27",89.25,89.32,3.35]
["2012.02.05.07.54.03",89.25,89.35,3.2]
["2012.02.05.07.54.39",89.25,89.35,2.94]
["2012.02.05.07.55.16",89.25,89.32,3.04]
["2012.02.05.07.55.52",89.22,89.35,3.25]
["2012.02.05.07.56.28",89.25,89.32,3.29]
["2012.02.05.07.57.04",89.25,89.32,3.26]
["2012.02.05.07.57.40",89.25,89.32,3.25]
["2012.02.05.07.58.16",89.23,89.33,2.5499999999999998]
["2012.02.05.07.58.52",89.25,89.32,3.32]
["2012.02.05.07.59.28",89.25,89.32,3.16]
["2012.02.05.08.00.04",89.25,89.32,3]
["2012.02.05.08.00.40",89.25,89.32,3.35]
["2012.02.05.08.01.16",89.25,89.33,2.9]
["2012.02.05.08.01.52",89.25,89.33,3.26]
["2012.02.05.08.02.28",89.25,89.32,3.15]
["2012.02.05.08.03.04",89.25,89.32,3.11]
["2012.02.05.08.03.40",89.25,89.35,3.09]
["2012.02.05.08.04.16",89.25,89.32,3.2]
["2012.02.05.08.04.52",89.25,89.32,3.19]
["2012.02.05.08.05.28",89.25,89.33,3.11]
["2012.02.05.08.06.04",89.25,89.32,3.1]
["2012.02.05.08.06.40",89.25,89.35,3.33]
["2012.02.05.08.07.16",89.25,89.33,3.05]
["2012.02.05.08.07.52",89.25,89.35,3.11]
["2012.02.05.08.08.28",89.25,89.33,3.29]
["2012.02.05.08.09.04",89.25,89.3,2.99]
["2012.02.05.08.09.40",89.25,89.32,3.33]
["2012.02.05.08.10.16",89.25,89.32,2.85]
["2012.02.05.08.10.52",89.25,89.33,3.12]
["2012.02.05.08.11.28",89.25,89.33,3.3]
["2012.02.05.08.12.04",89.25,89.3,2.99]
["2012.02.05.08.12.40",89.25,89.35,3.2]
["2012.02.05.08.13.16",89.25,89.32,3.3]
["2012.02.05.08.13.52",89.25,89.33,3.14]
["2012.02.05.08.14.28",89.25,89.33,3.13]
["2012.02.05.08.15.04",89.25,89.35,3.21]
["2012.02.05.08.15.40",89.25,89.32,2.95]
["2012.02.05.08.16.16",89.25,89.35,3.06]
["2012.02.05.08.16.52",89.25,89.32,3.31]
["2012.02.05.08.17.28",89.25,89.33,3.28]
["2012.02.05.08.18.04",89.27,89.32,2.95]
["2012.02.05.08.18.40",89.25,89.35,3.17]
["2012.02.05.08.19.16",89.25,89.32,3.15]
["2012.02.05.08.19.52",89.25,89.35,3.31]
["2012.02.05.08.20.28",89.25,89.35,3.18]
["2012.02.05.08.21.04",89.25,89.33,3.03]
["2012.02.05.08.21.40",89.25,89.32,3.33]
["2012.02.05.08.22.16",89.25,89.35,3.31]
["2012.02.05.08.22.52",89.25,89.33,2.79]
["2012.02.05.08.23.28",89.25,89.32,3.01]
["2012.02.05.08.24.04",89.25,89.32,3.13]
["2012.02.05.08.24.40",89.25,89.35,3.27]
["2012.02.05.08.25.16",89.25,89.32,3.33]
["2012.02.05.08.25.52",89.26,89.33,3.07]
["2012.02.05.08.26.28",89.23,89.33,2.98]
["2012.02.05.08.27.04",89.25,89.33,2.95]
["2012.02.05.08.27.40",89.25,89.32,2.81]
["2012.02.05.08.28.16",89.27,89.35,3.02]
["2012.02.05.08.28.52",89.25,89.35,2.78]
["2012.02.05.08.29.28",89.25,89.3,3.33]
["2012.02.05.08.30.04",89.25,89.32,3.32]
["2012.02.05.08.30.40",89.25,89.32,3.26]
["2012.02.05.08.31.16",89.25,89.32,2.88]
["2012.02.05.08.31.52",89.25,89.35,3.12]
["2012.02.05.08.32.28",89.25,89.33,3.3]
["2012.02.05.08.33.04",89.22,89.32,3.18]
["2012.02.05.08.33.40",89.25,89.3,3.18]
["2012.02.05.08.34.16",89.25,89.32,3.3]
["2012.02.05.08.34.52",89.25,89.32,3.17]
["2012.02.05.08.35.28",89.25,89.35,3.08]
["2012.02.05.08.36.04",89.25,89.32,3.1]
["2012.02.05.08.36.40",89.25,89.33,3.05]
["2012.02.05.08.37.16",89.25,89.3,3.21]
["2012.02.05.08.37.52",89.25,89.35,3.3]
["2012.02.05.08.38.28",89.25,89.33,2.89]
["2012.02.05.08.39.04",89.25,89.33,3.17]
["2012.02.05.08.39.40",89.25,89.33,3.05]
["2012.02.05.08.40.16",89.25,89.32,3.31]
["2012.02.05.08.40.52",89.22,89.35,3.12]
["2012.02.05.08.41.28",89.25,89.32,2.86]
["2012.02.05.08.42.04",89.25,89.33,3.09]
["2012.02.05.08.42.41",89.25,89.32,3.35]
["2012.02.05.08.43.17",89.25,89.32,3.35]
["2012.02.05.08.43.53",89.25,89.35,3.15]
["2012.02.05.08.44.29",89.25,89.32,2.99]
["2012.02.05.08.45.05",89.25,89.33,3.01]
["2012.02.05.08.45.41",89.25,89.33,2.65]
["2012.02.05.08.46.17",89.25,89.35,3.23]
["2012.02.05.08.46.53",89.25,89.35,2.83]
["2012.02.05.08.47.29",89.25,89.35,3.09]
["2012.02.05.08.48.05",89.25,89.35,3.22]
["2012.02.05.08.48.41",89.25,89.32,3.2]
["2012.02.05.08.49.17",89.22,89.32,2.98]
["2012.02.05.08.49.53",89.25,89.35,3.2]
["2012.02.05.08.50.29",89.27,89.35,3.32]
["2012.02.05.08.51.05",89.25,89.32,3.1]
["2012.02.05.08.51.41",89.25,89.32,3.2]
["2012.02.05.08.52.17",89.25,89.35,3.27]
["2012.02.05.08.52.53",89.25,89.35,3.3]
["2012.02.05.08.53.29",89.25,89.35,3.33]
["2012.02.05.08.54.05",89.25,89.33,3.19]
["2012.02.05.08.54.41",89.25,89.35,3.05]
["2012.02.05.08.55.17",89.25,89.33,3.09]
["2012.02.05.08.55.53",89.25,89.32,3.31]
["2012.02.05.08.56.29",89.25,89.32,3.34]
["2012.02.05.08.57.05",89.25,89.35,2.88]
["2012.02.05.08.57.41",89.25,89.33,3.14]
["2012.02.05.08.58.17",89.25,89.32,3.31]
["2012.02.05.08.58.53",89.25,89.35,3.07]
["2012.02.05.08.59.29",89.25,89.35,3.05]
["2012.02.05.09.00.05",89.25,89.35,3.22]
["2012.02.05.09.00.41",89.25,89.33,2.92]
["2012.02.05.09.01.17",89.25,89.32,3.27]
["2012.02.05.09.01.53",89.25,89.35,3.02]
["2012.02.05.09.02.29",89.25,89.35,3.19]
["2012.02.05.09.03.05",89.27,89.35,3.28]
["2012.02.05.09.03.41",89.25,89.33,2.86]
["2012.02.05.09.04.17",89.25,89.32,3.17]
["2012.02.05.09.04.53",89.25,89.32,3.16]
["2012.02.05.09.05.29",89.22,89.35,2.99]
["2012.02.05.09.06.05",89.25,89.32,3.28]
["2012.02.05.09.06.41",89.25,89.33,3.02]
["2012.02.05.09.07.17",89.25,89.32,3.1]
["2012.02.05.09.07.53",89.25,89.33,3.28]
["2012.02.05.09.08.29",89.25,89.35,2.83]
["2012.02.05.09.09.05",89.25,89.35,3.13]
["2012.02.05.09.09.41",89.25,89.33,3.33]
["2012.02.05.09.10.17",89.25,89.32,3.19]
["2012.02.05.09.10.53",89.25,89.35,3.2]
["2012.02.05.09.11.29",89.25,89.35,3.1]
["2012.02.05.09.12.05",89.25,89.32,3.26]
["2012.02.05.09.12.41",89.25,89.33,3.17]
["2012.02.05.09.13.17",89.25,89.33,2.93]
["2012.02.05.09.13.53",89.25,89.33,3.21]
["2012.02.05.09.14.29",89.25,89.35,3.3]
["2012.02.05.09.15.05",89.25,89.3,3.25]
["2012.02.05.09.15.41",89.25,89.32,2.93]
["2012.02.05.09.16.17",89.25,89.32,3.25]
["2012.02.05.09.16.53",89.25,89.32,3.31]
["2012.02.05.09.17.29",89.25,89.35,2.87]
["2012.02.05.09.18.05",89.25,89.35,3.27]
["2012.02.05.09.18.41",89.25,89.35,2.97]
["2012.02.05.09.19.17",89.25,89.33,3.17]
["2012.02.05.09.19.53",89.25,89.32,3.32]
["2012.02.05.09.20.29",89.25,89.32,3.15]
["2012.02.05.09.21.05",89.25,89.35,3.14]
["2012.02.05.09.21.41",89.25,89.35,3.14]
["2012.02.05.09.22.17",89.25,89.33,3.28]
["2012.02.05.09.22.53",89.25,89.33,3.24]
["2012.02.05.09.23.29",89.25,89.32,3.32]
["2012.02.05.09.24.05",89.25,89.32,3.02]
["2012.02.05.09.24.41",89.25,89.35,3.18]
["2012.02.05.09.25.17",89.25,89.35,3.28]
["2012.02.05.09.25.53",89.25,89.32,3.32]
["2012.02.05.09.26.29",89.25,89.33,3.33]
["2012.02.05.09.27.05",89.25,89.35,3.29]
["2012.02.05.09.27.41",89.25,89.32,3.35]
["2012.02.05.09.28.17",89.25,89.3,3.22]
["2012.02.05.09.28.53",89.25,89.33,3.33]
["2012.02.05.09.29.29",89.25,89.33,3.12]
["2012.02.05.09.30.05",89.25,89.35,3.22]
["2012.02.05.09.30.41",89.25,89.35,3.12]
["2012.02.05.09.31.18",89.25,89.35,3.2]
["2012.02.05.09.31.54",89.25,89.32,3.09]
["2012.02.05.09.32.30",89.25,89.33,3.14]
["2012.02.05.09.33.06",89.25,89.32,3.35]
["2012.02.05.09.33.42",89.25,89.35,3.25]
["2012.02.05.09.34.18",89.27,89.3,3.09]
["2012.02.05.09.34.54",89.25,89.35,3.34]
["2012.02.05.09.35.30",89.25,89.33,2.73]
["2012.02.05.09.36.06",89.25,89.33,3.34]
["2012.02.05.09.36.42",89.25,89.35,3.05]
["2012.02.05.09.37.18",89.25,89.35,3.2]
["2012.02.05.09.37.54",89.25,89.33,3.31]
["2012.02.05.09.38.30",89.25,89.33,3.05]
["2012.02.05.09.39.06",89.25,89.32,3.24]
["2012.02.05.09.39.42",89.25,89.35,3.11]
["2012.02.05.09.40.18",89.25,89.32,3.11]
["2012.02.05.09.40.54",89.26,89.35,3.12]
["2012.02.05.09.41.30",89.25,89.32,3.2]
["2012.02.05.09.42.06",89.25,89.33,3.35]
["2012.02.05.09.42.42",89.25,89.32,3.3]
["2012.02.05.09.43.18",89.27,89.35,3.31]
["2012.02.05.09.43.54",89.25,89.32,3.28]
["2012.02.05.09.44.30",89.25,89.35,2.71]
["2012.02.05.09.45.06",89.25,89.35,3.1]
["2012.02.05.09.45.42",89.25,89.35,3.24]
["2012.02.05.09.46.18",89.25,89.32,3.24]
["2012.02.05.09.46.54",89.25,89.35,3.12]
["2012.02.05.09.47.30",89.25,89.33,2.77]
["2012.02.05.09.48.06",89.25,89.32,3.32]
["2012.02.05.09.48.42",89.25,89.35,3.18]
["2012.02.05.09.49.18",89.25,89.32,3.33]
["2012.02.05.09.49.54",89.25,89.35,3.27]
["2012.02.05.09.50.30",89.25,89.3,3.08]
["2012.02.05.09.51.06",89.25,89.33,3.12]
["2012.02.05.09.51.42",89.25,89.32,3.27]
["2012.02.05.09.52.18",89.25,89.35,3.28]
["2012.02.05.09.52.54",89.25,89.35,3.23]
["2012.02.05.09.53.30",89.25,89.33,2.94]
["2012.02.05.09.54.06",89.25,89.33,3.26]
["2012.02.05.09.54.42",89.25,89.35,3.34]
["2012.02.05.09.55.18",89.25,89.35,2.94]
["2012.02.05.09.55.54",89.25,89.32,3.22]
["2012.02.05.09.56.30",89.25,89.35,2.83]
["2012.02.05.09.57.06",89.25,89.32,2.96]
["2012.02.05.09.57.42",89.25,89.32,3.29]
["2012.02.05.09.58.18",89.25,89.35,3.27]
["2012.02.05.09.58.54",89.25,89.35,3.35]
["2012.02.05.09.59.30",89.25,89.35,3.24]
["2012.02.05.10.00.06",89.25,89.33,3.17]
["2012.02.05.10.00.42",89.25,89.33,2.94]
["2012.02.05.10.01.18",89.22,89.3,3.2]
["2012.02.05.10.01.54",89.25,89.32,3.33]
["2012.02.05.10.02.30",89.25,89.35,3.12]
["2012.02.05.10.03.06",89.25,89.32,3.17]
["2012.02.05.10.03.42",89.25,89.33,3.32]
["2012.02.05.10.04.18",89.25,89.35,3.17]
["2012.02.05.10.04.54",89.25,89.32,2.95]
["2012.02.05.10.05.30",89.25,89.32,3.34]
["2012.02.05.10.06.06",89.25,89.32,3.07]
["2012.02.05.10.06.42",89.25,89.33,3.16]
["2012.02.05.10.07.18",89.25,89.35,3.34]
["2012.02.05.10.07.54",89.25,89.35,3.16]
["2012.02.05.10.08.30",89.25,89.32,3.23]
["2012.02.05.10.09.06",89.25,89.35,3.2]
["2012.02.05.10.09.42",89.25,89.35,3.3]
["2012.02.05.10.10.18",89.22,89.32,2.82]
["2012.02.05.10.10.54",89.25,89.35,3.3]
["2012.02.05.10.11.30",89.25,89.35,3.2]
["2012.02.05.10.12.06",89.25,89.33,3.24]
["2012.02.05.10.12.42",89.25,89.32,3.37]
["2012.02.05.10.13.18",89.25,89.32,3.17]
["2012.02.05.10.13.54",89.25,89.32,3.18]
["2012.02.05.10.14.30",89.25,89.35,3.3]
["2012.02.05.10.15.06",89.25,89.35,3.13]
["2012.02.05.10.15.42",89.25,89.33,3.21]
["2012.02.05.10.16.18",89.25,89.33,3.21]
["2012.02.05.10.16.54",89.25,89.35,3.18]
["2012.02.05.10.17.30",89.25,89.35,3.31]
["2012.02.05.10.18.06",89.25,89.35,3.11]
["2012.02.05.10.18.42",89.25,89.3,3.19]
["2012.02.05.10.19.18",89.25,89.33,3.24]
["2012.02.05.10.19.55",89.25,89.35,3.21]
["2012.02.05.10.20.31",89.25,89.35,2.86]
["2012.02.05.10.21.07",89.25,89.35,3.12]
["2012.02.05.10.21.43",89.25,89.33,3.32]
["2012.02.05.10.22.19",89.25,89.35,3.09]
["2012.02.05.10.22.55",89.25,89.35,3.19]
["2012.02.05.10.23.31",89.22,89.35,3.14]
["2012.02.05.10.24.07",89.25,89.35,3.25]
["2012.02.05.10.24.43",89.25,89.33,3.29]
["2012.02.05.10.25.19",89.25,89.33,3.1]
["2012.02.05.10.25.55",89.25,89.35,3.32]
["2012.02.05.10.26.31",89.25,89.35,3.18]
["2012.02.05.10.27.07",89.25,89.35,2.9]
["2012.02.05.10.27.43",89.25,89.33,3.23]
["2012.02.05.10.28.19",89.25,89.32,3.06]
["2012.02.05.10.28.55",89.25,89.35,2.93]
["2012.02.05.10.29.31",89.25,89.32,3.14]
["2012.02.05.10.30.07",89.25,89.33,3.19]
["2012.02.05.10.30.43",89.25,89.35,2.72]
["2012.02.05.10.31.19",89.25,89.32,3.18]
["2012.02.05.10.31.55",89.25,89.32,3.33]
["2012.02.05.10.32.31",89.25,89.32,3.34]
["2012.02.05.10.33.07",89.25,89.35,2.92]
["2012.02.05.10.33.43",89.25,89.32,2.75]
["2012.02.05.10.34.19",89.25,89.32,3.02]
["2012.02.05.10.34.55",89.22,89.32,3.25]
["2012.02.05.10.35.31",89.25,89.32,3.27]
["2012.02.05.10.36.07",89.25,89.32,3.09]
["2012.02.05.10.36.43",89.25,89.33,2.75]
["2012.02.05.10.37.19",89.25,89.32,3.13]
["2012.02.05.10.37.55",89.25,89.3,3.29]
["2012.02.05.10.38.31",89.25,89.32,3.16]
["2012.02.05.10.39.07",89.25,89.35,3.09]
["2012.02.05.10.39.43",89.25,89.33,3.22]
["2012.02.05.10.40.19",89.25,89.32,3.1]
["2012.02.05.10.40.55",89.27,89.32,3.29]
["2012.02.05.10.41.31",89.25,89.32,3.15]
["2012.02.05.10.42.07",89.25,89.3,3.01]
["2012.02.05.10.42.43",89.25,89.32,3.09]
["2012.02.05.10.43.19",89.25,89.3,3.33]
["2012.02.05.10.43.55",89.25,89.32,3.1]
["2012.02.05.10.44.31",89.25,89.35,3.21]
["2012.02.05.10.45.07",89.25,89.32,3.12]
["2012.02.05.10.45.43",89.25,89.33,3.23]
["2012.02.05.10.46.19",89.25,89.33,3.23]
["2012.02.05.10.46.55",89.25,89.35,2.98]
["2012.02.05.10.47.31",89.25,89.35,3.19]
["2012.02.05.10.48.07",89.25,89.32,2.76]
["2012.02.05.10.48.43",89.25,89.32,3.12]
["2012.02.05.10.49.19",89.25,89.33,3.14]
["2012.02.05.10.49.55",89.25,89.32,3.07]
["2012.02.05.10.50.31",89.25,89.32,3.35]
["2012.02.05.10.51.07",89.25,89.35,3.08]
["2012.02.05.10.51.43",89.25,89.33,3.02]
["2012.02.05.10.52.19",89.22,89.33,3.2]
["2012.02.05.10.52.55",89.25,89.32,3.18]
["2012.02.05.10.53.31",89.25,89.32,3.25]
["2012.02.05.10.54.07",89.25,89.32,3.06]
["2012.02.05.10.54.43",89.25,89.35,3.21]
["2012.02.05.10.55.19",89.25,89.32,3.17]
["2012.02.05.10.55.55",89.25,89.3,3.36]
["2012.02.05.10.56.31",89.25,89.32,3.12]
["2012.02.05.10.57.07",89.25,89.32,3.13]
["2012.02.05.10.57.43",89.25,89.35,3.26]
["2012.02.05.10.58.19",89.25,89.33,3.04]
["2012.02.05.10.58.55",89.25,89.32,3.25]
["2012.02.05.10.59.32",89.25,89.3,3.06]
["2012.02.05.11.00.08",89.25,89.32,2.82]
["2012.02.05.11.00.44",89.25,89.32,3.11]
["2012.02.05.11.01.20",89.25,89.33,2.62]
["2012.02.05.11.01.56",89.25,89.33,3.24]
["2012.02.05.11.02.32",89.25,89.32,3.19]
["2012.02.05.11.03.08",89.22,89.35,3]
["2012.02.05.11.03.44",89.25,89.35,3.33]
["2012.02.05.11.04.20",89.25,89.33,3.26]
["2012.02.05.11.04.56",89.25,89.32,3.04]
["2012.02.05.11.05.32",89.25,89.32,3.27]
["2012.02.05.11.06.08",89.25,89.32,3.26]
["2012.02.05.11.06.44",89.25,89.32,3.22]
["2012.02.05.11.07.20",89.25,89.32,3.19]
["2012.02.05.11.07.56",89.25,89.35,2.99]
["2012.02.05.11.08.32",89.25,89.32,3.06]
["2012.02.05.11.09.08",89.25,89.35,3.33]
["2012.02.05.11.09.44",89.25,89.32,3.28]
["2012.02.05.11.10.20",89.25,89.3,3.27]
["2012.02.05.11.10.56",89.25,89.32,3.1]
["2012.02.05.11.11.32",89.25,89.32,3.21]
["2012.02.05.11.12.08",89.25,89.32,3.02]
["2012.02.05.11.12.44",89.25,89.32,3.27]
["2012.02.05.11.13.20",89.26,89.33,3.36]
["2012.02.05.11.13.56",89.25,89.32,3.1]
["2012.02.05.11.14.32",89.25,89.33,3.33]
["2012.02.05.11.15.08",89.25,89.35,2.98]
["2012.02.05.11.15.44",89.25,89.3,3.21]
["2012.02.05.11.16.20",89.25,89.35,3.3]
["2012.02.05.11.16.56",89.25,89.32,3.14]
["2012.02.05.11.17.32",89.25,89.33,3.25]
["2012.02.05.11.18.08",89.25,89.35,3.28]
["2012.02.05.11.18.44",89.25,89.35,3.26]
["2012.02.05.11.19.20",89.25,89.3,3.31]
["2012.02.05.11.19.56",89.25,89.35,3.19]
["2012.02.05.11.20.32",89.22,89.33,3.28]
["2012.02.05.11.21.08",89.25,89.32,2.95]
["2012.02.05.11.21.44",89.25,89.3,3.29]
["2012.02.05.11.22.20",89.25,89.32,3.04]
["2012.02.05.11.22.56",89.25,89.32,3.05]
["2012.02.05.11.23.32",89.22,89.32,3.18]
["2012.02.05.11.24.08",89.25,89.32,3.24]
["2012.02.05.11.24.44",89.25,89.35,2.91]
["2012.02.05.11.25.20",89.22,89.32,3.28]
["2012.02.05.11.25.56",89.25,89.32,3.03]
["2012.02.05.11.26.32",89.25,89.32,3.19]
["2012.02.05.11.27.08",89.25,89.33,3.22]
["2012.02.05.11.27.44",89.27,89.32,3.31]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}