{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Warm Study","Data"],"not_rendered":{"charts":2,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Warm Study","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Data","index":1,"n_rows":326,"n_cols":10,"rows_kept":326,"cut":false,"hidden":false,"merged":[]}
["Date","T1","T2","Avg T",null,"Spike Rate",null,"Noise Rate"]
["2012-01-12T14:00:00",295.5972222222224,295.5972222222224,{"$f":"AVERAGE(B2:C2)","v":295.5972222222224},null,7,null,2,null,{"$f":"A258-A2","v":10.666666671757412}]
["2012-01-12T15:00:00",295.60799999999949,295.68800000000044,{"$f":"AVERAGE(B3:C3)","v":295.64799999999997},null,1,null,4]
["2012-01-12T16:00:00",295.66000000000003,295.68800000000044,295.67400000000021,null,3,null,5]
["2012-01-12T17:00:00",295.62727272727221,295.65363636363611,295.64045454545419,null,5,null,6]
["2012-01-12T18:00:00",295.61499999999955,295.58299999999969,295.59899999999959,null,7,null,4]
["2012-01-12T19:00:00",295.60999999999962,295.51000000000005,295.55999999999983,null,7,null,0]
["2012-01-12T20:00:00",295.58399999999966,295.49600000000004,295.53999999999985,null,8,null,0]
["2012-01-12T21:00:00",295.54500000000002,295.49799999999999,295.5215,null,9,null,0]
["2012-01-12T22:00:00",295.49900000000008,295.45400000000041,295.47650000000021,null,9,null,0]
["2012-01-12T23:00:00",295.41400000000044,295.39700000000045,295.40550000000042,null,8,null,0]
["2012-01-13",295.41000000000031,295.38500000000045,295.39750000000038,null,6,null,0]
["2012-01-13T01:00:00",295.34299999999968,295.36200000000008,295.35249999999985,null,10,null,0]
["2012-01-13T02:00:00",295.30499999999961,295.29099999999949,295.29799999999955,null,6,null,0]
["2012-01-13T03:00:00",295.2170000000005,295.2230000000003,295.22000000000037,null,9,null,0]
["2012-01-13T04:00:00",295.20100000000036,295.19000000000045,295.19550000000038,null,6,null,0]
["2012-01-13T05:00:00",295.11399999999946,295.13799999999958,295.12599999999952,null,6,null,0]
["2012-01-13T06:00:00",295.03400000000005,295.08399999999961,295.05899999999986,null,7,null,0]
["2012-01-13T07:00:00",295.00900000000007,294.98500000000007,294.99700000000007,null,8,null,0]
["2012-01-13T08:00:00",295.02499999999981,294.99800000000005,295.01149999999996,null,8,null,1]
["2012-01-13T09:00:00",295.10399999999953,295.05399999999952,295.0789999999995,null,7,null,2]
["2012-01-13T10:00:00",295.10399999999959,295.08999999999952,295.09699999999953,null,6,null,1]
["2012-01-13T11:00:00",295.18000000000052,295.12000000000012,295.15000000000032,null,9,null,4]
["2012-01-13T12:00:00",295.2050000000005,295.18400000000042,295.19450000000046,null,9,null,5]
["2012-01-13T13:00:00",295.24400000000003,295.25699999999955,295.25049999999976,null,8,null,1]
["2012-01-13T14:00:00",295.30799999999954,295.3430000000003,295.32549999999992,null,8,null,4]
["2012-01-13T15:00:00",295.31199999999956,295.30599999999953,295.30899999999951,null,11,null,1]
["2012-01-13T16:00:00",295.31099999999952,295.28899999999953,295.2999999999995,null,6,null,3]
["2012-01-13T17:00:00",295.30999999999955,295.28599999999955,295.29799999999955,null,7,null,2]
["2012-01-13T18:00:00",295.31399999999957,295.2829999999995,295.29849999999954,null,11,null,5]
["2012-01-13T19:00:00",295.31299999999959,295.28799999999956,295.3004999999996,null,10,null,3]
["2012-01-13T20:00:00",295.31599999999958,295.28699999999952,295.30149999999958,null,6,null,4]
["2012-01-13T21:00:00",295.31299999999959,295.28899999999953,295.30099999999959,null,9,null,4]
["2012-01-13T22:00:00",295.30699999999962,295.26999999999975,295.28849999999966,null,12,null,4]
["2012-01-13T23:00:00",295.3070707070703,295.26969696969672,295.28838383838354,null,12,null,5]
["2012-01-14",295.31099999999958,295.2270000000002,295.26899999999989,null,9,null,6]
["2012-01-14T01:00:00",295.30599999999964,295.19500000000039,295.25049999999999,null,10,null,5]
["2012-01-14T02:00:00",295.30199999999962,295.19200000000035,295.24699999999996,null,8,null,7]
["2012-01-14T03:00:00",295.27,295.19800000000049,295.23400000000026,null,10,null,5]
["2012-01-14T04:00:00",295.20600000000047,295.19300000000044,295.19950000000046,null,8,null,8]
["2012-01-14T05:00:00",295.21200000000039,295.166,295.18900000000019,null,8,null,6]
["2012-01-14T06:00:00",295.12599999999952,295.09299999999951,295.10949999999951,null,10,null,3]
["2012-01-14T07:00:00",295.10799999999949,295.0819999999996,295.09499999999957,null,6,null,7]
["2012-01-14T08:00:00",295.05700000000002,295.02600000000007,295.04150000000004,null,9,null,3]
["2012-01-14T09:00:00",295.00800000000004,294.99300000000005,295.00050000000005,null,10,null,2]
["2012-01-14T10:00:00",295.00900000000001,294.98700000000002,294.99800000000005,null,12,null,0]
["2012-01-14T11:00:00",295.01100000000008,294.99099999999999,295.00100000000003,null,8,null,0]
["2012-01-14T12:00:00",295.01100000000002,294.988,294.99950000000001,null,10,null,1]
["2012-01-14T13:00:00",295.01,294.99099999999999,295.00049999999999,null,8,null,0]
["2012-01-14T14:00:00",295.00900000000001,294.988,294.99850000000004,null,9,null,0]
["2012-01-14T15:00:00",295.01010101010098,294.99099999999993,295.00055050505046,null,10,null,0]
["2012-01-14T16:00:00",295.00400000000002,294.98299999999995,294.99349999999998,null,8,null,12]
["2012-01-14T17:00:00",295.00400000000002,294.99,294.99700000000001,null,8,null,4]
["2012-01-14T18:00:00",295.00404040404044,294.98900000000003,294.99652020202024,null,11,null,5]
["2012-01-14T19:00:00",295.00700000000001,294.99199999999996,294.99950000000001,null,10,null,15]
["2012-01-14T20:00:00",295.01000000000005,294.99600000000004,295.00300000000004,null,8,null,14]
["2012-01-14T21:00:00",295.01199999999994,294.98999999999995,295.00099999999998,null,7,null,5]
["2012-01-14T22:00:00",295.05199999999962,294.99899999999997,295.02549999999979,null,8,null,10]
["2012-01-14T23:00:00",295.0525252525249,294.99898989898986,295.02575757575738,null,8,null,6]
["2012-01-15",295.10799999999949,295.06099999999952,295.08449999999948,null,8,null,4]
["2012-01-15T01:00:00",295.10699999999952,295.09099999999955,295.09899999999953,null,8,null,7]
["2012-01-15T02:00:00",295.10499999999951,295.09399999999948,295.09949999999947,null,9,null,13]
["2012-01-15T03:00:00",295.10399999999953,295.09499999999952,295.09949999999952,null,10,null,12]
["2012-01-15T04:00:00",295.14300000000003,295.13600000000025,295.13950000000011,null,5,null,6]
["2012-01-15T05:00:00",295.21000000000043,295.18300000000045,295.19650000000047,null,6,null,19]
["2012-01-15T06:00:00",295.2090000000004,295.19000000000045,295.1995000000004,null,10,null,20]
["2012-01-15T07:00:00",295.20300000000049,295.19000000000045,{"$f":"AVERAGE(B67:C67)","v":295.19650000000047},null,12,null,35]
["2012-01-15T08:00:00",295.20700000000051,295.19300000000044,295.2000000000005,null,6,null,4]
["2012-01-15T09:00:00",295.21100000000047,295.18900000000042,295.20000000000044,null,9,null,7]
["2012-01-15T10:00:00",295.2230000000003,295.221,295.22200000000015,null,10,null,9]
["2012-01-15T11:00:00",295.28399999999982,295.27599999999961,295.27999999999975,null,7,null,6]
["2012-01-15T12:00:00",295.29799999999966,295.28499999999957,295.29149999999959,null,7,null,9]
["2012-01-15T13:00:00",295.30899999999963,295.28099999999949,295.29499999999956,null,6,null,10]
["2012-01-15T14:00:00",295.30699999999962,295.25999999999988,295.28349999999978,null,8,null,8]
["2012-01-15T15:00:00",295.30799999999959,295.22600000000023,295.26699999999994,null,9,null,21]
["2012-01-15T16:00:00",295.30499999999961,295.19900000000035,295.25199999999995,null,11,null,8]
["2012-01-15T17:00:00",295.30699999999956,295.21100000000018,295.2589999999999,null,6,null,11]
["2012-01-15T18:00:00",295.3099999999996,295.26599999999968,295.28799999999967,null,8,null,13]
["2012-01-15T19:00:00",295.31199999999956,295.2879999999995,295.2999999999995,null,8,null,11]
["2012-01-15T20:00:00",295.30899999999957,295.2999999999999,295.30449999999973,null,7,null,12]
["2012-01-15T21:00:00",295.33099999999979,295.38300000000049,295.35700000000014,null,6,null,14]
["2012-01-15T22:00:00",295.41300000000041,295.39200000000051,295.40250000000049,null,8,null,13]
["2012-01-15T23:00:00",295.41212121212163,295.39191919191967,295.40202020202065,null,6,null,7]
["2012-01-16",295.40700000000044,295.43000000000006,295.41850000000022,null,10,null,24]
["2012-01-16T01:00:00",295.42600000000033,295.48099999999994,295.45350000000013,null,9,null,15]
["2012-01-16T02:00:00",295.49,295.48999999999995,295.49,null,10,null,20]
["2012-01-16T03:00:00",295.50400000000002,295.49399999999997,295.49900000000002,null,7,null,19]
["2012-01-16T04:00:00",295.5,295.49099999999999,295.49549999999999,null,5,null,29]
["2012-01-16T05:00:00",295.50099999999998,295.49299999999999,295.49699999999996,null,7,null,29]
["2012-01-16T06:00:00",295.50799999999998,295.49100000000004,295.49950000000001,null,10,null,31]
["2012-01-16T07:00:00",295.51199999999994,295.49100000000004,295.50149999999996,null,8,null,40]
["2012-01-16T08:00:00",295.52799999999991,295.495,295.51149999999996,null,7,null,27]
["2012-01-16T09:00:00",295.55099999999982,295.49600000000004,295.5234999999999,null,11,null,15]
["2012-01-16T10:00:00",295.53000000000003,295.49200000000002,295.51100000000002,null,10,null,12]
["2012-01-16T11:00:00",295.53399999999999,295.49400000000003,295.51400000000001,null,6,null,6]
["2012-01-16T12:00:00",295.55399999999969,295.49200000000002,295.52299999999985,null,9,null,10]
["2012-01-16T13:00:00",295.56999999999965,295.50400000000002,295.53699999999981,null,11,null,21]
["2012-01-16T14:00:00",295.59299999999968,295.49100000000004,295.54199999999986,null,8,null,19]
["2012-01-16T15:00:00",295.58599999999961,295.49300000000005,295.53949999999986,null,9,null,16]
["2012-01-16T16:00:00",295.59699999999953,295.49100000000004,295.54399999999976,null,10,null,6]
["2012-01-16T17:00:00",295.60399999999959,295.51899999999989,295.56149999999974,null,9,null,13]
["2012-01-16T18:00:00",295.61399999999963,295.5469999999998,295.58049999999969,null,7,null,11]
["2012-01-16T19:00:00",295.61399999999941,295.56999999999954,295.59199999999947,null,9,null,14]
["2012-01-16T20:00:00",295.61399999999952,295.56299999999965,295.58849999999961,null,10,null,11]
["2012-01-16T21:00:00",295.61699999999951,295.57999999999953,295.59849999999949,null,7,null,12]
["2012-01-16T22:00:00",295.6099999999995,295.57999999999959,295.59499999999957,null,9,null,10]
["2012-01-16T23:00:00",295.61010101010055,295.57979797979755,295.59494949494905,null,12,null,5]
["2012-01-17",295.60699999999952,295.59299999999951,295.59999999999951,null,8,null,5]
["2012-01-17T01:00:00",295.61599999999953,295.58999999999958,295.60299999999955,null,8,null,0]
["2012-01-17T02:00:00",295.62199999999956,295.58799999999957,295.60499999999956,null,11,null,4]
["2012-01-17T03:00:00",295.61999999999955,295.58899999999954,295.60449999999958,null,9,null,7]
["2012-01-17T04:00:00",295.61399999999952,295.58999999999952,295.60199999999952,null,10,null,6]
["2012-01-17T05:00:00",295.61799999999948,295.58299999999969,295.60049999999956,null,10,null,6]
["2012-01-17T06:00:00",295.60399999999953,295.55499999999995,295.57949999999971,null,9,null,6]
["2012-01-17T07:00:00",295.6129999999996,295.49999999999994,295.5564999999998,null,5,null,4]
["2012-01-17T08:00:00",294.78979591836719,285.57979797979772,290.18479694908245,null,"n/a",61,10]
["2012-01-17T09:00:00",295.85500000000042,295.82900000000041,295.84200000000044,null,"n/a",47,6]
["2012-01-17T10:00:00",296.05899999999946,296.07299999999987,296.06599999999969,null,1,null,2]
["2012-01-17T11:00:00",296.22600000000011,296.25999999999971,296.24299999999994,null,3,null,0]
["2012-01-17T12:00:00",296.37000000000046,296.42199999999991,296.39600000000019,null,1,null,0]
["2012-01-17T13:00:00",296.52199999999971,296.5829999999998,296.55249999999978,null,0,null,1]
["2012-01-17T14:00:00",296.6099999999995,296.70100000000025,296.65549999999985,null,0,null,1]
["2012-01-17T15:00:00",296.61499999999955,296.70600000000042,296.66049999999996,null,1,null,0]
["2012-01-17T16:00:00",296.61599999999953,296.67500000000035,296.64549999999997,null,0,null,0]
["2012-01-17T17:00:00",296.59999999999968,296.60699999999963,296.60349999999966,null,2,null,0]
["2012-01-17T18:00:00",296.536,296.58899999999954,296.56249999999977,null,1,null,0]
["2012-01-17T19:00:00",296.51400000000001,296.58999999999958,296.55199999999979,null,2,null,0]
["2012-01-17T20:00:00",296.51600000000002,296.57999999999953,296.54799999999977,null,2,null,0]
["2012-01-17T21:00:00",296.51800000000003,296.57499999999959,296.54649999999981,null,1,null,0]
["2012-01-17T22:00:00",296.5,296.53333333333336,296.51666666666665,null,1,null,0]
["2012-01-17T23:00:00",296.5,296.5,{"$f":"AVERAGE(B131:C131)","v":296.5},null,0,null,0]
[{"$f":"A131+0.0416666667","v":"2012-01-18"},296.51599999999996,296.50399999999991,296.50999999999993,null,0,null,0]
[{"$f":"A132+0.0416666667","v":"2012-01-18T01:00:00"},296.50299999999999,296.488,296.49549999999999,null,0,null,0]
["2012-01-18T02:00:00",296.50100000000015,296.48199999999991,296.49150000000003,null,0,null,0]
["2012-01-18T03:00:00",296.4210000000005,296.45600000000047,296.43850000000049,null,0,null,0]
["2012-01-18T04:00:00",296.41100000000046,296.39500000000049,296.40300000000047,null,0,null,0]
["2012-01-18T05:00:00",296.40300000000042,296.36400000000009,296.38350000000025,null,0,null,0]
["2012-01-18T06:00:00",296.31599999999958,296.28799999999961,296.30199999999957,null,0,null,0]
["2012-01-18T07:00:00",296.27499999999992,296.21200000000039,296.24350000000015,null,0,null,0]
["2012-01-18T08:00:00",296.29499999999962,296.25099999999975,296.27299999999968,null,0,null,0]
["2012-01-18T09:00:00",297.83200000000011,300.71010101010097,299.27105050505054,null,0,null,4]
["2012-01-18T10:00:00",302.55599999999993,311.36300000000006,306.95949999999999,null,0,null,0]
["2012-01-18T11:00:00",306.70400000000001,319.005,312.85450000000003,null,0,null,1]
["2012-01-18T12:00:00",309.19599999999986,321.72599999999983,315.46099999999984,null,0,null,0]
["2012-01-18T13:00:00",310.69800000000015,322.786,316.74200000000008,null,0,null,0]
["2012-01-18T14:00:00",311.57070707070693,323.78499999999985,317.67785353535339,null,0,null,0]
["2012-01-18T15:00:00",312.6810000000001,324.25700000000006,318.46900000000005,null,0,null,0]
["2012-01-18T16:00:00",313.41499999999974,324.54199999999963,318.97849999999971,null,0,null,0]
["2012-01-18T17:00:00",313.65899999999971,324.93000000000035,319.29450000000003,null,0,null,0]
["2012-01-18T18:00:00",314.28799999999978,325.12500000000006,319.70649999999989,null,1,null,0]
["2012-01-18T19:00:00",314.79999999999973,325.67799999999966,320.23899999999969,null,0,null,0]
["2012-01-18T20:00:00",315.19599999999974,325.96800000000042,320.58200000000011,null,0,null,0]
["2012-01-18T21:00:00",315.83,326.49200000000036,321.16100000000017,null,0,null,0]
["2012-01-18T22:00:00",316.52300000000037,327.33636363636327,321.92968181818185,null,0,null,0]
["2012-01-18T23:00:00",316.52727272727304,327.33673469387719,321.93200371057515,null,0,null,0]
["2012-01-19",316.88600000000037,327.56900000000019,322.2275000000003,null,0,null,0]
["2012-01-19T01:00:00",317.69600000000008,328.19900000000018,322.9475000000001,null,0,null,0]
["2012-01-19T02:00:00",317.74099999999947,328.12599999999952,322.93349999999953,null,0,null,0]
["2012-01-19T03:00:00",318.05400000000009,328.30899999999986,323.18149999999997,null,0,null,0]
["2012-01-19T04:00:00",318.30900000000003,328.79200000000054,323.55050000000028,null,0,null,0]
["2012-01-19T05:00:00",318.71800000000019,328.83200000000011,323.77500000000015,null,0,null,0]
["2012-01-19T06:00:00",318.82199999999989,328.86868686868701,323.84534343434348,null,0,null,0]
["2012-01-19T07:00:00",319.11100000000022,329.04300000000052,324.07700000000034,null,0,null,0]
["2012-01-19T08:00:00",319.42400000000004,329.3259999999994,324.37499999999972,null,0,null,0]
["2012-01-19T09:00:00",319.55700000000024,329.45100000000014,324.50400000000019,null,0,null,0]
["2012-01-19T10:00:00",320.0600000000004,329.63899999999973,324.84950000000003,null,0,null,0]
["2012-01-19T11:00:00",320.2470000000003,329.92199999999974,325.08450000000005,null,0,null,0]
["2012-01-19T12:00:00",320.21700000000044,329.83199999999977,325.0245000000001,null,0,null,0]
["2012-01-19T13:00:00",320.55700000000036,330.25500000000017,325.40600000000029,null,0,null,0]
["2012-01-19T14:00:00",320.95300000000009,330.33434343434322,325.64367171717163,null,0,null,0]
["2012-01-19T15:00:00",320.96399999999966,330.35299999999972,325.65849999999966,null,0,null,2]
["2012-01-19T16:00:00",320.71900000000005,329.60707070707082,325.16303535353541,null,0,null,0]
["2012-01-19T17:00:00",320.71100000000001,329.45899999999943,325.0849999999997,null,0,null,0]
["2012-01-19T18:00:00",320.64300000000048,329.18282828282832,324.91291414141438,null,0,null,0]
["2012-01-19T19:00:00",320.62299999999993,329.31,324.9665,null,1,null,0]
["2012-01-19T20:00:00",320.71299999999968,329.34099999999967,325.0269999999997,null,0,null,0]
["2012-01-19T21:00:00",321.00600000000009,329.4710000000004,325.23850000000027,null,0,null,0]
["2012-01-19T22:00:00",321.07999999999987,329.67000000000041,325.37500000000011,null,0,null,0]
["2012-01-19T23:00:00",321.08282828282819,329.66767676767722,325.37525252525268,null,0,null,0]
["2012-01-20",321.24100000000055,329.79299999999949,325.51700000000005,null,0,null,0]
["2012-01-20T01:00:00",321.32828282828285,329.76599999999956,325.54714141414121,null,0,null,0]
["2012-01-20T02:00:00",321.2969999999994,329.9500000000005,325.62349999999992,null,0,null,0]
["2012-01-20T03:00:00",321.48199999999952,329.91700000000048,325.6995,null,0,null,0]
["2012-01-20T04:00:00",321.44199999999938,330.02499999999981,325.73349999999959,null,0,null,0]
["2012-01-20T05:00:00",321.68749999999994,329.97500000000053,325.83125000000024,null,0,null,0]
["2012-01-20T06:00:00","n/a","n/a","n/a",null,0,null,0]
["2012-01-20T07:00:00",321.2,330.125,325.66250000000002,null,0,null,0]
["2012-01-20T08:00:00",321.38800000000049,330.03300000000047,325.71050000000048,null,0,null,0]
["2012-01-20T09:00:00",321.53979591836708,330.05102040816297,325.79540816326505,null,0,null,0]
["2012-01-20T10:00:00",321.71500000000003,330.18100000000021,325.94800000000009,null,0,null,0]
["2012-01-20T11:00:00",321.6640000000005,329.9550000000001,325.8095000000003,null,0,null,0]
["2012-01-20T12:00:00",321.59199999999998,330.01099999999957,325.80149999999981,null,0,null,0]
["2012-01-20T13:00:00",321.85099999999949,330.1629999999995,326.00699999999949,null,0,null,0]
["2012-01-20T14:00:00",321.76899999999944,330.14040404040401,325.95470202020169,null,0,null,0]
["2012-01-20T15:00:00",319.28100000000012,323.22500000000002,{"$f":"AVERAGE(B195:C195)","v":321.25300000000004},null,0,null,2]
["2012-01-20T16:00:00",314.18800000000005,313.12699999999995,313.65750000000003,null,0,null,0]
[{"$f":"A196+0.0416666667","v":"2012-01-20T17:00:00"},311.947,310.08200000000011,311.01450000000006,null,0,null,0]
["2012-01-20T18:00:00",310.51900000000001,308.51300000000009,309.51600000000008,null,0,null,0]
["2012-01-20T19:00:00",309.44700000000012,307.43499999999983,308.44099999999997,null,0,null,0]
[{"$f":"A199+0.0416666667","v":"2012-01-20T20:00:00"},308.59699999999992,306.63900000000018,307.61800000000005,null,0,null,0]
[{"$f":"A200+0.0416666667","v":"2012-01-20T21:00:00"},307.91400000000021,306.00900000000013,306.96150000000017,null,0,null,0]
["2012-01-20T22:00:00",307.30299999999971,305.48500000000018,306.39399999999995,null,0,null,0]
["2012-01-20T23:00:00",306.73199999999974,304.97600000000023,305.85399999999998,null,0,null,0]
["2012-01-21",306.20808080808058,304.53400000000039,305.37104040404051,null,0,null,0]
["2012-01-21T01:00:00",305.71799999999968,304.11300000000023,304.91549999999995,null,0,null,0]
["2012-01-21T02:00:00",305.26699999999954,303.71299999999974,304.48999999999967,null,0,null,0]
["2012-01-21T03:00:00",304.7969999999998,303.36399999999969,304.08049999999974,null,0,null,0]
["2012-01-21T04:00:00",304.39489795918388,303.02000000000021,303.70744897959207,null,0,null,0]
["2012-01-21T05:00:00",304.01100000000042,302.63333333333327,303.32216666666682,null,0,null,0]
["2012-01-21T06:00:00",303.5979999999999,302.31299999999987,302.95549999999992,null,0,null,0]
["2012-01-21T07:00:00",303.24899999999974,301.99600000000044,302.62250000000006,null,0,null,0]
["2012-01-21T08:00:00",302.89494949494951,301.67474747474722,302.28484848484834,null,0,null,0]
["2012-01-21T09:00:00",302.56200000000013,301.38787878787861,301.97493939393939,null,0,null,0]
["2012-01-21T10:00:00",302.24399999999974,301.12323232323223,301.68361616161599,null,0,null,0]
["2012-01-21T11:00:00",301.94040404040453,300.86666666666639,301.40353535353546,null,0,null,0]
["2012-01-21T12:00:00",301.66999999999967,300.63699999999994,301.15349999999978,null,0,null,0]
["2012-01-21T13:00:00",301.38700000000006,300.40499999999957,300.89599999999984,null,0,null,0]
["2012-01-21T14:00:00",301.14799999999963,300.18899999999962,300.66849999999965,null,0,null,0]
["2012-01-21T15:00:00",300.92100000000039,299.98600000000062,300.45350000000053,null,0,null,0]
["2012-01-21T16:00:00",300.68989898989918,299.83099999999968,300.2604494949494,null,0,null,0]
["2012-01-21T17:00:00",300.4850000000003,299.65899999999948,300.07199999999989,null,0,null,0]
["2012-01-21T18:00:00",300.28499999999974,299.49400000000048,299.88950000000011,null,0,null,0]
["2012-01-21T19:00:00",300.10599999999971,299.32299999999975,299.7144999999997,null,0,null,0]
["2012-01-21T20:00:00",299.91900000000021,299.16363636363587,299.54131818181804,null,0,null,0]
["2012-01-21T21:00:00",299.72000000000003,299.01500000000027,299.36750000000018,null,0,null,0]
["2012-01-21T22:00:00",299.3830000000001,298.7212121212126,299.05210606060632,null,0,null,0]
["2012-01-21T23:00:00",299.38181818181829,298.7204081632658,299.05111317254205,null,0,null,0]
["2012-01-22",299.24100000000016,298.58499999999998,298.91300000000007,null,0,null,0]
["2012-01-22T01:00:00",299.07599999999979,298.46600000000052,298.77100000000019,null,0,null,0]
["2012-01-22T02:00:00",298.93200000000053,298.33899999999954,298.63550000000004,null,0,null,0]
["2012-01-22T03:00:00",298.77599999999995,298.21700000000044,298.4965000000002,null,0,null,0]
["2012-01-22T04:00:00",298.64399999999955,298.08399999999989,298.36399999999969,null,0,null,0]
["2012-01-22T05:00:00",298.50800000000015,297.97900000000033,298.24350000000027,null,0,null,0]
["2012-01-22T06:00:00",298.38200000000018,297.85299999999961,298.11749999999989,null,0,null,0]
["2012-01-22T07:00:00",298.23900000000032,297.75500000000017,297.99700000000024,null,0,null,0]
["2012-01-22T08:00:00",298.12299999999959,297.62399999999946,297.87349999999952,null,0,null,0]
["2012-01-22T09:00:00",297.98800000000023,297.52600000000001,297.75700000000012,null,0,null,0]
["2012-01-22T10:00:00",297.86499999999978,297.43100000000055,297.64800000000014,null,0,null,0]
["2012-01-22T11:00:00",297.77,297.32699999999954,297.54849999999976,null,0,null,0]
["2012-01-22T12:00:00",297.68200000000002,297.29699999999957,297.48949999999979,null,0,null,0]
["2012-01-22T13:00:00",297.60599999999948,297.2050000000005,297.40549999999996,null,0,null,0]
["2012-01-22T14:00:00",297.54800000000006,297.17699999999996,297.36250000000001,null,0,null,0]
["2012-01-22T15:00:00",297.49300000000011,297.09899999999948,297.29599999999982,null,0,null,0]
["2012-01-22T16:00:00",297.40700000000049,297.0779999999998,297.24250000000018,null,0,null,0]
["2012-01-22T17:00:00",297.32199999999943,296.99400000000009,297.15799999999979,null,0,null,0]
["2012-01-22T18:00:00",297.25700000000018,296.90300000000047,297.08000000000033,null,0,null,0]
["2012-01-22T19:00:00",297.15699999999958,296.84399999999954,297.00049999999953,null,0,null,0]
["2012-01-22T20:00:00",297.09899999999948,296.79499999999962,296.94699999999955,null,0,null,0]
["2012-01-22T21:00:00",297.01,296.73100000000039,296.87050000000022,null,0,null,0]
["2012-01-22T22:00:00",296.8910000000003,296.59999999999951,296.74549999999988,null,0,null,0]
["2012-01-22T23:00:00",296.89090909090942,296.59999999999951,296.74545454545444,null,0,null,0]
["2012-01-23",296.80599999999953,296.55599999999993,296.6809999999997,null,0,null,0]
["2012-01-23T01:00:00",296.76500000000004,296.49000000000012,296.62750000000005,null,0,null,0]
["2012-01-23T02:00:00",296.678,296.4020000000005,296.54000000000025,null,0,null,0]
["2012-01-23T03:00:00",296.60499999999951,296.3780000000001,296.4914999999998,null,0,null,0]
["2012-01-23T04:00:00",296.54900000000009,296.29199999999963,296.42049999999983,null,0,null,0]
["2012-01-23T05:00:00",296.45200000000057,296.21200000000044,296.33200000000051,null,0,null,0]
["2012-01-23T06:00:00",296.39500000000032,296.14499999999958,296.27,null,0,null,0]
["2012-01-23T07:00:00",296.30399999999952,296.09299999999951,{"$f":"AVERAGE(B259:C259)","v":296.19849999999951},null,0,null,1]
["2012-01-23T08:00:00",296.29523809523778,296.09523809523813,296.19523809523798,null,0,null,7]
["2012-01-23T09:00:00",null,null,null,null,null,null,0]
["2012-01-23T10:00:00",null,null,null,null,null,null,0]
["2012-01-23T11:00:00",null,null,null,null,null,null,0]
["2012-01-23T12:00:00",null,null,null,null,null,null,0]
[{"$f":"A264+0.0416666667","v":"2012-01-23T13:00:00"}]
["2012-01-23T14:00:00"]
["2012-01-23T15:00:00"]
["2012-01-23T16:00:00"]
["2012-01-23T17:00:00"]
["2012-01-23T18:00:00"]
["2012-01-23T19:00:00"]
["2012-01-23T20:00:00"]
["2012-01-23T21:00:00"]
["2012-01-23T22:00:00"]
["2012-01-23T23:00:00"]
["2012-01-24"]
["2012-01-24T01:00:00"]
["2012-01-24T02:00:00"]
["2012-01-24T03:00:00.001"]
["2012-01-24T04:00:00.001"]
["2012-01-24T05:00:00.001"]
["2012-01-24T06:00:00.001"]
["2012-01-24T07:00:00.001"]
["2012-01-24T08:00:00.001"]
["2012-01-24T09:00:00.001"]
["2012-01-24T10:00:00.001"]
["2012-01-24T11:00:00.001"]
["2012-01-24T12:00:00.001"]
["2012-01-24T13:00:00.001"]
["2012-01-24T14:00:00.001"]
["2012-01-24T15:00:00.001"]
["2012-01-24T16:00:00.001"]
["2012-01-24T17:00:00.001"]
["2012-01-24T18:00:00.001"]
["2012-01-24T19:00:00.001"]
["2012-01-24T20:00:00.001"]
["2012-01-24T21:00:00.001"]
["2012-01-24T22:00:00.001"]
["2012-01-24T23:00:00.001"]
["2012-01-25T00:00:00.001"]
["2012-01-25T01:00:00.001"]
["2012-01-25T02:00:00.001"]
["2012-01-25T03:00:00.001"]
["2012-01-25T04:00:00.001"]
["2012-01-25T05:00:00.001"]
["2012-01-25T06:00:00.001"]
["2012-01-25T07:00:00.001"]
["2012-01-25T08:00:00.001"]
["2012-01-25T09:00:00.001"]
["2012-01-25T10:00:00.001"]
["2012-01-25T11:00:00.001"]
["2012-01-25T12:00:00.001"]
["2012-01-25T13:00:00.001"]
["2012-01-25T14:00:00.001"]
["2012-01-25T15:00:00.001"]
["2012-01-25T16:00:00.001"]
["2012-01-25T17:00:00.001"]
["2012-01-25T18:00:00.001"]
["2012-01-25T19:00:00.001"]
["2012-01-25T20:00:00.001"]
["2012-01-25T21:00:00.001"]
["2012-01-25T22:00:00.001"]
["2012-01-25T23:00:00.001"]
["2012-01-26T00:00:00.001"]
["2012-01-26T01:00:00.001"]
["2012-01-26T02:00:00.001"]